Text S1

Sample extraction: For GC-TOF-MS, 50 mg of each sample was extracted with 500 µL of methanol/water (4:1, v/v) containing 10 µL of 2-chloro-L-phenylalanine (0.3 mg/mL) as internal standard. For UHPLC-QE-MS, 50 mg of each sample was extracted with 1 mL of methanol/water (7:3, v/v) at 4°C, followed by centrifugation and filtration.

Instrument parameters:

GC-TOF-MS: Agilent 7890A gas chromatograph coupled with LECO PEGASUS HT mass spectrometer; DB-5MS capillary column (30 m × 0.25 mm × 0.25 µm); helium carrier gas at 1.0 mL/min; temperature program: 50°C for 1 min, ramp to 330°C at 10°C/min, hold for 5 min; electron ionization (70 eV) with full scan range m/z 50-1000.

UHPLC-QE-MS: Thermo Vanquish UHPLC system coupled with Thermo Q Exactive HFX mass spectrometer; ACQUITY UPLC HSS T3 column (2.1 × 100 mm, 1.8 µm); mobile phase A: water (0.1% formic acid), mobile phase B: acetonitrile (0.1% formic acid); gradient elution; electrospray ionization (ESI) in both positive and negative modes; full scan range m/z 70-1050.

Quality control (QC) samples: Pooled QC samples were prepared by mixing equal aliquots of all individual sample extracts. QC samples were injected regularly (every 10 sample injections) throughout the analytical run to monitor instrument stability and signal drift.

Data normalization: Raw data were processed using the XploreMET platform (v3.0) for peak detection, alignment, and normalization. Data were normalized to the total peak area of each sample, followed by log transformation and Pareto scaling.

Metabolite identification confidence levels: Metabolites were annotated according to the Metabolomics Standards Initiative (MSI) guidelines.

Table S1 Sequencing data and α-diversity of bacterial community in Jiuyao samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 0 h-1 | 15220 | 568.79 | 228 | 4.58 | 0.91 | 0.9612 |
| 0 h-2 | 19702 | 523.29 | 192 | 4.69 | 0.93 | 0.9547 |
| 0 h-3 | 19811 | 655.22 | 218 | 4.73 | 0.92 | 0.9466 |
| 5 h-1 | 9918 | 938.90 | 321 | 5.57 | 0.94 | 0.9586 |
| 5 h-2 | 17404 | 474.01 | 173 | 3.86 | 0.84 | 0.9586 |
| 5 h-3 | 12405 | 677.15 | 200 | 4.35 | 0.88 | 0.9689 |
| 10 h-1 | 12370 | 1086.64 | 340 | 5.53 | 0.93 | 0.9669 |
| 10 h-2 | 12040 | 793.03 | 233 | 4.44 | 0.87 | 0.9745 |
| 10 h-3 | 15464 | 553.10 | 204 | 4.14 | 0.84 | 0.9468 |
| 14 h-1 | 10233 | 1301.99 | 391 | 5.54 | 0.92 | 0.9628 |
| 14 h-2 | 10085 | 753.59 | 333 | 5.67 | 0.95 | 0.9789 |
| 14 h-3 | 10204 | 846.95 | 334 | 5.53 | 0.94 | 0.9604 |
| 17 h-1 | 13824 | 1487.86 | 387 | 5.61 | 0.94 | 0.9495 |
| 17 h-2 | 13442 | 804.70 | 334 | 5.70 | 0.95 | 0.9350 |
| 17 h-3 | 16484 | 846.37 | 329 | 5.62 | 0.94 | 0.9641 |
| 20 h-1 | 8690 | 1582.02 | 343 | 5.23 | 0.92 | 0.9722 |
| 20 h-2 | 15634 | 1038.71 | 307 | 5.25 | 0.92 | 0.9357 |
| 20 h-3 | 9120 | 717.11 | 284 | 4.48 | 0.85 | 0.9586 |
| 24 h-1 | 8925 | 1174.54 | 420 | 5.98 | 0.95 | 0.9659 |
| 24 h-2 | 10797 | 905.64 | 332 | 5.23 | 0.91 | 0.9486 |
| 24 h-3 | 10334 | 651.40 | 261 | 5.05 | 0.92 | 0.9533 |
| 30 h-1 | 15447 | 1088.76 | 385 | 5.80 | 0.95 | 0.9745 |
| 30 h-2 | 18032 | 495.38 | 212 | 4.17 | 0.85 | 0.9619 |
| 30 h-3 | 16071 | 563.66 | 271 | 5.22 | 0.92 | 0.9582 |
| 34 h-1 | 12142 | 1675.21 | 382 | 5.91 | 0.95 | 0.9677 |
| 34 h-2 | 12817 | 831.52 | 310 | 5.38 | 0.94 | 0.9517 |
| 34 h-3 | 24075 | 566.71 | 229 | 4.62 | 0.89 | 0.9433 |
| 37 h-1 | 14400 | 736.14 | 301 | 5.30 | 0.92 | 0.9350 |
| 37 h-2 | 14685 | 1284.20 | 324 | 5.49 | 0.94 | 0.9619 |
| 37 h-3 | 10064 | 1029.12 | 251 | 4.88 | 0.91 | 0.9472 |
| 40 h-1 | 13041 | 1023.72 | 345 | 5.16 | 0.90 | 0.9377 |
| 40 h-2 | 11938 | 634.50 | 261 | 4.85 | 0.91 | 0.9728 |
| 40 h-3 | 14280 | 559.13 | 239 | 4.91 | 0.92 | 0.9400 |
| 45 h-1 | 10949 | 1106.84 | 353 | 5.50 | 0.93 | 0.9681 |
| 45 h-2 | 6907 | 766.09 | 279 | 5.30 | 0.93 | 0.9504 |
| 45 h-3 | 11853 | 842.96 | 274 | 5.01 | 0.92 | 0.9611 |
| 75 h-1 | 9155 | 1505.26 | 499 | 4.93 | 0.88 | 0.9472 |

Table S1 (Continued) Sequencing data and α-diversity of bacterial community in Jiuyao samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 75 h-2 | 12593 | 1357.63 | 490 | 3.56 | 0.76 | 0.9688 |
| 123 h-1 | 12429 | 890.37 | 374 | 3.12 | 0.72 | 0.9747 |
| 123 h-2 | 15696 | 1354.19 | 505 | 3.53 | 0.76 | 0.9749 |
| 147 h-1 | 15338 | 333.09 | 186 | 1.83 | 0.42 | 0.9935 |
| 147 h-2 | 12135 | 1726.96 | 651 | 5.47 | 0.91 | 0.9449 |
| 147 h-3 | 14232 | 1823.67 | 785 | 5.78 | 0.94 | 0.9525 |

Table S2 Sequencing data and α-diversity of bacterial community in Jiuyao samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 0 h-1 | 13958 | 2450.83 | 833 | 6.26 | 0.96 | 0.9293 |
| 0 h-2 | 7856 | 818.02 | 537 | 5.73 | 0.94 | 0.9460 |
| 0 h-3 | 13614 | 1278.84 | 983 | 6.37 | 0.94 | 0.9415 |
| 5 h-1 | 16710 | 1468.40 | 725 | 4.76 | 0.87 | 0.9711 |
| 5 h-2 | 16652 | 1767.50 | 702 | 4.35 | 0.85 | 0.9678 |
| 5 h-3 | 15255 | 2264.24 | 864 | 6.02 | 0.95 | 0.9345 |
| 10 h-1 | 16182 | 2241.66 | 831 | 5.00 | 0.87 | 0.9586 |
| 10 h-2 | 16834 | 2048.51 | 820 | 5.40 | 0.91 | 0.9610 |
| 10 h-3 | 15417 | 2573.73 | 956 | 5.77 | 0.92 | 0.9375 |
| 14 h-1 | 17697 | 1944.79 | 768 | 6.04 | 0.96 | 0.9471 |
| 14 h-2 | 15419 | 2424.36 | 858 | 5.86 | 0.94 | 0.9421 |
| 14 h-3 | 15219 | 2566.27 | 919 | 5.97 | 0.94 | 0.9389 |
| 17 h-1 | 15942 | 2336.00 | 818 | 5.49 | 0.93 | 0.9553 |
| 17 h-2 | 14783 | 2251.91 | 886 | 6.15 | 0.95 | 0.9393 |
| 17 h-3 | 14503 | 1412.92 | 800 | 5.73 | 0.94 | 0.9645 |
| 20 h-1 | 16100 | 2236.90 | 803 | 5.64 | 0.94 | 0.9601 |
| 20 h-2 | 9909 | 1259.91 | 757 | 6.11 | 0.94 | 0.9319 |
| 20 h-3 | 15639 | 2322.39 | 836 | 5.31 | 0.91 | 0.9507 |
| 24 h-1 | 10480 | 1197.55 | 796 | 6.20 | 0.94 | 0.9348 |
| 24 h-2 | 15701 | 2522.90 | 911 | 5.90 | 0.94 | 0.9399 |
| 24 h-3 | 14878 | 2633.29 | 878 | 5.82 | 0.94 | 0.9428 |
| 30 h-1 | 14077 | 1214.19 | 834 | 5.89 | 0.91 | 0.9400 |
| 30 h-2 | 15430 | 2320.33 | 763 | 5.12 | 0.89 | 0.9488 |
| 30 h-3 | 14747 | 2508.04 | 914 | 5.65 | 0.91 | 0.9330 |
| 34 h-1 | 41746 | 3900.71 | 1635 | 6.43 | 0.96 | 0.9585 |
| 34 h-2 | 15695 | 1900.63 | 670 | 4.71 | 0.87 | 0.9592 |

Table S2 (Continued) Sequencing data and α-diversity of bacterial community in Jiuyao samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 34 h-3 | 15484 | 2952.83 | 889 | 5.77 | 0.93 | 0.9388 |
| 37 h-1 | 40025 | 3602.70 | 1360 | 5.72 | 0.94 | 0.9630 |
| 37 h-2 | 25819 | 3325.56 | 998 | 5.52 | 0.91 | 0.9536 |
| 37 h-3 | 14697 | 2865.07 | 856 | 6.01 | 0.93 | 0.9279 |
| 40 h-1 | 15741 | 1387.75 | 1030 | 5.52 | 0.88 | 0.9572 |
| 40 h-2 | 16033 | 2234.68 | 712 | 4.57 | 0.86 | 0.9601 |
| 40 h-3 | 13956 | 2542.00 | 724 | 5.75 | 0.93 | 0.9279 |
| 45 h-1 | 35397 | 3495.55 | 1323 | 5.48 | 0.91 | 0.9600 |
| 45 h-2 | 14183 | 1822.80 | 644 | 5.01 | 0.89 | 0.9485 |
| 45 h-3 | 15263 | 1635.25 | 813 | 5.26 | 0.88 | 0.9427 |
| 75 h-1 | 10601 | 2921.87 | 1016 | 5.64 | 0.93 | 0.9555 |
| 75 h-2 | 10448 | 3076.39 | 1132 | 6.49 | 0.97 | 0.9383 |
| 75 h-3 | 15045 | 3934.70 | 1127 | 5.91 | 0.94 | 0.9445 |
| 123 h-1 | 26747 | 1125.92 | 787 | 5.89 | 0.93 | 0.9401 |
| 123 h-2 | 25367 | 1368.75 | 436 | 4.98 | 0.90 | 0.9530 |
| 123 h-3 | 27034 | 3149.45 | 1078 | 6.51 | 0.96 | 0.9260 |
| 147 h-1 | 33447 | 3003.36 | 1303 | 5.28 | 0.90 | 0.9666 |
| 147 h-2 | 14645 | 1087.20 | 489 | 3.57 | 0.78 | 0.9736 |
| 147 h-3 | 13088 | 1503.25 | 538 | 4.85 | 0.86 | 0.9426 |

Table S3 Sequencing data and α-diversity of bacterial community in other Jiuyao samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 2018-1 | 12494 | 303.72 | 121 | 2.92 | 0.73 | 0.9524 |
| 2018-2 | 15922 | 144.88 | 84 | 2.55 | 0.70 | 0.9633 |
| 2018-3 | 13054 | 429.01 | 137 | 4.36 | 0.91 | 0.9625 |
| 2019-1 | 16812 | 1222.65 | 397 | 3.61 | 0.81 | 0.9417 |
| 2019-2 | 16185 | 792.68 | 662 | 4.62 | 0.88 | 0.9688 |
| 2019-3 | 16504 | 1169.96 | 483 | 4.19 | 0.86 | 0.9598 |
| 2020-1 | 17916 | 1947.01 | 642 | 4.58 | 0.88 | 0.9669 |
| 2020-2 | 15190 | 2591.64 | 809 | 5.54 | 0.93 | 0.9450 |
| 2020-3 | 7961 | 1280.11 | 556 | 5.65 | 0.94 | 0.9475 |
| 0 h Surface-1 | 16618 | 1988.55 | 790 | 5.10 | 0.91 | 0.9594 |
| 0 h Surface-2 | 15913 | 2089.47 | 737 | 5.05 | 0.90 | 0.9582 |
| 17 h Surface-1 | 16316 | 2079.96 | 696 | 4.68 | 0.88 | 0.9626 |
| 17 h Surface-2 | 16351 | 1738.45 | 720 | 5.14 | 0.91 | 0.9641 |

Table S3 (Continued) Sequencing data and α-diversity of bacterial community in other Jiuyao samples

| Samples | Reads | Chao1 | Observed spec | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 30 h Surface-1 | 15507 | 1147.76 | 718 | 5.70 | 0.93 | 0.9492 |
| 30 h Surface-2 | 15270 | 1769.97 | 625 | 4.26 | 0.85 | 0.9729 |
| 45 h Surface-1 | 16100 | 2143.11 | 678 | 4.76 | 0.89 | 0.9595 |
| 45 h Surface-2 | 14689 | 2611.94 | 847 | 5.57 | 0.93 | 0.9485 |
| 0 h Inside-1 | 15182 | 1882.31 | 659 | 4.88 | 0.88 | 0.9574 |
| 0 h Inside-2 | 15098 | 2210.18 | 879 | 6.17 | 0.95 | 0.9384 |
| 17 h Inside-1 | 9904 | 1077.30 | 606 | 5.19 | 0.90 | 0.9525 |
| 17 h Inside-2 | 39746 | 3891.23 | 1483 | 6.16 | 0.95 | 0.9596 |
| 30 h Inside-1 | 16120 | 2716.90 | 970 | 5.72 | 0.92 | 0.9329 |
| 30 h Inside-2 | 28211 | 1575.14 | 683 | 4.83 | 0.88 | 0.9708 |
| 45 h Inside-1 | 15647 | 1466.06 | 650 | 4.87 | 0.88 | 0.9634 |
| 45 h Inside-2 | 15087 | 3524.27 | 1151 | 6.24 | 0.95 | 0.9446 |
| CYY2019-1 | 12397 | 1590.86 | 834 | 5.62 | 0.90 | 0.9403 |
| CYY2019-2 | 15556 | 1415.53 | 570 | 3.73 | 0.72 | 0.9695 |
| CYY2019-3 | 37235 | 3179.09 | 1341 | 4.62 | 0.85 | 0.9680 |
| CYY2020-1 | 42030 | 2637.94 | 1298 | 5.19 | 0.90 | 0.9698 |
| CYY2020-2 | 14977 | 1285.07 | 663 | 5.05 | 0.89 | 0.9589 |
| CYY2020-3 | 44512 | 2944.07 | 1318 | 4.73 | 0.86 | 0.9742 |
| SYH2019-1 | 16812 | 1222.65 | 397 | 3.61 | 0.81 | 0.9835 |
| SYH2019-2 | 16185 | 792.68 | 662 | 4.62 | 0.88 | 0.9771 |
| SYH2019-3 | 16504 | 1169.96 | 483 | 4.19 | 0.86 | 0.9803 |
| SYH2020-1 | 17916 | 1947.01 | 642 | 4.58 | 0.88 | 0.9669 |
| SYH2020-2 | 15190 | 2591.64 | 809 | 5.54 | 0.93 | 0.9450 |
| SYH2020-3 | 7961 | 1280.11 | 556 | 5.65 | 0.94 | 0.9475 |
| JH2019-1 | 16592 | 1299.94 | 540 | 4.60 | 0.90 | 0.9773 |
| JH2019-2 | 15905 | 1502.81 | 540 | 4.46 | 0.89 | 0.9730 |
| JH2019-3 | 15829 | 1503.76 | 544 | 4.48 | 0.89 | 0.9729 |
| JH2020-1 | 26814 | 3375.68 | 1190 | 5.87 | 0.94 | 0.9552 |
| JH2020-2 | 15187 | 1833.39 | 904 | 5.78 | 0.93 | 0.9532 |
| JH2020-3 | 15695 | 2140.11 | 973 | 6.00 | 0.94 | 0.9539 |
| TP2019-1 | 19504 | 2411.34 | 1203 | 6.60 | 0.96 | 0.9246 |
| TP2019-2 | 15616 | 1265.94 | 1024 | 6.15 | 0.94 | 0.9513 |
| TP2019-3 | 35388 | 2283.83 | 1384 | 6.05 | 0.95 | 0.9635 |
| TP2020-1 | 15629 | 1628.78 | 921 | 6.35 | 0.96 | 0.9396 |
| TP2020-2 | 16164 | 1688.45 | 810 | 5.75 | 0.94 | 0.9562 |
| TP2020-3 | 15578 | 1687.90 | 849 | 6.19 | 0.95 | 0.9351 |

Table S4 Sequencing data and α-diversity of fungal community in Jiuyao samples in 2019

| Samples | Reads | Chao1 |  |  | Observed species | Shannon |  |  | Simpson |  | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 h-1 | 10200 |  | 829.59 | 451 |  |  | 4.48 | 0.89 |  | 0.9912 |  |
| 0 h-2 | 9630 |  | 512.18 | 260 |  |  | 3.70 | 0.84 |  | 0.9924 |  |
| 0 h-3 | 8246 |  | 456.40 | 202 |  |  | 3.06 | 0.77 |  | 0.9933 |  |
| 5 h-1 | 11256 |  | 339.66 | 171 |  |  | 3.71 | 0.87 |  | 0.9981 |  |
| 5 h-2 | 12815 |  | 399.29 | 167 |  |  | 3.79 | 0.88 |  | 0.9901 |  |
| 5 h-3 | 6694 |  | 440.12 | 193 |  |  | 3.95 | 0.88 |  | 0.9958 |  |
| 10 h-1 | 22582 |  | 417.17 | 177 |  |  | 4.00 | 0.90 |  | 0.9915 |  |
| 10 h-2 | 7918 |  | 282.04 | 165 |  |  | 4.10 | 0.91 |  | 0.9986 |  |
| 10 h-3 | 8292 |  | 451.94 | 212 |  |  | 4.17 | 0.91 |  | 0.9919 |  |
| 14 h-1 | 9784 |  | 316.63 | 146 |  |  | 3.61 | 0.87 |  | 0.9818 |  |
| 14 h-2 | 6194 |  | 232.42 | 158 |  |  | 4.39 | 0.92 |  | 0.9824 |  |
| 14 h-3 | 8331 |  | 897.80 | 508 |  |  | 5.15 | 0.93 |  | 0.9941 |  |
| 17 h-1 | 8100 |  | 214.28 | 139 |  |  | 3.79 | 0.89 |  | 0.9947 |  |
| 17 h-2 | 8741 |  | 242.11 | 142 |  |  | 3.72 | 0.88 |  | 0.9982 |  |
| 17 h-3 | 7839 |  | 625.26 | 338 |  |  | 4.21 | 0.89 |  | 0.9993 |  |
| 20 h-1 | 10094 |  | 187.02 | 121 |  |  | 3.23 | 0.82 |  | 0.9905 |  |
| 20 h-2 | 10809 |  | 201.57 | 102 |  |  | 2.96 | 0.78 |  | 0.9905 |  |
| 20 h-3 | 7240 |  | 232.50 | 123 |  |  | 3.32 | 0.82 |  | 0.9989 |  |
| 24 h-1 | 9607 |  | 179.70 | 105 |  |  | 3.06 | 0.79 |  | 0.9922 |  |
| 24 h-2 | 9084 |  | 191.15 | 107 |  |  | 3.17 | 0.81 |  | 0.9950 |  |
| 24 h-3 | 7633 |  | 145.79 | 101 |  |  | 2.89 | 0.77 |  | 0.9949 |  |
| 30 h-1 | 8977 |  | 255.51 | 127 |  |  | 2.95 | 0.76 |  | 0.9931 |  |
| 30 h-2 | 8527 |  | 175.96 | 91 |  |  | 2.70 | 0.76 |  | 0.9925 |  |
| 30 h-3 | 6595 |  | 216.96 | 98 |  |  | 3.08 | 0.80 |  | 0.9905 |  |
| 34 h-1 | 7718 |  | 173.78 | 92 |  |  | 2.95 | 0.77 |  | 0.9924 |  |
| 34 h-2 | 10592 |  | 287.62 | 98 |  |  | 3.03 | 0.80 |  | 0.9862 |  |
| 34 h-3 | 5955 |  | 191.27 | 90 |  |  | 2.86 | 0.76 |  | 0.9964 |  |
| 37 h-1 | 11326 |  | 115.55 | 81 |  |  | 2.46 | 0.70 |  | 0.9967 |  |
| 37 h-2 | 6803 |  | 134.61 | 93 |  |  | 2.57 | 0.70 |  | 0.9978 |  |
| 37 h-3 | 6110 |  | 135.17 | 86 |  |  | 2.79 | 0.75 |  | 0.9999 |  |
| 40 h-1 | 10008 |  | 201.18 | 123 |  |  | 3.32 | 0.83 |  | 0.9957 |  |
| 40 h-2 | 8398 |  | 602.68 | 290 |  |  | 3.40 | 0.80 |  | 0.9915 |  |
| 40 h-3 | 3980 |  | 125.98 | 65 |  |  | 2.73 | 0.75 |  | 0.9921 |  |
| 45 h-1 | 10004 |  | 281.02 | 153 |  |  | 3.38 | 0.81 |  | 0.9954 |  |
| 45 h-2 | 6728 |  | 247.16 | 102 |  |  | 2.92 | 0.76 |  | 0.9934 |  |
| 45 h-3 | 5693 |  | 108.14 | 84 |  |  | 2.76 | 0.74 |  | 0.9909 |  |
| 75 h-1 | 12496 |  | 149.53 | 87 |  |  | 3.41 | 0.86 |  | 0.9915 |  |
| 75 h-2 | 7228 |  | 241.62 | 116 |  |  | 3.61 | 0.87 |  | 0.9920 |  |

Table S4 (Continued) Sequencing data and α-diversity of fungal community in Jiuyao samples in 2019

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 123 h-1 | 10780 | 337.88 | 183 | 4.00 | 0.88 | 0.9958 |
| 123 h-2 | 6388 | 253.09 | 156 | 4.31 | 0.91 | 0.9914 |
| 147 h-1 | 4566 | 248.11 | 99 | 3.38 | 0.81 | 0.9934 |
| 147 h-2 | 11286 | 207.31 | 114 | 3.45 | 0.86 | 0.9909 |
| 147 h-3 | 6428 | 213.44 | 123 | 4.01 | 0.90 | 0.9919 |

Table S5 Sequencing data and α-diversity of fungal community in Jiuyao samples in 2020

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 0 h-1 | 14446 | 304.61 | 103 | 2.50 | 0.72 | 0.9955 |
| 0 h-2 | 15221 | 255.05 | 111 | 2.37 | 0.68 | 0.9957 |
| 0 h-3 | 13040 | 173.38 | 107 | 2.67 | 0.72 | 0.9959 |
| 5 h-1 | 18580 | 80.04 | 42 | 2.06 | 0.65 | 0.9989 |
| 5 h-2 | 15530 | 316.81 | 131 | 2.66 | 0.74 | 0.9947 |
| 5 h-3 | 14830 | 178.09 | 94 | 2.49 | 0.73 | 0.9966 |
| 10 h-1 | 10557 | 222.62 | 90 | 2.83 | 0.81 | 0.9950 |
| 10 h-2 | 17173 | 200.53 | 121 | 2.60 | 0.76 | 0.9963 |
| 10 h-3 | 15752 | 220.65 | 133 | 2.95 | 0.81 | 0.9956 |
| 14 h-1 | 17512 | 273.86 | 146 | 3.80 | 0.89 | 0.9871 |
| 14 h-2 | 18735 | 302.71 | 161 | 2.90 | 0.81 | 0.9952 |
| 14 h-3 | 19558 | 450.92 | 134 | 2.94 | 0.82 | 0.9956 |
| 17 h-1 | 18851 | 437.08 | 158 | 2.63 | 0.70 | 0.9950 |
| 17 h-2 | 18644 | 318.20 | 137 | 2.55 | 0.72 | 0.9956 |
| 17 h-3 | 17555 | 64.16 | 45 | 1.71 | 0.54 | 0.9982 |
| 20 h-1 | 10659 | 312.53 | 165 | 1.95 | 0.52 | 0.9949 |
| 20 h-2 | 18646 | 290.18 | 140 | 2.49 | 0.65 | 0.9957 |
| 20 h-3 | 18443 | 192.82 | 101 | 1.87 | 0.51 | 0.9970 |
| 24 h-1 | 18445 | 128.63 | 79 | 1.93 | 0.52 | 0.9974 |
| 24 h-2 | 12567 | 330.00 | 156 | 2.27 | 0.59 | 0.9952 |
| 24 h-3 | 18799 | 298.33 | 140 | 1.19 | 0.26 | 0.9957 |
| 30 h-1 | 18189 | 280.72 | 118 | 1.64 | 0.42 | 0.9958 |
| 30 h-2 | 16542 | 336.34 | 144 | 2.22 | 0.58 | 0.9935 |
| 30 h-3 | 13504 | 185.01 | 74 | 1.58 | 0.43 | 0.9963 |
| 34 h-1 | 10116 | 160.53 | 108 | 2.67 | 0.65 | 0.9957 |
| 34 h-2 | 10512 | 134.23 | 83 | 1.80 | 0.46 | 0.9976 |
| 34 h-3 | 15608 | 199.56 | 120 | 2.06 | 0.49 | 0.9959 |

Table S5 (Continued) Sequencing data and α-diversity of fungal community in Jiuyao samples in 2020

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 37 h-1 | 13643 | 239.18 | 147 | 2.33 | 0.57 | 0.9953 |
| 37 h-2 | 14801 | 216.22 | 120 | 1.66 | 0.40 | 0.9963 |
| 37 h-3 | 15683 | 151.91 | 81 | 2.12 | 0.53 | 0.9940 |
| 40 h-1 | 6853 | 148.02 | 85 | 1.84 | 0.45 | 0.9950 |
| 40 h-2 | 8424 | 151.53 | 50 | 0.68 | 0.15 | 0.9981 |
| 40 h-3 | 15854 | 207.46 | 118 | 2.17 | 0.55 | 0.9961 |
| 45 h-1 | 14195 | 162.88 | 75 | 1.44 | 0.34 | 0.9949 |
| 45 h-2 | 7643 | 102.81 | 59 | 1.30 | 0.31 | 0.9970 |
| 45 h-3 | 9218 | 304.62 | 103 | 2.50 | 0.72 | 0.9955 |
| 75 h-1 | 13053 | 242.93 | 146 | 2.45 | 0.64 | 0.9967 |
| 75 h-2 | 17814 | 336.96 | 151 | 2.66 | 0.74 | 0.9955 |
| 123 h-1 | 17971 | 332.07 | 168 | 2.66 | 0.71 | 0.9953 |
| 123 h-2 | 6074 | 188.73 | 96 | 2.46 | 0.65 | 0.9961 |
| 123 h-3 | 16962 | 276.91 | 159 | 2.74 | 0.73 | 0.9942 |
| 147 h-1 | 17516 | 287.72 | 123 | 2.42 | 0.70 | 0.9971 |
| 147 h-2 | 11586 | 286.79 | 129 | 2.52 | 0.71 | 0.9924 |
| 147 h-3 | 7418 | 166.72 | 96 | 2.62 | 0.73 | 0.9911 |

Table S6 Sequencing data and α-diversity of fungal community in Jiuyao other samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 2018-1 | 9857 | 163.50 | 120 | 3.14 | 0.80 | 0.9959 |
| 2018-2 | 4386 | 143.81 | 99 | 3.11 | 0.80 | 0.9989 |
| 2018-3 | 6885 | 114.75 | 84 | 2.63 | 0.73 | 0.9947 |
| 2019-1 | 17771 | 175.80 | 86 | 1.20 | 0.36 | 0.9958 |
| 2019-2 | 19047 | 140.86 | 76 | 1.19 | 0.39 | 0.9973 |
| 2019-3 | 10737 | 186.66 | 74 | 1.49 | 0.47 | 0.9982 |
| 2020-1 | 9519 | 157.04 | 97 | 2.01 | 0.53 | 0.9953 |
| 2020-2 | 12163 | 200.38 | 119 | 1.91 | 0.49 | 0.9963 |
| 2020-3 | 13952 | 232.75 | 118 | 1.46 | 0.34 | 0.9974 |
| 0 h Surface-1 | 18235 | 215.67 | 144 | 2.08 | 0.59 | 0.9947 |
| 0 h Surface-2 | 18891 | 260.93 | 132 | 2.10 | 0.61 | 0.9966 |
| 17 h Surface-1 | 10006 | 139.60 | 72 | 2.04 | 0.68 | 0.9956 |
| 17 h Surface-2 | 12527 | 187.28 | 108 | 2.20 | 0.67 | 0.9871 |
| 30 h Surface-1 | 18142 | 160.33 | 79 | 1.03 | 0.31 | 0.9950 |
| 30 h Surface-2 | 14745 | 151.59 | 78 | 1.01 | 0.31 | 0.9956 |

Table S6 (Continued) Sequencing data and α-diversity of fungal community in Jiuyao other samples

| Samples | Reads | Chao1 | Observed species | Shannon | Simpson | Goods coverage |
| --- | --- | --- | --- | --- | --- | --- |
| 45 h Surface-1 | 18820 | 109.57 | 63 | 0.68 | 0.17 | 0.9982 |
| 45 h Surface-2 | 18292 | 233.99 | 103 | 1.11 | 0.27 | 0.9949 |
| 0 h Inside-1 | 17882 | 237.74 | 147 | 2.04 | 0.61 | 0.9921 |
| 0 h Inside-2 | 15930 | 284.12 | 195 | 2.62 | 0.69 | 0.9974 |
| 17 h Inside-1 | 18960 | 193.77 | 102 | 1.91 | 0.65 | 0.9958 |
| 17 h Inside-2 | 12012 | 208.14 | 81 | 1.51 | 0.44 | 0.9935 |
| 30 h Inside-1 | 19074 | 169.82 | 41 | 1.01 | 0.36 | 0.9976 |
| 30 h Inside-2 | 15823 | 166.13 | 110 | 2.30 | 0.66 | 0.9959 |
| 45 h Inside-1 | 19321 | 218.18 | 94 | 1.38 | 0.43 | 0.9953 |
| 45 h Inside-2 | 14809 | 165.10 | 108 | 2.24 | 0.64 | 0.9963 |
| CYY2019-1 | 14013 | 224.46 | 65 | 0.41 | 0.08 | 0.9924 |
| CYY2019-2 | 15673 | 134.49 | 83 | 0.87 | 0.21 | 0.9952 |
| CYY2019-3 | 10775 | 133.40 | 46 | 0.53 | 0.12 | 0.9955 |
| CYY2020-1 | 6739 | 100.85 | 66 | 1.42 | 0.35 | 0.9958 |
| CYY2020-2 | 17414 | 170.10 | 104 | 1.60 | 0.41 | 0.9932 |
| CYY2020-3 | 16960 | 315.72 | 153 | 1.82 | 0.46 | 0.9963 |
| SYH2019-1 | 17771 | 175.80 | 86 | 1.20 | 0.36 | 0.9958 |
| SYH2019-2 | 19047 | 140.86 | 76 | 1.19 | 0.39 | 0.9973 |
| SYH2019-3 | 10737 | 186.66 | 74 | 1.49 | 0.47 | 0.9982 |
| SYH2020-1 | 9519 | 157.04 | 97 | 2.01 | 0.53 | 0.9953 |
| SYH2020-2 | 12163 | 200.38 | 119 | 1.91 | 0.49 | 0.9963 |
| SYH2020-3 | 13952 | 232.75 | 118 | 1.46 | 0.34 | 0.9974 |
| JH2019-1 | 13007 | 105.20 | 63 | 1.23 | 0.32 | 0.9952 |
| JH2019-2 | 19075 | 235.63 | 134 | 1.79 | 0.48 | 0.9938 |
| JH2019-3 | 14690 | 272.94 | 127 | 1.65 | 0.42 | 0.9952 |
| JH2020-1 | 19115 | 266.96 | 117 | 1.75 | 0.47 | 0.9943 |
| JH2020-2 | 11752 | 169.57 | 93 | 2.07 | 0.62 | 0.9989 |
| JH2020-3 | 19206 | 172.97 | 105 | 2.17 | 0.61 | 0.9977 |
| TP2019-1 | 10042 | 91.14 | 63 | 1.07 | 0.31 | 0.9923 |
| TP2019-2 | 19055 | 125.37 | 72 | 1.54 | 0.49 | 0.9932 |
| TP2019-3 | 10854 | 105.57 | 50 | 1.87 | 0.66 | 0.9964 |
| TP2020-1 | 17199 | 182.39 | 94 | 1.52 | 0.42 | 0.9970 |
| TP2020-2 | 6030 | 96.68 | 68 | 1.73 | 0.53 | 0.9952 |
| TP2020-3 | 14689 | 233.47 | 127 | 1.82 | 0.50 | 0.9939 |

Table S7 The number of differential metabolites between the surface and inside by untargeted metabolomics. The 5 differential metabolites with the top VIP values are listed.

|  | Positive ion mode |  |  | Negative ion mode |  | GC mode |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Up-regulated |  | Down-regulated | Up-regulated | Down-regulated | Up-regulated | Down-regulated |
| 0 h | 224 - Propofol - Iso prostaglandin E2 - (1(10)E,4E,6a,9b)-9-(2-Methylpropanoyloxy)-1(10),4,11(13)-germacratrien-12,6-olide - 2-Hexyl-5-methyl-3(2H)-furanone - 9,10-epoxyoctadecanoic acid | 36 - 11-Rhamnoside - Phenylalanyl-aspartic acid - 11β,20-Dihydroxy-3-oxopregn-4-en-21-oic acid - Azimsulfuron - Mangalkanyl glucoside |  | 61 - 2-Hydroxyoctadecanoic acid - Decanedioic acid - Ricinoleic acid - D-Ornithine - γ-mangostin | 12 - 1-Ketose - Uridine - 1-Dehydro-6-gingerdione - Sucrose - Maltotetraose | - 25 - Tropic acid - Monoolein - Monopalmitin - Coniferyl aldehyde - Xylitol | - 10 - Maltotriitol - Maltitol - Isomaltose - Threo-β-hydroxyaspartic acid - Isomalt |
| 17 h | 275 - Methyl (3B,11X) -3-hydroxy-8-oxo-6-eremophilen-12-oate - Emodin - Homovanillic aldehyde - 7-Paradol - Stearidonic acid | 59 - Nicotinic acid adenine dinucleotide - Biopterin - 2-(4-Hydroxyphenyl)-1,8-naphthalic anhydride - 3β,7α,12α-Trihydroxycholanic acid - Bargustanine |  | 65 - Oxyprim - Sebacic acid - Xanthurenic acid - 5-Aminopentanoic acid - Tetradecanedioic acid | 17 - 2H-1-Benzopyran-3,5,7-triol,2-(3,4-dihydroxyphenyl)-3,4-dihydro - Heptadecanoic acid - Traumatic acid - Isocyanic acid - D-2,3-dihydroxypropanoic acid | 0 | 9 - Dehydroshikimic acid - Hydroxylamine - Glutathione - 3-Hydroxyhexadecanoic acid - Arachidic acid |

- Supplementary Table 1 (Continued)

|  | - Positive ion mode |  | - Negative ion mode |  | - GC mode |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | - Up-regulated | - Down-regulated | - Up-regulated | - Down-regulated | - Up-regulated | - Down-regulated |
| - 30 h | - 249 - N-acetyl-D-glucosamine bisphosphate - γ-Glutamyl-β-(isoxazolin-5-on-2-yl)alanine - L-Acetylcarnitine - 1-β-D-Ribofuranosyl-1,4-dihydropyridine - Benzene | - 74 - Carvyl acetate - Flavin adenine dinucleotide - 1-Methylguanosine - 13,14-Dihydro-15-keto-pgd2 - Lipoxin A4 | - 68 - 11β-Prostaglandin E1 - Ribitol - Vanillic acid - N-methyl-L-Glutamic acid - Dodecanoyl-L-carnitite | - 16 - Prostaglandin H2 - Suberic acid - Undecanoic acid - Stearic acid - Dihydrojasmonic acid | - 5 - Maltotriitol - Palatinitol - Trehalose-6-phosphate - Maltitol - Tartaric acid | - 5 - Galactose - Xylitol - Melibiose - Isomaltose - Dehydroascorbic acid |
| 45 h | - 193 - Mulberry pigment - N-naphthol-1-naphthylamine - 2-Pyrrolidinone - Kynurenine - 4-Acetyl-3-methylpyridine | - 121 - 2-Ethoxy-4-(4-methyl-1,3-dioxolane)-phenol - 18-carboxy-dimethylleukotriene B4 - 6-Dimethylaminopurine - 3-Hydroxytetradecanedioic acid - Oleamide | - 53 - Indole lactic acid - Leucovorin - Estrone sulfate - Trehalose-6-phosphate - 1-Ketose | - 17 - Epibrassinolide - 5,7-dihydroxy-2-(4-hydroxy-3-methoxyphenyl)-3-{[3,4,5-trihydroxy-6-(hydroxymethyl)oxan-2-yl]oxy}-4H-benzo[b]pyran-4-one - Tetradecanedioic acid - L-Asparagine - Protoporphyrin IX | - 0 | - 1 - Purine riboside |