Additional file 1.

The reported MAE represents the intensity difference between the original 512 × 512 CT image and the same image after resizing to 256 × 256 pixels and subsequently restoring it to 512 × 512 pixels using linear interpolation. It therefore estimates the contribution of the resampling procedure to the measured HU difference.

Table S1: MAE introduced by image resampling from 512 × 512 to 256 × 256 and back to 512 × 512 pixels.

| Peripheral | Eroded | Intersection | Patient | FOV |
| --- | --- | --- | --- | --- |
| 29.04 | 9.10 | 11.66 | Patient02 | Complete |
| 31.16 | 11.32 | 13.65 | Patient05 |  |
| 36.75 | 10.63 | 14.08 | Patient08 |  |
| 42.02 | 11.31 | 14.97 | Patient01 | Truncated |
| 35.93 | 9.72 | 13.34 | Patient02 |  |
| 39.04 | 13.20 | 16.85 | Patient03 |  |
| 35.78 | 10.25 | 13.43 | Patient04 |  |
| 38.61 | 12.34 | 15.79 | Patient05 |  |
| 36.29 | 13.33 | 17.02 | Patient06 |  |
| 33.39 | 14.61 | 16.93 | Patient07 |  |
| 38.52 | 15.23 | 18.31 | Patient08 |  |
| 45.98 | 12.01 | 16.83 | Patient09 |  |
| 32.40 | 15.42 | 17.90 | Patient10 |  |
| 43.37 | 9.79 | 14.25 | Patient11 |  |
| 43.53 | 12.95 | 17.33 | Patient12 |  |
| 37.45 | 12.08 | 15.49 | Mean | Both |

A model-specific sCT body mask was additionally evaluated only in the sensitivity analysis to assess the effect of mask definition on the observed results.

Table S2: Sensitivity analysis of the evaluation-mask definition for Linear Correction: Dice similarity between the sCT-derived and constant masks and MAE calculated using the sCT-derived mask compared with the constant mask.

| Peripheral Mask |  | Eroded Mask |  | Intersection Mask |  | Dice | Patient | FOV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constant Mask | sCT Mask | Constant Mask | sCT Mask | Constant Mask | sCT Mask |  |  |  |
| 191.02 | 186.25 | 89.21 | 88.85 | 100.25 | 99.17 | 98.85 | Patient_02 | Complete |
| 173.24 | 169.39 | 79.31 | 78.97 | 89.38 | 88.69 | 99.17 | Patient_05 |  |
| 207.88 | 202.82 | 76.70 | 76.53 | 91.79 | 91.04 | 99.09 | Patient_08 |  |
| 210.65 | 201.95 | 99.48 | 98.93 | 111.77 | 110.41 | 99.31 | Patient_01 | Truncated |
| 212.87 | 208.11 | 107.97 | 106.95 | 120.05 | 118.58 | 98.72 | Patient_02 |  |
| 170.87 | 167.75 | 91.27 | 90.71 | 100.58 | 99.79 | 99.18 | Patient_03 |  |
| 187.86 | 179.17 | 97.05 | 96.48 | 107.10 | 105.61 | 99.16 | Patient_04 |  |
| 181.17 | 178.97 | 87.93 | 87.81 | 98.80 | 98.41 | 99.04 | Patient_05 |  |
| 188.32 | 182.19 | 102.90 | 103.03 | 114.10 | 113.27 | 98.64 | Patient_06 |  |
| 188.64 | 179.77 | 80.37 | 79.58 | 92.51 | 90.81 | 98.93 | Patient_07 |  |
| 159.22 | 155.57 | 71.08 | 71.02 | 81.71 | 81.18 | 99.27 | Patient_08 |  |
| 200.21 | 197.02 | 134.03 | 134.02 | 142.52 | 142.14 | 99.04 | Patient_09 |  |
| 209.54 | 206.91 | 77.61 | 75.64 | 93.67 | 91.79 | 98.92 | Patient_10 |  |
| 237.73 | 226.03 | 131.66 | 130.80 | 144.18 | 142.32 | 98.82 | Patient_11 |  |
| 169.88 | 165.09 | 115.69 | 115.60 | 122.44 | 121.76 | 99.25 | Patient_12 |  |

Table S3: Sensitivity analysis of the evaluation-mask definition for PCC-cGAN: Dice similarity between the sCT-derived and constant masks and MAE calculated using the sCT-derived mask compared with the constant mask.

| Peripheral Mask |  | Eroded Mask |  | Intersection Mask |  | Dice | Patient | FOV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constant Mask | sCT Mask | Constant Mask | sCT Mask | Constant Mask | sCT Mask |  |  |  |
| 192.27 | 196.43 | 70.80 | 71.17 | 83.98 | 84.71 | 98.38 | Patient_02 | Complete |
| 184.03 | 186.88 | 66.06 | 66.20 | 78.70 | 78.99 | 98.52 | Patient_05 |  |
| 187.75 | 195.73 | 66.00 | 66.54 | 80.00 | 81.18 | 98.47 | Patient_08 |  |
| 215.45 | 241.47 | 75.24 | 77.63 | 90.73 | 94.94 | 98.52 | Patient_01 | Truncated |
| 181.46 | 195.75 | 81.25 | 81.69 | 92.79 | 94.52 | 98.47 | Patient_02 |  |
| 165.39 | 167.69 | 76.82 | 77.30 | 87.19 | 87.78 | 98.47 | Patient_03 |  |
| 163.09 | 173.65 | 77.00 | 77.73 | 86.53 | 88.11 | 98.57 | Patient_04 |  |
| 155.87 | 157.39 | 74.61 | 74.59 | 84.09 | 84.21 | 98.35 | Patient_05 |  |
| 175.51 | 177.44 | 86.67 | 86.69 | 98.32 | 98.53 | 98.01 | Patient_06 |  |
| 161.62 | 171.14 | 72.17 | 71.93 | 82.20 | 83.09 | 98.65 | Patient_07 |  |
| 140.46 | 141.94 | 64.43 | 64.41 | 73.60 | 73.72 | 98.37 | Patient_08 |  |
| 183.22 | 192.50 | 98.12 | 99.32 | 109.04 | 110.55 | 97.99 | Patient_09 |  |
| 145.60 | 156.00 | 70.30 | 68.82 | 79.47 | 79.61 | 98.37 | Patient_10 |  |
| 226.53 | 245.42 | 97.74 | 98.51 | 112.95 | 115.38 | 98.28 | Patient_11 |  |
| 174.61 | 182.03 | 92.81 | 93.24 | 103.00 | 104.04 | 98.29 | Patient_12 |  |

Table S4: Sensitivity analysis of the evaluation-mask definition for ResUNet: Dice similarity between the sCT-derived and constant masks and MAE calculated using the sCT-derived mask compared with the constant mask.

| Peripheral Mask |  | Eroded Mask |  | Intersection Mask |  | Dice | Patient | FOV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Constant Mask | sCT Mask | Constant Mask | sCT Mask | Constant Mask | sCT Mask |  |  |  |
| 177.09 | 169.81 | 64.54 | 66.72 | 76.75 | 77.87 | 97.70 | Patient_02 | Complete |
| 164.70 | 164.43 | 63.72 | 65.52 | 74.54 | 76.02 | 97.70 | Patient_05 |  |
| 172.74 | 185.62 | 67.38 | 69.67 | 79.49 | 82.86 | 97.41 | Patient_08 |  |
| 218.03 | 236.73 | 73.52 | 75.55 | 89.49 | 92.94 | 98.46 | Patient_01 | Truncated |
| 171.19 | 174.95 | 74.95 | 76.13 | 86.03 | 87.49 | 98.30 | Patient_02 |  |
| 154.22 | 156.62 | 73.69 | 74.90 | 83.12 | 84.37 | 98.36 | Patient_03 |  |
| 160.18 | 161.28 | 73.27 | 75.46 | 82.89 | 84.88 | 98.25 | Patient_04 |  |
| 165.81 | 165.58 | 72.36 | 72.45 | 83.25 | 83.30 | 98.51 | Patient_05 |  |
| 157.54 | 156.58 | 83.21 | 83.87 | 92.96 | 93.43 | 97.74 | Patient_06 |  |
| 153.54 | 152.42 | 68.14 | 68.91 | 77.72 | 78.28 | 98.36 | Patient_07 |  |
| 138.09 | 138.91 | 61.66 | 61.84 | 70.87 | 71.14 | 98.42 | Patient_08 |  |
| 185.06 | 198.51 | 94.79 | 95.57 | 106.38 | 108.01 | 98.00 | Patient_09 |  |
| 140.48 | 143.15 | 67.90 | 67.18 | 76.74 | 76.58 | 98.18 | Patient_10 |  |
| 217.55 | 232.02 | 92.91 | 95.02 | 107.62 | 110.85 | 98.09 | Patient_11 |  |
| 184.44 | 184.86 | 89.77 | 91.53 | 101.56 | 102.94 | 98.11 | Patient_12 |  |

Localization of gamma failures. failures were classified according to the spatial dose gradient in the reference dose distribution, with 0.5 Gy/mm used as the threshold to distinguish high- and low-gradient regions.

Table S5: Percentage of failures in low and high gradient regions for 3%/3 mm criterion.

| Percentage of failures in CBCT |  | Percentage of failures in sCT |  | Patient | FOV |
| --- | --- | --- | --- | --- | --- |
| high-gradient regions | low-gradient regions | high-gradient regions | low-gradient regions |  |  |
| 62.6% | 37.4% | 54.8% | 45.2% | Patient02 | Complete |
| 93.5% | 06.5% | 93.7% | 06.3% | Patient05 |  |
| 72.6% | 27.4% | 63.7% | 36.3% | Patient08 |  |
| 63.6% | 36.4% | 63.0% | 37.0% | Patient01 | Truncated |
| 67.2% | 32.8% | 68.0% | 32.0% | Patient02 |  |
| 77.0% | 23.0% | 75.5% | 24.5% | Patient03 |  |
| 69.3% | 30.7% | 71.7% | 28.3% | Patient04 |  |
| 86.4% | 13.6% | 88.4% | 11.6% | Patient05 |  |
| 75.9% | 24.1% | 63.4% | 36.6% | Patient06 |  |
| 78.7% | 21.3% | 77.9% | 22.1% | Patient07 |  |
| 80.2% | 19.8% | 80.4% | 19.6% | Patient08 |  |
| 53.8% | 46.2% | 57.2% | 42.8% | Patient09 |  |
| 79.6% | 20.4% | 77.4% | 22.6% | Patient10 |  |
| 75.9% | 24.1% | 73.0% | 27.0% | Patient11 |  |
| 63.1% | 36.9% | 58.9% | 41.1% | Patient12 |  |

Table S6: Mean dose gradient at gamma failure and passing locations for sCT and CBCT across all test patients for 3%/3 mm criterion.

| CBCT - Mean gradient [Gy/mm] |  | sCT - Mean gradient [Gy/mm] |  | Patient | FOV |
| --- | --- | --- | --- | --- | --- |
| Passes | Failures | Passes | Failures |  |  |
| 1.13 | 3.03 | 1.18 | 2.69 | Patient02 | Complete |
| 0.69 | 4.30 | 0.70 | 4.57 | Patient05 |  |
| 1.27 | 4.04 | 1.32 | 3.62 | Patient08 |  |
| 1.63 | 3.16 | 1.65 | 3.34 | Patient01 | Truncated |
| 1.23 | 3.61 | 1.23 | 3.90 | Patient02 |  |
| 1.58 | 5.02 | 1.59 | 5.08 | Patient03 |  |
| 1.40 | 4.12 | 1.38 | 4.56 | Patient04 |  |
| 0.81 | 5.09 | 0.80 | 5.32 | Patient05 |  |
| 2.08 | 4.09 | 2.16 | 4.91 | Patient06 |  |
| 1.37 | 5.13 | 1.38 | 4.99 | Patient07 |  |
| 1.32 | 4.37 | 1.31 | 4.51 | Patient08 |  |
| 1.53 | 2.59 | 1.46 | 3.02 | Patient09 |  |
| 1.79 | 4.84 | 1.79 | 4.70 | Patient10 |  |
| 1.70 | 2.36 | 1.71 | 2.51 | Patient11 |  |
| 1.83 | 1.76 | 1.79 | 1.85 | Patient12 |  |

(a)

(b)

Figure S1: (a) and (b) illustrate the spatial localization of gamma failures for a representative slice for patient05 completed FOV and patienr02 truncated FOV, respectively. Images from left to right are: Reference CT image with sCT gamma failures overlaid in red (failures defined as voxels with gamma index > 1.0 at the 3%/3 mm criterion); (b) Reference CT dose distribution; (c) Gamma index map, where higher gamma values (warmer colors, approaching red) indicate greater disagreement between the sCT and reference dose distributions.

Positive percentage differences indicate overall improvement in gamma passing rate for sCT relative to CBCT, whereas negative values indicate better performance for CBCT.

Table S7. Organ-level gamma passing rate comparison between sCT and CBCT (# = number of).

| Organ | # cases | sCT better in # cases |  | CBCT better in # cases |  | Percentage difference sum (sCT - CBCT) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 3%/3mm | 2%/2mm | 3%/3mm | 2%2mm | 3%/3mm | 2%2mm |
| Bone Mandible | 15 | 4 | 3 | 11 | 12 | -0.45 | -5.93 |
| Brain | 13 | 5 | 5 | 6 | 7 | 3.12 | 3.26 |
| Brainstem | 12 | 6 | 5 | 4 | 4 | 4.86 | -6.38 |
| Oral Cavity | 15 | 7 | 10 | 4 | 4 | 11.95 | 20.04 |
| Thyroid Gland | 14 | 9 | 7 | 4 | 5 | 60.93 | 44.96 |
| Parotids | 15 | 5 | 5 | 6 | 10 | -3.68 | -8.98 |
| Spinal Canal | 12 | 5 | 8 | 6 | 4 | 1.25 | 5.7 |