Table 1. Peak angular velocities (rad/s) of the head and rotational device by measurement method

| Animal | Injury Condition | Transducer-recorded | Video-recorded: Manual |  | Video-recorded: Automated (DLC) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Injury device | Head | Injury device | Head | Injury device |
| 1 | Moderate Velocity | 85.84 | 90.14 | 82.32 | 91.95 | 83.62 |
| 2 |  | 87.89 | 83.16 | 83.64 | 85.87 | 77.62 |
| Average Moderate (SD) |  | 86.87 (1.44) | 86.65 (4.93) | 82.98 (0.93) | 88.91 (4.30) | 80.62 (4.24) |
| 3 | High Velocity | 105.54 | 98.93 | 91.37 | 105.58 | 104.90 |
| 4 |  | 106.66 | 106.64 | 110.78 | 101.44 | 91.19 |
| 5 |  | 108.05 | 118.92 | 95.27 | 125.12 | 102.64 |
| Average High (SD) |  | 106.75 (1.26) | 108.16 (10.09) | 99.14 (10.27) | 110.72 (12.65) | 99.58 (7.35) |
| Average Total (SD) |  | 98.80 (10.95) | 99.56 (13.99) | 92.68 (11.46) | 101.99 (15.07) | 91.99 (11.80) |

Table 2.  Mean Absolute Error (MAE; rad/s) of angular velocity curves between listed conditions.

| Animal | Injury Condition | DLC: device vs. Transducer | DLC: head vs. DLC: device | DLC: head vs. Transducer |
| --- | --- | --- | --- | --- |
| 1 | Moderate Velocity | 9.53 | 6.94 | 13.18 |
| 2 |  | 4.85 | 5.58 | 7.06 |
| Average Moderate (SD) |  | 7.19 (3.31) | 6.26 (0.96) | 10.12 (4.33) |
| 3 | High Velocity | 9.25 | 13.17 | 15.34 |
| 4 |  | 15.61 | 10.33 | 22.44 |
| 5 |  | 13.41 | 13.76 | 24.24 |
| Average High (SD) |  | 12.76 (3.23) | 12.42 (1.83) | 20.67 (4.71) |
| Average Total (SD) |  | 10.53 (4.15) | 9.96 (3.65) | 16.45 (7.01) |

Table 3.  CORrelation and Analysis (CORA) scores of angular velocity curves from the three comparisons: DLC recording of rotational device and transducer recording of the rotational device, DLC recordings of head and rotational device, and DLC recording of head and transducer recording of the rotational device.

| Animal | Injury Condition | DLC: device vs. Transducer | DLC: head vs. DLC: device | DLC: head vs. Transducer |
| --- | --- | --- | --- | --- |
| 1 | Moderate Velocity | 0.89 | 0.89 | 0.78 |
| 2 |  | 0.93 | 0.92 | 0.93 |
| Average Moderate (SD) |  | 0.91 (0.03) | 0.90 (0.02) | 0.86 (0.11) |
| 3 | High Velocity | 0.91 | 0.84 | 0.83 |
| 4 |  | 0.76 | 0.86 | 0.73 |
| 5 |  | 0.86 | 0.78 | 0.66 |
| Average High (SD) |  | 0.84 (0.08) | 0.83 (0.04) | 0.74 (0.09) |
| Average Total (SD) |  | 0.87 (0.07) | 0.86 (0.05) | 0.79 (0.10) |

Table 4. Predicted human male and female injury kinematics, scaled from pig data using brain mass ratios

| Animal | Injury Condition | Female |  | Male |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Max. Angular Velocity (rad/s) | Min. Angular Acceleration (rad/s²) | Max. Angular Velocity (rad/s) | Min. Angular Acceleration (rad/s²) |
| 1 | Moderate Velocity | 34.6 | -2538.3 | 33.4 | -2360.4 |
| 2 |  | 36.2 | -2782.1 | 34.9 | -2587.1 |
| Average Moderate (SD) |  | 35.4 (1.1) | -2660.2 (172.4) | 34.2 (1.1) | -2473.7 (160.3) |
| 3 | High Velocity | 44.2 | -4615.1 | 42.6 | -4291.6 |
| 4 |  | 44.2 | -4379.7 | 42.7 | -4072.7 |
| 5 |  | 43.3 | -4301.5 | 41.7 | -4000.0 |
| Average High (SD) |  | 43.9 (0.5) | -4432.1 (163.2) | 42.3 (0.5) | -4121.4 (151.8) |
| Average Total (SD) |  | 40.5 (4.7) | -3723.4 (981.2) | 39.1 (4.5) | -3462.3 (912.4) |