Supplement

Supplemental Table 1. Train and Test Errors in pixels from DLC

| Animal | Train error (pixels) | Test error (pixels) |
| --- | --- | --- |
| 1 | 1.72 | 3.86 |
| 2 | 1.59 | 2.72 |
| 3 | 2.23 | 2.39 |
| 4 | 2.16 | 3.20 |
| 5 | 1.26 | 1.81 |

Supplemental Table 2.  CORrelation and Analysis (CORA) score comparison of DLC-tracked angular velocity curves across CoR calculation methods: CoRhead from head anatomical points and CoRcombined from all five anatomical points of the head, and CoRdevice from injury device anatomical points and CoRcombined from all five anatomical points of the injury device.

| Animal | Injury Condition | CoRhead vs. CoRcombined |  |  | CoRdevice vs. CoRcombined |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Point 1 (Eye) | Point 2 (Ear) | Point 3 (Snout) | Point 4 (Bite Plate Arm) | Point 5 (Strap) |
| 1 | Moderate Velocity | 0.99 | 0.99 | 0.99 | 0.98 | 0.98 |
| 2 |  | 0.98 | 0.98 | 0.98 | 0.97 | 0.96 |
| Average Moderate (SD) |  | 0.98 (0.01) | 0.98 (0.01) | 0.99 (0.00) | 0.97 (0.01) | 0.97 (0.01) |
| 3 | High Velocity | 0.98 | 0.98 | 0.99 | 0.99 | 0.99 |
| 4 |  | 0.96 | 0.96 | -- | 0.98 | 0.97 |
| 5 |  | 0.99 | 1.00 | 1.00 | 0.99 | 0.98 |
| Average High (SD) |  | 0.98 (0.02) | 0.98 (0.02) | 0.99 (0.01) | 0.99 (0.01) | 0.98 (0.01) |
| Average Total (SD) |  | 0.98 (0.01) | 0.98 (0.01) | 0.99 (0.00) | 0.98 (0.01) | 0.98 (0.01) |

Supplemental Table 3.  Mean Absolute Error (MAE; rad/s) and CORrelation and Analysis (CORA) scores of angular velocity curves between manual tracking of injury device and transducer recording of the injury device.

| Animal | Injury Condition | Manual: device vs. Transducer |  |
| --- | --- | --- | --- |
|  |  | MAE | CORA |
| 1 | Moderate Velocity | 7.10 | 0.93 |
| 2 |  | 4.83 | 0.95 |
| Average Moderate (SD) |  | 5.97 (1.61) | 0.94 (0.01) |
| 3 | High Velocity | 17.63 | 0.72 |
| 4 |  | 14.98 | 0.79 |
| 5 |  | 13.88 | 0.83 |
| Average High (SD) |  | 15.49 (1.93) | 0.78 (0.06) |
| Average Total (SD) |  | 11.68 (5.45) | 0.84 (0.10) |

Supplemental Table 4.  Mean Absolute Error (MAE; rad/s) of angular acceleration curves between listed conditions.

| Animal | Injury Condition | DLC: device vs. Transducer | DLC: head vs. DLC: device | DLC: head vs. Transducer |
| --- | --- | --- | --- | --- |
| 1 | Moderate Velocity | 3465.52 | 3316.36 | 2972.75 |
| 2 |  | 2093.92 | 3065.75 | 4151.34 |
| Average Moderate (SD) |  | 2779.72 (969.86) | 3191.05 (177.21) | 3562.04 (833.39) |
| 3 | High Velocity | 3583.03 | 5247.06 | 5728.89 |
| 4 |  | 4269.41 | 4203.46 | 7272.32 |
| 5 |  | 4209.47 | 6323.18 | 6834.67 |
| Average High (SD) |  | 4020.64 (380.16) | 5257.90 (1059.90) | 6611.96 (795.45) |
| Average Total (SD) |  | 3524.27 (877.14) | 4431.16 (1360.55) | 5392.00 (1811.24) |

Supplemental Table 5.  CORrelation and Analysis (CORA) scores of angular acceleration curves from the three comparisons: DLC recording of injury device and transducer recording of the injury device, DLC recordings of head and injury device, and DLC recording of head and transducer recording of the injury device.

| Animal | Injury Condition | DLC: device vs. Transducer | DLC: head vs. DLC: device | DLC: head vs. Transducer |
| --- | --- | --- | --- | --- |
| 1 | Moderate Velocity | 0.75 | 0.70 | 0.74 |
| 2 |  | 0.76 | 0.52 | 0.68 |
| Average Moderate (SD) |  | 0.76 (0.01) | 0.61 (0.13) | 0.71 (0.04) |
| 3 | High Velocity | 0.77 | 0.60 | 0.68 |
| 4 |  | 0.85 | 0.71 | 0.62 |
| 5 |  | 0.82 | 0.69 | 0.73 |
| Average High (SD) |  | 0.81 (0.04) | 0.67 (0.06) | 0.68 (0.06) |
| Average Total (SD) |  | 0.79 (0.04) | 0.64 (0.08) | 0.69 (0.05) |

Supplemental Figure 1. Example angular velocity and acceleration curves of a transducer recording with raw data (light green), bin smoothed filtered data (dark green), and Butterworth filtered data (royal blue) (A-B). Butterworth filtering of the velocity curve notably reduces noise in the acceleration curve.

Supplemental Figure 2. Manual, automated, and transducer tracking of the device (A-B) and the head (C-D) generates velocity (A, C) and acceleration (B, D) curves. Waveforms have been peak-aligned for comparison.

Supplemental Figure 3. Each subject’s angular velocity curves from the transducer recording, automated DLC recoding of the rotational device, and automated DLC recording of the head. Waveforms have been peak-aligned for comparison.

Supplemental Figure 4. Peak velocity changes for each subject between transducer recording and DLC recording of rotational device (A), between DLC recording of the rotational device and head (B), and between transducer recording and DLC recording of head (C).