| Analytical validation results, Certified Reference Material |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Element | Reference Material | Units | N | Certified Concentration | Found Concentration | Coefficient of Variation ± (%) | Relative Error (%) | Detection Limits (µg/L) | Quantification Limits (µg/L) |
| Arsenic | Montana Soil II | (mg/Kg) | 16 | 105,80 | 105,70 | 5,56 | -0,12 | 0,88 | 2,92 |
| Arsenic | MESS- 3 | (mg/Kg) | 16 | 21,20 | 22,10 | 10,57 | 4,35 | 0,88 | 2,92 |
| Cadmium | MESS- 3 | (mg/Kg) | 16 | 0,24 | 0,29 | 0,50 | 22,55 | 1,86 | 6,20 |
| Copper | Montana Soil II | (mg/Kg) | 16 | 138,00 | 137,10 | 2,18 | -0,64 | 18,48 | 61,59 |
| Copper | MESS- 3 | (mg/Kg) | 16 | 33,90 | 34,50 | 3,63 | 1,81 | 18,48 | 61,59 |
| Iron | Montana Soil II | % p/p | 16 | 2,86 | 2,96 | 0,50 | 3,56 | 33,41 | 111,35 |
| Iron | MESS- 3 | % p/p | 16 | 4,45 | 4,82 | 0,73 | 8,31 | 33,41 | 111,35 |
| Mercury | MESS- 3 | (mg/Kg) | 16 | 0,08 | 0,08 | 6,85 | -1,24 | 0,04 | 0,13 |
| Nickel | Montana Soil II | (mg/Kg) | 16 | 21,70 | 22,40 | 4,18 | 3,41 | 57,50 | 191,65 |
| Nickel | MESS- 3 | (mg/Kg) | 16 | 44,70 | 42,70 | 5,95 | -4,48 | 57,50 | 191,65 |
| Zinc | Montana Soil II | (mg/Kg) | 16 | 403,00 | 403,00 | 1,23 | -0,04 | 25,67 | 86,53 |
| Zinc | MESS- 3 | (mg/Kg) | 16 | 152,00 | 152,00 | 0,87 | 0,92 | 25,67 | 86,53 |

Table 1 Analytical Validation with Certified Reference Materials

| Analytical validation results, percentage recovery of added concentration. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Element | N | Added Concentration | Found Concentration | % of recovery | Coefficient of Variation ± (%) | Relative Error (%) | Detection Limits (µg/L) | Quantificatión Limits (µg/L) |
| Chromium | 16 | 0,05 mg/L | 0,06 mg/L | 112,50 | 17,04 | 12,50 | 8,46 x 10^-5 (mg/L) | 2,82 x 10^-4 (mg/L) |
| Manganese | 16 | 1000,00 µ/L | 1044,97 µ/L | 104,50 | 3,49 | 4,50 | 16,56 | 55,20 |
| Lead | 16 | 200,00 µ/L | 201,76 µ/L | 100,88 | 2,22 | 0,88 | 6,98 | 23,22 |

Table 2.  Analytical validation recovery added concentration.