# Supplementary Information

Companion to: Mechanical Frequency Combs via Three-Wave-Mixing Parametric Excitation: A Scalable Inertial-Sensing Modality

# Supplementary Note S1

## Device-B small-signal measurement and above-threshold comb spectrum

Fig. S1(a) shows the small-signal LDV transmission spectrum of Device B, plotted as out-of-plane velocity scaled by PZT drive voltage. Velocity was measured non-contactly with a Polytec laser Doppler vibrometer at a single point on the bridge, driven through the PZT actuator with a small-signal sinusoid swept across 0–400 kHz. The voltage-scaled peak velocities at the two lines that set the FM-transduction operating point are:

- Mode 1 (≈3.49 kHz, ω1): 2.64×10−1 m s−1 V−1.

- Pump line (≈106.19 kHz, ωp): 2.66×10−2 m s−1 V−1.

The Device-B Mode 2 sits at ≈102.70 kHz, so the three-wave-mixing resonance condition ωp≈ω1+ω2 is satisfied to within the linewidth (3.49+102.70=106.19 kHz). Beyond these three operating lines, the small-signal sweep resolves the full Device-B mode spectrum out to 400 kHz, consistent with the multi-mode linear response reported for Device A in main text Fig. 2(c). All measurements were taken at room temperature and ambient pressure unless otherwise noted.

Fig. S1 — LDV measurement of Device B in the linear and above-threshold regimes. (a) Small-signal velocity transmission spectrum on a 0–400 kHz axis, scaled by PZT drive voltage. Mode 1 (≈3.49 kHz, ω1) and the pump line (≈106.19 kHz, ωp) lie within the swept band; their voltage-scaled peak velocities are listed above. The mode density above ≈200 kHz is consistent with the multi-mode linear response of the same PZT-on-Si bridge platform reported for Device A in main text Fig. 2(c). (b) Above-threshold velocity spectrum of Device B under the pump conditions used for the FM-transduction experiment of main text Figs. 5 and 6: a dominant carrier group near ωp together with harmonic comb groups around 2ωp and 3ωp confirms that the operating point established by panel (a) drives the bridge into three-wave-mixing-induced comb generation.

# Supplementary Note S2

## Shaker-test setup for the accelerometer demonstration

All accelerometer-mode validation experiments (main text Figs. 5 and 6) were performed on the bench-top setup shown in Fig. S2. Mechanical drive is provided by a custom shaker built around a commercial subwoofer driver: the moving cone of the subwoofer acts as the shaker armature, providing a large stroke and a flat low-frequency response that makes it well suited to the ≤100 Hz inertial-loading regime targeted in main text Figs. 5 and 6. A 3D-printed stage is rigidly fixed on top of the subwoofer cone and serves as the mounting platform for the device under test. The MEMS die (Device B) is wire-bonded to a small breakout PCB, which is in turn screwed to the 3D-printed stage; the stage simultaneously (i) raises the device into the focal plane of the LDV objective and (ii) provides additional rotational stiffness of the PCB carrier. Out-of-plane velocity at a single point on the bridge is measured non-contactly with a Polytec laser Doppler vibrometer; the LDV optical head and a co-aligned vision camera are visible in the upper portion of the photograph.

The subwoofer is driven by a single-tone signal-generator output through a power amplifier; the drive frequency, amplitude, and waveform are recorded synchronously with the LDV velocity time series. Because the shaker is custom-built rather than a metrology-grade unit, both the on-stage acceleration amplitude and the harmonic distortion of the cone motion were calibrated in-situ with the LDV itself: out-of-plane velocity of the bare 3D-printed stage was recorded under increasing drive amplitudes, the velocity time series was twice-differentiated (or equivalently scaled by ω) to recover acceleration, and the harmonic content was extracted from the velocity spectrum. This procedure verified that the cone motion remains sinusoidal — with no measurable harmonic distortion above the LDV noise floor — up to peak accelerations of at least ±100 m⋅s−2 (≈±10 g) over the drive bandwidth used in main text Figs. 5 and 6. The drive parameters reported for Figs. 5 and 6 (50 Hz sinusoid, ≈±100 m⋅s−2 peak acceleration) are referenced to this LDV-based calibration. The same setup and calibration procedure are used for both threshold-crossing measurement and for the per-comb-line FM-demodulation runs.

Fig. S2 — Shaker-test bench setup. Mechanical drive is provided by a custom shaker built around a commercial subwoofer driver; a 3D-printed stage is fixed on top of the subwoofer cone to act as the device-mounting platform. The Device-B breakout PCB (red, with the bonded MEMS die visible) is screwed to this 3D-printed stage. Out-of-plane velocity is measured non-contactly by a Polytec laser Doppler vibrometer (top, with a co-aligned vision camera visible); the same LDV is used to calibrate the on-stage acceleration amplitude and to verify the absence of measurable harmonic distortion up to ±10 g. The setup feeds the per-comb-line FM-demodulation chain reported in main text Figs. 5 and 6.

# Supplementary Note S3

## FEM sensitivity sweep: bending-to-tension crossover with bridge thickness

### Model setup

The mechanism under study is the axial-stress stiffening of the clamped–clamped bridge: under an inertial load, the central proof mass deflects out of plane, the clamped–clamped boundary forces mid-plane stretching, and the resulting axial stress shifts the mode-1 eigenfrequency that carries the FM-encoded signal in main text Figs. 5 and 6. To quantify this effect against the device-Si layer thickness h, a 3D static-prestress eigenfrequency study was constructed in COMSOL Multiphysics. The geometry is a deliberately simplified version of the as-fabricated stack of main text Methods: only the device-Si and the PZT layers are simulated, while the SiO​2 BOX, the Ti/Pt bottom electrode, the Au top electrode, and the Si​3N​4 passivation are omitted. These omitted films are sub-200 nm thick (much thinner than the structural Si and PZT layers) and their contribution to the mode-1 eigenfrequency and to the geometric stiffness under axial pre-stress is negligible; removing them substantially reduces the mesh size and the run time of the sweep without altering the physics under study. The bridge footprint (6.70 mm clamped–clamped span with a central proof mass) and the full PZT-on-Si stack defined in main text Methods are held fixed; the PZT thickness is held at its nominal value (2 μm) and only the device-Si thickness is swept, through h∈{5, 10, 15} μm. The bridge is rigidly clamped at both ends and the central proof-mass region is preserved across the sweep so that only the bridge compliance changes. Inertial loading is imposed using COMSOL’s linearly accelerated reference frame applied to the entire structure: the prescribed acceleration a is added uniformly to every material point as an equivalent body force, removing the need for a separately defined gravity load. The acceleration is swept over a∈[0, 200] m⋅s−2 (≈0–20 g); for each value of a the solver first computes the stressed static configuration (and the resulting mid-plane axial stress) and then extracts the mode-1 eigenfrequency f1(a) from a stressed-state eigenmode analysis. Linear elastic material properties are used throughout; piezoelectric coupling is disabled for the sensitivity sweep because the eigenfrequency shift is a purely mechanical (stress-stiffening) effect.

### Results: bending-to-tension crossover

Fig. S3(a) shows the mode-1 eigenmode shape of the simplified two-layer (device-Si + PZT) clamped–clamped bridge, obtained from the COMSOL eigenfrequency analysis. Fig. S3(b) plots the simulated mode-1 frequency shift δf1(a)=f1(a)−f1(0) as a function of out-of-plane acceleration for the three device-Si thicknesses. For the thickest bridge (h=15 μm), δf1 remains essentially flat across the full acceleration range: the flexural restoring stiffness (∝t3) dominates the geometric stiffness (∝t) [3, 4], so the central-mass deflection at a given acceleration is too small to induce significant mid-plane stretching and the eigenfrequency is insensitive to the inertial load. As the device layer is thinned to 10 μm and then to 5 μm, δf1(a) becomes monotonic and progressively steeper: the bridge enters the tension-dominated regime, in which the eigenfrequency shift is set by the axial pre-stress accumulated during mid-plane stretching of a compliant beam. The 5 μm trace exhibits the strongest stress-stiffening response and the largest δf1 at 200 m⋅s−2. The present device (14 μm device Si) therefore sits in the bending-dominated regime, which is consistent with the modest mechanical scale factor reported in main text Figs. 5 and 6 and motivates the thinning roadmap discussed in the Discussion.

### Implications for device scaling

The FEA sweep supports three points relevant to future iterations of the device. (i) Within the geometry studied, the mechanical scale factor of the FM-encoded carrier is set by the competition between flexural and geometric stiffness, and thinning the device-Si layer is the most direct lever — the flexural-to-tension stiffness ratio scales as t2 at fixed footprint (flexural stiffness ∝t3, geometric stiffness ∝t), motivating thinning of the device-Si layer as the primary device-level lever for increased δf1/a. (ii) The crossover from the bending regime into the tension regime occurs in the single-digit-micron thickness range for the present 6.70 mm footprint, which defines a target window for the next process run. (iii) The crossover is a purely geometric/structural effect: it does not require any change to the three-wave-mixing operating principle, to the pump configuration, or to the per-comb-line FM-demodulation pipeline, so the overtone-comb scaling demonstrated on Device B in main text Figs. 5 and 6 carries over directly to a thinned bridge.

Fig. S3 — (a) Mode-1 eigenmode shape of the simplified two-layer (device-Si + PZT) clamped–clamped bridge, from the COMSOL static-prestress eigenfrequency sweep (shown for h = 15 μm under a = 20 m·s⁻²; colour scale: modal displacement magnitude, μm). The sub-200 nm passivation, electrode, and BOX layers of the as-fabricated stack (main text Methods) are omitted because they do not contribute significantly to the eigenmode or to the geometric stiffness under axial pre-stress. (b) Finite-element-simulated mode-1 frequency shift δf1=f1(a)−f1(0) versus out-of-plane acceleration a for device-Si thicknesses h=5, 10, and 15 μm, swept over 0–200 m⋅s−2. Acceleration is applied through COMSOL’s linearly accelerated reference frame. The h=15 μm trace is essentially flat (bending-dominated; flexural stiffness ∝t3); thinning the device layer to 10 μm and 5 μm drives the bridge into the tension-dominated regime, in which mid-plane stretching of the proof-mass-loaded beam produces a monotonic, increasing δf1 (geometric stiffness ∝t).

# Supplementary Note S4

## Linear temporal coupled-mode theory model

Treating the LDV measurement as a single-port complex transmission T(ω) of an N-mode linear resonator with a coherent direct-coupling background t, the TCMT amplitude equations in the slowly-varying envelope and weak-coupling limit reduce to a sum of complex Lorentzians plus a frequency-independent through term [1, 2]:

T(ω) = t + n=1NCnrn/2+j (ωn−ω)

where:

- ωn is the angular eigenfrequency of mode n;

- rn is the energy decay rate (full-width at half-maximum in angular frequency); the loaded quality factor is Qn=ωn/rn;

- Cn∈C is the complex coupling coefficient. Its modulus sets the on-resonance amplitude (|T(ωn)−t|≈2 |Cn|/rn); its phase arg(Cn) selects the line shape — real-positive Cn yields a Lorentzian peak, real-negative Cn yields a dip, and intermediate phases produce asymmetric line-shape profiles;

- t∈C is the coherent direct-coupling background, fitted globally and essential for capturing dip-type features.

Because all line shapes share this single functional form, no per-mode line-shape branching is required.

This single-port multi-mode TCMT is the framework underlying the 18-mode fit of Device A in main text Fig. 2(c) and the linear-regime Device-B spectrum in Fig. S1(a). The per-mode parameters {ωn, rn, Cn} extracted by this fit are the inputs the two-mode nonlinear CMT of main text Methods consumes; the linear-fit quality therefore bounds the nonlinear-model accuracy.

# Supplementary references

[1] H. A. Haus, Waves and Fields in Optoelectronics (Prentice-Hall, Englewood Cliffs, NJ, 1984).

[2] W. Suh, Z. Wang, and S. Fan, “Temporal coupled-mode theory and the presence of non-orthogonal modes in lossless multimode cavities,” IEEE J. Quantum Electron. 40, 1511–1518 (2004).

[3] S. Bouwstra and B. Geijselaers, “On the resonance frequencies of microbridges,” in Tech. Dig. TRANSDUCERS ’91 (IEEE, San Francisco, CA, 1991), pp. 538–542.

[4] S. Schmid, L. G. Villanueva, and M. L. Roukes, Fundamentals of Nanomechanical Resonators (Springer, Cham, 2016).