Supplemental Material

Supplemental Table S1

Correlations Between 24-Hour Garmin HRV and Baseline Laboratory ECG HRV Metrics

| 24-hour Garmin metric | Baseline LF | Baseline HF | Baseline LF/HF | Baseline RMSSD |
| --- | --- | --- | --- | --- |
| RMSSD | .171 | .170 | .056 | .344** |
| LF | .111 | .104 | .004 | .289** |
| HF | .251* | .251* | .014 | .386*** |
| LF/HF ratio | −.191 | −.203 | .008 | −.131 |

Note. N = 84. RMSSD = root mean square of successive differences; LF = low-frequency power; HF = high-frequency power. Values are two-tailed Pearson correlations. *p < .05. **p < .01. ***p < .001.

Supplemental Results

The 24-hour Garmin RMSSD measure was positively correlated with baseline laboratory ECG RMSSD (r = .344, p = .002). The matched association between 24-hour HF and baseline HF was also significant (r = .251, p = .024). In contrast, 24-hour LF was not significantly associated with baseline LF (r = .111, p = .327), and the 24-hour LF/HF ratio was not associated with the baseline LF/HF ratio (r = .008, p = .944). Across nonmatched indices, 24-hour LF and HF were positively associated with baseline RMSSD (r = .289, p = .009, and r = .386, p < .001, respectively), and 24-hour HF was associated with baseline LF (r = .251, p = .025).