Title

Comparative analysis of phthalate leachate in U.S., Oceania, and European recycled consumer PET bottles: assessing the impact of regulatory policies and recycled content.

Supplemental Information

SI Table 1. Phthalate linearity and correlation coefficients

| Timepoint (D) | PAE | Linear Range | Correlation |
| --- | --- | --- | --- |
|  |  | (ug/L) | Coefficient (r2) |
| 0 | DMP | 1 - 500 | 0.998 |
|  | DEP | 1 - 500 | 0.997 |
|  | DBP | 1 - 500 | 0.999 |
|  | BPA | 1 - 500 | 0.997 |
|  | BBP | 1 - 500 | 0.998 |
|  | DEHP | 1 - 500 | 0.994 |
| 1 | DMP | 1 - 500 | 0.998 |
|  | DEP | 1 - 500 | 0.997 |
|  | DBP | 1 - 500 | 0.999 |
|  | BPA | 1 - 500 | 0.997 |
|  | BBP | 1 - 500 | 0.998 |
|  | DEHP | 1 - 500 | 0.994 |
| 3 | DMP | 1 - 500 | 0.998 |
|  | DEP | 1 - 500 | 0.999 |
|  | DBP | 1 - 500 | 0.997 |
|  | BPA | 1 - 500 | 0.996 |
|  | BBP | 1 - 500 | 0.999 |
|  | DEHP | 1 - 500 | 0.996 |
| 7 | DMP | 1 - 500 | 0.996 |
|  | DEP | 1 - 500 | 0.996 |
|  | DBP | 1 - 500 | 0.993 |
|  | BPA | 1 - 500 | 0.996 |
|  | BBP | 1 - 500 | 0.992 |
|  | DEHP | 1 - 500 | 0.997 |

SI Table 2. SPME extraction and percent recovery.

| PAE | Avg % Recovery | SEM % Recovery |
| --- | --- | --- |
| DMP | 187.5 | 8.9 |
| DEP | 253.4 | 8.1 |
| DBP | 417.4 | 8.2 |
| BPA | 92.5 | 15.3 |
| BBP | 313.4 | 8.9 |
| DEHP | 337.3 | 13.4 |

SI Table 3. Chromatographic parameters and CAS numbers of phthalates

| CAS # | Compound name | Retention time (min) | SIM Ions |
| --- | --- | --- | --- |
| 131-11-3 | Dimethyl phthalate (DMP) | 11.791 | 194.1, 163, 133, |
| 84-66-2 | Diethyl phthalate (DEP) | 13.481 | 177.1, 149, 105 |
| 84-74-2 | Dibutyl phthalate (DBP) | 17.388 | 223.1, 149, 104 |
| 80-05-7 | Bisphenol A (BPA) | 19.497 | 213.1, 119.1 |
| 85-68-7 | Benzyl-butyl phthalate (BBP) | 20.946 | 206, 149, 91.1 |
| 117-81-7 | di(2-ethylhexyl) phthalate (DEHP) | 22.564 | 167, 149, 112.1 |

SI Table 4. LOD and LOQ parameters for phthalates

| Compound name | LOD (µg/L) | LOQ (µg/L) |
| --- | --- | --- |
| Dimethyl phthalate (DMP) | 0.16 | 0.47 |
| Diethyl phthalate (DEP) | 0.18 | 0.54 |
| Dibutyl phthalate (DBP) | 0.31 | 0.94 |
| Bisphenol A (BPA) | 0.16 | 0.48 |
| Benzyl-butyl phthalate (BBP) | 0.26 | 0.79 |
| di(2-ethylhexyl) phthalate (DEHP) | 0.31 | 0.93 |

LOD = detection limit; LOQ = quantification limit