SUPPLEMENTARY MATERIAL

Fecal 16S rDNA sequencing

The V3-V4 region of 16S rDNA was amplified using forward (5’ TCGTCGGCAGCGTCAGATGT GTATAAGAGACAGCCTACGG GNGGCWGCAG 3’) and reverse (5’ GTCTCGTGGGCTCGGAGATG TGTATAAGAGACAGGACTAC HVGGGTATCTAATCC 3’) primer sets and performed by the 16S Metagenomic Sequencing Library Preparation Kit (Illumina, San Diego, CA, USA). Illumina sequencing adapters and barcodes were added to the amplicons by PCR amplification using the Nextera XT Index Kit (Illumina, San Diego, CA, USA), according to the manufacturer’s instructions. Amplified DNA sizing was verified by the 4200 TapeStation System (Agilent Technologies, Santa Clara, CA, USA). After library preparation, samples were mixed with MiSeq Reagent Kit v3 (600-cycle) and loaded onto MiSeq cartridges. Using paired 300 bp reads, the 3'-ends of each read were overlapped to generate high‐quality full‐length amplicons of the V3-V4 region. The sequencing run was performed by the MiSeq platform (Illumina, San Diego, CA, USA). Sample preparation, library construction and sequencing were performed by Welgene Biotech Co., Ltd. (Taipei, Taiwan).

OTU analysis and annotation

The paired-end raw FASTQ reads generated from the Illumina MiSeq platform were filtered to remove the Illumina PhiX Control using Bowtie 2.[38] Trimmomatic was used to remove sequences with average QV <20 to produce clean reads.[39] These clean paired-end reads were merged by overlapping sequences using FLASH[40] and low-quality tails and primers were then trimmed and filtered based on length using mothur software[41] to produce filtered tags. USEARCH was used to remove PCR chimeras to produce effective tags and to construct OTUs (Operational Taxonomic Units) at 97% sequence identity.[42] Taxonomy assignment of OTU sequences was performed using mothur with the SILVA database v132.[43] Taxa abundancy and rank abundance curves were calculated and plotted using Qiime.[44] Alpha diversity indices (Shannon diversity ) were calculated using mothur.[45] Beta diversity indices (Bray-Curtis matrix, principal coordinates analysis [PCOA]) were calculated using the VEGAN R package.[46] OTU analysis and annotation was performed by Welgene Biotech Co., Ltd. (Taipei, Taiwan).

Biomarker analysis used the linear discriminant analysis effect size (LEfSe) method to determine differences in abundance amongst bacterial taxa under natural air conditions.