Protocol P1: Detailed thermocycling profiles and master mix compositions for conventional, nested, and quantitative PCR tests

1) Conventional PCR for preparation of the calibration curve

- primers described in Strepparava et al. (2014)

  - F. psy_qPCR_F - 5’-GAAGATGG AGAAGGTAATTTAGTTGATATT-3‘

  - F.psy_qPCR_R - 5’- CAAATAACATCTCCTTTTTCTACAACTTGA-3’

- total volume of reaction: 20 µl

  - 10 µl of PPP Master Mix (Top Bio, Czech Republic)

  - 7 µl PCR Ultra H2O (Top Bio, Czech Republic)

  - 10 pmol of each primer

  - 1 µl of DNA

- thermocycling profile

  - 95 °C - 15 minutes

  - 40 cycles

    - 95 °C - 20 seconds

    - 60 °C - 30 seconds

    - 72 °C - 30 seconds

  - 72 °C - 30 minutes

2) TaqMan qPCR

- primers and probe described in Strepparava et al. (2014)

  - F. psy_qPCR_F - 5’-GAAGATGG AGAAGGTAATTTAGTTGATATT-3‘

  - F.psy_qPCR_R - 5’- CAAATAACATCTCCTTTTTCTACAACTTGA-3’

  - Fp_qPCR_probe - 5’- AAACGGGTATTC TTCTTG CTACA -3

- total volume of reaction: 20 µl

  - 10 µL of Easy PCR Master Mix (Generi Biotech, Czech Republic)

  - 6.4 µL of PCR Ultra H2O (Top Bio, Czech Republic)

  - 60 pmol of each primer

  - 40 pmol of the probe

  - 2 µL of DNA

- thermocycling profile

  - 95 °C – 2 minutes

  - 45 cycles

    - 95 °C - 5 seconds

    - 60 °C - 40 seconds

  - 95 °C - 10 seconds

  - 40 °C - 40 seconds

3) SYBR Green qPCR

- primers described in Strepparava et al. (2014)

  - F. psy_qPCR_F - 5’-GAAGATGG AGAAGGTAATTTAGTTGATATT-3‘

  - F.psy_qPCR_R - 5’- CAAATAACATCTCCTTTTTCTACAACTTGA-3’

- total volume of reaction: 10 µl

  - 5 µL of SYBR Green mix (Roche, USA)

  - 1 µL of PCR Ultra H2O (Top Bio, Czech Republic)

  - 0,1 µmol of each primer

  - 2 µL of DNA

- thermocycling profile

  - 95 °C - 15 minutes

  - 40 cycles

    - 95 °C - 20 seconds

    - 60 °C - 30 seconds

    - 72 °C - 30 seconds

  - 72 °C - 5 minutes

4) Conventional PCR – F. psychrophilum identification

- primers described in Toyama et al. (1994)

  - PSY1 - 5'- CGATCCTACTTGCGTAG-3‘

  - PSY2 - 5'-GTTGGCATCAACACACT-3‘

- total volume of reaction: 20 µl

  - 10 µl of PPP Master Mix (Top Bio, Czech Republic)

  - 7 µl of PCR Ultra H2O (Top Bio, Czech Republic)

  - 10 pmol of each primer

  - 1 µl of DNA

- thermocycling profile

  - 94 °C - 4 minutes

  - 40 cycles

    - 94 °C - 45 seconds

    - 52.5 °C - 60 seconds

    - 72 °C - 60 seconds

  - 72 °C - 5 minutes

5) nested PCR

First reaction

- primers described in Weisburg et al. (1991)

  - 20F - 5‘-AGAGTTTGATCATGGCTCAG-‘3

  - 1500R - 5‘-GGTTACCTTGTTACGACTT-‘3

- total volume of reaction: 25 µl

  - 10 µl of PPP Master Mix (Top Bio, Czech Republic)

  - 8 µl of PCR Ultra H2O (Top Bio, Czech Republic)

  - 10 pmol of each primer

  - 5 µl of DNA

- thermocycling profile

  - 95 °C - 5 minutes

  - 35 cycles

    - 94 °C - 30 seconds

    - 56 °C - 30 seconds

    - 72 °C - 90 seconds

  - 72 °C - 10 minutes

Second reaction

- primers described in Toyama et al. (1994)

  - PSY1 - 5'- CGATCCTACTTGCGTAG-3‘

  - PSY2 - 5'-GTTGGCATCAACACACT-3‘

- total volume of reaction: 20 µl

  - 10 µl of PPP Master Mix (Top Bio, Czech Republic)

  - 7 µl of PCR Ultra H2O (Top Bio, Czech Republic)

  - 10 pmol of each primer

  - 1 µl of DNA

- thermocycling profile

  - 94 °C - 4 minutes

  - 40 cycles

    - 94 °C - 45 seconds

    - 52,5 °C - 60 seconds

    - 72 °C - 60 seconds

  - 72 °C - 5 minutes