Tables

Table 1

The value of the crucial parameter

| a | Cp | CT | f |
| --- | --- | --- | --- |
| 0.2 | 0.64 | 0.64 | 1.00 |
| 0.3 | 0.59 | 0.84 | 1.71 |
| 0.4 | 0.58 | 0.96 | 2.67 |
| 0.5 | 0.50 | 1.00 | 4.00 |
| 0.6 | 0.38 | 1.04 | 6.50 |
| 0.7 | 0.25 | 1.16 | 12.89 |
| 0.8 | 0.13 | 1.36 | 40.00 |

Table 2

The CCD factorial design levels in coding and natural formats

| Variable level | The positioning of the turbine (h) | The axial induction (a) |
| --- | --- | --- |
| Low (-1) | 0.03m | 0.2 |
| Center (0) | 0.46m | 0.5 |
| High (+1) | 0.73m | 0.8 |

Table 3

The design matrix runs with the correspondingly observed responses

| The design matrix runs | Natural variable |  | Coded variable |  | Response ∆JEuo (WK) |
| --- | --- | --- | --- | --- | --- |
|  | h (m) | a | X1 | X2 |  |
| 1 | 0.03m | 0.2 | -1 | -1 | 138930 |
| 2 | 0.03m | 0.8 | -1 | 1 | 138821 |
| 3 | 0.46m | 0.5 | 0 | 0 | 136756 |
| 4 | 0.46m | 0.5 | 0 | 0 | 136443 |
| 5 | 0.73m | 0.2 | 1 | -1 | 138875 |
| 6 | 0.73m | 0.8 | 1 | 1 | 142223 |
| 7 | 0.84m | 0.5 | 1.414 | 0 | 139225 |
| 8 | 0.07m | 0.5 | -1.414 | 0 | 138444 |
| 9 | 0.46m | 0.92 | 0 | 1.414 | 140745 |
| 10 | 0.46m | 0.08 | 0 | -1.414 | 142062 |

Table 4

The CFD calculations with the application of the RSM optimization outcome

| Rack Identification | Heat dissipation (kW) | Server maximum inlet temperature (C) | Server maximum outlet temperature (C) |
| --- | --- | --- | --- |
| Rack-A1 | 12 | 17.99 | 28.63 |
| Rack-A2 | 12 | 16.48 | 27.14 |
| Rack-A3 | 12 | 15.14 | 25.66 |
| Rack-A4 | 12 | 14.69 | 25.35 |
| Rack-A5 | 12 | 16.55 | 27.20 |