CXS-YOLO: a lightweight bird-nest detection model for UAV inspection of overhead transmission lines

Rui Li*,Yaozhong Mei1,Xiaoya Shang1,Lixiao Wang1,Conghuan Yang1,Fei Xiao1,Liangfeng Wang

Test-set results across random seeds

To assess run-to-run variation, we trained CXS-YOLO and YOLO11n using random seeds 0, 42 and 3407 under otherwise identical settings. Each trained model was evaluated on the same held-out test set. Supplementary Table S1 reports the run-level metrics and within-seed differences, calculated as CXS-YOLO minus YOLO11n. Supplementary Table S2 summarises the results as the mean ± sample standard deviation (SD) across three runs per model. Because only three runs were evaluated, these results are interpreted descriptively, and no inferential statistical test was performed.The seed 0 results in Supplementary Table S1 correspond to the results reported in Table 5 of the main manuscript.

CXS-YOLO achieved higher Precision, mAP@0.5 and Recall than YOLO11n for all three seeds, with mean paired improvements of 1.8, 1.1 and 0.6 percentage points, respectively. The mean improvement in mAP@0.5:0.95 was 0.5 percentage points, although the difference was negative for seed 42 (−0.3 percentage points). These results support the consistency of the improvements in precision, mAP@0.5 and recall across the three training runs. Gains in mAP@0.5:0.95 were less consistent.

Supplementary Table S1. Run-level test-set metrics and paired differences for each random seed.

| Seed | Model | Precision (%) | mAP@0.5 (%) | mAP@0.5:0.95 (%) | Recall (%) |
| --- | --- | --- | --- | --- | --- |
| 0 | CXS-YOLO | 89.6 | 84.9 | 49.8 | 83.4 |
| 0 | YOLO11n | 87.4 | 83.3 | 48.8 | 82.5 |
| 0 | CXS-YOLO − YOLO11n | +2.2 | +1.6 | +1.0 | +0.9 |
| 42 | CXS-YOLO | 89.1 | 84.4 | 49.1 | 83.5 |
| 42 | YOLO11n | 87.7 | 83.8 | 49.4 | 83.2 |
| 42 | CXS-YOLO − YOLO11n | +1.4 | +0.6 | −0.3 | +0.3 |
| 3407 | CXS-YOLO | 89.2 | 84.6 | 49.6 | 83.8 |
| 3407 | YOLO11n | 87.2 | 83.5 | 48.8 | 83.2 |
| 3407 | CXS-YOLO − YOLO11n | +2.0 | +1.1 | +0.8 | +0.6 |

Supplementary Table S2. Summary of test-set metrics across three random seeds. Values are means ± sample standard deviations; n denotes the number of independent training runs per model. Paired differences were calculated as CXS-YOLO minus YOLO11n and are reported in percentage points.

| Model | Precision (%) | mAP@0.5 (%) | mAP@0.5:0.95 (%) | Recall (%) | n |
| --- | --- | --- | --- | --- | --- |
| CXS-YOLO | 89.3 ± 0.3 | 84.6 ± 0.3 | 49.5 ± 0.4 | 83.6 ± 0.2 | 3 |
| YOLO11n | 87.4 ± 0.3 | 83.5 ± 0.3 | 49.0 ± 0.3 | 83.0 ± 0.4 | 3 |
| CXS-YOLO − YOLO11n | +1.8 ± 0.5 | +1.1 ± 0.5 | +0.5 ± 0.7 | +0.6 ± 0.3 | 3 pairs |

School of Low-Altitude Equipment and Intelligent Control, Guangzhou Maritime University, Guangzhou 510725, China;

²Yangjiang Power Supply Bureau, Guangdong Power Grid Co., Ltd., Yangjiang 529500, China;

*Correspondence and requests for materials should be addressed to Rui Li (email: ruili@gzmtu.edu.cn).