Supplementary Information

The wind resource of Northeast Brazil as a climate variable: decadal variability, regional model bias and projected change at turbine hub height

Text S1. Supplementary methods.

Anemometric series and quality control. Each mast carries three measurement levels, namely two redundant cup anemometers at the top, separated vertically by 1.5 to 2 m (78/76.5 m; 80/78 m; 90/88 m; 95/93 m), and a third level between 30 and 58 m, together with auxiliary sensors of direction, temperature, humidity, and pressure. The series were exported from the Windographer software (version 4.2) with the flagging of invalid records applied by the operator. Records are hourly means through 2024 and 10-min means in 2025, converted into hourly means before processing. The 14 masts installed between 2019 and 2022 at a fourth complex (123 m tall) and four masts with short or discontinued series were excluded, since their records were too short for the trend and variability tests, remaining reserved for future work. Instrumental consistency was verified through the annual ratio between the two redundant top anemometers of each mast, which remained between 0.98 and 1.01 at all stations and years (except 0.967 at LN1 in the first half of 2013); at JC1, the change in the mast configuration in January 2024 (lower level moved from 58 m to 30 m, upper level kept at 80 m) was verified through the continuity of the upper-level means.

Aggregation chain. Hourly means of the upper level were converted into daily means, valid when at least 18 valid hours were available in the day; daily means into monthly means, valid with at least 20 days; and monthly means into annual means, computed as the mean of the monthly anomalies relative to the climatology of each station (valid with at least eight months) added to the climatological mean, a procedure that avoids the seasonal bias of incomplete years. The daily projections of the Eta-GCMs were aggregated in exactly the same way.

Shear and the 100-m equivalent. For the comparison with the Eta W100, the measurements of the upper level (78 to 95 m) were compared directly and, as a complementary analysis, extrapolated to 100 m through the power law, with the shear exponent α estimated for each station and calendar month from the hourly means of the upper and lower levels of the mast (Gualtieri 2019). The mean values of α lie between 0.15 and 0.28 (0.38 at JC1; Table 1 of the article), and the resulting correction factor is 1.5 to 8.8%, small compared with the model biases.

Evaluation metrics. For each station, member, and scenario, the raw Eta series were compared with the observations over the period of each station in terms of mean bias (in m·s-1 and percent, at the measurement level and at the 100-m equivalent); root-mean-square error of the monthly means; correlation and amplitude ratio between the monthly climatologies (phase and amplitude of the seasonal cycle); correlation between the deseasonalized monthly anomalies and the ratio of their standard deviations (synchrony and magnitude of interannual variability); overlap between the frequency distributions of daily speeds (Perkins skill score) in 0.5 m·s-1 bins; ratio between the means of the cubes; and trends of the annual model series over 2006 to 2025. The same metrics were computed for the mean of the available members. The free-running character of the scenario runs, which makes only the climatology and the long-term change comparable with observations, follows Santos et al. (2018).

Machine-learning transfer test. The regressors map, on the monthly scale, the Eta W100 (contemporaneous and with lags of one to three months) and harmonic calendar terms onto the observed speed. Linear Regression, K-nearest neighbors (Cover and Hart 1967), Random Forest (Breiman 2001), and Gradient Boosting (Friedman 2001) were compared, implemented in scikit-learn (Pedregosa et al. 2011), under leave-one-year-out cross-validation (Bergmeir and Benítez 2012; Bergmeir et al. 2018), and evaluated by MAE, RMSE, and MAPE (Hyndman and Koehler 2006), by the correlation with the observations, and by the correlation between predicted and observed deseasonalized anomalies. As references, the monthly climatology of the training period and the correction of the Eta by the monthly observation/model ratio were evaluated; as a counterpoint, an autoregressive model with lags of 1 and 12 months of the observed series itself, whose one-step-ahead accuracy is not transferable to the projection horizon. Finally, each regressor fitted with all years was applied to the future Eta series, and the change projected between 2006–2024 and 2045–2054 (or 2070–2099) was compared with the change of the raw model series through the slope of the regression between the two, measuring the fraction of the change signal transmitted.

Quantile delta mapping and change factors. The QDM was applied in multiplicative form and per calendar month. For each future day, its empirical cumulative probability in the distribution of the model future window is identified, the ratio between the future quantile and the model reference quantile at that probability is computed, and this ratio is applied to the corresponding observed quantile, which corrects the distribution bias while preserving the relative change of each quantile projected by the model. The change factor (delta method) was computed as the ratio between the model mean in the future window and in the reference period, for the speed and for its cube, in total and per calendar month. Changes were expressed relative to the corrected reference period (equivalent to the observed mean) and, as a complementary analysis, relative to the observed mean of 2021–2025. The agreement criterion of a common sign in at least three of four members follows Costoya et al. (2019) and Soares et al. (2019), and the significance of each member’s future-minus-reference difference was tested with the Mann–Whitney test (Mann and Whitney 1947) at the 5% level; monotonic trends use the Mann–Kendall framework (Kendall 1975; Mann 1945).

Power density. The sensitivity of generation to speed stems from the cubic relation P/A = ½ρU3, where ρ is the air density (Manwell et al. 2009); at real wind farms the amplification observed in production is on the order of a factor of two, because the power curve saturates above the rated speed (Solaun and Cerdá 2020; Wachsmuth et al. 2013). Power-density changes were computed from the means of the cubes of the daily corrected series, aware that daily aggregation underestimates the absolute power density computed from hourly data; since the interest lies in relative changes, this effect cancels out (Davy et al. 2018; Soares et al. 2019). The effect of warming on air density (about -0.3% per °C) was considered second order (Pašičko et al. 2012).

Text S2. Detailed evaluation of the Eta biases by complex and member. On the Ibiapaba Plateau, the Eta-CanESM2 is the member closest to the observations (-6 to -11%), followed by the Eta-BESM (-15 to -20%), while the Eta-HadGEM2-ES and the Eta-MIROC5 underestimate the mean speed by 24 to 28%; the mean of the four members lies 18 to 21% below the observations at the measurement level and 22 to 25% below the 100-m equivalent. On the Serra de Santana the biases are the largest of the whole set and affect all members, reaching -25 to -36% at LN1 and -17 to -32% at LN4, -12 to -28% at LN2, -4 to -22% at LN3, and -10 to -17% at LN5 for the other members, where the Eta-CanESM2 and the Eta-MIROC5 are nearly unbiased (+2 to -2%). On the northern coast the biases are smaller and of variable sign. The Eta-CanESM2 overestimates JC1 by 5% and underestimates JC2 by 3%, the Eta-MIROC5 is practically unbiased at JC1 and underestimates JC2 by 8%, and the Eta-HadGEM2-ES and the Eta-BESM underestimate by 7 to 17% and 15 to 21%. In the rainy season (February to May), the Eta-GCMs produce mean speeds of 3.0 to 4.9 m·s-1 on the Ibiapaba Plateau and 3.6 to 6.8 m·s-1 on the Serra de Santana, against observed values of 6.3 m·s-1 and 6.8 to 7.9 m·s-1; between August and November the models approach the observations (7.5 to 9.2 m·s-1 against 9.0 m·s-1 on the Ibiapaba) and, on the northern coast and at LN5, even exceed them.

Text S3. Member-by-member projections and comparison with the 2021–2025 reference. On the Ibiapaba Plateau, the Eta-CanESM2 is the member projecting the largest increases in 2045–2054 (+7 to +10%), followed by the Eta-HadGEM2-ES (+4 to +5%); the Eta-BESM projects stability under RCP4.5 (-0.7%) and increase under RCP8.5 (+5 to +6%), and the Eta-MIROC5 projects changes between -1.4 and +1.6%. On the Serra de Santana, the Eta-CanESM2, which projects the largest increases in CE, is the member projecting the largest declines under RCP8.5 (-2.7 to -3.5% in 2045–2054; -7.8 to -8.8% in 2070–2099), while the Eta-MIROC5 projects increases of +1.2 to +2.5% in 2045–2054. The linear trends of the raw Eta-GCM series in 2025–2054 are positive in three or four members in the CE cells (+1.7 to +2.5% per decade on average), in two or three on the northern coast (+0.7 to +0.8% per decade), and in one to three on the Serra de Santana (+0.5 to +1.1% per decade), always with only one member significant. Relative to the observed mean of the last five years (2021–2025), which is the reference of anyone planning today, the levels projected for 2045–2054 are higher by +4.6 to +7.8% in CE, by +2.5 to +3.7% on the northern coast, and by +0.6 to +2.6% on the Serra de Santana, because the full climatology of the stations, onto which the changes are applied, includes the windy years of 2015–2017. In 2025–2034, the projected changes in power density are -0.2 to -7.5% on the Ibiapaba, -1.5 to -4.4% on the northern coast, and -2.4 to -5.8% on the Serra de Santana.

Table S1. Pearson correlation between the monthly percentage anomalies of wind speed (per station and per regional mean) and the ONI, on the monthly, quarterly (three-month running mean), and annual scales (annual means with at least eight valid months).

| Series | n (months) | r monthly | p | r (3-month running mean) | p | n (years) | r annual | p |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SR1 | 126 | 0.37 | <0.001 | 0.44 | <0.001 | 11 | 0.67 | 0.023 |
| SR2 | 125 | 0.28 | 0.001 | 0.36 | <0.001 | 11 | 0.63 | 0.038 |
| SR3 | 128 | 0.33 | <0.001 | 0.41 | <0.001 | 11 | 0.68 | 0.020 |
| SR4 | 121 | 0.24 | 0.009 | 0.31 | <0.001 | 11 | 0.67 | 0.025 |
| SR5 | 125 | 0.29 | <0.001 | 0.36 | <0.001 | 11 | 0.64 | 0.035 |
| LN1 | 141 | -0.02 | 0.847 | -0.01 | 0.941 | 12 | 0.45 | 0.142 |
| LN2 | 121 | 0.14 | 0.131 | 0.18 | 0.045 | 10 | 0.53 | 0.116 |
| LN3 | 129 | 0.01 | 0.918 | 0.02 | 0.843 | 11 | 0.53 | 0.095 |
| LN4 | 131 | 0.03 | 0.748 | 0.05 | 0.565 | 11 | 0.50 | 0.119 |
| LN5 | 147 | -0.05 | 0.565 | -0.05 | 0.580 | 12 | 0.44 | 0.154 |
| JC1 | 170 | -0.12 | 0.131 | -0.15 | 0.059 | 14 | 0.09 | 0.759 |
| JC2 | 117 | -0.11 | 0.229 | -0.23 | 0.015 | 10 | 0.11 | 0.752 |
| CE mean | 129 | 0.31 | <0.001 | 0.39 | <0.001 | 11 | 0.66 | 0.026 |
| RN mean | 174 | -0.08 | 0.279 | -0.10 | 0.179 | 14 | 0.23 | 0.437 |
| Overall mean | 174 | 0.06 | 0.401 | 0.09 | 0.256 | 14 | 0.40 | 0.151 |

Table S2. Pearson correlation between the monthly percentage anomalies of wind speed and the tropical Atlantic indices TSA, TNA, and TNA−TSA gradient (SST anomalies, HadISST1.1, climatology 1991–2020; NOAA PSL 2026), on the monthly and annual scales (annual means with at least eight valid months). The ONI column (monthly scale; Table S1) is reproduced for comparison.

| Station | n (months) | r ONI (monthly) | r TSA (monthly) | p | r TNA (monthly) | r TNA−TSA (monthly) | r TSA (annual) | p (annual) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SR1 | 126 | +0.37 | -0.32 | <0.001 | -0.10 | +0.14 | -0.42 | 0.196 |
| SR2 | 125 | +0.28 | -0.30 | <0.001 | -0.02 | +0.21 | -0.39 | 0.241 |
| SR3 | 128 | +0.33 | -0.26 | 0.003 | -0.03 | +0.18 | -0.36 | 0.275 |
| SR4 | 121 | +0.24 | -0.34 | <0.001 | -0.01 | +0.24 | -0.39 | 0.235 |
| SR5 | 125 | +0.29 | -0.29 | <0.001 | -0.02 | +0.20 | -0.41 | 0.209 |
| LN1 | 141 | -0.02 | -0.38 | <0.001 | -0.26 | +0.04 | -0.56 | 0.059 |
| LN2 | 121 | +0.14 | -0.28 | 0.002 | -0.14 | +0.07 | -0.58 | 0.080 |
| LN3 | 129 | +0.01 | -0.24 | 0.005 | -0.14 | +0.05 | -0.42 | 0.196 |
| LN4 | 131 | +0.03 | -0.30 | <0.001 | -0.19 | +0.05 | -0.57 | 0.067 |
| LN5 | 147 | -0.05 | -0.40 | <0.001 | -0.22 | +0.09 | -0.60 | 0.040 |
| JC1 | 170 | -0.12 | -0.41 | <0.001 | -0.29 | +0.08 | -0.76 | 0.002 |
| JC2 | 117 | -0.11 | -0.36 | <0.001 | -0.32 | -0.05 | -0.53 | 0.113 |
| CE mean | 129 | +0.31 | -0.29 | <0.001 | -0.03 | +0.20 | -0.39 | 0.232 |
| RN mean | 174 | -0.08 | -0.45 | <0.001 | -0.28 | +0.13 | -0.76 | 0.002 |
| Overall mean | 174 | +0.06 | -0.46 | <0.001 | -0.22 | +0.19 | -0.67 | 0.009 |

Fig. S1. Frequency distribution of the observed daily speeds (histogram) and of the raw W100 of each Eta-GCM under RCP4.5 (lines), over the period of each station.

Table S3. Relative bias of the raw W100 of each Eta-GCM with respect to the observed speed at the measurement level, over the period of each station, given as the mean of the two scenarios and, in brackets, the RCP4.5 and RCP8.5 values. The last two columns refer to the mean of the available members, at the measurement level and relative to the 100-m equivalent.

| Station | Obs. (m·s-1) | Obs. U100 eq. (m·s-1) | Eta-BESM (%) | Eta-CanESM2 (%) | Eta-HadGEM2-ES (%) | Eta-MIROC5 (%) | Ensemble (%) | Ensemble vs U100 eq. (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SR1 | 7.61 | 7.99 | -17.4 [-21.4; -13.4] | -8.8 [-9.1; -8.4] | -26.2 [-28.8; -23.6] | -26.0 [-26.2; -25.8] | -19.6 | -23.5 |
| SR2 | 7.73 | 8.05 | -18.2 [-22.2; -14.2] | -9.9 [-10.2; -9.7] | -27.1 [-29.6; -24.7] | -27.1 [-27.1; -27.1] | -20.6 | -23.7 |
| SR3 | 7.48 | 7.88 | -15.2 [-19.3; -11.2] | -6.4 [-6.6; -6.1] | -24.5 [-27.2; -21.8] | -24.3 [-24.8; -23.7] | -17.6 | -21.7 |
| SR4 | 8.37 | 8.71 | -19.8 [-23.8; -15.9] | -10.7 [-10.9; -10.6] | -27.7 [-29.8; -25.5] | -24.8 [-25.4; -24.1] | -20.8 | -23.8 |
| SR5 | 7.70 | 8.18 | -17.8 [-21.8; -13.8] | -9.0 [-9.1; -9.0] | -26.6 [-29.2; -24.0] | -26.2 [-26.8; -25.6] | -19.9 | -24.6 |
| LN1 | 7.80 | 7.92 | -35.5 [-36.2; -34.8] | -25.0 [-25.1; -24.9] | -35.0 [-35.2; -34.8] | -26.4 [-26.9; -26.0] | -30.5 | -31.6 |
| LN2 | 8.93 | 9.35 | -27.0 [-28.2; -25.8] | -12.4 [-12.8; -11.9] | -24.0 [-24.8; -23.2] | -14.2 [-14.7; -13.7] | -19.4 | -23.0 |
| LN3 | 8.15 | 8.31 | -20.3 [-21.7; -19.0] | -3.9 [-4.1; -3.7] | -16.3 [-16.5; -16.1] | -6.5 [-7.0; -5.9] | -11.8 | -13.5 |
| LN4 | 9.41 | 9.90 | -31.0 [-31.8; -30.3] | -17.6 [-17.8; -17.3] | -27.5 [-28.3; -26.8] | -19.2 [-20.0; -18.3] | -23.8 | -27.6 |
| LN5 | 8.98 | 9.37 | -16.1 [-17.3; -15.0] | +1.5 [+1.2; +1.8] | -10.3 [-10.7; -10.0] | -1.6 [-1.8; -1.4] | -6.6 | -10.6 |
| JC1 | 7.96 | 8.66 | -14.6 [-15.0; -14.2] | +4.6 [+4.6; +4.7] | -7.5 [-7.8; -7.2] | -0.0 [-0.5; +0.4] | -4.4 | -12.1 |
| JC2 | 8.56 | 8.68 | -21.0 [-21.1; -21.0] | -3.3 [-3.5; -3.0] | -16.0 [-17.1; -15.0] | -8.4 [-8.5; -8.2] | -12.2 | -13.4 |

Table S4. Percentage change of the projected mean speed per decade (QDM) relative to the reference period, by station and scenario, given as the mean across members [minimum; maximum] and, in parentheses, the number of members sharing the sign of the mean.

| Station | Scenario | ΔU 2025–2034 (%) | ΔU 2035–2044 (%) | ΔU 2045–2054 (%) |
| --- | --- | --- | --- | --- |
| SR1 | RCP4.5 | -0.1 [-8.8; +8.2] (2/4) | +0.5 [-5.9; +6.2] (2/4) | +3.8 [-0.7; +9.4] (3/4) |
|  | RCP8.5 | -2.7 [-5.2; +0.5] (3/4) | +0.1 [-3.1; +3.9] (2/4) | +4.5 [-0.8; +9.2] (3/4) |
| SR2 | RCP4.5 | -0.1 [-8.8; +8.3] (2/4) | +0.5 [-5.9; +6.3] (2/4) | +3.9 [-0.7; +9.5] (3/4) |
|  | RCP8.5 | -2.8 [-5.2; +0.5] (3/4) | +0.1 [-3.2; +4.0] (2/4) | +4.6 [-0.8; +9.3] (3/4) |
| SR3 | RCP4.5 | +0.0 [-8.8; +8.4] (2/4) | +0.6 [-5.9; +6.3] (2/4) | +3.9 [-0.7; +9.6] (3/4) |
|  | RCP8.5 | -2.7 [-5.2; +0.5] (3/4) | +0.2 [-3.2; +4.0] (2/4) | +4.6 [-0.9; +9.5] (3/4) |
| SR4 | RCP4.5 | -0.6 [-8.0; +7.5] (2/4) | +0.3 [-5.8; +6.5] (2/4) | +3.1 [-0.7; +8.0] (3/4) |
|  | RCP8.5 | -3.0 [-5.3; +0.3] (3/4) | -0.5 [-3.2; +3.2] (2/4) | +3.5 [-1.4; +6.8] (3/4) |
| SR5 | RCP4.5 | +0.0 [-8.9; +8.4] (2/4) | +0.6 [-5.9; +6.3] (2/4) | +3.9 [-0.7; +9.7] (3/4) |
|  | RCP8.5 | -2.7 [-5.2; +0.5] (3/4) | +0.2 [-3.2; +4.1] (2/4) | +4.7 [-0.9; +9.6] (3/4) |
| LN1 | RCP4.5 | -1.8 [-6.6; +2.7] (3/4) | -1.6 [-4.0; +3.3] (3/4) | +0.2 [-1.5; +2.3] (2/4) |
|  | RCP8.5 | -2.6 [-5.1; -0.8] (4/4) | -1.4 [-2.9; +1.1] (3/4) | -0.5 [-2.7; +1.2] (3/4) |
| LN2 | RCP4.5 | -1.8 [-6.6; +2.0] (3/4) | -1.8 [-4.3; +2.8] (3/4) | -0.3 [-3.2; +2.2] (2/4) |
|  | RCP8.5 | -2.7 [-5.2; -1.0] (4/4) | -1.2 [-3.2; +1.6] (3/4) | -0.6 [-3.4; +2.0] (2/4) |
| LN3 | RCP4.5 | -1.9 [-6.7; +1.9] (3/4) | -1.8 [-4.4; +2.8] (3/4) | -0.2 [-3.2; +2.3] (2/4) |
|  | RCP8.5 | -2.8 [-5.3; -1.0] (4/4) | -1.2 [-3.3; +1.7] (3/4) | -0.6 [-3.5; +2.2] (2/4) |
| LN4 | RCP4.5 | -1.8 [-6.6; +2.0] (3/4) | -1.8 [-4.3; +2.8] (3/4) | -0.3 [-3.2; +2.2] (2/4) |
|  | RCP8.5 | -2.7 [-5.2; -1.1] (4/4) | -1.2 [-3.2; +1.5] (3/4) | -0.6 [-3.4; +2.0] (2/4) |
| LN5 | RCP4.5 | -2.0 [-6.6; +1.4] (3/4) | -1.9 [-4.4; +2.4] (3/4) | -0.4 [-3.7; +2.2] (2/4) |
|  | RCP8.5 | -2.7 [-5.2; -0.8] (4/4) | -0.8 [-3.0; +1.9] (3/4) | -0.4 [-3.0; +2.5] (2/4) |
| JC1 | RCP4.5 | -1.2 [-6.4; +2.5] (3/4) | -0.7 [-3.2; +3.5] (3/4) | +0.2 [-2.4; +2.6] (2/4) |
|  | RCP8.5 | -2.1 [-4.3; -0.3] (4/4) | +0.1 [-1.9; +1.9] (2/4) | +0.3 [-2.2; +2.4] (2/4) |
| JC2 | RCP4.5 | -1.1 [-6.4; +2.6] (3/4) | -0.7 [-3.2; +3.5] (3/4) | +0.2 [-2.4; +2.5] (2/4) |
|  | RCP8.5 | -2.1 [-4.3; -0.3] (4/4) | +0.1 [-1.9; +1.9] (2/4) | +0.2 [-2.2; +2.4] (2/4) |

Table S5. Change in power density (ΔP/A) in 2045–2054 (mean across members [minimum; maximum]); change of the 2045–2054 mean speed relative to the observed 2021–2025 mean; and Sen trend of the raw annual Eta-GCM series in 2025–2054 (in parentheses, members with positive trend / members available; number of members with significant trend).

| Station | Scenario | ΔP/A 2045–2054 (%) | ΔU 2045–2054 vs 2021–2025 (%) | Raw Eta trend 2025–2054 (% decade-1) |
| --- | --- | --- | --- | --- |
| SR1 | RCP4.5 | +12.3 [-0.1; +25.6] | +7.1 | +1.9 (3/4; 1 sig.) |
|  | RCP8.5 | +12.8 [+1.4; +21.8] | +7.8 | +2.5 (4/4; 0 sig.) |
| SR2 | RCP4.5 | +12.7 [-0.2; +26.6] | +6.2 | +1.9 (3/4; 1 sig.) |
|  | RCP8.5 | +13.1 [+1.1; +23.3] | +6.9 | +2.5 (4/4; 0 sig.) |
| SR3 | RCP4.5 | +12.8 [-0.2; +27.0] | +6.0 | +1.9 (3/4; 1 sig.) |
|  | RCP8.5 | +13.5 [+0.9; +24.2] | +6.7 | +2.5 (4/4; 0 sig.) |
| SR4 | RCP4.5 | +9.6 [-0.8; +22.3] | +4.6 | +1.7 (3/4; 1 sig.) |
|  | RCP8.5 | +10.2 [-0.9; +17.1] | +4.9 | +2.2 (3/4; 0 sig.) |
| SR5 | RCP4.5 | +12.9 [-0.4; +27.9] | +5.4 | +1.9 (3/4; 1 sig.) |
|  | RCP8.5 | +14.0 [+0.9; +25.4] | +6.2 | +2.5 (4/4; 0 sig.) |
| LN1 | RCP4.5 | +0.4 [-3.7; +5.7] | +2.6 | +1.1 (3/4; 1 sig.) |
|  | RCP8.5 | -2.0 [-6.8; +2.4] | +1.9 | +0.5 (2/4; 1 sig.) |
| LN2 | RCP4.5 | -0.7 [-6.8; +4.7] | +2.0 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | -2.3 [-8.3; +4.0] | +1.6 | +0.6 (1/4; 1 sig.) |
| LN3 | RCP4.5 | -0.7 [-7.3; +5.1] | +1.0 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | -2.0 [-8.9; +4.7] | +0.6 | +0.6 (1/4; 1 sig.) |
| LN4 | RCP4.5 | -0.7 [-6.8; +4.6] | +1.9 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | -2.3 [-8.4; +4.0] | +1.5 | +0.6 (1/4; 1 sig.) |
| LN5 | RCP4.5 | -0.8 [-7.6; +4.8] | +1.3 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | -1.4 [-8.3; +5.9] | +1.4 | +0.7 (1/4; 1 sig.) |
| JC1 | RCP4.5 | +0.7 [-4.3; +5.7] | +3.6 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | +0.6 [-5.4; +5.5] | +3.7 | +0.7 (2/4; 1 sig.) |
| JC2 | RCP4.5 | +0.7 [-4.1; +5.5] | +2.5 | +0.8 (3/4; 1 sig.) |
|  | RCP8.5 | +0.5 [-5.5; +5.4] | +2.6 | +0.7 (2/4; 1 sig.) |

Table S6. Percentage change of the mean speed in 2045–2054 (QDM) by member and scenario, and ensemble mean [minimum; maximum] in 2070–2099. * Significant difference between the annual means of the decade and those of 2006–2024 of the same member (Mann–Whitney, p < 0.05).

| Station | Scenario | Eta-BESM | Eta-CanESM2 | Eta-HadGEM2-ES | Eta-MIROC5 | Ensemble 2070–2099 (%) |
| --- | --- | --- | --- | --- | --- | --- |
| SR1 | RCP4.5 | -0.7 | +9.4 | +5.1 | +1.6 | +3.3 [-4.2; +12.1] |
|  | RCP8.5 | +5.8 | +9.2* | +4.0 | -0.8 | +10.9 [-3.0; +32.7] |
| SR2 | RCP4.5 | -0.7 | +9.5 | +5.1 | +1.6 | +3.4 [-4.3; +12.3] |
|  | RCP8.5 | +5.7 | +9.3* | +4.0 | -0.8 | +11.0 [-3.1; +33.2] |
| SR3 | RCP4.5 | -0.7 | +9.6 | +5.1 | +1.6 | +3.4 [-4.2; +12.5] |
|  | RCP8.5 | +5.8 | +9.5* | +4.0 | -0.9 | +11.4 [-3.1; +34.3] |
| SR4 | RCP4.5 | -0.7 | +8.0 | +4.6 | +0.6 | +2.1 [-4.2; +9.4] |
|  | RCP8.5 | +4.7 | +6.8 | +3.7 | -1.4 | +7.4 [-4.6; +25.2] |
| SR5 | RCP4.5 | -0.7 | +9.7 | +5.1 | +1.6 | +3.5 [-4.2; +12.7] |
|  | RCP8.5 | +5.8 | +9.6* | +4.1 | -0.9 | +11.6 [-3.1; +35.0] |
| LN1 | RCP4.5 | -0.3 | +2.3 | -1.5 | +0.4 | -1.5 [-2.2; -0.3] |
|  | RCP8.5 | -0.5 | -2.7 | -0.1 | +1.2 | -5.1 [-8.0; -3.7] |
| LN2 | RCP4.5 | -0.5 | +2.2 | -3.2 | +0.5 | -1.8 [-2.3; -1.3] |
|  | RCP8.5 | -1.7 | -3.4 | +0.6 | +2.0 | -5.7 [-8.8; -3.4] |
| LN3 | RCP4.5 | -0.5 | +2.3 | -3.2 | +0.4 | -1.8 [-2.4; -1.3] |
|  | RCP8.5 | -1.6 | -3.5 | +0.7 | +2.2 | -5.7 [-8.7; -3.5] |
| LN4 | RCP4.5 | -0.5 | +2.2 | -3.2 | +0.5 | -1.8 [-2.3; -1.2] |
|  | RCP8.5 | -1.7 | -3.4 | +0.6 | +2.0 | -5.7 [-8.8; -3.4] |
| LN5 | RCP4.5 | -0.6 | +2.2 | -3.7 | +0.5 | -1.8 [-2.4; -1.4] |
|  | RCP8.5 | -2.1 | -3.0 | +1.2 | +2.5 | -5.5 [-7.8; -3.0] |
| JC1 | RCP4.5 | -0.4 | +2.6 | -2.4 | +0.9 | -0.8 [-2.4; +0.2] |
|  | RCP8.5 | -2.2 | -1.2 | +2.0 | +2.4 | -2.7 [-4.6; -1.9] |
| JC2 | RCP4.5 | -0.4 | +2.5 | -2.4 | +0.9 | -0.8 [-2.4; +0.2] |
|  | RCP8.5 | -2.2 | -1.2 | +2.0 | +2.4 | -2.7 [-4.6; -1.9] |

Supplementary references

Bergmeir C, Benítez JM (2012) On the use of cross-validation for time series predictor evaluation. Inf Sci 191:192–213. https://doi.org/10.1016/j.ins.2011.12.028

Bergmeir C, Hyndman RJ, Koo B (2018) A note on the validity of cross-validation for evaluating autoregressive time series prediction. Comput Stat Data Anal 120:70–83. https://doi.org/10.1016/j.csda.2017.11.003

Breiman L (2001) Random forests. Mach Learn 45:5–32. https://doi.org/10.1023/A:1010933404324

Costoya X, deCastro M, Santos F et al (2019) Projections of wind energy resources in the Caribbean for the 21st century. Energy 178:356–367. https://doi.org/10.1016/j.energy.2019.04.121

Cover T, Hart P (1967) Nearest neighbor pattern classification. IEEE Trans Inf Theory 13:21–27. https://doi.org/10.1109/TIT.1967.1053964

Davy R, Gnatiuk N, Pettersson L et al (2018) Climate change impacts on wind energy potential in the European domain with a focus on the Black Sea. Renew Sustain Energy Rev 81:1652–1659. https://doi.org/10.1016/j.rser.2017.05.253

Friedman JH (2001) Greedy function approximation: a gradient boosting machine. Ann Stat 29:1189–1232. https://doi.org/10.1214/aos/1013203451

Gualtieri G (2019) A comprehensive review on wind resource extrapolation models applied in wind energy. Renew Sustain Energy Rev 102:215–233. https://doi.org/10.1016/j.rser.2018.12.015

Hyndman RJ, Koehler AB (2006) Another look at measures of forecast accuracy. Int J Forecast 22:679–688. https://doi.org/10.1016/j.ijforecast.2006.03.001

Kendall MG (1975) Rank correlation methods, 4th edn. Charles Griffin, London

Mann HB, Whitney DR (1947) On a test of whether one of two random variables is stochastically larger than the other. Ann Math Stat 18:50–60. https://doi.org/10.1214/aoms/1177730491

Mann HB (1945) Nonparametric tests against trend. Econometrica 13:245–259. https://doi.org/10.2307/1907187

Manwell JF, McGowan JG, Rogers AL (2009) Wind energy explained: theory, design and application, 2nd edn. Wiley, Chichester. https://doi.org/10.1002/9781119994367

NOAA PSL (2026) Tropical Northern Atlantic (TNA) and Tropical Southern Atlantic (TSA) indices, based on HadISST1.1 (climatology 1991–2020). NOAA Physical Sciences Laboratory, Boulder. https://psl.noaa.gov/data/timeseries/month/. Accessed 3 September 2026

Pašičko R, Branković Č, Šimić Z (2012) Assessment of climate change impacts on energy generation from renewable sources in Croatia. Renew Energy 46:224–231. https://doi.org/10.1016/j.renene.2012.03.029

Pedregosa F, Varoquaux G, Gramfort A et al (2011) Scikit-learn: machine learning in Python. J Mach Learn Res 12:2825–2830

Santos F, Gómez-Gesteira M, deCastro M et al (2018) On the accuracy of CORDEX RCMs to project future winds over the Iberian Peninsula and surrounding ocean. Appl Energy 228:289–300. https://doi.org/10.1016/j.apenergy.2018.06.086

Soares PMM, Lima DCA, Semedo A et al (2019) Climate change impact on Northwestern African offshore wind energy resources. Environ Res Lett 14:124065. https://doi.org/10.1088/1748-9326/ab5731

Solaun K, Cerdá E (2020) Impacts of climate change on wind energy power – Four wind farms in Spain. Renew Energy 145:1306–1316. https://doi.org/10.1016/j.renene.2019.06.129

Wachsmuth J, Blohm A, Gößling-Reisemann S et al (2013) How will renewable power generation be affected by climate change? The case of a Metropolitan Region in Northwest Germany Energy 58:192–201. https://doi.org/10.1016/j.energy.2013.06.035