Supplementary Materials

Supplementary Methods S1. Tumor segmentation sub-study (deep-learning mass delineation, direction B)

To complement the radiomics workflow with automated tumor-boundary extraction, a 2D U-Net was trained for mammographic mass segmentation using expert ROIs as the reference standard.

Data partitioning and vendor-annotation inconsistency. Expert ROIs were not semantically uniform across centers. Center A (UIH, n=40) and Center B (HOLOGIC, n=38) provided tight mass contours (median mask occupancy 0.91% and 0.54% of the 1024×1024 field; median bounding box ≈125×121 px and ≈94×90 px). Center C (GE, n=40) showed heterogeneous annotations: 29/40 masks covered >50% of the field with a median bounding box of 1024×1024 px (near-whole-breast), and Center C images carried no dark background (intensity floor ≈0.79), indicating a different cropping/intensity convention. Two Center B cases were excluded by the clean-mass filter; all Center C (GE) cases were excluded from training (n=39 non-mass masks) and retained only as an external cross-vendor probe. The effective training set thus comprised 78 mass ROIs (Centers A+B).

Preprocessing for segmentation. Each image was cropped to the mass bounding box plus a 64 px (or 0.5× the larger box dimension, whichever greater) margin and bilinearly resized to 256×256; masks were resampled with nearest-neighbor.

Architecture and training. A 2D U-Net (four encoding/decoding levels, 32 base channels) with a combined Dice + binary cross-entropy loss was trained with the Adam optimizer (lr 1×10⁻³). We used 5-fold cross-validation on the 78-case pool and an additional center-stratified 62/16 hold-out split for final reporting.

Evaluation. Accuracy was quantified by Dice similarity coefficient, intersection-over-union (IoU), and 95th-percentile Hausdorff distance (HD95). Cross-vendor generalizability was probed by applying the Center A+B model to the clean mass subset of Center C.

Supplementary Table S1. Tumor segmentation performance (direction B)

| Evaluation | n | Dice | IoU | HD95 (px) |
| --- | --- | --- | --- | --- |
| 5-fold CV (mean) | 78 | 0.678 | 0.557 | 25.6 |
| Hold-out (primary report) | 16 | 0.704 | 0.591 | 20.4 |
| Cross-vendor probe (GE) | 1 | 0.649 | 0.480 | 23.4 |

Notes: 5-fold CV Dice ranged 0.54-0.77 (mean 0.678, SD 0.094) in the 256×256 resampled space. The cross-vendor probe reflects a single clean-mass GE case (n=1). These metrics establish a working automated mass-delineation module and, together with direction D, indicate that both radiomics features and pixel-level segmentation are vendor-sensitive yet partially transferable once vendor-inconsistent annotations are removed.