Additional file 2

Table  Calibration curves, correlation factors, linear ranges, LOD and LOQ for the eight compounds

| Compounds | Linear regression data |  |  | LOD | LOQ |
| --- | --- | --- | --- | --- | --- |
|  | Regression equation | R2 | Linear Range (µg/mL) | (µg/mL) | (µg/mL) |
| C1 | Y = 85728.14 X + 937869.50 | 0.9938 | 12.60 ~ 67.79 | 1.47 | 4.88 |
| C3 | Y = 676127.60 X + 3043706.13 | 0.9929 | 3.00 ~ 16.14 | 0.34 | 1.14 |
| C4 | Y = 58192.40 X + 1067111.57 | 0.9908 | 15.00 ~ 80.70 | 1.07 | 3.56 |
| C11 | Y = 67933.71 X + 726171.25 | 0.9930 | 7.20 ~ 38.74 | 0.75 | 2.51 |
| C15 | Y = 455783.46 X + 666138.39 | 0.9948 | 1.50 ~ 8.07 | 0.42 | 1.40 |
| C16 | Y = 165593.12 X + 432482.55 | 0.9964 | 3.60 ~ 19.37 | 0.62 | 2.05 |
| C17 | Y = 412855.11 X + 393133.52 | 0.9963 | 1.50 ~ 8.07 | 0.42 | 1.39 |
| C30 | Y = 325935.92 X + 547324.16 | 0.9967 | 2.40 ~ 12.91 | 0.65 | 2.16 |

Remarks：C1: leonurine, C3: 4',5-dihydroxy-7-methoxyflavone, C4: rutin,   C11: hyperoside, C15: apigenin, C16: quercetin, C17: kaempferol,

C30: salicylic acid, same below.

Additional file 3

Table The RSD values of precisions, reproducibility, stability and recovery for the eight compounds

| Compounds | intra- and inter-day Precisions |  | Reproducibility | Stability | Recovery (n=3) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Intra-day（n=3）RSD (%) | Inter-day（n=3）RSD (%) | (n= 6) RSD (%) | (24 h, n= 6) RSD (%) | Mean | RSD (%) |
| C1 | 0.77 | 1.56 | 1.96 | 3.71 | 97.88 | 4.44 |
| C3 | 0.77 | 2.84 | 1.88 | 2.80 | 100.09 | 2.14 |
| C4 | 2.97 | 7.21 | 1.96 | 5.71 | 97.73 | 4.41 |
| C11 | 3.48 | 5.78 | 4.14 | 3.19 | 101.82 | 4.69 |
| C15 | 1.67 | 0.28 | 4.65 | 7.62 | 97.15 | 0.63 |
| C16 | 3.92 | 5.67 | 3.65 | 5.28 | 102.55 | 1.81 |
| C17 | 0.98 | 3.14 | 4.33 | 6.76 | 96.52 | 1.98 |
| C30 | 0.50 | 4.56 | 3.20 | 1.49 | 98.56 | 2.66 |

Remarks：C1: leonurine, C3: 4',5-dihydroxy-7-methoxyflavone, C4: rutin,   C11: hyperoside, C15: apigenin, C16: quercetin, C17: kaempferol,

C30: salicylic acid, same below.