## Overall_Data
Stereotactic and robotic minimally invasive thermal ablation of malignant liver tumours - A systematic review and meta-analysis Pascale Tinguely, Iwan Paolucci, Simeon J. S. Ruiter, Stefan Weber, Koert P. de Jong, Daniel Candinas, Jacob Freedman, Jennie Engstrand
Accuracy | Efficency | Safety | Efficacy | Study No | Author | Year published | Years included | Lesion specification | Study design | Primary endpoint | Comparative study | Comparison group | Matching type | Tumor entity | Ablation technique | N patients | Age | N lesions | Lesion size [mm] | SD/range | Treatment access | Robotic guidance | Imaging technique | Tracking technology | Navigation device | Anesthesia, ventilation | Targeting accuracy Euclidean [mm] | Targeting accuracy lateral [mm] | Targeting accuracy angular [°] | Assessment of targeting accuracy | Analysis of factors associated with targeting accuracy | Statistically significant results | Type of analyses | Registration accuracy (FRE) | Targeting Length [mm] | Probe readjustment due to insufficient accuracy of ablation probe position | Exact definition | Technical/Targeting success | Definition targeting success | Probe repositioning due to insufficient tumor coverage after first ablation / N antenna insertions | Exact definition | Re-treatment after immediate scan | Overall procedure duration [min] | Exact definiton | Needle positioning time [min] | Exact definiton | Number of navigational CTs | Total DLP [mGy cm] | Complications overall | Complication classification | Complications major | Definition major | Mortality | Complication time-frame [days] | LOS | Total follow-up time [months] | Definitions according to Ahmed et al. 2014 | Residual tumor at first follow-up (primary technique efficacy) | At which follow-up | Exact definition | Secondary technique efficacy, including re-ablation | At which follow-up | Exact definition | Local ablation site recurrence/ tumor progression | At which follow-up | Exact definition | Analysis of factors associated with local recurrence | Statistically significant results | Type of analysis | Intrahepatic progression | At which follow-up | OS CRLM 1 yr | OS CRLM 3 yrs | OS CRLM 5 yrs | Factors influencing OS CRCLM | Type of analysis | DFS CRLM 1 yr | DFS CRLM 3 yrs | DFS CRLM 5 yrs | Factors influencing DFS CRCLM | OS HCC 1 yr | OS HCC 3 yrs | OS HCC 5 yrs | Factors influencing OS HCC | Type of analysis | DFS HCC 1 yr | DFS HCC 3 yrs | DFS HCC 5 yrs | Significant differences of stereotactic guidance as opposed to manual control group | Proportions efficacy | Main conclusion
1 | 1 | 1 | 1 | 1 | Tinguely_A | 2020 | 15 to 17 |  | R |  | 0 |  |  | HCC/metas | MWA | 153 |  | 301 | 15 | 11 - 21 | P | 0 | CT | Optical | CAS-ONE | General, Jet-Vent |  | 3.5 ± 2.3 2.9 (0.2 - 14.1) | 1.8 (1.1 – 2.7) | Targeting errors resulting after ablation probe positioning, defined as the deviance between the planned trajectory and the achieved ablation probe position, and was calculated as shown in Figure 2B | 1 | Cirrhosis Targeting trajectory length | Linear regression, GEE |  | 111 (83 – 132) | 4/301 lesions (1%) | Full retraction of ablation probe, repeat navigated alignment of aiming device and probe re-insertion | 96% (290/301) | "Technical success": complete tumor coverage by the ablation zone as assessed on the final CT scan with intravenous contrast on the day of intervention, including immediate re-ablations (n = 48) | 1 (77%) 2 19%) 3-5 (4%) 1.3 ± 0.6 |  | 48/301 lesions (16%) | 70 ± 33 64 (46 - 82) | Time from first to last CT scan | 8.7 ± 6 7 (4 - 13) | First switch to the navigation module until last screen shot taken of the positioned ablation probe |  | 1912.8 ± 958.4 1732 (1202 - 2464) | 10/191 (5%) | C-D | 4/191 (2%) | ≥ IIIa | 0/191 | 90 | 1 (0 - 13) | 6 | 1 | [6 empty] | 49/227 (22%) | within 6 months | "Ablation site recurrence": presence of morphologically detectable tumor tissue within 10 mm from the edge of ablation zone, on any of the follow-up imaging performed within 6 months (including the first follow-up imaging | 1 | Lesion size </> 3cm, TPE > 5mm | Logistic regression, GEE | [21 empty] | SMWA allows precise and effective treatment of malignant liver tumors even for lesions in challenging locations, with treatment efficacy depending on targeting accuracy in our model. Allowing for many tumors to be safely reached, SMWA has the potential to broaden treatment eligibility for patients with otherwise difficult to target tumors
0 | 0 | 1 | 1 | 2 | Schullian_A | 2020 | Jun 05 to Jun 18 | CT-invisible lesions | R |  | 1 | SRFA without image fusion | Propensity score | HCC/metas | Unipolar RFA | 60 | HCC: 64.5 (45–77) Mets: 62.0 (7–78) | 199 | HCC: 29 Mets: 25 | HCC: 5 - 110 Mets: 8 - 90 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | "Technical success": sufficiently accurate coaxial needle placement (deviation < 1 cm at all needle tips) according to predefined plans | [10 empty] | SIR | 6/69 (8,7%) | ≥ C | 0/69 |  | 4.5 (2 - 35) | 10 (3 - 160) | 1 (not referenced) | 194/199 (97.5%) | 1 month | "Primary technical efficacy": absence of residual disease on 1-month follow-up CT | 97.5% | Not defined | "Secondary technical efficacy": tumors that required repeat ablation due to residual tumor | 7/199 (3.5%) | Median follow-up 10 months | "Local recurrence": Appearance of new nodules within or directly adjacent to the ablation zone or initial tumor |  |  |  | 32.8% | [10 empty] | 92.3% | 70.3% | 44.0% |  |  | 20% | 20% |  |  |  | Image fusion using pre-procedural MRI allows for ablation of CT-‘invisible’ liver tumors that are otherwise untreatable. Moreover, local oncological control was higher in metastatic liver tumors versus matched controls which suggests it could be useful tool for all stereotactic radiofrequency ablation procedures.
0 | 1 | 1 | 1 | 3 | Schaible | 2020 | Apr 14 to Nov 18 |  | R | Primary efficacy | 1 | Manual guidance | None | HCC CCC Metas | MWA | Not reported |  | 249 | 18.8 | SD 10.8, 3 - 64 | P | 1 | CT | Mechanical | MAXIO (Perfint Healthcare, India) | General, tube disconnection | [13 empty] | 92/249 lesions (37%) | "If there was suspicion of insufficient ablation margin repositioning was performed" | [7 empty] | 26/88 (29.6%) | Not defined | 2/176 (1,14%) | III: severe IV: life-threatening | 1/176 (0,6%) |  |  |  | 1 | 219/249 (88%) | 6 weeks | "Primary technique efficacy": percentage of the target tumors that were successfully eradicated following the initial procedure as evidenced in the 6-week follow up according to the standardization of terminology by Ahmed et al. | [6 empty] | 1 | Lesion size </> 3cm, navigated targeting | Logistic regression, GEE | [19 empty] | Sign: Primary technique efficacy Non-sign: Complications | 219/249 (88%) vs 91/119 (76%) | In addition to a small tumor size, robotic navigation was a major positive prognostic factor for primary technique efficacy.
0 | 0 | 1 | 1 | 4 | Schullian_B | 2020 | Jan 06 to Jun 18 | HCC with previous resection | R |  | 0 |  |  | HCC | Unipolar RFA | 34 | 67.0 (31 - 81) | 140 | 30 | 5 - 100 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | "Technical success": accurate electrode placement according to protocol with immediate, complete coverage by the ablation zone | [10 empty] | C-D | 3/60 (4,8%) | III+ | 0/60 |  | 4 (1 - 13) | 14.9 (1.5 - 132.7) | 1 (not referenced) | 133/140 (95%) | 1 month | "Primary technical efficacy": absence of residual tumor on 1-month follow-up CT | 97.9% | Not defined | "Secondary technical efficacy":tumors that demanded re-ablation due to residual tumor | 4/140 (2.9%) | Median follow-up 14.9 months | "Local recurrence": appearance of new nodules within or directly adjacent to the ablation zone or to initial tumor |  |  |  | 65.7% | Median follow-up 14.9 months | [9 empty] | 94.0% | 70.2% | 53.3% |  |  | 52.6% | 19.7% | 15.8% |  |  | SRFA is a safe, feasible and useful option in the management of recurrent HCC following HR with low morbidity paired with good clinical outcome
0 | 0 | 1 | 1 | 5 | Schullian_C | 2020 | Jan 05 to Jun 18 | Very large > 8 cm tumors | R |  | 0 |  |  | HCC CCC Metas | Unipolar RFA | 34 | 66 (27–81) | 41 | 90 | 80 - 180 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | "Technical success": accurate electrode placement, with a deviation <1 cm at the needle tip, according to predefined plan | [10 empty] | C-D | 9/44 (20,5%) | III+ | 1/44 (2.3%) | 30 | 7 (3 - 21) | 9.4 ( 1 - 133) | 1 (not referenced) | 33/41 (80.5%) | 1month | "Primary technical efficacy": requiring one treatment with complete ablation | 90.2% | Not defined | "Secondary technical efficacy": more treatments for complete ablation | 4/41 (9.8%) | Median follow-up 9.4 months | "Local recurrence": appearance of new enhancing nodules (CT of MR scans at 3–6 months intervals) within or directly adjacent to the initially tumor-free ablation zone |  |  |  | 70.6% | Median imaging follow-up 9.4 ( 1 - 133) | [9 empty] | 87.1% | 71.8% | 62.8% | [7 empty] | SRFA may become one of the best therapeutic choices for a growing number of patients with primary and metastatic liver cancer
0 | 1 | 1 | 1 | 6 | Schullian_D | 2020 | 05 to 18 | Multiple ≥ 4 tumors | R |  | 0 |  |  | HCC Metas | Unipolar RFA | 92 | 61 (25–81) | 549 | 2.7 | 0.5 - 13 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | "Technical success": deviation < 1 cm at the needle tip (according to predefined plans) |  |  |  | 254.5 ± 112 (calculated) 240 (75 - 463) | Interval between planning CT and final control CT | [5 empty] | SIR | 9/107 (8,4%) | ≥ C | 0/107 |  | 5 (2 - 42) | 13.5 (0.5 - 99) | 1 (not referenced) | 541/549 (98.6%) | 1month | "Primary technical efficacy": absence of residual tumor on 1-month followup CT | 99.6% | Not defined | "Secondary technical efficacy": tumors that required reablation | 21/549 (3.8%) | Median follow-up 13.5 months | "Local recurrence": Appearance of new nodules within or directly adjacent to the ablation zone or to initial tumor |  |  |  | 46/92 (50%) | Median follow-up 13.5 months | [9 empty] | 88.0% | 54.0% | 30.4% |  |  | 28% | 32% |  |  |  | Stereotactic RF ablation is a feasible, safe, and efficacious option in simultaneous management of multiple primary and metastatic liver tumors.
1 | 1 | 1 | 1 | 7 | Volpi | 2019 | Jun 17 to Jan 18 | US-undetectable / difficult-to-access | R |  | 0 |  |  | HCC Metas | RFA/MWA | 21 | 67 (47-84) | 27 | 12 | SD 5.7 | P | 0 | CT | EM | IMACTIS (Imactis, France) | General, Jet-Vent | 22 ± 19 |  |  | "first-pass control = aiming at approx. 1 cm from the tumor" -> not used for final ablation! |  |  |  |  | 111 ± 31 | 1/21 patients (4.8%) | withdrawing the probe for repositioning | 96% | "Approx. 1 cm from the tumor", first-pass control | 4 pat (15%) 1.14 ± 0.35 | Re-adjustments for second overlapping ablation Mean number of applications per lesion | 4 lesions (15%) | 58.3 ± 24.5 (calculated) 51 (23 - 108) | Not further defined | 23 ± 12 | From planning to the last pre-ablation CT acquisition | 3.2 ± 1.3 | 2180 ± 1054 | 2/27 (7%) | CIRSE | 0/27 |  | 0/27 |  |  | 6 | 0 | 27/27 (100%) | 3 months | "Primary technical efficacy" evaluated at 3 and 6 months on contrast enhanced MRI and defined as an ablation zone covering the entire tumor without residual disease or local recurrence |  |  |  | 0/27 (0%) | 6 months | "Primary technical efficacy" evaluated at 3 and 6 months on contrast enhanced MRI and defined as an ablation zone covering the entire tumor without residual disease or local recurrence |  |  |  | 15/27 (56%) | 6 months | [19 empty] | Percutaneous liver ablation of lesions that cannot be seen on US and requiring out-ofplane CT access can be successfully and safely treated using electromagnetic-based navigation and jet-ventilation
0 | 0 | 1 | 1 | 8 | Schullian_E | 2019 | 06 to 18 | Octogenarians | R |  | 1 | < 80 years old | Propensity score | HCC CCC Metas | Unipolar RFA | 36 | 81.5 (80 - 88) (deliberate) | 70 | 27 | 15 - 90 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | Sufficient targeting accuracy, "according to predifined plan" | [10 empty] | SIR C-D | 5/46 (10.9%) 3/46 (6,5%) | SIR: ≥ C C-D: >III | 0/46 | 30 | 6 (2 - 33) | 15.6 (0.3 - 90.6) | 1 (not referenced) | 68/70 (97%) | 1 month | "Primary technical efficacy": absence of residual tumor at 1 month | 100% | Not defined | "Secondary efficacy rate": included tumors that necessitated re-ablation due to a residual tumor | 5/70 (7.1%) | Mean follow-up 15.6 months | "Local recurrence": appearance of new tumors within or directly adjacent to the ablation zone or initial tumor |  |  |  | 39% | Mean follow-up 16 months | 88% | 53% |  |  |  | 75% | 23% |  |  | 85% | 51% | 38% |  |  | 80% | 36% | 24% |  |  | SRFA in octogenarians is a safe, feasible and useful option in the management of primary or metastatic liver tumors with no significant difference in outcomes compared to a younger control group
0 | 0 | 1 | 1 | 9 | Schullian_F | 2019 | 05 to 17 | Caudate HCC | R |  | 0 |  |  | HCC | Unipolar RFA | 20 | 58 (31 - 79) | 24 | 15 | 10 - 80 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [11 empty] | 100% | Not defined | [10 empty] | SIR | 1/23 (4,3%) | ≥ C | 1/23 (4,3%) |  |  | 15.6 (abstract: 21) | 1 (not referenced) | 23/24 (95.8%) | 1 month | "Primary technical effectiveness": absence of residual tumor on 1 month follow-up CT | Not reported | Not defined | "Secondary technical effectiveness": tumors with repeated ablation after identification of residual tumor at 1-month CT | 1/24 (4.2%) | Mean follow-up 15.6 months | "Local recurrence": Newly detected hypervascular lesions with washout in late phase within or immediately adjacent to the ablation zone |  |  |  | 80% | Mean follow-up 15.6 months | [9 empty] | 95% | 59% | 44% |  |  | 48% | 24% | 24% |  |  | Multiprobe SRFA for HCC in the caudate lobe appears to be safe and feasible. The overall outcome is at least comparable to that of surgical resection, with low perioperative mortality and only minimal morbidity
0 | 0 | 1 | 1 | 10 | Perrodin | 2019 | 15 to 17 |  | R |  | 0 |  |  | Non-CRLM metas | MWA | 23 | 58.4 (7 - 79) | 40 | 13.5 | 6 - 39 | P | 0 | CT | Optical | CAS-ONE (CAScination AG, Switzerland) | General, Jet-Vent | [11 empty] | 97.5% | Incomplete ablation immediate CT scan | [9 empty] | 3/25 (12%) | C-D | 0/25 | ≥ IIIb | 0/25 |  | 2 (2 - 14) | 15 (2 - 32) | 0 | 19/23 (82.6%) | 3 months | detectable tumor within 10mm from edge of ablation zone | [9 empty] | 22% (isolated liver) | Median follow-up 15 months | [19 empty] | SIMWA is feasible, safe and minimally invasive for NCRLM in selected patients. While it might offer an alternative to resection or palliative strategies
0 | 0 | 1 | 1 | 11 | Schullian_G | 2019 | 06 to 18 | Hepatic dome tumors | R |  | 1 | Non-dome lesions | Propensity score | HCC CCC Metas | Unipolar RFA | 177 | 65 (7 - 87) | 238 | 22 | 5 - 100 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube discon | [11 empty] | 100% | Sufficient targeting accuracy (deviation < 1 cm at the needle tip), "according to predifined plan" | [10 empty] | SIR | 22/204 (10,7%) | ≥ C | 1/204 (0,5%) |  | 4 (1 - 28) | 12.6 | 1 (not referenced) | 232/238 (97.5%) | 1 month | "Primary technical efficacy": absence of residual tumor at 1 month | 100% | Not defined | "Secondary efficacy rate": included tumors that demanded re-ablation due to residual tumor | 21/238 (8.8%) |  | "Local recurrence": Appearance of new nodules within or directly adjacent to the ablation zone or to initial tumor |  |  |  | 50% | Mdian follow-up 12.6 months | [9 empty] | 87% | 76% | 58% |  |  | 78% | 48% | 36% |  |  | SRFA is a safe and feasible option in the management of difficult-to-treat tumors abutting the diaphragm in the hepatic dome, with similar safety profile compared with matched controls
0 | 0 | 1 | 1 | 12 | Schullian_H | 2019 | 03 to 18 | Subcardiac HCC | R |  | 1 | Non- subcardiac lesions | Propensity score | HCC | MWA | 79 | 65.5 (45 - 85) | 114 | 25 | 5 - 95 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube discon | [11 empty] | 100% | Accurate electrode placement according to protocol with immediate, complete coverage by the ablation zone | [10 empty] | SIR | 5/104 (4,8%) | ≥ C | 1/104 (1%) |  | 5 (1 - 21) | 25.2 (0 - 162) | 1 (not referenced) | 109/114 (95.6%) | 1 month | "Primary technical efficacy": absence of residual tumor at 1 month | 99.1% | Not defined | "Secondary efficacy rate": tumors with repeated ablation after identification of residual tumor | 8/114 (7.0%) | Mean follow-up 25.2 months | "Local recurrence": Appearance of new nodules within or directly adjacent to the ablation zone or to initial tumor |  |  |  | 48% | Mean follow-up 25.2 months | [9 empty] | 92% | 77% | 65% |  |  | 75% | 34% | 34% |  |  | SRFA of subcardiac tumors is as safe and efficacious as when treating tumors remote from the heart.
0 | 1 | 1 | 1 | 13 | Zhang_A | 2019 | Aug 16 to Jan 18 | Solitary nodule <5cm | RCT | Not defined | 1 | Conventional CT guidance |  | HCC CRLM | RFA/MWA | 20 | 52.5 (45-71) | 20 | 24 | SD 11, 7 - 46 | P | 0 | CT | EM | IG4 (Veran Medical Technologies Inc, USA) | Local, sedation | [9 empty] | 2.4 +/- 1.2 | Withdrawal of the electrode, position correction and new puncture | 100% | Treatment according to the protocol and complete coverage by the ablation zone | 1.2 ± 0.4 | Not defined |  |  |  | 16.5 ± 10.6 | From the first CT scan of the patient until the ablation electrode reached the target tumor | 7.1 ± 1.7 | 807 ± 285 |  | SIR | 0/20 | ≥ C | 0/20 |  |  | 4 - 6 weeks | 1 | 18/20 (90%) | 4-6 weeks | uniform hypoattenuation without contrast enhancement in the ablated area | [28 empty] | Sign: number of instrument adjustments, number of CT scans, CT fluoroscopy time, DLP Non-sign: Number of skin punctures, puncture time to target, primary technical efficacy | 18/20 (90%) vs 16/19 (84.2%) | Using an EM navigation system to assist with CT-guided thermal ablation of liver tumors can obviously reduce the number of instrument adjustments, number of CT scans, and CT fluoroscopy time as well as reduce total radiation exposure. Effective and safe adjunct for CT-guided procedures.
1 | 1 | 1 | 1 | 14 | Lachenmayer | 2019 | 15 to 17 |  | R |  | 0 |  |  | HCC | MWA | 88 | 66 (46 - 84) | 174 | 16 | 4 - 45 | P | 0 | CT | Optical | CAS-ONE (CAScination AG, Switzerland) | General, Jet-Vent |  | 3.8 ± 2.4 3.2 (0.2 - 14.1) | [9 empty] | 96% | The control of the ablation zone revealed an insufficient margin for 26 lesions immediately post-ablation, 19 of which could be immediately re-ablated |  |  | 19 lesions (11%) | 36.3 ± 18.9 36 (3.6 - 88) | Not further defined | 9 ± 6.4 7.1 (0.6 - 25.2) | First switch to the navigation module until last screen shot taken of the positioned ablation probe |  | 2023,3 ± 912,0 1896 (571 - 4748) | 7/119 (5.9%) | C-D | 1/119 (0,8%) | ≥ IIIb | 0/119 | 90 | 2 (1 - 4) | 17.3 (1.4 - 48.1) | 1 | 153/174 (87.9%) | 1-3 months | "Technique efficacy": no signs of residual tumor within 10 mm from the edge of ablation zone on first follow-up imaging OR residual tumor on the first follow-up scan were successfully re-ablated within 6 months | 96.3% | within 6 months | "Technique efficacy": no signs of residual tumor within 10 mm from the edge of ablation zone on first follow-up imaging OR residual tumor on the first follow-up scan were successfully re-ablated within 6 months | 11/174 (6.3%) | After 6 months, median follow-up 17.3 | "Local tumor progression": detectable tumor within 10 mm from the edge of the ablation zone or on follow-up imaging after at least one prior follow-up imaging showed no residual tumor at the ablation zone. After 6 months | 1 | 1. Vessel proximity 2. Tumor size | 1. Logistic regression 2. Cox regression | [14 empty] | BCLC stage, Child-Pugh stage, previous HCC treatment | Cox regression | [5 empty] | Safe and efficient treatment for HCC offering a curative treatment approach in general and in particular for lesions not detectable on conventional imaging or untreatable due to difficult anatomic locations
1 | 1 | 1 | 1 | 15 | Heerink | 2019 | Feb 17 to Nov 17 | Tumor size < 5, number < 3 | RCT | N antenna repositionings | 1 | Freehand antenna placement |  | CRLM HCC Benign | MWA | 18 | 60.1 ± 15.2 | 21 | 21.2 | SD 10.2 | P | 1 | CT | Mechanical | Needle Positioning System (DEMCON Advanced Mechatronics, Netherlands) | General, tube discon | 10.2 ± 5.2 | 6.4 ± 4.2 | 4.5 ± 3.2 | "Adequate" placement: position within the tumor (except if close to liver capsule). CAVE: not clear how many in stereotactic group were manually repositioned -> not used for final ablation |  |  |  |  | 92.9 ± 31.8 | 0/21 lesions (4.8%) | N antenna repositionings to reach a position inside the tumor | [5 empty] | 160 ± 26 | Time from the patient’s arrival in the CT room to the time of the patient’s departure | 36.3 ± 19.3 (calculated) 36 (3 - 70) | Time from target selection until adequate antenna position | 5 | 876 (242 - 3539) | 1/18 (5.6%) | Ahmed et al Rad 2014 | 0/18 |  | 0/18 |  |  | 1 week | 0 | 17/20 (85%) | 1 week | Apparent complete ablation at follow-up CE-CT at 1 week | [28 empty] | Sign: number of needle repositionings, all targeting errors at first needle placement, especially out-of-plane targets, targeting time/DLP (favouring free-hand) Non-sign: Ablation time, Total procedure time, N navigational scans, Ablation success at1 week | 17/20 (85%) vs 20/21 (95.2%) | Robotic antenna guidance reduces the need for antenna repositioning in microwave ablation to accurately target liver tumors and increases accuracy for out-of-plane targets. However, targeting time was greater with robotic guidance than with freehand targeting.
1 | 1 | 1 | 1 | 16 | Beyer_A | 2018 | Apr 16 to Apr 18 |  | P cohort study | Procedure time, targeting accuracy, radiation doses | 1 | Conventional MWA | Matched pairs (tumor size, segment, entity) | HCC CRLM | MWA | 18 | 63.7 ± 11.6 | 18 | 20.6 | SD 9.0 | P | 0 | CT | Optical | CAS-ONE (CAScination AG, Switzerland) | General, tube discon | 3.7 ± 1.2 | 2.8 ± 1.3 | 2.7 ± 1.5 | Euclidean distance between the planned trajectory and actual antenna position | [5 empty] | 1/18 patients (5.6%) | Antenna repositioned until active feed point of MWA antenna determined to be in the tumor center | [5 empty] | 21.8 ± 6.3 | Time from the first CT scan to the verification scan with the final antenna position | 3.7 ± 2.5 | Not further defined |  | 2115 ± 276 | 0/18 | Not defined | 0/18 | not defined | 0/18 |  |  | 6 weeks | 1 (not referenced) | 17/18 (94%) | 6 weeks | "Technical success": lack of residual tumor tissue on 6-week follow-up MRI | [28 empty] | Sign: total DLP Non-sign: Procedure times, Euclidean accuracy, Ablation success at 6 weeks | 17/18 (94%) vs 15/18 (83%) | SMWA results in a significant reduction in radiation exposure, with a tendency toward shorter intervention times and high accuracy
0 | 1 | 1 | 1 | 17 | Zhang_B | 2018 | Apr 13 to Oct 15 | Single nodule, 3-8cm | R | Safety, efficiency of multiple antenna placements for large HCC | 1 | Manual guidance (US) | None | HCC | MWA | 19 | 61.3 ± 9.9 | 19 | 41.4 | SD 9.5 | P | 0 | CT/US | EM | Fusion image navigation system (FINS) (self developed) | General | [7 empty] | When Root Mean Square (RMS) smaller than 10, image registration considered to be complete |  |  |  | 94.7% | Complete ablation of macroscopic tumor proved by CEUS within 3 days | 3.7 ± 1.6 | "Sum of the number of each antenna insertion at the end of the session" |  |  |  | 5.1 ± 0.8 | Total time needed for the operation minus the time of ablation, divided by the number of antenna insertions |  |  | Text: 57.9% Table 3: 14/19 (73.9%) | C-D | 1/19 (5,3%) | ≥ IIIa | 0/19 |  | 3.8 ± 1.2 (3 - 7) | 11.4 ± 4.9 (2.3 – 19.6) | 1 | 18/19 (94.7%) | 1 month | "Technique effectiveness": complete ablation of the macroscopic tumor proved by imaging follow-up 1 month |  |  |  | 2/19 (10.5%) | Mean follow-up 11.4 | "Local tumor progression": incompletely treated tumor that continued to grow, or a new tumor (or satellite tumors) growing at the original site at follow-up |  |  |  | Text: 16.1% Table 2: 24.5% | 1 year | [14 empty] | 63.9% |  |  | Significantly more (!) antenna insertions, higher complete ablation rate in the first session, sign. shorter antenna placemengt time Non-sign: Overall/major complications, Length of hospital stay , Technique effectiveness at 4 weeks , Local tumor progression at 1 year | 18/19 (94.7%) vs 21/24 (87.5%) | The 3D FINS is a safe, feasible and effective technique for guiding PMWA of HCC, which could help an operator improve the complete ablation rate of the first session.
0 | 0 | 1 | 1 | 18 | Bale_A | 2017 | Dez 05 to Jul 16 |  | R |  | 0 |  |  | BeastCa Metas | Unipolar RFA | 26 | 54.4 ± 12.8 | 64 | 2.8 | SD 2.1 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube discon | [23 empty] | SIR | 1/33 (3,2%) | ≥ C | 0/26 |  |  | 23.1 (0.1 - 100.8) | 1 (not referenced) | 62/64 (96.9%) | 1 month | "Primary technical effectiveness": absence of residual tumor on 1 month follow-up CT | 100% | Not defined | "Secondary technique effectiveness": tumors that had undergone repeat ablation after identification of residual tumor at 1-month CT | 5/64 (7.8%) | Mean interval of 8.2 ± 2.7 months | "Local recurrence": Evidence of newly detected tumor within orimmediately adjacent to the ablation zone | [24 empty] | Multiple-electrode stereotactic RF ablation proved to be a safe minimally invasive alternative to surgical liver resection in selected patients with BCLMs.
0 | 1 | 1 | 1 | 19 | Tinguely_B | 2017 | Jan 13 to Oct 15 |  | R |  | 0 |  |  | HCC Metas | MWA | 51 | 63.3 ± 9.3 | 346 | 16.7 | SD 9.8 4.9 - 56.5 | L | 0 | Preoperative CT | Optical | CAS-ONE (CAScination AG, Switzerland) | General, tube discon | [7 empty] | 8.1 +/- 2.8 |  |  |  | 100% | Ablation during surgery |  |  |  | 102 ± 64 | Not further defined (surgery time included) |  |  |  |  | 15/54 (28%) | C-D | 0/54 | ≥ IIIb | 0/54 | 90 | 1 (1 - 7) |  | 0 | Overall: 292/322 (90.7%) CRLM: 8% | 3 months | "Early local recurrence": presence of tumor (persistent contrast enhancement patterns) within 10 mm from the edge of the ablation zone, representing incomplete ablation or early recurrence at ablation site | [30 empty] | LIMA does not interfere with the intraoperative workflow and results in low complication and early local recurrence rates, even when simultaneously targeting multiple lesions. LIMA may represent a valid therapy option for patients with extensive hepatic disease within a multimodal treatment approach.
0 | 0 | 1 | 1 | 20 | Hirooka | 2017 | May 14 to Oct 14 | Solitary HCC, <5 cm in diameter | P cohort study | Relapse-free survival, deformity of ablation volume | 1 | Free-hand ablation | None | HCC | Bipolar RFA | 27 | 71.6 ± 9.1 | 27 | 23.9 | SD 9.1 6 - 40 | P | 0 | CT/US | EM | 3D sim-Navigator (Hitachi Healthcare, Japan) | General | [11 empty] | Not reported | Necrotic area of the target nodule and surrounding liver parenchyma was depicted as an area of hypoattenuation CT after 2-3 days | 1 (3.7%) | If width of ablation area not satisfactory, applicator repositioned in another position, again outside the tumor. After re-insertion, additional ablation performed | 1 (3.7%) | [7 empty] | Not defined | 0/27 |  | 0/27 |  |  |  | 0 | [6 empty] | 0/27 (0%) | Not defined | "Local residual recurrence": not further defined | 1 | Manual approach | Cox regression | [19 empty] | No sign. difference in number of immediate needle re-insertions No sign. relapse-free survival, however sign. in predictor in multivariable model |  | Ideal ablation area was acquired by this simulation and navigation system in clinics. This system improved local tumor progression by facilitating appropriate insertion of multiple electrodes
1 | 1 | 1 | 0 | 21 | Engstrand | 2016 | Mar 13 to Jan 14 | Not visible on US, max 2 lesions, <30mm | R |  | 0 |  |  | HCC Metas | MWA | 17 | 69.6 ± 9.2 | 25 | 14.9 | SD 5.9 | P | 0 | CT | Optical | CAS-ONE (CAScination AG, Switzerland) | General, Jet-Vent | 5.8 ± 3.2 | 4.0 ± 2.5 | 2.7 ± 2.9 | [5 empty] | 87.5 ± 27.3 | 1/25 lesions (4%) | Number of needle readjustments | [5 empty] | 57.9 ± 25.2 59 (26 - 126) | Time from acquisition of the first planning scan to withdrawal of the antenna |  |  |  | 958 ± 557 | 2/25 (8%) | SIR | 0/25 | ≥ C | 0/25 | 30 | 1 (1 - 2) | [35 empty] | Provides sufficient accuracy and requires almost no repositioning of the needle. Therefore, it is technically feasible and applicable for safe treatments
0 | 0 | 1 | 1 | 22 | Bale_B | 2016 | Jan 05 to Dec 13 | < 5cm | R |  | 0 |  |  | Melanoma Metas | Unipolar RFA | 20 | 60 (42 - 76) | 75 | 17 | 5 - 145 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | [24 empty] | SIR | 3/34 (15%) | Events that increased level of care and led to prolonged LOS | 0/34 |  | 4.5 (2 - 18) |  | 1 (not referenced) | 67/75 (89.3%) | 1 month | "Primary technical effectiveness": absence of residual tumor in 1 month follow-up CT | 93.3% | Not defined | "Secondary technique effectiveness": lesions that had undergone re-ablation after identification of local tumor progression in 1-month CT | 10/75 (13.3%) | Not defined | Not defined |  |  |  | 10/20 (50%) | [18 empty] | SchullianA |  | high local curative potential and the promising long-term survival rates associated with with melanoma liver metastases
1 | 1 | 1 | 1 | 23 | Beyer_B | 2015 | Jun 14 to Feb 15 |  | R |  | 1 | Manual guidance | None | HCC Metas | MWA | Not reported |  | 34 | 19.1 | SD 9.0 | P | 1 | CT | Mechanical | MAXIO (Perfint Healthcare, India) | General, apnea (?) | 3.1 ± 2.5 (after manual adaption: 1.6 ± 1.3) |  |  | Cartesian (=Euclidean) distance (active center to tumor center) | [5 empty] | 14/34 lesions (41.2%) | Manual position correction after robotic needle placement | [5 empty] | 18.3 ± 2.0 | From the preinterventional planning multi-slice CT to the beginning of the ablation |  |  |  | 2216 ± 1057 | 0/34 | SIR | 0/34 |  | 0/34 |  |  | 6 weeks | 0 | 32/34 (94.1%) | 6 weeks | "ablation success": complete ablation without residual tumor | [28 empty] | Sign: Higher targeting accuracy (“active center final deviation”: after manual correction of stereotactic needle placements), Lower total DLP, Shorter procedure duration (NOT VALID) Non-sign: Targeting accuracy (“active center uncorrected deviation”: stereotactic vs manual) Ablation success at 6 weeks | 32/34 (94.1%) vs 29/30 (96.7%) | Robotic assistance for liver tumor ablation reduces patient dose and allows for fast positioning of the microwave applicator with high accuracy. The complication rate and ablation success at 6 weeks showed no significant difference.
0 | 1 | 1 | 1 | 24 | Abdullah_A | 2015 | Aug 13 to Feb 14 |  | R |  | 1 | For radiation doses: cohort of pat targeted free-hand | None | HCC Metas | RFA/MWA | 20 | 59 | 40 | 23 | 6 - 49 | P | 1 | CT | Mechanical | MAXIO (Perfint Healthcare, India) | General, tube discon | [9 empty] | 12/20 patients (60%) Mean n: 0.8 ± 0.8 (0 - 3) | Not defined | 100% | "Successfully completed": not defined | 2.0 ± 1.3 (1-5) | Not defined | [6 empty] | 1382 ± 536 | 0/20 | Not defined | 0/20 | Not defined | 0/20 |  |  |  | 0 | [31 empty] | Non-sign: Total DLP per patient, CT fluoroscopic DLP per lesion |  | robotic-assisted planning and needle placement appears to be safe, with high accuracy and a comparable radiation dose to patients.
1 | 1 | 1 | 0 | 25 | Mbaliske | 2014 | Jun 13 to Dec 13 | Single nodule, TACE within 3 month prior to ablation | P cohort study | Not defined | 1 | Manual guidance | None | HCC CCC Metas | MWA | 30 | 57.7 ± 15 (33 – 83) | 30 | 23.2 | SD 8.4, 11 – 46 | P | 1 | CT | Mechanical | MAXIO (Perfint Healthcare, India) | Local, sedation | Initial attempt: 5.3 ± 1.8, After re-adjustment: 1.9 ± 1.7 | [7 empty] | 115 ± 33.7 (80 - 135) | 1.13 ± 0.7 (0 - 3) | Not defined |  |  | 2.1 ± 0.73 (1–3) | N of insertions (NOI) performed with the applicator after each thermoablation procedure |  | 25.2 ± 2.8 | Including planning time, preparation time (insertion time and ablation time) | 1.5 ± 0.57 | Time duration for an accurate insertion of the applicator into the target tumour |  | 193.8 ± 93 (148 - 251) | 0/30 | Ahmed et al Rad 2014 | 0/30 |  | 0/30 |  | 0 | [33 empty] | Sign.: higher accuracy, lower n re-adjustments, shorter insertion time, longer planning and preparation times, lower total DLP (effective doses comparable), total procedure time (3 min), better performance score |  | novel robotic guided approach improved the accuracy of targeting the target tumour, reduced patient dose and increased procedural performance (which influences the procedural safety) during ablation
0 | 1 | 1 | 1 | 26 | Sindram | 2014 |  |  | P case series |  | 0 |  |  | HCC Metas | MWA | 13 | 59.4 ± 11.1 | 34 | 18.0 | SD 9.2 5 - 40 | L | 0 | US | EM | AIM Guidance System (InnerOptic Technology Inc., USA) | General | [9 empty] | 3/34 lesions (8.8%) | 93% first-attempt passes = hit the target | [5 empty] | 91.9 ± 37.4 (46 - 177) | Not further defined (surgery time presumably included) |  |  |  |  | 3/13 (23%) | Not defined | 0/13 | Not defined | 0/13 | 30 | 2.8 ± 1.5 | 7.8 ± 4.2 (0 - 16) | 0 | 11/12 (92% ) | 4 - 6 weeks | Completeness of ablation using the mRECIST criteria, using CT |  |  |  | 7/13 (54%) | Mean follow-up 7.8 ± 4.2 (0 – 16 ) | "Regional recurrences", not further defined | [24 empty] | The AIM™ guidance system is an effective adjunct for laparoscopic ablation. It facilitates a high degree of accuracy and a good first-attempt success rate, and avoids the line of site interference associated with infrared systems. a high degree of accuracy and a good first-attempt success rate, and avoids the line of site interference associated with infrared systems.
0 | 1 | 1 | 1 | 27 | Schullian_I | 2014 | Jan 05 to Mar 10 | Prior laparoscopic liver packing | R |  | 0 |  |  | HCC CCC Metas | Unipolar RFA | 47 | 64, 34 – 83 | 120 | 24 | 1 - 150 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube discon | [16 empty] | 129 ± 87.8 (calculated) 90 (16 - 320) | Median ablation time (without laparoscopic packing) | [5 empty] | SIR | 10/52 (19,2%) | ≥ C | 1/52 (1,8%) |  |  |  | 1 (not referenced) | 110/120 (91.6%) | 1 month | "Primary success rate": rate of completely ablated tumors, i.e. at first CE-CT after 1 month a circumscribed non-enhancing area surrounded by reactive rim enhancement |  |  |  | 5/110 (4.5%) | After at least three months | "Local recurrence": evidence of new tumor within or immediately adjacent to the ablation area on follow-up imaging after at least three months | [24 empty] | Liver packing presents a viable option to stereotactic RFA for the treatment of tumors otherwise deemed untreatable by RFA with good local tumor control and in comparison to surgery aacceptable complication rates
1 | 0 | 1 | 1 | 28 | Mauri | 2014 | Dec 02 - Dec 12 | Undetectable with unenhanced US and either totally or incompletely conspicuous on CEUS | R |  | 0 |  |  | HCC Metas | RFA/MWA | 175 | 66 ± 12.3 | 295 | 13 | SD 6 5 - 25 | P | 0 | US-CT US-MRI | EM | VirtuTrax (CIVCO Medical Solutions, USA) | General, tube discon/end-exp | 95.6% |  |  | "Correct targeting" as assessed on 24h CT/MRI: "Center of the ablated zone located within 5-mm range from the ideal target point preoperatively established" | 1 | None | Univariate between-group analyses |  |  |  |  | 90.2% | At 24h CT/MRI: Nonenhancing necrotic volume covered the whole tumor and a margin of at least 5 mm | [9 empty] | 11/215 (5.1%) | Not defined | 2/215 (0,9%) | Not defined | 0/215 |  |  |  | 0 | 266/295 (90.3%) | 3 - 4 months | Absence of contrast enhancement in the tumor at 3–4 months: including 11 tumors that were retreated, excluding 18 tumors not retreated with percutaneous ablation | [30 empty] | Real-time virtual navigation system with US-CT/MRI fusion imaging is precise for targeting and achieving successful ablation of target tumors undetectable with US alone. Therefore, a larger population could benefit from ultrasound guided ablation procedures
0 | 1 | 1 | 1 | 29 | Abdullah_B | 2013 |  |  | R |  | 0 |  |  | HCC CRLM | RFA | 11 | 63.2 | 17 | 21.8 | SD 5.4 11 - 30 | P | 1 | CT | Mechanical | ROBIO EX (Perfint Healthcare, India) | General, tube discon | [9 empty] | 6/17 patients (35%) Mean 0.67 (0 - 2) | Not defined | 100% | Complete ablatio on multiphasic CE-CT immediately after ablation | Mean 1.5 (1 - 4) | Not defined | [6 empty] | 956.09 ± 400.33 | 0/11 | Not defined | 0/11 | Not defined | 0/11 |  |  |  | 0 | [33 empty] | Robotic-assisted planning and needle placement appears to have high accuracy, is technically easier than the non-robotic-assisted procedure, and involves a significantly lower radiation dose to both patient and support staff.
0 | 0 | 1 | 1 | 30 | Bale_C | 2011 | 05 to 11 |  | R |  | 0 |  |  | CRLM | Unipolar RFA | 63 | 66 (33 - 85) | 189 | 20 | 5 - 130 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [23 empty] | SIR | 17/98 (17.4%) | ≥ C | 0/98 | 30 | 5.2 ± 3 | 25.7 ± 16 (2–66) | 1 (not referenced) | 167/189 (93.1%) | 1 month | "Primary success rate": complete ablation (circumscribed non-enhancing area within/ extended beyond tumour borders with well-defined margin, eventually surrounded by a reactive rim enhancement) | 99% | Not defined | "Secondary success rate": not defined | 31/189 (16%) | Mean follow-up 25.7 months | "Local recurrence": Evidence of newly detected tumours within or immediately adjacent to ablation zone identified with subsequent contrast-enhanced follow-up CTs | 1 | Proximity to vessels/bile ducts/hollow organs No influence of tumor size (<3,3-5,>5) | Between group (t-test, chi square) | 56% | Mean follow-up 25.7 months | 87% | 44% | 27% | Number of mets (1 vs >1), CEA levels (>10ng/mL), resectability | Univariate survival analyses | 68% | 28% | 15% | Number of mets (1 vs >1), resectability | [10 empty] | Tumour size did not affect local recurrence, overall survival and disease-free survival. Large colorectal liver metastases can be effectively treated by stereotactic radiofrequency ablation (SRFA). Using SRFA the overall survival is not affected by tumour size. SRFA achieves similar overall and disease-free survival rates as surgical resection. SRFA challenges surgical resection as the first-line treatment for colorectal liver metastases
0 | 0 | 1 | 1 | 31 | Haidu | 2011 | Dec 04 to Jun 10 | Inoperable ICC | R |  | 0 |  |  | ICC | Unipolar or multipolar RFA | 11 | 61 ( 39–80) | 36 | 3 | 5 - 100 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [23 empty] | Major: events that increased the level of care and led to a prolonged hospital stay prolonged hospital stay | 3/23 (13%) | Events that increased the level of care and led to a prolonged hospital stay prolonged hospital stay | 0/23 |  |  | 35 (12 - 81) | 1 | 33/36 (92%) | 1 month | "Primary technical effectiveness": absence of local tumor progression in 1 month CT | 98% | Not defined | "Secondary technique effectiveness": lesions that had undergone re-ablation after identification of local tumor progression in 1-month CT | 3/36 (8%) | Median follow-up 35 months | "Local recurrence": nodular intralesional or peripheral contrast enhancement on CT or MRI scans and/or an increased size of the tumor |  |  |  | 64% | Median follow-up 35 months | [19 empty] | SRFA is effective in the treatment of unresectable ICC even if the tumor is large and located close to major vessels. SRFA shows a survival benefit compared to other palliative treatment options and may also be considered as the first-line local treatment of ICCs in selected patients
0 | 0 | 1 | 1 | 32 | Widmann_A | 2011 | Jan 08 to Jan 10 | Lesions close to hollow viscera: prior laparoscopic packing | R |  | 0 |  |  | HCC CCC Metas | Unipolar RFA | 90 | 61.1, 22–85 | 177 | 29 | 5 - 110 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection | [22 empty] | 31/106 (29.3%) | if left untreated without invasive intervention might threaten patient’s life, lead to substantial morbidity and disability, or result in an extended LOS | 8/106 (7.5%) | if left untreated without invasive intervention might threaten patient’s life, lead to substantial morbidity and disability, or result in an extended LOS | 1/106 (0,9%) | 6 months | 4 ± 2.4 (1 - 11) |  | 0 | 169/177 (95.5%) | 1 month | "Technique effectiveness": complete ablation (circumscribed nonenhancing region within and extended beyond tumor borders, eventually surrounded by reactive rim enhancement) on CE imaging | 97.7% | Not defined | Not defined | 5/173 (2.9%) | 1 year | "Local recurrence": evidence of newly detected tumor at the site of ablation at contrast-enhanced imaging | 1 | Lesion size </> 5cm Hollow viscera vicinity ± requiring liver packing | Univariate analyses of technique efficacy at 1 month | [21 empty] | SRFA allowed for efficient, reliable, and safe ablation of large-volume liver disease No difference in technique efficacy in intra-operator performance!
1 | 0 | 1 | 0 | 33 | Widmann_B | 2011 | Jul 08 to Apr 09 |  | P case series |  | 0 |  |  | Not specified | RFA | 20 |  | 35 | 31 | 10 - 80 | P | 0 | CT | Optical | Stealth Station Treon plus (Medtronic, USA) | General, tube disconnection |  | 3.6 ± 2.5 (0.0 – 14 mm) | 1.3 ± 1.2 (0.0 – 7.9) | Distance between the tip of the plan to the tip of the coaxial needle | 1 | Lateral error at needle tip: Seg II vs Seg Ivb location "Clear parenchymal " vs "subphrenic plus fat" | Univariate between-group analyses | Root Mean Square (RMS) < 1mm -> onlr then accepted | [14 empty] | 0/20 | "no puncture-related" complications | 0/20 | Not defined | 0/20 | [37 empty] | CT-guided stereotaxy can be considered safe and provided precise multiple needle placements
0 | 1 | 1 | 1 | 34 | Liu | 2011 | Oct 09 to Sept 10 | Undetectable on US but detectable by iv contrast CT or MRI, ≤ 3 nodules | P case series |  | 0 |  |  | HCC | MWA | 18 | 59.3 ± 9.9 (42 - 75) | 18 | 18.5 | SD 7.7 9 - 38 | P | 0 | US-CT US-MRI | EM | MyLab90 System equipped with Virtual Navigator, (Esaote SpA, Italy) | Local, sedation | [7 empty] | Less than 5 mm, the fusion image was considered successful | [5 empty] | 1.28 ± 0.46 | Antenna placements for each tumor until this tumor was ablated completely | [8 empty] | Not defined | 0/18 | Not defined | 0/18 |  |  | 6 (3 - 12) | 0 | 17/18 (94.4%) | 1 month | "Technique effectiveness": not defined |  |  |  | 0/18 (0%) | Median follow-up 6 months | "Local recurrence": abnormal peripheral nodular enhancement of the ablation area | [24 empty] | MW ablation assisted by a real-time virtual navigation system is a feasible and efficient treatment of patients with HCC undetectable by conventional ultrasonography.