# Supplementary information

Supplementary Table S1 | TRIPOD+AI checklist (abridged item wording) and the location of each item in the manuscript.

| Item | TRIPOD+AI item (abridged) | Location |
| --- | --- | --- |
| 1 | Title identifies the study as developing or evaluating a prediction model | Title |
| 2 | Abstract: objectives, setting, participants, outcome, predictors, sample size, statistical methods, results, limitations | Abstract |
| 3 | Background and rationale, including the intended use of the model | Introduction |
| 4 | Objectives, including whether the study describes development, evaluation or both | Introduction, last paragraph |
| 5 | Source of data, study design, dates of recruitment and follow-up | Methods: Study design and population |
| 6 | Participants: setting, eligibility, treatments received | Methods: Study design and population; Table 1 |
| 7 | Data preparation, including processing of the AI input (signal preprocessing) | Methods: Preprocessing and signal feature extraction; Fig. 7 |
| 8 | Outcome definition, measurement and blinding | Methods: Reference standard and labels |
| 9 | Predictors and their measurement | Methods: Heart-sound and pulse-wave acquisition; Model architecture |
| 10 | Sample size determination | Discussion, limitations (no formal calculation; consecutive enrollment) |
| 11 | Missing data handling | Methods: Missingness and leakage control |
| 12 | Analytical methods: model type, training, hyperparameters, internal validation, held-out evaluation, performance measures, model comparison | Methods: Model architecture; Training and evaluation protocol; Statistical analysis |
| 13 | Class imbalance / prevalence handling | Results: Study cohort; Methods: Repeatability and conformal prediction intervals |
| 14 | Fairness: performance across relevant subgroups | Supplementary Table S4 (age, sex, body-mass index, cycle count); rhythm not recorded (Discussion, limitations) |
| 15 | Model output and its interpretation for intended users | Results: physical-unit agreement; Table 2; Discussion |
| 16 | Training vs evaluation data: differences and their handling | Results: Study cohort; Validation in held-out patients; Discussion, limitations |
| 17 | Ethical approval and consent | Methods: Study design and population |
| 18 | Open science: registration, protocol, data and code availability | Pre-registered: indicator panel, target-definition module and model-comparison criteria (Methods: Training and evaluation protocol). Post-lock, not pre-registered: referral rule, subgroup, rhythm, availability and knockout analyses (Methods: Referral rule … analyses). Data and Code availability |
| 19 | Patient and public involvement | None |
| 20 | Participants: flow, numbers, characteristics | Results: Study cohort; Table 1 |
| 21 | Model specification and performance, including all performance measures with confidence intervals | Results; Figs. 2–5; Tables 2 and 3; Supplementary Tables S2–S6 |
| 22 | Model updating, recalibration | Results: conformal recalibration; Methods |
| 23 | Usability of the model in the context of current care | Discussion |
| 24 | Interpretation of results, including limitations | Discussion |
| 25 | Overall interpretation and implications | Discussion |
| 26 | Registration and protocol | Methods: Training and evaluation protocol (pre-registered panel and comparison criteria); Referral rule … analyses (dated post-lock plan); Code availability |
| 27 | Funding and conflicts of interest | Competing interests |

Supplementary Table S2 | Modality knockout on the 25 trained networks (out-of-fold; embedding of the named channel replaced by the training-fold mean). Loss = correlation of the unmodified model minus that of the knockout (95% patient-clustered bootstrap interval); pulse-wave share = pulse-wave loss ÷ (acoustic loss + pulse-wave loss), shown only where both losses are positive.

| Indicator | n | r, full | r, acoustic removed | r, pulse wave removed | r, both removed | Acoustic loss (95% CI) | Pulse-wave loss (95% CI) | Pulse-wave share |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reported panel |  |  |  |  |  |  |  |  |
| AV Vmax | 1496 | 0.504 | 0.289 | 0.492 | 0.267 | +0.215 (+0.15 to +0.28) | +0.013 (−0.01 to +0.03) | 0.06 |
| PASP | 1282 | 0.440 | 0.308 | 0.403 | 0.235 | +0.132 (+0.08 to +0.18) | +0.037 (+0.01 to +0.07) | 0.22 |
| E/e′ | 1494 | 0.338 | 0.293 | 0.318 | 0.275 | +0.045 (−0.01 to +0.10) | +0.020 (−0.01 to +0.05) | 0.30 |
| LAVI | 1493 | 0.521 | 0.430 | 0.405 | 0.264 | +0.092 (+0.06 to +0.12) | +0.117 (+0.08 to +0.15) | 0.56 |
| LVOT VTI | 562 | 0.492 | 0.463 | 0.402 | 0.304 | +0.029 (0.00 to +0.06) | +0.091 (+0.04 to +0.14) | 0.76 |
| LVEF | 1502 | 0.339 | 0.312 | 0.270 | 0.195 | +0.027 (0.00 to +0.06) | +0.069 (+0.04 to +0.10) | 0.72 |
| LVDd | 1501 | 0.334 | 0.363 | 0.285 | 0.286 | −0.029 (−0.05 to 0.00) | +0.049 (+0.02 to +0.08) | — |
| LVDs | 1502 | 0.305 | 0.320 | 0.272 | 0.260 | −0.015 (−0.04 to +0.01) | +0.034 (0.00 to +0.07) | — |
| Secondary indicators |  |  |  |  |  |  |  |  |
| Aortic valve area | 529 | 0.500 | 0.452 | 0.492 | 0.422 | +0.048 (+0.01 to +0.09) | +0.008 (−0.01 to +0.03) | 0.14 |
| Dimensionless velocity index | 548 | 0.441 | 0.316 | 0.439 | 0.275 | +0.125 (+0.07 to +0.18) | +0.002 (−0.03 to +0.03) | 0.02 |
| Mean transaortic gradient | 131 | 0.352 | −0.015 | 0.358 | −0.051 | +0.367 (+0.20 to +0.57) | −0.006 (−0.05 to +0.04) | — |
| Regurgitant vena contracta width | 446 | 0.230 | 0.008 | 0.252 | −0.098 | +0.222 (+0.14 to +0.29) | −0.022 (−0.07 to +0.04) | — |
| Regurgitant PISA radius | 489 | 0.267 | 0.091 | 0.264 | 0.011 | +0.175 (+0.10 to +0.24) | +0.003 (−0.04 to +0.05) | 0.02 |
| Regurgitant volume | 270 | 0.213 | −0.081 | 0.242 | −0.074 | +0.294 (+0.17 to +0.42) | −0.028 (−0.07 to +0.01) | — |
| Left atrial diameter | 1502 | 0.407 | 0.358 | 0.292 | 0.180 | +0.048 (+0.02 to +0.07) | +0.115 (+0.07 to +0.15) | 0.70 |
| Global longitudinal strain | 593 | 0.257 | 0.194 | 0.135 | 0.026 | +0.063 (0.00 to +0.12) | +0.122 (+0.05 to +0.19) | 0.66 |
| Negative control (wall thickness) |  |  |  |  |  |  |  |  |
| Interventricular septum (control) | 1500 | 0.200 | 0.193 | 0.207 | 0.195 | +0.007 | −0.007 | — |
| Posterior wall (control) | 1498 | 0.187 | 0.170 | 0.186 | 0.179 | +0.017 | +0.001 | — |
| Panel means |  |  |  |  |  |  |  |  |
| Reported panel (8) |  | 0.409 | 0.347 | 0.356 | 0.261 |  |  |  |
| Pre-registered panel (8) |  | 0.402 | 0.280 | 0.377 | 0.202 |  |  |  |

Supplementary Table S3 | Illustrative referral rule: development cohort, out-of-fold predictions with nested operating points (positive state: measured AV Vmax ≥3.0 m/s or PASP ≥40 mmHg; 95% patient-clustered bootstrap intervals), and the same rule transported unchanged to the held-out cohort.

| Rule | n | Positives | Sensitivity | Specificity | PPV | NPV | Referral rate |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Composite (AV Vmax or PASP term) | 1,279 | 120 | 0.95 (0.91–0.98) | 0.27 (0.24–0.30) | 0.12 (0.10–0.14) | 0.98 (0.96–0.99) | 0.75 (0.72–0.78) |
| AV Vmax term alone | 1,279 | 36 | 0.86 (0.72–0.97) | 0.36 (0.33–0.39) | 0.04 (0.02–0.05) | 0.99 (0.98–1.00) | 0.64 (0.61–0.67) |
| PASP term alone | 1,279 | 92 | 0.91 (0.85–0.97) | 0.49 (0.46–0.52) | 0.12 (0.10–0.15) | 0.99 (0.98–0.99) | 0.54 (0.51–0.57) |
| Held-out cohort, operating points transported unchanged (predicted AV Vmax ≥ 1.32 m/s, predicted PASP ≥ 24.6 mmHg; no bootstrap) |  |  |  |  |  |  |  |
| Composite (AV Vmax or PASP term) | 107 | 31 | 0.97 | 0.46 | 0.42 | 0.97 | 0.66 |
| PASP term alone | 107 | 17 | 1.00 | 0.54 | 0.29 | 1.00 | 0.54 |

Net benefit of the composite rule against referring every patient, by threshold probability: 0.05: +0.054 versus +0.046; 0.10: +0.016 versus −0.007; 0.15: −0.028 versus −0.066; 0.20: −0.076 versus −0.133; 0.25: −0.131 versus −0.208; 0.30: −0.194 versus −0.294. Operating points by fold: predicted AV Vmax 1.29–1.36 m/s, predicted PASP 24.4–25.1 mmHg.

Supplementary Table S4 | Accuracy by patient subgroup (development cohort, out-of-fold; mean over the reported panel, 95% patient-clustered bootstrap interval; pre-registered panel and three indicators shown alongside).

| Subgroup | n | Reported panel r (95% CI) | Pre-registered panel r | AV Vmax r | LAVI r | LVEF r |
| --- | --- | --- | --- | --- | --- | --- |
| Age tertile |  |  |  |  |  |  |
| ≤63 y | 520 | 0.350 (0.28–0.41) | 0.297 | 0.38 | 0.36 | 0.35 |
| 64–72 y | 515 | 0.373 (0.32–0.41) | 0.327 | 0.41 | 0.44 | 0.38 |
| >72 y | 467 | 0.369 (0.32–0.42) | 0.395 | 0.53 | 0.58 | 0.25 |
| Sex |  |  |  |  |  |  |
| Female | 578 | 0.343 (0.30–0.39) | 0.401 | 0.53 | 0.55 | 0.29 |
| Male | 924 | 0.358 (0.32–0.39) | 0.343 | 0.44 | 0.46 | 0.28 |
| Body-mass index tertile |  |  |  |  |  |  |
| ≤23.1 | 526 | 0.406 (0.36–0.45) | 0.405 | 0.55 | 0.56 | 0.34 |
| 23.1–25.7 | 487 | 0.395 (0.35–0.45) | 0.377 | 0.52 | 0.51 | 0.30 |
| >25.7 | 489 | 0.423 (0.38–0.46) | 0.412 | 0.46 | 0.49 | 0.37 |
| Usable cycles tertile |  |  |  |  |  |  |
| ≤12 | 599 | 0.388 (0.34–0.43) | 0.389 | 0.51 | 0.54 | 0.27 |
| 13–14 | 476 | 0.421 (0.37–0.47) | 0.413 | 0.51 | 0.52 | 0.37 |
| >14 | 427 | 0.397 (0.34–0.45) | 0.390 | 0.48 | 0.47 | 0.37 |

Supplementary Table S5 | Accuracy by pulse-interval irregularity (coefficient of variation, CV, of the pulse-wave cycle length; mean over the reported panel). Development-cohort median CV 0.084, 90th percentile 0.195.

| Threshold | Development n (%) | r, irregular (95% CI) | r, regular | Held-out n (%) | r, irregular | r, regular |
| --- | --- | --- | --- | --- | --- | --- |
| CV > 0.10 | 627 (41.7%) | 0.408 (0.36–0.45) | 0.379 | 42 (35.6%) | 0.325 | 0.462 |
| CV > 0.15 (pre-specified) | 377 (25.1%) | 0.415 (0.37–0.46) | 0.387 | 28 (23.7%) | 0.298 | 0.433 |
| CV > 0.25 (post hoc) | 38 (2.5%) | 0.333 (0.21–0.42) | 0.412 | 3 (2.5%) | — | 0.449 |

Supplementary Table S6 | Availability of the discretionary Doppler and strain measurements (% of recordings measured) by graded severity of the relevant lesion, development cohort.

| Indicator | All | Grade 0 | Grade 1 (mild) | Grade 2 (moderate) | Grade 3 (severe) |
| --- | --- | --- | --- | --- | --- |
| Aortic-flow indices, by grade of aortic stenosis (n = 1,406 / 55 / 29 / 12) |  |  |  |  |  |
| Aortic valve area | 35.2 | 30.8 | 100.0 | 100.0 | 100.0 |
| Dimensionless velocity index | 36.5 | 32.3 | 98.2 | 100.0 | 91.7 |
| LVOT VTI | 37.4 | 33.2 | 100.0 | 100.0 | 91.7 |
| Mean transaortic gradient | 8.7 | 2.5 | 100.0 | 100.0 | 100.0 |
| Regurgitant indices, by highest grade among aortic, mitral and tricuspid regurgitation (n = 241 / 1,028 / 159 / 74) |  |  |  |  |  |
| Regurgitant vena contracta width | 29.7 | 0.0 | 23.8 | 83.6 | 91.9 |
| Regurgitant PISA radius | 32.6 | 0.0 | 32.0 | 67.9 | 70.3 |
| Regurgitant volume | 18.0 | 0.0 | 7.1 | 81.8 | 90.5 |
| Not lesion-specific |  |  |  |  |  |
| Global longitudinal strain | 39.5 | — | — | — | — |