Highlights

- First systematic 8-angle by 2-/4-arc VMAT sweep in TAO: 384 plans, 24 patients.

- Four arcs improved homogeneity (-11.1%) and conformity (+2.2%); leaf travel +94%.

- Pooled OAR Dmax fell with four arcs: lens -3.6%, brainstem -2.2%, pituitary -1.9%.

- OAR gains survived per-angle FDR correction only at 0-45 degrees (descriptive).

- C60-300H best balanced target and OAR; C75-285H favored OAR sparing; avoid 0°/15°.