## Cover Page
Sheet
TableI | Table I — Capacity Reliability Gap by Year (Scenario A)
TableII | Table II — NYISO Load-Zone Capacity Reliability Gap
TableIII | Table III — Phased Capital Requirements & Sequencing
TableIV | Table IV — Curtailment Impact of Alternative Sequencing
TableV | Table V — Capital Mobilisation Efficiency by Financing Structure
TableVI | Table VI — Financing Cost Waterfall by Scenario
TableVII | Table VII — Scalability Across U.S. Electricity Markets
TableVIII | Table VIII — National Aggregate Impact (Coordinated vs. Uncoordinated)
Model_Parameters | Supplementary — model parameters & assumptions (not a numbered manuscript table)
Supp_NYISO_8760_Sample | Supplementary — NYISO generation-profile sample (not a numbered manuscript table)

## Table I
TABLE I
Capacity Reliability Gap Under Uncoordinated Investment (Scenario A), by Year — NYISO Study Region
AI Demand Scenario | CAGR | CRG 2025 (%) | CRG 2026 (%) | CRG 2027 (%) | CRG 2028 (%) | CRG 2029 (%) | CRG 2030 (%) | Unmet 2030 (GW)
Base Case | 12.4% p.a. | 8.1 | 14.2 | 23.4 | 26.1 | 29 | 31.8 | 14.2
High Case | 18.7% p.a. | 12.3 | 19.8 | 29.7 | 33.4 | 37.1 | 41.2 | 21.8
Low Case | 7.1% p.a. | 4.2 | 8.6 | 14.6 | 17.8 | 20.4 | 23.1 | 9.7
Note: formerly Fig. 1 + draft Table I. Sources: NYISO 2023 Load & Capacity Data; NYISO 2024 Comprehensive Reliability Plan; EIA Annual Energy Outlook 2025; BloombergNEF New Energy Outlook 2025; Lawrence Berkeley National Laboratory Data Center Electricity Report 2024. CAGR = compound annual growth rate; CRG = Capacity Reliability Gap = [AI demand − firm capacity] ÷ AI demand × 100.

## TableII
TABLE II
NYISO Load-Zone Capacity Reliability Gap (2030 Base Case)
Zone | Area | AI Pipeline (MW) | 2030 Demand (GW) | 2030 Firm Cap. (GW) | CRG 2030 (%) | Severity | Notes
Zone A | Western NY (Buffalo/Niagara) | 120 | 4.2 | 5.1 | -17.6 | Surplus | Surplus from hydro; transmission bottleneck limits export
Zone B | Genesee Valley | 80 | 2.8 | 3.3 | -15.2 | Surplus | Nuclear baseload; modest AI pipeline
Zone C | Central NY (Syracuse) | 95 | 3.1 | 3.4 | -9.7 | Surplus | Small surplus; could help serve NYC demand
Zone D | North NY (Plattsburgh) | 40 | 1.6 | 1.9 | -15.8 | Surplus | Canadian hydro imports; low AI pipeline
Zone E | Mohawk Valley | 60 | 2.2 | 2.5 | -11.4 | Surplus | Hydro-heavy; limited AI development
Zone F | Capital Region (Albany) | 180 | 3.8 | 3.9 | -2.6 | Near-balanced | Marginal surplus; some data center growth
Zone G | Hudson Valley | 420 | 5.6 | 5.2 | 7.7 | Moderate | Growing hyperscaler interest, lower Hudson Valley
Zone H | Millwood | 310 | 4.1 | 3.7 | 9.8 | Moderate | Transmission constrained; feeds NYC metro
Zone I | Dunwoodie (Yonkers) | 280 | 3.9 | 3.4 | 12.8 | Elevated | High-density zone; interconnection queue backlog
Zone J | NYC (Bronx/Queens/Brooklyn/Manhattan) | 1850 | 14.2 | 10.4 | 26.8 | Severe | Primary AI development zone; 345 kV backbone critical
Zone K | Long Island | 940 | 9.2 | 5.7 | 38 | Critical | Highest CRG; offshore wind not yet connected
Note: formerly Fig. 1(b) / "Fig. 1b." CRG < 0 = surplus firm capacity. Sources: NYISO 2024 Comprehensive Reliability Plan; NYISO zone maps; EIA Form 860; announced AI data center pipeline from public filings (Amazon, Google, Microsoft, Meta), Q4 2024.

## TableIII
TABLE III
Phased Capital Requirements, Lead Times, and Firm Capacity Additions Under Optimal Co-Investment Sequencing
Phase | Asset Type | Timeline | Lead Time | Scale | Capex ($B) | Firm Cap. Added (GW)
Phase 1 (2025–26) | Transmission Upgrades (345 kV backbone; Zone J–K) | Q1 25–Q4 26 | — | 3.4 GW capacity | 4.2 | +0 (enabling)
Phase 2 (2026–27) | Battery Storage (BESS, 4-hr) | Q2 26–Q2 27 | +14 months | 8.7 GWh / 2.2 GW | 5.1 | +2.9 GW firm
Phase 3 (2026–28) | Offshore Wind (NY Bight) | Q3 26–Q4 28 | +16 months | 4.2 GW nameplate | 12.8 | +1.7 GW firm
Phase 4 (2027–29) | Solar + Storage (Upstate NY) | Q1 27–Q4 29 | +18 months | 6.8 GW / 12.4 GWh | 9.4 | +3.8 GW firm
TOTAL | All asset types | 2025–2029 | — | — | 31.5 | +8.4 GW firm
Note: capital requirements from EIA 2025 AEO overnight cost schedules (Table 8.2), 2025 real dollars. Firm capacity additions under 95th-percentile hourly availability. Sources: EIA 2025 AEO; NYISO 2024 Comprehensive Reliability Plan; NYISO 2023 interconnection queue data; authors' co-investment sequencing model.

## TableIV
TABLE IV
Curtailment Impact of Alternative Investment-Sequencing Strategies
Sequencing Scenario | Phase Order | Curtailment Rate (%) | Effective Firm Cap. Factor (%) | Stranded Asset Risk ($B) | CRG Impact vs. Optimal (pp)
Optimal (transmission first) | Tx → BESS → Wind → Solar | 3.2% | 94.1% | $0.3B | — (baseline)
Wind before transmission | Wind → Tx → BESS → Solar | 24.7% | 73.8% | $3.8B | +8.4 pp
Solar before transmission | Solar → Tx → BESS → Wind | 18.3% | 79.6% | $2.4B | +5.9 pp
Simultaneous deployment | All assets at once | 21.4% | 76.2% | $4.1B | +7.2 pp
Note: formerly Fig. 3 (lower panel). Optimal sequencing is transmission-first; deviating from it raises curtailment and stranded-asset risk. Sources: EIA 2025 AEO; NYISO 2024 Comprehensive Reliability Plan; authors' model.

## TableV
TABLE V
Capital Mobilisation Efficiency by Financing Structure — Scenarios A, B, and C
Financing Scenario | Blended CoC (%) | Debt Cost (%) | Equity Return (%) | Coord. Cost (bps) | Public Capital (%) | CRG Elim. (pp) | Cost/GW ($M)
A: Private Uncoordinated (Default) | 6.8% | 6.8% | 12.4% | 85 | 0% | 14.2 pp | $289M
B: State Bond + Private (Optimal) | 4.2% | 4.2% | 9.8% | 42 | 38% | 29.6 pp | $188M
C: DOE LPO + Private Equity | 3.8% | 3.8% | 8.9% | 38 | 52% | 27.1 pp | $184M
Note: CoC = blended cost of capital (investment-weighted WACC); bps = basis points. CRG elimination is measured against the 31.8 pp base-case gap at 2030. Cost/GW = total capital cost per GW of reliable firm capacity. Sources: Federal Reserve H.15 Selected Interest Rates (Feb 2026); U.S. DOE Loan Programs Office historical lending data; S&P Global Market Intelligence infrastructure equity return benchmarks.

## TableVI
TABLE VI
Financing Cost Waterfall by Scenario: Capital Cost per GW of Reliable Firm Capacity
Scenario | Debt Cost ($M/GW) | Equity Return ($M/GW) | Coordination ($M/GW) | Curtailment Risk ($M/GW) | Approval Delay ($M/GW) | Total ($M/GW) | vs. A | CRG Elim. (pp)
A | 142 | 98 | 31 | 18 | 0 | 289 | baseline | 14.2
B | 88 | 72 | 14 | 10 | 4 | 188 | −34.9% | 29.6
C | 80 | 65 | 12 | 8 | 19 | 184 | −36.3% | 27.1
Note: formerly Fig. 4. A = Private Uncoordinated; B = State Revenue Bond + Private Co-Investment; C = DOE LPO Loan + Private Equity Hybrid (see Table V). Scenario B reduces total cost from $289M/GW to $188M/GW (−34.9%); Scenario C achieves the lowest unit cost ($184M/GW) but carries an 18–24-month DOE LPO approval timeline. Sources: Federal Reserve H.15 (Feb 2026); DOE LPO historical lending data; S&P Global infrastructure equity benchmarks.

## TableVII
TABLE VII
Scalability of Coordinated Investment (Scenario B) Across U.S. Electricity Markets
Market | Coverage | AI Load 2030 (GW) | CRG Uncoord. (%) | CRG Scen. B (%) | CRG Red. (pp) | Fin. Cost Red. (pp) | Primary AI Development Hub
NYISO | New York State | 44.7 | 31.8% | 2.2% | 29.6 | 18.4 | Westchester County; NYC outer boroughs
PJM | 13 states + DC | 106.2 | 38.4% | 4.1% | 34.3 | 17.8 | Loudoun County, VA
MISO | 15 states | 58.3 | 24.7% | 3.8% | 20.9 | 16.2 | Columbus OH; Indianapolis IN; Chicago-area IL
CAISO | California | 31.8 | 19.3% | 1.9% | 17.4 | 15.1 | Santa Clara County; Sacramento Valley; Inland Empire
Note: CRG Red. = percentage-point reduction in Capacity Reliability Gap from Scenario A to Scenario B. Sources: BloombergNEF New Energy Outlook 2025; Lawrence Berkeley National Laboratory Data Center Electricity Report 2024; PJM 2024 Long-Term Load Forecast; MISO 2024 Transmission Expansion Plan; CAISO 2024–2025 Transmission Plan; EIA 2025 Annual Energy Outlook.

## TableVIII
TABLE VIII
National Aggregate Impact of Coordinated vs. Uncoordinated Investment (All Four Markets Combined, 2030)
Metric | Uncoordinated (Scenario A) | Coordinated (Scenario B) | Change | % Improvement | Units
Total AI demand unmet | 62.4 | 5.8 | -56.6 | −90.7% | GW
Total capital required | 187.3 | 142.6 | -44.7 | −23.9% | $B, 2025–2030
Blended financing cost | 6.8% | 4.2% | −2.6 pp | −38.2% | % p.a., avg.
Residential rate impact | $22/month | $8/month | −$14/month | −63.6% | $/household/month
Carbon-free power share for AI | 41% | 87% | +46 pp | +112.2% | % of AI load
Note: formerly Fig. 5 (right panel). Aggregate across NYISO, PJM, MISO, and CAISO, base case, 2030 horizon. Sources: BloombergNEF New Energy Outlook 2025; Lawrence Berkeley National Laboratory 2024; PJM, MISO, and CAISO 2024 transmission/load-forecast filings; EIA 2025 Annual Energy Outlook; authors' model extrapolation.

## Model_Parameters
Model Parameters & Key Assumptions — Co-Investment Sequencing Model
Supplementary — not a numbered manuscript table. Background assumptions referenced in the Data and Methods section.
AI DEMAND GROWTH ASSUMPTIONS
Parameter | Base Case | High Case | Low Case | Source / Notes
AI Load CAGR 2024–2030 (%) | 12.4% | 18.7% | 7.1% | LBNL 2024; BloombergNEF NEO 2025; EIA AEO 2025
AI-Attributable Share of New Load (%) | 68% | 78% | 55% | Lawrence Berkeley National Laboratory 2024
GPU Rack Power Density (kW/rack) | 200–500 | 500+ | 100–200 | Industry filings; DOE 2024 AI Infrastructure Rpt
Data Center PUE (Power Usage Effectiveness) | 1.35 | 1.45 | 1.25 | EPA ENERGY STAR Data Center Programme 2024
Required Uptime (%) | 99.9% | 99.99% | 99.5% | Hyperscaler SLA requirements; industry standard
CAPITAL COST ASSUMPTIONS (2025 REAL $)
Asset Type | Overnight Cost ($/kW) | O&M ($/kW-yr) | Useful Life (yrs) | Source
Transmission Upgrade (345 kV) | $1,235 | $12 | 50 | EIA AEO 2025 Table 8.2
Battery Storage (4-hr BESS) | $587 | $10 | 20 | EIA AEO 2025 Table 8.2; BloombergNEF BESS Survey 2025
Offshore Wind (NY Bight) | $3,048 | $112 | 25 | EIA AEO 2025; Empire Wind 1 cost disclosures
Utility-Scale Solar PV | $1,183 | $17 | 30 | EIA AEO 2025 Table 8.2
Total Weighted Average | $1,876 | $42 | 34 | Authors' calculation
FINANCING COST ASSUMPTIONS
Parameter | Scenario A | Scenario B | Scenario C | Source / Notes
Cost of Debt (%) | 6.8% | 4.2% | 3.8% | Scen A: Fed H.15 IG utility bonds; B: State bond muni yield; C: DOE LPO historical
Equity Return Requirement (%) | 12.4% | 9.8% | 8.9% | S&P Global infra equity benchmarks 2025
Coordination Cost (bps) | 85 bps | 42 bps | 38 bps | Authors' estimate based on PJM/NYISO co-investment data
Debt/Equity Split | 70/30 | 65/35 | 60/40 | Typical infrastructure capital structures
Blended Cost of Capital (%) | 6.8% | 4.2% | 3.8% | Weighted average; calculated per WACC formula
DOE LPO Approval Timeline (months) | N/A | N/A | 18–24 | DOE LPO conditional commitment data 2020–2024
MODEL TECHNICAL PARAMETERS
Parameter | Value | Units | Notes | Source
Planning Horizon | 5 years, rolling | Years | Re-optimised annually | Authors' design
Reliability Constraint | 95th percentile | Hourly availability | Minimum firm capacity threshold | NERC reliability standards
Bilateral Interdependency Coefficient (β) | 0.34 | $/MW triggered per MW sited | Estimated from 2023 NYISO data | Authors' model calibration
Curtailment Threshold (transmission constrained) | 18–26% | % of nameplate | Without Phase 1 transmission upgrade | NYISO 2023 curtailment data
Transmission Lead Time Requirement | 14–18 months | Before generation additions | Avoids stranded asset risk | Authors' model; Joskow 2005 theory
8,760-hour Hourly Resolution | Yes | Hourly | Full year simulation | NYISO 2023 data archive

## Supp_NYISO_8760_Sample
Supplementary — NYISO 8,760-Hour Generation Profile: Illustrative Monthly Averages (2023)
Not a numbered manuscript table. Representative hourly capacity factors by fuel type; full 8,760-hr dataset sourced from NYISO public data portal (www.nyiso.com).
Month | Hours | Avg Load (GW) | Nuclear CF (%) | Offshore Wind CF (%) | Solar CF (%) | Hydro CF (%)
January | 744 | 18.4 | 91.2 | 38.4 | 11.2 | 52.3
February | 672 | 17.8 | 90.8 | 41.2 | 9.8 | 48.6
March | 744 | 16.9 | 91.4 | 36.8 | 16.4 | 54.2
April | 720 | 15.8 | 90.2 | 33.1 | 22.6 | 58.4
May | 744 | 15.2 | 90.6 | 28.4 | 28.2 | 61.3
June | 720 | 17.6 | 89.8 | 24.6 | 31.8 | 48.2
July | 744 | 20.8 | 89.4 | 22.1 | 32.4 | 41.6
August | 744 | 21.2 | 90.1 | 23.8 | 30.6 | 38.4
September | 720 | 18.4 | 91 | 28.4 | 24.8 | 44.2
October | 744 | 16.2 | 91.3 | 33.2 | 18.4 | 51.8
November | 720 | 16.8 | 91.1 | 36.8 | 12.4 | 54.6
December | 744 | 18.6 | 91.6 | 40.2 | 8.6 | 56.8
ANNUAL AVG | 8760 | 17.8 | 90.8 | 32.2 | 20.6 | 50.8
Source: NYISO 2023 Real-Time Energy Market data archive. Capacity factors are monthly averages of hourly output data. Offshore Wind CF uses modelled capacity factors from NYISO Comprehensive Reliability Plan pending full offshore wind interconnection.