# Appendix 1 - Energy Resilience Matrix

| System layers | System core functions |  |  |  |
| --- | --- | --- | --- | --- |
|  | Plan/Prepare | Absorb | Recover | Adapt |
| Infrastructure | State and capability of equipment and network structure | System performance to maintain function | System changes to recover previous functionality | Changes to improve system resilience |
|  | 1.1.1 Energy Intensity Ratio (Energy Efficiency) [1], [2], [3], [4], [5], [6] Total energy consumption (MWh) ÷ Operational output (e.g. TEUs handled) Unit: MWh per TEU (or per ton cargo) | 1.2.1 Loss of Load or Unserved Energy [1], [7], [8], [9], [10], [11], [12], [13] Amount of energy not served during event (MWh) ÷ total demand during the event (MWh) Unit: MWh or % | 1.3.1 Recovery Time to Full Operation [1], [2], [8], [9], [10], [14], [15], [16], [17], [18], [19] Time from disruption start (or peak impact) until energy system returns to baseline performance Unit: Hours / days | 1.4.1 Update System Configuration [1] Time from lessons-learned report completion to implementation of modifications Units: Days |
|  | 1.1.2 Energy Source Ratio (Self-sufficiency) [1], [2], [17], [18], [20], [21] Locally generated electricity (MWh) ÷ Total electricity demand (MWh) Unit: % | 1.2.2 Peak Load Margin Ratio [1], [7], [14], [15], [22], [23] (Installed capacity (MWh) - Peak load (MWh)) ÷ Peak load (MWh) Unit: % | 1.3.2 Peak Load Margin Ratio [1], [7], [14], [15], [22], [23] (Installed capacity (MWh) - Peak load (MWh)) ÷ Peak load (MWh) Unit: % | 1.4.2 Technological Improvements [2], [3], [6], [22], [24], [25], [26] Research and development expenditures ÷ Total budget Unit: % |
|  | 1.1.3 Renewable Energy Share [1], [2], [3], [4], [6], [7], [17], [18], [20], [26], [27], [28], [29], [30], [31] Electricity from renewable sources (MWh) ÷ Locally generated electricity (MWh) Unit: % | 1.2.3 Autonomous Operation Duration [1], [15], [20], [22] Maximum duration for which the subsystem can operate independently Unit: hours | 1.3.3 Autonomous Operation Duration [1], [15], [20], [22] Maximum duration for which the subsystem can operate independently Unit: hours | 1.4.3 Flexible Network Architecture Index [1], [14], [15], [18], [22] Nodes with modular or multi-source capability ÷ Total nodes Unit: % |
|  | 1.1.4 Redundant Capacity Ratio [1], [2], [4], [7], [11], [14], [15], [17], [20], [23], [31] Installed electricity generation capacity ​(MW) ÷ Peak electricity demand (MW) Unit: % | 1.2.4 Critical Load Islanding Coverage [1], [15], [20], [22] Critical load supported during autonomous mode (MWh) ÷ Total critical load (MWh) Unit: % | 1.3.4 Critical Load Islanding Coverage [1], [15], [20], [22] Critical load supported during autonomous mode (MWh) ÷ Total critical load (MWh) Unit: % | 1.4.4 Climate Sensitive Development [2], [3], [20] CO2 emission in kg Unit: CO2 kg |
|  | 1.1.5 Energy Storage Capacity Ratio [5], [11], [14], [29], [32], [33] Installed storage capacity (MWh) ÷ Critical load requirement (MWh for X hours) Unit: % | 1.2.5 Power Flexibility Options [1], [14], [15], [22], [23], [34] Number of electricity-based flexibility options available to the port energy system (Load-shifting, Demand response, Energy storage, Distributed generation, Smart charging, Grid switching) Unit: Count (number of flexibility mechanisms) | 1.3.5 Power Flexibility Options [1], [14], [15], [22], [23], [34] Number of electricity-based flexibility options available to the port energy system (Load-shifting, Demand response, Energy storage, Distributed generation, Smart charging, Grid switching) Unit: Count (number of flexibility mechanisms) |  |
|  | 1.1.6 Sectoral couplings [35], [36], [37] Capacity available via sectoral coupling (MWh) ÷ Total electricity demand (MWh) Unit: % | 1.2.6 Load Flexibility Ratio [1], [9], [14], [15], [22], [33], [34], [38] Flexible electric load (MW) ÷ Peak electric load (MW) Unit: % | 1.3.6 Load Flexibility Ratio [1], [9], [14], [15], [22], [33], [34], [38] Flexible electric load (MW) ÷ Peak electric load (MW) Unit: % |  |
|  | 1.1.7 Microgrid Distribution Redundancy Margin [34], [36], [38], [39] Total available capacity (MW) - Peak required load (MW) Unit: MW | 1.2.7 Microgrid Load-to-Capacity Ratio [3], [34], [36], [38] Peak load (MW) ÷ Distribution capacity (MW) Unit: % | 1.3.7 Microgrid Load-to-Capacity Ratio [3], [34], [36], [38] Peak load (MW) ÷ Distribution capacity (MW) Unit: % |  |
| Information | Data preparation, presentation, analysis, and storage | Real-time assessment of functionality, anticipation of cascading losses and event closure | Data use to track recovery progress and anticipate recovery scenarios | Creation and improvement of data storage and use protocols |
|  | 2.1.1 Monitoring & Forecast Coverage [1], [2], [6], [14], [15], [20], [22], [23], [25], [32], [40] Number of critical systems with real-time monitoring ÷ Total number of critical systems Unit: % | 2.2.1 Monitoring & Forecast Coverage [1], [2], [6], [14], [15], [20], [22], [23], [25], [32], [40] Number of critical systems with real-time monitoring ÷ Total number of critical systems Unit: % | 2.3.1 Monitoring & Forecast Coverage [1], [2], [6], [14], [15], [20], [22], [23], [25], [32], [40] Number of critical systems with real-time monitoring ÷ Total number of critical systems Unit: % | 2.4.1 Forecast Accuracy Improvement [1], [14], [20] Degree to which forecasts improve due to use of past event data Unit: % reduction in forecasting error (MAE or RMSE) |
|  | 2.1.2 Access to Real-Time Operational Dashboards [2], [8], [14], [15], [20], [22], [23], [24], [25], [41] Numbers of stakeholders with access ÷ Total number of relevant stakeholders Unit: % | 2.2.2 Access to Real-Time Operational Dashboards [2], [8], [14], [15], [20], [22], [23], [24], [25], [41] Numbers of stakeholders with access ÷ Total number of relevant stakeholders Unit: % | 2.3.2 Access to Real-Time Operational Dashboards [2], [8], [14], [15], [20], [22], [23], [24], [25], [41] Numbers of stakeholders with access ÷ Total number of relevant stakeholders Unit: % | 2.4.2 System–Documentation Alignment Rate [1], [20] Components with updated documentation ÷ Total components Unit: % |
|  | 2.1.3 Remote Access Reliability [8], [14], [20], [22], [23], [25], [41] Remote access uptime ÷ Total time Unit: % | 2.2.3 Remote Access Reliability [8], [14], [20], [22], [23], [25], [41] Remote access uptime ÷ Total time Unit: % | 2.3.3 Remote Access Reliability [8], [14], [20], [22], [23], [25], [41] Remote access uptime ÷ Total time Unit: % | 2.4.3 Impact Alignment Index [1], [8], [20], [22] Degree to which updated response plans reflect port stakeholder impacts identified during the event. Unit: Score (0–1 or 0–100) |
|  | 2.1.4 Data Backup Frequency [1], [20], [23] Time between backups are made Unit: hours or days | 2.2.4 Multi-Channel Communication Coverage [1], [20], [22] Number of communication channels used for redundancy Unit: count | 2.3.4 Multi-Channel Communication Coverage [1], [20], [22] Number of communication channels used for redundancy Unit: count | 2.4.4 Priority Alignment Index [1], [8], [20], [22] Degree to which updated response plans reflect port stakeholder priorities identified during the event. Unit: Score (0–1 or 0–100) |
|  | 2.1.5 Cybersecurity Maturity Level [1], [9], [15], [23] Based on NIST, ISO 27001, or port-specific maturity scale. | 2.2.5 Protocol Availability Rate [1], [22] Physical copies available of protocols ÷ Total required protocols Unit: % | 2.3.5 Data Restoration Time [1], [15] Time to restore lost or corrupted monitoring, SCADA, or control systems Unit: Hours | 2.4.5 Interdependency Mapping [1], [20] New interdependencies identified / Total interdependencies Unit: % |
| Governance | Governance structure and decisions, with anticipation of adverse events | Contingency protocols and proactive event management | Recovery decision-making | Design of new objectives and decision criteria |
|  | 3.1.1 Resilience Planning Score [1], [8], [14], [20], [22], [24] Score from a structured survey evaluating resilience plans (e.g., existence of a resilience strategy, training, drills) Unit: Index (1–5) | 3.2.1 Decision Latency [1], [8], [14], [15], [22], [42] Time between disruption detection and decision to act (e.g., start backup, shed load) Unit: Minutes | 3.3.1 Leader Decision Efficiency [8], [14], [15], [18], [22], [42] Average time between problem identification and leadership decision issuance during recovery. Unit: minutes/hours | 3.4.1 Leadership Effectiveness Score [1], [8], [20] Quality rating of leadership performance and clarity of coordination during absorption and recovery activities, based on alignment with resilience objectives. Unit: Score (0–5) from internal audit rubric |
|  | 3.1.2 Stakeholder Map Update Frequency [1], [8], [43] Number of updates / year | 3.2.2 Adaptive Decision Cycle Time [14], [15], [20], [22], [42] Time required to update operational decisions after new information is received Unit: minutes / hours | 3.3.2 Adaptive Decision Cycle Time [14], [15], [20], [22], [42] Time required to update operational decisions after new information is received Unit: minutes / hours | 3.4.2 Continuity of Command Score [8], [15], [22] Qualitative score evaluating clarity and functioning of backup decision-making protocols during event Unit: Score (0–5) from internal audit rubric |
|  | 3.1.3 Stakeholder Role Awareness Rate [1], [8], [14], [20], [23], [43] Score from a structured survey/interview evaluating role awareness (e.g., role definition, role description) Unit: Index (1–5) | 3.2.3 Joint Decision Session Frequency [8], [15], [20], [22], [42] Number of cross-organizational decision meetings during absorption. Unit: count | 3.3.3 Joint Decision Session Frequency [8], [15], [20], [22], [42] Number of cross-organizational decision meetings during recovery. Unit: count | 3.4.3 Policy Quality Score [1], [8] Quality rating of documented processes based on clarity, usability, and alignment with resilience objectives. Unit: Score (0–5) from internal audit rubric. |
|  | 3.1.4 Resilience Preparation Budget Ratio [6], [15], [22], [24], [26] Allocated resilience preparation budget ÷ Total budget Unit: % | 3.2.4 Activation Time of Alternative Command Structure [8], [14], [15], [22], [23], [42] Time needed to shift from primary to alternative decision-making arrangements Unit: minutes/hours | 3.3.4 Recovery Budget Sufficiency Ratio [15], [17], [22], [24] Allocated recovery funds ÷ Estimated recovery need Unit: % | 3.4.4 Adaptation Budget Ratio [15], [22], [24], [25] Allocated adaptation budget ÷ Total budget Unit: % |
| Community | Social network, social capital, institutional norms, and training | Resourceful and accessible personnel and stakeholders for event response | Teamwork and knowledge sharing to enhance system recovery | Additions of or changes to institutions, training programs, and culture |
|  | 4.1.1 Stakeholder Engagement Index [1], [8], [14], [20], [22], [23] Number of stakeholder groups involved in resilience planning ÷ Total relevant stakeholder groups Unit: % | 4.2.1 Community Response Time [1], [14], [15], [22] Time between issuing a curtailment or mitigation request and port stakeholder compliance Unit: minutes | 4.3.1 Stakeholder Participation in Recovery Coordination [1], [20] Stakeholders active in system recovery actions ÷ Relevant stakeholders Unit: % | 4.4.1 Stakeholder Engagement Index [1], [14], [20], [23] Number of stakeholder groups involved in resilience evaluation ÷ Total relevant stakeholder groups Unit: % |
|  | 4.1.2 Drill Performance Score [1], [20], [23], [25] Score derived from pre-set evaluation criteria (communication, coordination, recovery speed). Scale: 1–5 rating | 4.2.2 Demand-Reduction Effectiveness [1], [9], [14], [15], [22], [34] Actual Curtailed Demand (MWh) ÷ Requested Curtailed Demand (MWh) Unit: % | 4.3.2 Multi-Stakeholder Coordination Frequency [1], [20] Number of coordination interactions (meetings, briefings, calls) between port authorities, terminal operators, utilities, emergency services, and local government during recovery. Unit: count / day (or per recovery phase) | 4.4.2 Organizational Resilience Confidence [1], [14] Survey-based measure: stakeholders’ self-assessed confidence in handling disruption Unit: Scale 1–5 |
|  | 4.1.3 Information Sharing Willingness Score [8], [14], [15], [20], [23] Score from a structured survey/interview evaluating stakeholder willingness to share sensitive operational information Unit: 1–5 | 4.2.3 Emergency Personnel Availability Rate [2], [8] Available trained personnel ÷ Total trained personnel Unit: % | 4.3.3 Compliance with Recovery Directives [1], [20], [22] (Proportion of stakeholders implementing instructions given by the designated Port Energy Response Manager) Directives implemented ÷ Directives issued Unit: % | 4.4.3 Stakeholder Awareness Index [1], [20] Number of stakeholders participating in post-event briefings and information updates ÷ Total relevant stakeholders Unit: % |
|  | 4.1.4 Multi-Skill Coverage Index [1], [14], [15], [20], [22], [23] Staff qualified for ≥2 operational roles ÷ Total Operations & Maintenance staff Unit: % | 4.2.4 Average Staffing Gap [2], [8] Required staff - Available staff Unit: number of personnel | 4.3.4 Average Staffing Gap [2], [8] Required staff - Available staff Unit: number of personnel | 4.4.4 Human Resource Reallocation Effectiveness [1] Extent to which staffing adjustments improve readiness for future adverse events Staff successfully reassigned to critical roles ÷ Total staff required for critical roles Unit: % |

Each indicator has been assigned a unique number. The first digit indicates the system layer, i.e., 1 = Infrastructure, 2 = Information, 3 = Governance, and 4 = Community. The second digit indicates the system function, i.e., 1 = Plan/prepare, 2 = Absorb, 3 = Recover, and 4 = Adapt. The third digit indicates the indicator number within that category.

## References

[1]	P. E. Roege, Z. A. Collier, J. Mancillas, J. A. McDonagh, and I. Linkov, “Metrics for energy resilience,” Energy Policy, vol. 72, pp. 249–256, Sep. 2014, doi: 10.1016/j.enpol.2014.04.012.

[2]	F. Sharmin and S. Dhakal, “A composite energy resilience performance indicator for Bangladesh,” Energy Sources Part B Econ. Plan. Policy, vol. 17, no. 1, p. 2149901, Dec. 2022, doi: 10.1080/15567249.2022.2149901.

[3]	D. Guarascio, J. Reljic, and F. Zezza, “Energy vulnerability and resilience in the EU: concepts, empirics and policy,” J. Ind. Bus. Econ., vol. 52, no. 3, pp. 683–726, Sep. 2025, doi: 10.1007/s40812-025-00340-9.

[4]	L. Molyneaux, C. Brown, L. Wagner, and J. Foster, “Measuring resilience in energy systems: Insights from a range of disciplines,” Renew. Sustain. Energy Rev., vol. 59, pp. 1068–1079, Jun. 2016, doi: 10.1016/j.rser.2016.01.063.

[5]	S. Habibzadeh, M. H. Jahangir, and F. R. Astaraei, “Electricity supply resiliency evaluation by a hybrid renewable energy system for a petrochemical plant: Frameworks and quantitative assessment methodologies,” Sustain. Mater. Technol., vol. 42, p. e01139, Dec. 2024, doi: 10.1016/j.susmat.2024.e01139.

[6]	A. Molavi, G. J. Lim, and B. Race, “A framework for building a smart port and smart port index,” Int. J. Sustain. Transp., vol. 14, no. 9, pp. 686–700, Jul. 2020, doi: 10.1080/15568318.2019.1610919.

[7]	L. Martišauskas, J. Augutis, R. Krikštolaitis, R. Urbonas, I. Šarūnienė, and V. Kopustinskas, “A Framework to Assess the Resilience of Energy Systems Based on Quantitative Indicators,” Energies, vol. 15, no. 11, p. 4040, May 2022, doi: 10.3390/en15114040.

[8]	S. Charani Shandiz, G. Foliente, B. Rismanchi, A. Wachtel, and R. F. Jeffers, “Resilience framework and metrics for energy master planning of communities,” Energy, vol. 203, p. 117856, Jul. 2020, doi: 10.1016/j.energy.2020.117856.

[9]	M. Wei et al., “Energy resilience in the built environment: A comprehensive review of concepts, metrics, and strategies,” Renew. Sustain. Energy Rev., vol. 210, p. 115258, Mar. 2025, doi: 10.1016/j.rser.2024.115258.

[10]	S. Ahmadi, Y. Saboohi, G. Tsatsaronis, and A. Vakili, “Energy system improvement planning under drought condition based on a two-stage optimization model: The desire for sustainability through the promoting of system’s resilience,” Energy Rep., vol. 7, pp. 3556–3569, Nov. 2021, doi: 10.1016/j.egyr.2021.06.010.

[11]	C. Jimba, Y. Akimoto, and K. Okajima, “Assessment methodology for the resilience of energy systems in positive energy buildings,” E-Prime - Adv. Electr. Eng. Electron. Energy, vol. 11, p. 100908, Mar. 2025, doi: 10.1016/j.prime.2025.100908.

[12]	G. Muthukumaran, M. V. Passos, J. Gong, M. Xylia, and K. Barquet, “Decentralized solutions for island states: Enhancing energy resilience through renewable technologies,” Energy Strategy Rev., vol. 54, p. 101439, Jul. 2024, doi: 10.1016/j.esr.2024.101439.

[13]	H. Soualah, G. Jodin, R. Le Goff Latimier, and H. Ben Ahmed, “Energy Not Exchanged: A Metric to Quantify Energy Resilience in Smart Grids,” Sustainability, vol. 15, no. 3, p. 2596, Feb. 2023, doi: 10.3390/su15032596.

[14]	S. Kim, S. Choi, and C. Kim, “The Framework for Measuring Port Resilience in Korean Port Case,” Sustainability, vol. 13, no. 21, p. 11883, Oct. 2021, doi: 10.3390/su132111883.

[15]	N. Wang, M. Wu, and K. F. Yuen, “Assessment of port resilience using Bayesian network: A study of strategies to enhance readiness and response capacities,” Reliab. Eng. Syst. Saf., vol. 237, p. 109394, Sep. 2023, doi: 10.1016/j.ress.2023.109394.

[16]	A. Zaporozhets, V. Babak, G. Kostenko, O. Zgurovets, V. Denisov, and T. Nechaieva, “Power System Resilience: An Overview of Current Metrics and Assessment Criteria,” in Systems, Decision and Control in Energy VI: Volume I: Energy Informatics and Transport, V. Babak and A. Zaporozhets, Eds., Cham: Springer Nature Switzerland, 2024, pp. 35–58. doi: 10.1007/978-3-031-68372-5_2.

[17]	S. Ahmadi, Y. Saboohi, and A. Vakili, “Frameworks, quantitative indicators, characters, and modeling approaches to analysis of energy system resilience: A review,” Renew. Sustain. Energy Rev., vol. 144, p. 110988, Jul. 2021, doi: 10.1016/j.rser.2021.110988.

[18]	J. Matzenberger, N. Hargreaves, D. Raha, and P. Dias, “A novel approach to assess resilience of energy systems,” Int. J. Disaster Resil. Built Environ., vol. 6, no. 2, pp. 168–181, Jun. 2015, doi: 10.1108/IJDRBE-11-2013-0044.

[19]	H. Lv, Q. Wu, H. Ren, Q. Li, and W. Zhou, “A two-stage decision-making approach for optimal design and operation of integrated energy systems considering multiple uncertainties and diverse resilience needs,” Energy, vol. 305, p. 132375, Oct. 2024, doi: 10.1016/j.energy.2024.132375.

[20]	F. León-Mateos, A. Sartal, L. López-Manuel, and M. A. Quintás, “Adapting our sea ports to the challenges of climate change: Development and validation of a Port Resilience Index,” Mar. Policy, vol. 130, p. 104573, Aug. 2021, doi: 10.1016/j.marpol.2021.104573.

[21]	P. Gasser et al., “Quantifying Electricity Supply Resilience of Countries with Robust Efficiency Analysis,” Energies, vol. 13, no. 7, p. 1535, Mar. 2020, doi: 10.3390/en13071535.

[22]	M. Tang et al., “Assessment of port resilience based on Evidential Reasoning and Bayesian network: An improved framework by segmenting the metrics across time and performance dimensions,” Reliab. Eng. Syst. Saf., vol. 262, p. 111172, Oct. 2025, doi: 10.1016/j.ress.2025.111172.

[23]	F. González-Solano, G. Galindo, R. G. González-Ramírez, H. López-Ospina, and D. Romero-Rodriguez, “Prioritizing port resilience drivers and strategies: a case study of Chilean ports,” Marit. Policy Manag., vol. 52, no. 5, pp. 781–805, Jul. 2025, doi: 10.1080/03088839.2024.2409242.

[24]	A. Gatto and C. Drago, “Measuring and modeling energy resilience,” Ecol. Econ., vol. 172, p. 106527, Jun. 2020, doi: 10.1016/j.ecolecon.2019.106527.

[25]	Y. Wu, J. Yang, M. Tu, and M. H. Naseem, “Comprehensive assessment of port resilience: A three-stage cycle approach,” Reg. Stud. Mar. Sci., vol. 86, p. 104170, Sep. 2025, doi: 10.1016/j.rsma.2025.104170.

[26]	S. M. M. Amin, N. Hossain, M. S. H. Lipu, S. Urooj, and A. Akter, “Development of a PV/Battery Micro-Grid for a Data Center in Bangladesh: Resilience and Sustainability Analysis,” Sustainability, vol. 15, no. 22, p. 15691, Nov. 2023, doi: 10.3390/su152215691.

[27]	J. Prousalidis and F. D’Agostino, “Looking Toward the Energy-Sustainable Smart Port: A Resilient Energy Hub in the Electric Grids [Viewpoint],” IEEE Electrification Mag., vol. 11, no. 1, pp. 90–92, Mar. 2023, doi: 10.1109/MELE.2022.3233119.

[28]	A. Kļaviņš, V. Kirsanovs, I. Pakere, and A. Dávid, “Current Trends and Solutions for Port Energy Supply Transformation: A Systematic Literature Review,” Environ. Clim. Technol., vol. 28, no. 1, p. 20240069, Jan. 2024, doi: 10.2478/rtuect-2024-0069.

[29]	H. U. Rehman, V. M. Nik, R. Ramesh, and M. Ala-Juusela, “Quantifying and Rating the Energy Resilience Performance of Buildings Integrated with Renewables in the Nordics under Typical and Extreme Climatic Conditions,” Buildings, vol. 14, no. 9, p. 2821, Sep. 2024, doi: 10.3390/buildings14092821.

[30]	G. Mutani and V. Todeschi, “Energy Resilience, Vulnerability and Risk in Urban Spaces,” J. Sustain. Dev. Energy Water Environ. Syst., vol. 6, no. 4, pp. 694–709, Dec. 2018, doi: 10.13044/j.sdewes.d6.0203.

[31]	C. Ang’u, N. J. Muthama, C. Oludhe, and I. Chitedze, “The role of diversity, reserve margin and system structure on retail electricity tariffs in Kenya,” Heliyon, vol. 6, no. 8, p. e04626, Aug. 2020, doi: 10.1016/j.heliyon.2020.e04626.

[32]	D. Apostolou, “A Literature Review on Energy Management Systems and Their Application on Harbour Activities,” Energies, vol. 18, no. 18, p. 4887, Sep. 2025, doi: 10.3390/en18184887.

[33]	D. Cholidis, N. Sifakis, A. Chachalis, N. Savvakis, and G. Arampatzis, “Energy Transition Framework for Nearly Zero-Energy Ports: HRES Planning, Storage Integration, and Implementation Roadmap,” Sustainability, vol. 17, no. 13, p. 5971, Jun. 2025, doi: 10.3390/su17135971.

[34]	Z. Dan, B. Zhou, and Y. Zhou, “Optimal infrastructures and integrative energy networks for sustainable and energy-resilient city renaissance,” Appl. Energy, vol. 387, p. 125612, Jun. 2025, doi: 10.1016/j.apenergy.2025.125612.

[35]	A. Brækken, H. Kauko, E. Heggelund, T. Holmes, T. C. Nilsen, and L. Rydså, “Design optimisation of integrated port energy systems linking electricity, heat and hydrogen,” Energy, vol. 333, p. 137280, Oct. 2025, doi: 10.1016/j.energy.2025.137280.

[36]	G. Remoundos et al., “Technological Readiness and Implementation Pathways for Electrifying Greek Coastal Ferry Operations: Insights from Norway’s Zero-Emission Ferry Transition,” Energies, vol. 18, no. 17, p. 4582, Aug. 2025, doi: 10.3390/en18174582.

[37]	C. Gabrielii, M. Gammelsæter, E. B. Mehammer, S. Damman, H. Kauko, and L. Rydså, “Energy systems integration and sector coupling in future ports: A qualitative study of Norwegian ports,” Appl. Energy, vol. 380, p. 125003, Feb. 2025, doi: 10.1016/j.apenergy.2024.125003.

[38]	M. Issa, P. Rizk, L. Boulon, M. Rezkallah, R. Rizk, and A. Ilinca, “Smart, Connected, and Sustainable: The Transformation of Maritime Ports Through Electrification, IoT, 5G, and Green Energy,” Sustainability, vol. 17, no. 17, p. 7568, Aug. 2025, doi: 10.3390/su17177568.

[39]	E. Anuat, D. L. Van Bossuyt, and A. Pollman, “Energy Resilience Impact of Supply Chain Network Disruption to Military Microgrids,” Infrastructures, vol. 7, no. 1, p. 4, Dec. 2021, doi: 10.3390/infrastructures7010004.

[40]	S. Qazi et al., “Powering Maritime: Challenges and prospects in ship electrification,” IEEE Electrification Mag., vol. 11, no. 2, pp. 74–87, Jun. 2023, doi: 10.1109/MELE.2023.3264926.

[41]	D. R. Shaw, A. Grainger, and K. Achuthan, “Multi-level port resilience planning in the UK: How can information sharing be made easier?,” Technol. Forecast. Soc. Change, vol. 121, pp. 126–138, Aug. 2017, doi: 10.1016/j.techfore.2016.10.065.

[42]	G. T. Tsoulfas, “Port resilience: a systematic literature review,” Marit. Econ. Logist., Jul. 2025, doi: 10.1057/s41278-025-00326-3.

[43]	T.-T. Nguyen, B. L.-H. Nguyen, and T. Vu, “Resilience-Oriented Energy Management System for Ship Power Systems,” in 2022 IEEE Power & Energy Society General Meeting (PESGM), Denver, CO, USA: IEEE, Jul. 2022, pp. 01–05. doi: 10.1109/PESGM48719.2022.9917131.