Supporting Information

Selective Hydrogenolysis of Glycerol to 1,2-Propanediol over a NaBH4-Reduced Cu–Pd/TiO2 Catalyst

Ado Ibrahim Yargaya, Shamsudeen Mikail, Suleiman Yusif Sule, Abbas Abdurrahman Yusuf, Manniru Abdullahi Ali, Ahmad Muhammad Sani, and Kittichai Chaiseeda*

Organic Synthesis, Electrochemistry and Natural Product Research Unit (OSEN), Department of Chemistry, Faculty of Science, King Mongkut’s University of Technology Thonburi, Bangkok 10140, Thailand

* Corresponding author. E-mail: kittichai.cha@kmutt.ac.th

- Chromatograms

Fig. S1 GC chromatogram of the solketal standard used for peak identification and calibration.

Fig. S2 GC chromatogram of the glycerol standard used for peak identification and calibration.

Fig. S3 GC chromatogram showing the effect of glycerol amount on glycerol conversion and product distribution.

- Table S1 GC Information

| GC brand | Shimadzu |
| --- | --- |
| GC model | GC-2030 |
| Autosampler model | AOC-30i |
| Detector type | FID |
| Column Brand | GC capillary column |
| Column model | VF-WAXms |
| Column coating material | Polyethylene glycol |
| Column Length (m) | 30.0 |
| Column Diameter (mm) | 0.25 |
| Column Film Thickness (μm) | 0.25 |
| Injection Volume (μL) | 1.0 |
| Carrier gas | He |
| Carrier Gas Flow Rate (mL/min) | N2 (24 mL/min), H2 (40 mL/min), Air (300 mL/min) |
| Injector temperature (°C) | 60 |
| Detector temperature (°C) | 250 |
| Equilibration Time (min) | 1.0 |
| Oven temperature program | 60 °C (0 min hold), ramped at 20 °C/min to 250 °C (1 min hold), with a total run time of 10.5 minutes |