## Supplemental information

GlobalData search criteria

GlobalData’s Medical Devices Intelligence Center database (https://www.globaldata.com) was used to identify relevant diagnostic technologies. Our search strategy aimed to identify tests defined by the criteria in Table S1 that were either:

- Approved: defined as a product that achieved regulatory approval in at least one territory.

- Within the developmental pipeline: defined as a product that is either at the discovery, pre-clinical or clinical stage of development, or within the approval process. This search was limited to USA and Europe (including UK).

The developmental pipeline search was restricted to the USA and Europe (including the UK) to support a focused assessment of technologies within regulatory and healthcare markets most relevant to the author’s remit.

Table S1: Search parameters used in GlobalData Medical Devices Intelligence Center database

| Search | Approved tests | Pipeline tests |
| --- | --- | --- |
| Data accessed | 5th December 2025 16th April 2025 | 11th March 2025 |
| Product category | Marketed | Pipeline |
| Therapeutic area | Respiratory Tract Diseases |  |
| Indications | Asthma (Allergic Asthma; Asthma; Chronic Asthma) Chronic Obstructive Pulmonary Disease (COPD) Interstitial Lung Diseases (ILD, including Diffuse Parenchymal Lung Disease; Interstitial Lung Fibrosis) Bronchiectasis (Non-Cystic Fibrosis Bronchiectasis (NCFB)) |  |
| Stage of development | - | Early development, Pre-Clinical, Clinical, In Approval Process |
| Geography | Global | USA and Europe (including UK) |
| Context | Technology aims to provide diagnosis or monitor patient’s condition, and/or could be applicable as a point-of-care device |  |

Data curation

Extracted data was manually curated in Microsoft Excel by reviewing the disease indications and product descriptions from the GlobalData dataset to determine whether a test was in scope for review or not. The product description typically included information on the intended use of the technology (e.g. diagnosis of COPD), and where information was insufficient the test was searched on the internet for further information. The exclusion criteria used are summarised below.

For example, tests that were designed for the diagnosis or monitoring of lung cancer only were excluded from this analysis. Technology that is unlikely to be used diagnosis or in primary care such as drug delivery or ventilator devices was also excluded.

Exclusion criteria

Out of scope indications:

- Allergic or non-allergic rhinitis

- Gastro-oesophageal reflux disease

- Post-viral cough/upper airway cough syndrome

- Eosinophilic bronchitis

- Dysfunctional breathing pattern/hyperventilation/intermittent laryngeal obstruction

- Obesity/deconditioning

- Excessive dynamic airways collapse

- Obstructive sleep apnoea/sleep disordered breathing

- Anxiety disorder/panic attacks

- Cardiac disease: congenital, heart failure, ischaemic heart disease

- Central airway obstruction

- Lung cancers

- Sarcoidosis

- Pulmonary hypertension

- Angiotensin-converting enzyme inhibitor related cough

- Pulmonary embolism

Out of scope technologies and tests

- Antimicrobial susceptibility testing

- Drug delivery monitoring

- Sleep monitoring

- Targeted Lung Denervation (TLD)

- Tissue oxygenation monitoring

- Transcutaneous oxygen monitoring

- Vital sign monitoring

- Cardiovascular devices

- Magnetic Resonance imaging

- Radiofrequency Ablation

- Rehabilitation

- Respiratory management

- Shockwave therapy

- Sleep disorder management

- Surgical visualization

- Inhaler usage monitoring

- Self-management tools

- Ventilators

- Aerosol Therapy

- Medication management

- Drug delivery devices

- Neurology devices

- Ablation equipment

- Airway management

- Artificial lung

- Bilevel positive airway pressure devices

- Breathing filters

- Non-invasive ventilation modular masks

- Transport ventilators

- General surgery devices

- Wearable device identifying air pollution

- Blood flow measurement

- CAR-T Therapy Monitoring

- Emphysema management

- Endoscopic Lung Volume Reduction

- Extacorporeal CO2 removal

- Haemodynamic monitoring

- High-Flow Oxygen Therapy

Test indexing and classification

In scope products were indexed based on indication and whether the intention was for use as a diagnostic or monitoring tool. If a test was intended to be used for both diagnosis and monitoring, they were categorised as a diagnostic. Using the product description the data were then further characterised into the following classifications:

- Lung function: defined as assessing lung mechanics and/or physiology, such as capacity or gas exchange

- In-vitro diagnostics: searching for biomarkers in human samples, such as blood or sputum

- Breath analysis: assessment of chemical analytes within exhaled breath

- Acoustic: sound analysis e.g. cough or wheeze at a single point or over an extended period of time)

- Respiratory health monitoring: measuring breathing patterns

- Vitals: measuring basic functions such as body temperature, pulse rate, blood pressure

- Biomarker analysis: software which supports analysis of in-vitro diagnostics test results

- Imaging analysis: software which supports analysis of CT scan, x-ray and other imaging test results

- Pulse oximetry: assessing oxygen saturation of the blood

- Lung function test analysis: software which supports analysis of lung function test results

Note that a limitation of using market intelligence databases can be how comprehensive they are, including how up to date the information is for fast moving fields. In generating the list of relevant technologies, minor adjustments were made to the GlobalData outputs based on researcher knowledge of the field, for example N-Tidal™ Diagnose was awarded CE marking in 2025 and was consequently moved from the pipeline to the approved list.

Table S2: Approved diagnostic and monitoring tests for chronic respiratory disease.

List of 137 in-scope tests with regulatory approval in at least one territory for asthma, bronchiectasis, COPD or ILD. Information on the intended use (diagnosis or monitoring), test classification and measurement type was extracted from GlobalData product descriptions. Diagnostic tests may also have applicability for disease monitoring.

Abbreviations: COPD, chronic obstructive pulmonary disease; ILD, interstitial lung disease; IPF, idiopathic pulmonary fibrosis.

| Device Name | Developer | Indication(s) | Diagnostic or monitoring | Test classification | Type of measurement |
| --- | --- | --- | --- | --- | --- |
| 4D Lung Imaging Device | 4DMedical Ltd | Asthma COPD | Diagnosis | Imaging analysis | X-ray Image Analysis |
| AeviceMD | Aevice Health Pte Ltd | Asthma | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| AI Telemedicine Platform | Oncotelic Therapeutics Inc | Asthma COPD | Monitoring | Acoustic | Software - acoustic biomarkers |
| Air Next Spirometer | NuvoAir AB | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| AlphaID | Grifols USA LLC | COPD | Diagnosis | In vitro diagnostics | Saliva biomarker |
| AlphaKit QuickScreen | Grifols SA | COPD | Diagnosis | In vitro diagnostics | Blood biomarker |
| Alveoair Clinic | Roundworks Technologies Pvt Ltd | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Alveoair Home | Roundworks Technologies Pvt Ltd | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Alveofit Patient App | Roundworks Technologies Pvt Ltd | Asthma COPD ILD | Monitoring | Lung function test | Spirometry |
| Antlia | Caltech Innovations Pvt Ltd | Asthma COPD ILD | Diagnosis | Lung function test | Oscillometry |
| Apollo 1.2 | VIDA Diagnostics Inc | COPD | Diagnosis | Imaging analysis | Diagnostic Imaging |
| Apollo 2.0 | VIDA Diagnostics Inc | Asthma COPD | Diagnosis | Imaging analysis | Diagnostic Imaging |
| ARIDOL Bronchial Challenge Test Kit | Syntara Ltd | Asthma | Diagnosis | Lung function test | Bronchial Hyperresponsiveness |
| Ascent Cardiorespiratory Diagnostic Software | MGC Diagnostics Corp | Asthma | Diagnosis | Lung function test | Spirometry |
| Asthma Monitor AM2 | Cardinal Health Inc | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Asthma Monitor AM3 GSM | Clario | Asthma | Monitoring | Lung function test | Spirometry |
| AsthmaCheck Peak Flow Meter | Philips Respironics Inc | Asthma | Diagnosis | Lung function test | Peak Flow |
| AsthmaMD Peak Flow Meter | Teleflex Inc | Asthma | Diagnosis | Lung function test | Peak Flow |
| AsthmaMentor Peak Flow Meter | Philips Respironics Inc | Asthma | Diagnosis | Lung function test | Peak Flow |
| Automatic Lung Parameter Estimator | mermaid care a/s | COPD | Diagnosis | Breath analysis | Lung Oxygenation |
| AVIEW COPD Software | Coreline Soft Co Ltd | COPD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Breath - Alert Peak Flow Meter | Medical Developments International Ltd | Asthma | Monitoring | Lung function test | Peak Flow |
| Breathefree App | Cipla Digital Health Limited | Asthma COPD ILD | Monitoring | Respiratory health monitor | Respiratory Monitoring |
| Breathe-O-Meter | Jay Precision Pharmaceuticals Private Limited | Asthma | Monitoring | Lung function test | Peak Flow |
| Buddi Analyzer | NanoenTek Inc | Asthma | Diagnosis | In vitro diagnostics | Blood and sputum biomarkers |
| Chartis Tablet Console | Pulmonx Corp | COPD | Diagnosis | Lung function test | Spirometry |
| Chitotriosidase Biomarker - Acute Asthma | Amdix BV | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| CipAir | Cipla Ltd | Asthma | Diagnosis | Acoustic | Software - acoustic biomarkers |
| Clinical Oxygen Dose Recorder | Inspired Technologies, Inc. | COPD | Monitoring | Respiratory health monitor | Breaths per minute |
| Coala Heart Monitor | Coala Life AB | COPD | Monitoring | Vitals | ECG Monitoring |
| cSpirometer Sensor | Cohero Health Inc | Asthma COPD | Monitoring | Lung function test | Spirometry |
| CT Lung Ventilation Analysis Software (CT:V) | 4DMedical Ltd | COPD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Digital Spirometer | Aluna Inc | Asthma | Monitoring | Lung function test | Spirometry |
| Dynamic Digital Radiography | Konica Minolta Healthcare Americas Inc | Asthma COPD | Diagnosis | Imaging analysis | X-ray Image Analysis |
| EarlySense ES-16 System | EarlySense Inc | Asthma COPD | Monitoring | Vitals | Vital Signs Monitoring |
| EasyOne Air Spirometer | ndd Medizintechnik AG | COPD | Monitoring | Lung function test | Spirometry |
| EasyOne Plus Diagnostic Spirometer | ndd Medical Technologies Inc | COPD | Diagnosis | Lung function test | Spirometry |
| EasyOne Plus Frontline Spirometer | ndd Medical Technologies Inc | COPD | Diagnosis | Lung function test | Spirometry |
| EasyOne Pro | ndd Medizintechnik AG | COPD | Monitoring | Lung function test | Spirometry |
| EasyOne Pro LAB | ndd Medizintechnik AG | COPD | Monitoring | Lung function test | Spirometry |
| EDN ELISA | NanoenTek Inc | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| e-ILD Solution | Brainomix Ltd | IPF | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Electronic Peak Flow Meter | Taian Dalu Medical Instrument Co Ltd | Asthma | Monitoring | Lung function test | Peak Flow |
| Evernoa Base FeNO Device | Eversens SL | Asthma | Diagnosis | Breath analysis | FeNO |
| Fenom Pro Nitric Oxide Test | CAIRE Inc | Asthma | Diagnosis | Breath analysis | FeNO |
| Fibresolve | IMVARIA Inc | IPF | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Imbio CT Lung Density Analysis Software | Imbio, LLC | COPD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| IVD CAPSULE Aeroallergen Blood Test | Abionic SA | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| iwown 4G Continuous Blood Oxygen Monitoring Watch H102 | Shenzhen Aiwei Information Technology Co Ltd | COPD | Monitoring | Pulse oximetry | SpO2 |
| Jaeger Impulse Oscillometry (IOS) | Vyaire Medical Inc | Asthma COPD IPF | Diagnosis | Lung function test | Oscillometry |
| K-jump Health Peak Flow Meter | K-Jump Health Co., Ltd. | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Lung Texture Analysis | Imbio, LLC | ILD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| LungPrint | VIDA Diagnostics Inc | Asthma COPD ILD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Medikro Duo Screener | Medikro Oy | Asthma COPD | Monitoring | Lung function test | Spirometry |
| MediPines Gas Exchange Monitor AGM100 | Medipines Corp | COPD | Monitoring | Breath analysis | Gas Exchange |
| MegaRing | Hangzhou Megasens Technology Co Ltd | COPD | Monitoring | Pulse oximetry | SpO2 |
| Micro Diary Spirometer | CareFusion Corp | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Microarray Test - Allergy | Arrayit Corp | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| MSA100BT Peak Flow Meter | Beijing M&B Electronic Instruments Co Ltd | Asthma | Monitoring | Lung function test | Spirometry |
| mSpirometer Sensor | Cohero Health Inc | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| NEATstik | ProAxsis Ltd | Bronchiectasis COPD | Diagnosis | In vitro diagnostics | Sputum biomarker |
| Niji System | Novartis AG | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| NIOX Flex | Circassia AB | Asthma | Monitoring | Breath analysis | FeNO |
| NIOX MINO | Circassia AB | Asthma | Monitoring | Breath analysis | FeNO |
| NIOX VERO Airway Inflammation Monitor | Circassia AB | Asthma | Monitoring | Breath analysis | FeNO |
| NObreath | Bedfont Scientific Ltd | Asthma | Diagnosis | Breath analysis | FeNO |
| Non-Contact Tabletop Device | BreathOx Ltd | Asthma | Monitoring | Respiratory health monitor | Respiratory Monitoring |
| NoninConnect Elite Model 3240 | Nonin Medical Inc | COPD | Monitoring | Pulse oximetry | SpO2 |
| N-Tidal Diagnose | TidalSense Ltd | COPD | Monitoring | Breath analysis | CO2 Waveforms |
| NuvoAir Home | NuvoAir AB | Asthma COPD | Monitoring | Lung function test | Disease Symptoms |
| oCare Pro 100 | Taiwan Biophotonic Corporation | Asthma COPD | Monitoring | Pulse oximetry | SpO2 |
| Omron WheezeScan | Omron Healthcare Co Ltd | Asthma | Monitoring | Acoustic | Device - acoustic biomarkers |
| Orbit Spirometer | National Biomedical, LLC | COPD | Diagnosis | Lung function test | Spirometry |
| Orla PEF Remote Monitoring App | Orla DTx Oy | Asthma | Diagnosis | Lung function test | Peak Flow |
| PARI PEAK FLOW METER | PARI GmbH | Asthma | Monitoring | Lung function test | Peak Flow |
| Peak Expiratory Flow Meter | Tenovi Ltd'S | Asthma | Monitoring | Lung function test | Peak Flow |
| Peak.me Breath Analyzer | Breathe Me Ltd | Asthma COPD | Monitoring | Lung function test | Peak Flow |
| PowerCube ROS | Ganshorn Medizin Electronic GmbH | COPD | Diagnosis | Breath analysis | Tidal Breathing Analysis |
| ProteaseTag Active NE Immunoassay | ProAxsis Ltd | Bronchiectasis COPD | Diagnosis | In vitro diagnostics | Blood and sputum biomarkers |
| ProteaseTag Active Proteinase 3 Immunoassay | ProAxsis Ltd | Bronchiectasis COPD | Diagnosis | In vitro diagnostics | Blood and sputum biomarkers |
| PulmoScan | Cognita Labs LLC | Asthma COPD | Diagnosis | Imaging analysis | X-ray Image Analysis |
| Pulse Oximeter Model: PO2 | Shenzhen Viatom Technology Co., Ltd. | Asthma | Monitoring | Pulse oximetry | SpO2 |
| Quark NObreath | COSMED Srl | Asthma | Monitoring | Breath analysis | FeNO |
| QuikRead go wrCRP+Hb | Aidian Oy | Asthma COPD | Diagnosis | In vitro diagnostics | Blood biomarker |
| ReCIVA | Owlstone, Inc. | Asthma | Monitoring | Breath analysis | Volatile Organic Chemicals |
| ResAppDx Mobile App - Adult Use | ResApp Health Ltd | Asthma COPD | Diagnosis | Acoustic | Software - acoustic biomarkers |
| Rheomuco | Rheonova SAS | COPD | Diagnosis | In vitro diagnostics | Sputum biomarker |
| Rossmax Peak Flow Meter- PF120C | Rossmax Swiss GmbH | Asthma | Monitoring | Lung function test | Peak Flow |
| Rossmax PF120A Peak Flow Meter | Rossmax Swiss GmbH | Asthma | Monitoring | Lung function test | Peak Flow |
| RS001 Cardio-Respiratory Monitor | Respiree Pte Ltd | COPD | Monitoring | Respiratory health monitor | SpO2 |
| RxPeakFlow | Noble Marketing, Inc. | Asthma | Monitoring | Lung function test | Peak Flow |
| Second Generation AirSonea Wheeze Monitor | Respiri Ltd | Asthma | Monitoring | Acoustic | Device - acoustic biomarkers |
| SenseGuard | NanoVation-GS | COPD | Monitoring | Respiratory health monitor | Respiratory Monitoring |
| Smart Peak Flow Device | Smart Respiratory Products Ltd | Asthma | Monitoring | Lung function test | Exhaled breath volume |
| Smart Peak Flow Meter | Guangzhou Homesun Medical Technology Co Ltd | Asthma | Monitoring | Lung function test | Peak Flow |
| Sonic CFTR Mutation Panel Test | Sonic Genetics | Bronchiectasis | Diagnosis | In vitro diagnostics | Blood biomarker |
| SonoSentry WheezeRate Detector | Respira Ltd | Asthma | Monitoring | Acoustic | Device - acoustic biomarkers |
| SpiroAnalyzer ST-170 | Fukuda Sangyo Ltd | COPD | Diagnosis | Lung function test | Spirometry |
| Spirobank USB Hand-held Spirometer | Medical International Research Srl | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| Spirofy Spirometer | Cipla Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| Spirohome Clinic | Inofab Health Technologies | Asthma | Diagnosis | Lung function test | Spirometry |
| Spirohome Personal | Inofab Health Technologies | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Spirolab III | Medical International Research Srl | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroLink Digital Spirometer | CMI Health Inc | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Spirometer SpiroScout | Ganshorn Medizin Electronic GmbH | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroReporter | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroSonic Flo | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroSonic Mobile | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroSonic Pro | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroSonic Smart | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| SpiroThor | Uscom Ltd | Asthma COPD | Diagnosis | Lung function test | Spirometry |
| Technegas | Cyclopharm Ltd | Asthma COPD | Diagnosis | Imaging analysis | Diagnostic Imaging |
| Tele-Spirometry | L2D Saude Digital | Asthma | Diagnosis | Lung function test | Spirometry |
| tremoFlo C-100 Airwave Oscillometry System | Thorasys Thoracic Medical Systems Inc | Asthma COPD | Diagnosis | Lung function test | Oscillometry |
| U-PLEX Cytokine Combo 1 (hu) SECTOR (25 PL) Kit | Meso Scale Diagnostics LLC | Asthma | Diagnosis | In vitro diagnostics | Blood biomarker |
| Vitalograph 4000 Lung Age Respiratory Monitor | Vitalograph (Ireland) Ltd | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Vitalograph ASMA-1 Serial Model 4000 | Vitalograph (Ireland) Ltd | Asthma | Monitoring | Lung function test | Spirometry |
| Vitalograph In2itive e-Diary Model 2120 | Vitalograph (Ireland) Ltd | Asthma | Diagnosis | Lung function test | Spirometry |
| Vitalograph Micro Pocket Spirometer | Vitalograph (Ireland) Ltd | Asthma COPD | Monitoring | Lung function test | Spirometry |
| Vitalograph Model 4000 Asma- 1 | Vitalograph (Ireland) Ltd | Asthma | Diagnosis | Lung function test | Spirometry |
| Vitalograph Model 4000 ASMA-1 | Vitalograph (Ireland) Ltd | Asthma | Diagnosis | Lung function test | Spirometry |
| Vitalograph Model 4000 ASMA-1 Child | Vitalograph (Ireland) Ltd | Asthma | Monitoring | Lung function test | Spirometry |
| Vitalograph Model 4000 COPD-6 | Vitalograph (Ireland) Ltd | COPD | Diagnosis | Lung function test | Spirometry |
| Vitalograph myPEF | Vitalograph (Ireland) Ltd | Asthma | Monitoring | Lung function test | Peak Flow |
| Vitalograph Respiratory Monitor COPD-6 Serial Model 4000 | Vitalograph (Ireland) Ltd | COPD | Diagnosis | Lung function test | Spirometry |
| Vitals360 | VoCare Inc | COPD | Diagnosis | Vitals | Vital Signs Monitoring |
| Vivatmo Me | Bosch Healthcare Solutions GmbH | Asthma | Monitoring | Breath analysis | FeNO |
| Vivatmo Pro | Bosch Healthcare Solutions GmbH | Asthma | Monitoring | Breath analysis | FeNO |
| Wearable Breathing Monitor | ResApp Health Ltd | COPD | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| Wearable Respiratory Monitoring System | Resmetrix Medical Ltd | Asthma COPD | Monitoring | Respiratory health monitor | Respiratory Monitoring |
| Welch Allyn Diagnostic Cardiology Suite | Welch Allyn Inc | Asthma ILD | Diagnosis | Lung function test | Spirometry |
| Wheezo | Respiri Ltd | Asthma COPD | Monitoring | Acoustic | Device - acoustic biomarkers |
| Wholter | Respira Ltd | Asthma COPD | Monitoring | Respiratory health monitor | Respiratory Sound Tracking |
| Wing Smart FEVI | Sparo Labs | Asthma COPD | Monitoring | Lung function test | Spirometry |
| WristOx2 Model 3150 With USB | Nonin Medical Inc | COPD | Monitoring | Pulse oximetry | SpO2 |
| XV Lung Ventilation Analysis Software | 4DMedical Ltd | COPD | Diagnosis | Imaging analysis | CT Scan Image Analysis |
| Z3 | Shenzhen Viatom Technology Co., Ltd. | COPD | Monitoring | Pulse oximetry | SpO2 |
| 4D Lung Imaging Device | 4DMedical Ltd | Asthma COPD | Diagnosis | Imaging analysis | X-ray Image Analysis |

Table S3: Tests in the development pipeline for diagnosis and monitoring of chronic respiratory disease.

List of 69 in-scope tests in development for the diagnosis or monitoring of asthma, bronchiectasis, COPD or ILD. Information on the intended use (diagnosis or monitoring), test classification and measurement type was extracted from GlobalData product descriptions. Diagnostic tests may also have applicability for disease monitoring.

Abbreviations: COPD, chronic obstructive pulmonary disease; ILD, interstitial lung diseases; IPF, idiopathic pulmonary fibrosis

| Product Name | Developer | Indication(s) | Diagnostic or monitoring | Test classification | Type of measurement |
| --- | --- | --- | --- | --- | --- |
| Afflo | Imperial College London | Asthma | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| AI Algorithm - COPD | Tele-Stethoscope Inc | COPD | Diagnostic | Acoustic | Software - acoustic biomarkers |
| AI Based Deep Learning Tool | Emory University | COPD | Diagnostic | Imaging analysis | X-ray analysis |
| AI Device - Asthma | Bosch Healthcare Solutions GmbH | Asthma | Diagnostic | Acoustic | Device - acoustic biomarkers |
| AI-algorithm - Fibrosis | Radiomics.bio | IPF | Diagnostic | Imaging analysis | CT scan |
| ASTHMAXcel Voice | Albert Einstein College of Medicine | Asthma | Monitoring | Acoustic | Software - acoustic biomarkers |
| Avisa BreathTest - Chronic Obstructive Pulmonary Disease | Avisa Pharma Inc | COPD | Diagnostic | Breath analysis | Labelled CO2 |
| Avisa BreathTest - Post COVID-19 Bronchiectasis | Avisa Pharma Inc | Bronchiectasis | Diagnostic | Breath analysis | Labelled CO2 |
| Biomarker Assay - COPD | AIT Austrian Institute of Technology GmbH | COPD | Diagnostic | In vitro diagnostics | Blood biomarkers |
| Blood-Based Tool - PF-ILD | University of Michigan | ILD | Diagnostic | In vitro diagnostics | Blood biomarkers |
| Breath Analysis Test - Chronic Obstructive Pulmonary Disease | University of Leicester | COPD | Diagnostic | Breath analysis | Volatile organic compounds |
| Breath Test - Asthma | Deutsches Zentrum fur Lungenforschung | Asthma | Diagnostic | Breath analysis | Volatile organic compounds |
| Breath Test - COPD | Deutsches Zentrum fur Lungenforschung | COPD | Diagnostic | Breath analysis | Volatile organic compounds |
| Breath Test - Lung Disease | University of Kentucky | Asthma COPD | Diagnostic | Breath analysis | Volatile organic compounds |
| canAIRY | UAB Minority Health and Health Equity Research Center | Asthma COPD | Monitoring | Respiratory health monitoring | Health/vitals |
| Computer Aided Diagnosis Scoring Software | University of California Los Angeles | ILD | Diagnostic | Imaging analysis | Lung images |
| CyPath Diagnostic Assay - Asthma | BioAffinity Technologies Inc | Asthma | Diagnostic | In vitro diagnostics | Sputum analysis |
| CyPath Diagnostic Assay - COPD | BioAffinity Technologies Inc | COPD | Diagnostic | In vitro diagnostics | Sputum analysis |
| Diagnosis And Prognosis Kit - Asthma | Institute for Health Research Jimenez Diaz Foundation | Asthma | Diagnostic | In vitro diagnostics | Patient samples (not specified) |
| Diagnostic Test - Asthma | Nectar Life Sciences | Asthma | Diagnostic | In vitro diagnostics | Patient samples (not specified) |
| Diagnostic Test - Asthma/Atopy Risk Assessment | University of California San Francisco | Asthma | Diagnostic | In vitro diagnostics | Gut microbiome |
| Diagnostic Test - COPD | Hansjorg Wyss Institute for Biologically Inspired Engineering | COPD | Diagnostic | In vitro diagnostics | Patient samples (not specified) |
| Digital Cough Test App - Asthma | Therma Bright Inc | Asthma COPD | Monitoring | Acoustic | Software - acoustic biomarkers |
| Digital Therapeutic Software - Lung Diseases | Eupnoos Ltd | Asthma COPD | Diagnostic | Acoustic | Software - acoustic biomarkers |
| DrNose - Asthma | DrNose | Asthma | Diagnostic | Breath analysis | Volatile organic compounds |
| DrNose - COPD | DrNose | COPD | Diagnostic | Breath analysis | Volatile organic compounds |
| Envisia Genomic Classifier | Veracyte Inc | IPF ILD | Diagnostic | In vitro diagnostics | Bronchial biopsy analysis |
| Envisia IVD Test | Veracyte Inc | IPF | Diagnostic | In vitro diagnostics | Bronchial biopsy analysis |
| EPX-RDT Test | Glycodots LLC | Asthma | Diagnostic | In vitro diagnostics | Nasal swab analysis |
| Exhale-Dx | Applied Nanodetectors Ltd | Asthma | Diagnostic | Breath analysis | Volatile organic compounds |
| fenoTRACK | Biometry Inc | Asthma COPD | Monitoring | Breath analysis | FeNO |
| FTIR Spectroscopy Device | Glyconics Ltd | COPD | Diagnostic | In vitro diagnostics | Patient samples (not specified) |
| Graphene-Based Sensor Device | Rutgers The State University of New Jersey | Asthma | Diagnostic | Breath analysis | Volatile organic compounds |
| Handheld Breath Collection Device | Georgia Institute of Technology | Asthma | Diagnostic | Breath analysis | Volatile organic compounds |
| HEAD Biomarker System | University of Maryland | Asthma COPD | Diagnostic | Breath analysis | Non-volatile biomarkers |
| HeadStart | Mologic Ltd | COPD | Diagnostic | In vitro diagnostics | Urine sample |
| Low Power Wireless Pulse Oximeter Sensor | Koronis Biomedical Technologies Corporation | COPD | Monitoring | Pulse oximetry | Pulse oximetry |
| Lung Texture Analysis | Imbio, LLC | ILD | Diagnostic | Imaging analysis | CT scan |
| Metfora Blood Test | Metfora LLC | COPD ILD | Diagnostic | In vitro diagnostics | Blood biomarkers |
| Perceived Activity and Weakness Score (PAWS) App | University of Tennessee | COPD | Monitoring | Vitals | Health/vitals |
| Point-of-Care Test - Asthma | Allerdia Inc | Asthma | Diagnostic | In vitro diagnostics | Patient samples (not specified) |
| Portable Exhaled Breath Condensate Analyzer | Rutgers The State University of New Jersey | Asthma COPD | Diagnostic | Breath analysis | FeNO |
| PSI Software | AI Metrics LLC | IPF | Monitoring | Imaging analysis | CT Scan Analysis |
| Rapid Test - Asthma | Fraunhofer-Gesellschaft zur Forderung der Angewandten Forschung eV | Asthma | Diagnostic | In vitro diagnostics | Blood biomarkers |
| Remote Respiratory Monitoring Tool | ProAxsis Ltd | COPD | Monitoring | In vitro diagnostics | Sputum analysis |
| RTMsense | RTM Vital Signs LLC | COPD | Monitoring | Respiratory health monitoring | Breathing |
| RUMI | Steradian Technologies Inc | COPD | Diagnostic | Breath analysis | Not specified |
| Smart Wearable Contact Microphone Patch | Steth X Microsystems Inc | Asthma COPD | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| Sneezometer | Surrey Sensors Ltd | Asthma | Diagnostic | Lung function | Spirometry |
| Soft Wearable Device | Icahn School of Medicine at Mount Sinai | Asthma | Diagnostic | Acoustic | Wearable - acoustic biomarkers |
| SomaSignal Test - COPD Risk | SomaLogic Inc | COPD | Monitoring | In vitro diagnostics | Blood biomarkers |
| SpiroNose | Breathomix BV | Asthma COPD ILD | Diagnostic | Breath analysis | Volatile organic compounds |
| SpiroSonic AIR | Uscom Ltd | Asthma COPD | Diagnostic | Lung function | Spirometry |
| Strados RESP Biosensor | Strados Labs Inc | Asthma COPD IPF | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| Swaasa | Salcit Technologies Pvt Ltd | Asthma COPD | Diagnostic | Acoustic | Software - acoustic biomarkers |
| Sylvee | Respira Labs Inc | Asthma COPD | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| TussisWatch | University of South Florida | COPD | Diagnostic | Acoustic | Software - acoustic biomarkers |
| VitalFlo Mobile App | VitalFlo Inc | Asthma COPD | Monitoring | Lung function test analysis | Lung function |
| WARD-CSS (v1.2.x) | Ward 24/7 ApS | COPD | Monitoring | Vitals | Health/vitals |
| Wearable Auscultation Device | George Washington University | Asthma COPD | Monitoring | Acoustic | Wearable - acoustic biomarkers |
| Wearable Body Odor Sensor Array | University of Michigan | Asthma | Diagnostic | In vitro diagnostics | Skin odours |
| Wearable Device - Asthma | WI-Sense LLC | Asthma COPD | Monitoring | Respiratory health monitoring | Air pollutants |
| Wearable Graphene Respiratory Sensor | Aquillius Corp | Asthma | Diagnostic | Breath analysis | Not specified |
| Wearable Lung Patch | Georgia Institute of Technology | Asthma COPD | Diagnostic | Acoustic | Wearable - acoustic biomarkers |
| Wearable Oxygen Monitor - Adults | Worcester Polytechnic Institute | Asthma COPD | Monitoring | Pulse oximetry | Blood O2 |
| Wearable Photoplethysmography Device | Imperial College London | COPD | Diagnostic | Respiratory health monitoring | Thoracic Waveforms |
| Wearable Sensor | Canairy LLC | COPD | Monitoring | Respiratory health monitoring | Air pollutants |
| WearME-Basic | Lasarrus Clinic and Research Center Inc | COPD | Monitoring | Vitals | Health/vitals |
| WearME-Pro System | TidalHealth | COPD | Monitoring | Lung function | Lung function |