Supplementary Material

Preparation of a high specificity imidacloprid monoclonal antibody and its application in homogeneous fluorescence immunoassay based on hydrogel beads assembling CdSe/ZnS quantum dots

Zixin Jina,b, Minghui Guoa,c, Zhiwei Liua,c, Yuqing Yanga,c, Meiyi Suna,c, Ziwuzhen Wanga,c, Hongyu Shia,c, Shuo Wangd, Wei Shenga,c,*

aState Key Laboratory of Food Nutrition and Safety, Key Laboratory of Food Quality and Health of Tianjin, Tianjin University of Science and Technology, Tianjin, 300457, China.

bCollege of Biotechnology, Tianjin University of Science and Technology, Tianjin, 300457, China.

cCollege of Food Science and Engineering, Tianjin University of Science and Technology, Tianjin, 300457, China.

dTianjin Key Laboratory of Food Science and Health, School of Medicine, Nankai University, Tianjin, 300071, China.

* Corresponding author: Wei Sheng, email: shengweijunchen@163.com

Tel: +86 22 6091 2483

Fax: +86 22 6091 2489

Content

Supplementary experimental methods

Test procedure of ELISA for detecting IMI

Sample treatment of HPLC

Figures

Fig. S1 XPS characterization of fluorescence signal probe.

Tables

Table S1 Parameters of liquid phase instruments

Table S2 Antiserum data after the fourth immunization

Table S3 An overview on the reported assays for determination of IMI.

Test procedure of ELISA for detecting IMI

First, the 96-well plates were coated with IMI-OVA diluted in CBS (100 μL/well) and incubated at 37°C for 3 h. After three washes with PBST (250 μL/well), the plates were blocked with blocking buffer (200 μL/well) at 37°C for 1 h and washed three times with PBST. Subsequently, 50 μL of standard solution and 50 μL of antibody were added to each well, followed by incubation at 37°C for 1 h and four washing cycles. Then, 100 μL of HRP-conjugated secondary antibody was added to each well, and the plates were incubated at 37°C for 30 min. Following five washes with PBST, 100 μL of substrate solution was added to each well. After a 15-min incubation at 37°C, the absorbance was measured using a Multiskan Spectrum microplate reader.

Sample treatment of HPLC

Sample pretreatment for HPLC analysis was performed as follows. Homogenized samples (apple, tomato, and cucumber) spiked with IMI at concentrations of 50, 100, and 200 μg kg⁻¹ were weighed (20 g) into centrifuge tubes containing 40 mL of acetonitrile and vortexed for 1 min. Following the addition of 5 g of NaCl, the mixtures were vortexed for another minute and centrifuged at 3000 rpm for 5 min. Subsequently, 20 mL of the supernatant was transferred to a pear-shaped flask and concentrated to dryness using a rotary evaporator. The resulting residue was reconstituted in 2 mL of 25% aqueous acetonitrile, sonicated for 30 s, and stored at 4°C pending purification. Purification was conducted using a C₁₈ solid-phase extraction (SPE) cartridge. Prior to loading, the cartridge was sequentially preconditioned with 5 mL of acetonitrile followed by 5 mL of 25% aqueous acetonitrile. After loading 2 mL of the extract, the cartridge was washed successively with 10 mL of 0.02 mol L⁻¹ NaOH solution and 10 mL of deionized water, and then dried under vacuum. Finally, the retained IMI was eluted slowly with 2 mL of acetonitrile. The eluate was collected, adjusted to a fixed volume, filtered through an organic microporous membrane, and subjected to HPLC analysis.

Fig. S1 XPS characterization of fluorescence signal probes.

Table S1 Parameters of liquid phase instruments.

| Detecting condition | Condition parameters |
| --- | --- |
| Chromatography column | Waters symmetry C18 (3.5 μm， 50 mm×4.6 mm) |
| Mobile phase | Gradient elution: 0.1% acetic acid aqueous solution as the mobile phase (85%), acetonitrile (15%) |
| Flow rate | 1 mL min-1 |
| Detection wavelength | 270 nm |
| Injection volume | 5 μL |
| Column temperature | 25°C |

Table S2 Antiserum data after the fourth immunization.

| Number | potency | OD450 | Inhibition rate |
| --- | --- | --- | --- |
| 1 | 1:4000 | 1.01 | 31 |
| 2 | 1:8000 | 0.89 | 19 |
| 3 | 1:6000 | 0.81 | 15 |
| 4 | 1:6000 | 0.82 | 21 |
| 5 | 1:6000 | 0.80 | 13 |
| 6 | 1:8000 | 0.80 | 7 |

Table S3 An overview on the reported assays for determination of IMI.

| Assay | Materials | LOD for IMI | Ref. |
| --- | --- | --- | --- |
| Enzyme-linked immunosorbent assay (ELISA) | Horseradish peroxidase (HRP) | 0.024 ng/mL | [1] |
| Enzyme-linked immunosorbent assay (ELISA) | Horseradish peroxidase (HRP) | 0.1 ng/mL | [2] |
| QBIC THz metamaterial sensing method | THz metamaterial | 0.072 mg/kg | [3] |
| Fluorescence aptamer sensing method | AuNPs and graphene quantum dots (GQD) | 52.42 ng/mL | [4] |
| Fluorescent molecularly imprinted hydrogel sensing strip | N-doped carbon dots | 0.065 μg/mL | [5] |
| Fluorescence -smartphone-machine Learning integrated platform | Red-emitting fluorescence probe (Eu-IMDC) | 75 nM | [6] |
| Surface enhanced Raman scattering (SERS) technology | Ag/AuNPs-TiO2-OCC | 4.1×10-6 μg/mL | [7] |
| Enzyme-linked immunosorbent assay (ELISA) | Horseradish peroxidase (HRP) | 0.04 µg/L | This work |
| Homogeneous fluorescence immunoassay | Hydrogel beads assembling CdSe/ZnS QDs | 5.62×10-4 µg/L |  |

Reference

- G. Tan, Y. Zhao, M. Wang, X. Chen, B. Wang, Q.X. Li, Ultrasensitive quantitation of imidacloprid in vegetables by colloidal gold and time-resolved fluorescent nanobead traced lateral flow immunoassays, Food Chemistry 311 (2020) 126055. https://doi.org/10.1016/j.foodchem.2019.126055.

2. Y. Wang, J.a. Qin, J. Zhang, Z. Jin, J. Luo, M. Yang, Rapid screening of imidacloprid residue in grains and medicinal herbs: A newly designed hapten and monoclonal antibody, Journal of Pharmaceutical and Biomedical Analysis 219 (2022) 114931. https://doi.org/10.1016/j.jpba.2022.114931.

3. L. Ma, X. Yang, C. Wang, R. Zhou, Z. Yang, L. Sun, Z. Guo, J. Cai, X. Zou, Quasi-bound states in the continuum empowered terahertz metamaterial sensor for imidacloprid detection in fruits, Sensors and Actuators B: Chemical 455 (2026) 139633. https://doi.org/10.1016/j.snb.2026.139633.

4. Y. Huang, X. Liu, T. Feng, X. Wang, Selective Label-Free Detection of Imidacloprid by a Graphene Quantum Dot Fluorescent Probe, International Journal of Molecular Sciences, 2025, p. 2714. https://doi.org/10.3390/ijms26062714.

5. M. Pan, M. Gao, J. Cui, R. Gao, H. Li, J. Sun, W. Chen, S. Wang, Fluorescent molecularly imprinted hydrogel sensing strip based on nitrogen-doped carbon dots and inverse opal photonic crystals applying for effective detection for imidacloprid in fruits and vegetables, Food Chemistry 477 (2025) 143497. https://doi.org/10.1016/j.foodchem.2025.143497.

6. Z. Cheng, X. Liu, R. Li, X. Liu, X. Zhang, X. Feng, L. Zhou, A fluorescence probe-smartphone-machine learning integrated platform for the visual and intelligent detection of imidacloprid in agricultural products, Food Chemistry 483 (2025) 144197. https://doi.org/10.1016/j.foodchem.2025.144197.

7. X. Dong, X. Yan, Y. Yuan, Y. Xia, T. Yue, Regenerated SERS substrate based on Ag/AuNPs-TiO2-oxidized carbon cloth for detection of imidacloprid, Food Chemistry 451 (2024) 139515. https://doi.org/10.1016/j.foodchem.2024.139515.