Supplementary material
Real-World Outcomes of the Ranibizumab Port Delivery System in Neovascular Age-Related Macular Degeneration and Diabetic Macular Edema: The SANTEE Study

Supplementary Table S1. Vitreous hemorrhage by prior vitrectomy status.
	Indication
	Prior pars plana vitrectomy
	Eyes, n
	Vitreous hemorrhage, n
	Requiring vitrectomy, n

	nAMD
	Yes
	2
	1
	0

	nAMD
	No
	59
	0
	0

	DME
	Yes
	1
	1
	1

	DME
	No
	19
	2
	1

	Total
	
	81
	4
	2


The small sample precludes reliable comparative risk estimation or causal inference.
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Supplementary Figure S1. Mean central subfield thickness by study visit, stratified by indication. Visits are ordered by protocol position rather than elapsed time; refill-exchange visits occurred at medians of approximately 25, 50, and 74 weeks after implantation. DME is not plotted at the third refill-exchange, which only 2 DME eyes, from the same patient, reached. Points are offset horizontally to avoid overlap. Numbers along the bottom of the plot indicate eyes contributing at each visit (nAMD/DME).


Supplementary Table S2. Proportion of nAMD eyes free of supplemental anti-VEGF injection.
	Interval
	Eyes at risk, n
	Eyes receiving ≥1 injection, n
	Free of supplemental injection, n (%)

	Implantation to first refill-exchange
	60
	3
	57 (95.0)

	Excluding the bridging injection
	60
	2
	58 (96.7)


DME is not tabulated separately because no DME eye received a supplemental injection. Timing of the 4 nAMD injections: one eye at 17 weeks and again 10 weeks after a first refill-exchange at 25 weeks; one at 21 weeks; one bridging injection at 42 weeks before a refill-exchange at 50 weeks.

Supplementary Table S3. Refill-exchange intervals, by indication.
	Indication
	Interval
	Eyes, n
	Mean ± SD, wk
	Median (IQR), wk
	Range, wk

	nAMD
	Implantation to first refill
	60
	25.6 ± 3.5
	25 (24-26)
	24-50

	nAMD
	First to second refill
	40
	25.7 ± 2.7
	25 (24-26)
	24-39

	nAMD
	Second to third refill
	22
	24.7 ± 1.2
	24 (24-26)
	23-27

	DME
	Implantation to first refill
	18
	25.3 ± 1.2
	25 (24-26)
	24-28

	DME
	First to second refill
	10
	25.1 ± 1.9
	24.5 (24-25)
	24-30

	DME
	Second to third refill
	2
	25.0 ± 0.0
	25 (25-25)
	25-25
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