GRRAS checklist

Guidelines for Reporting Reliability and Agreement Studies (Kottner et al., J Clin Nurs 2011;48:661–671)

| No. | GRRAS item | Where reported in this manuscript |
| --- | --- | --- |
| 1 | Identify in the title or abstract that interrater or intrarater reliability or agreement was investigated | Title and Abstract state “test–retest reliability study” and report ICC/SEM/MDC95. |
| 2 | Name and describe the diagnostic or measurement device of interest explicitly | Methods – Instrumentation: Emat plantar pressure plate (3doeCom, China), 50×50 cm, 4 sensors/cm², 300 Hz, FMap software. |
| 3 | Specify the subject population | Methods – Participants: 37 patients with knee disorders; 15 healthy controls; inclusion/exclusion criteria given. |
| 4 | Specify the rater (operator) population | Methods – Testing protocol: a single trained operator supervised all trials. |
| 5 | Describe what is measured | Methods – Outcome measures: 94 parameters (static, regional and dynamic). |
| 6 | State the number of raters (operators) | One operator (single-session, single-operator design). |
| 7 | Describe the purpose (intrarater vs interrater) and sampling design | Intra-session (within-session) test–retest reliability; consecutive clinical sample and volunteer controls. |
| 8 | Describe the measurement protocol, including the time interval between repeated measurements | Three consecutive trials within one session, one-minute rest between trials; two minutes familiarisation. |
| 9 | Describe the statistical analysis | ICC(2,1) with Shrout–Fleiss 95% CI; SEM; MDC95; within-subject CV; Bland–Altman; Spearman–Brown. |
| 10 | State the actual estimates of reliability and precision (confidence intervals) | Tables 2–5 and Figures 1–3 report ICC point estimates and 95% CIs for all parameters. |
| 11 | State the exact number of subjects and observations used for each analysis | Per-parameter n is reported in Tables 2–5; 33–37 participants × 3 trials. |
| 12 | Describe rater training or background | A single trained operator; further operator credential detail is recommended before submission. |
| 13 | Report dropout / missing data and how it was handled | 11 physiologically impossible negative values (0.5%) treated as missing under a pre-specified rule. |
| 14 | Describe how agreement was assessed | Bland–Altman plots with mean bias and 95% limits of agreement (Figure 2). |
| 15 | Provide an interpretation of the results, including clinical significance | Discussion and Conclusions: MDC95 relative to group means; implications for outcome selection in knee surgery. |