## Read me
Supplementary Tables for the Kenya national multi-pathogen WBE protocol
This workbook accompanies the protocol manuscript. Sheets marked Data are taken directly from the manuscript itself and require no further work. Sheets marked Template are structured for the authors to populate.
Sheet ¦ Type ¦ Source / what to do
-----------------------------------¦----------¦-----------------------------------------------
S1a Criteria weights ¦ Data ¦ Manuscript Table 5 (seven weighted criteria)
S1b Endemicity multipliers ¦ Data ¦ Manuscript Table 6
S1c Threshold table ¦ Data ¦ Manuscript Table 7 (raw indicator to 1-5 cut-offs)
S1d Country reference data ¦ Data ¦ Manuscript Table 8 (Kenya parameters)
S1e Ranked output ¦ Data ¦ Manuscript Table 9 (20 highest-ranked candidates)
S1f Scoring template ¦ Template ¦ Complete the remaining candidate pathogens
S2 Gantt 2026-2029 ¦ Data ¦ Derived from Fig. 17 of the manuscript
S3 Primers and probes ¦ Data ¦ Manuscript Table 4; placeholders flagged
S4 Site register ¦ Template ¦ Populate from the NGSML site register (57 sites)
S5 QC criteria ¦ Data ¦ Manuscript quality-control framework (Fig. 19)
S6 Reagent lot verification ¦ Template ¦ One row per lot received
S7 SOP index ¦ Data ¦ Contents of the Supplementary Information document
Note on S1f. The manuscript states a 64-pathogen candidate universe and names 34 of those pathogens in the Abstract, Introduction, Phase 1 results and Table 9. Every pathogen the manuscript names is pre-filled with its composite score, tier, feasibility score and quadrant where Table 9 gives one. The remaining rows are left unscored because the manuscript does not state their values; they must be exported from the S1 calculator rather than estimated here.

## S1a Criteria weights
S1a ¦ Weighted criteria applied to every candidate pathogen
Taken from Table 5 of the manuscript. Default weights are shown for the Kenya Pilot (Pathway A) and for the Expanding (Pathway B) programme stage.
Criterion | What it measures | Weight (Pilot / Expanding) | Example raw indicator
1. Disease burden | Incidence per 100k; case-fatality; U5 mortality contribution. | 0.16 / 0.16 | IHME GBD 2021 incidence; WHO case data.
2. Epidemic potential | Outbreak frequency, R0, PHEIC history. | 0.14 / 0.16 | WHO DON; R0 from outbreak literature.
3. WES suitability | Shedding site and load, environmental stability, WASH sensitivity. | 0.18 / 0.10 | Published shedding studies; persistence data.
4. Clinical surveillance gap | IDSR strength, laboratory capacity, health-system reach. | 0.10 / 0.13 | WHO IHR SPAR C05 / C04 (2023 round).
5. Actionability | Availability of vaccine, treatment, or public-health response. | 0.10 / 0.10 | WHO PIP / EPI programme registers.
6. AMR / treatment-failure risk | WHO BPPL priority class, resistance emergence trend. | 0.05 / 0.10 | WHO BPPL 2024; GLASS reports.
7. Vulnerable-population equity | Under-5 mortality; sanitation gap; fragility. | 0.08 / 0.09 | IGME U5MR; JMP; FSI.

## S1b Endemicity multipliers
S1b ¦ Endemicity-mode multipliers applied on top of the base weights
Taken from Table 6 of the manuscript. Multipliers are supplied by the calculator and reweight the seven criteria according to the endemicity mode.
Criterion | Endemic | Sporadic | Emerging | Not present
Burden | 1.4 | 0.6 | 0.3 | 0.1
Epidemic potential | 0.7 | 1.5 | 1.4 | 0.2
WES suitability | 1.0 | 1.2 | 1.2 | 0.5
Clinical surveillance gap | 1.1 | 1.2 | 1.0 | 0.3
Actionability | 1.3 | 1.0 | 0.7 | 0.2
AMR risk | 1.2 | 0.9 | 0.6 | 0.2
Equity | 1.2 | 0.9 | 0.6 | 0.2
Information gain (panel-level) | 1.0 | 1.2 | 1.3 | 0.3
Operational Readiness (Panel-Level) | 1.0 | 1.0 | 1.1 | 0.5

## S1c Threshold table
S1c ¦ Threshold table converting raw indicators into 1-5 sub-scores
Taken from Table 7 of the manuscript. Scores are assigned by the highest band the indicator reaches.
Indicator | 1 | 2 | 3 | 4 | 5
Incidence per 100,000 | <10 | >=10 | >=50 | >=200 | >=500
Case-fatality rate (%) | <1 | >=1 | >=3 | >=10 | >=30
Outbreaks last 10 years | 0 | >=1 | >=3 | >=5 | >=8
R0 | <1.2 | >=1.2 | >=2 | >=3 | >=5
Shedding sum (stool+urine+resp) | <2 | >=2 | >=3 | >=4 | >=6
Environmental stability (days) | <3 | >=3 | >=7 | >=14 | >=30
WASH sensitivity (0-1) | <0.2 | >=0.2 | >=0.4 | >=0.6 | >=0.8
Country surveillance strength (inverse) | 5 | 4 | 3 | 2 | 1
Vaccine + treatment availability | None | Supportive | Tx only | Vaccine only | Both
WHO BPPL tier | NA | Low | Medium | High | Critical
Under-5 mortality (per 1000) | <15 | >=15 | >=30 | >=50 | >=80
Basic sanitation coverage (%) | >=80 | <80 | <60 | <40 | <25
Fragility index | <50 | >=50 | >=70 | >=85 | >=100

## S1d Country reference data
S1d ¦ Kenya country reference parameters
Taken from Table 8 of the manuscript. These values drive the endemicity-aware objective.
Kenya country reference parameter | Value | Source
Population (millions) | 57.5 | UN DESA WPP / World Bank WDI (2025 est.)
Under-5 mortality (per 1000) | 38.8 | UN IGME (2024)
Basic sanitation coverage (%) | 40.9 | WHO/UNICEF JMP (2024)
Basic drinking-water coverage (%) | 65.6 | WHO/UNICEF JMP (2024)
Health index (blended HAQ + UHC SCI) | 45.2 | IHME GBD 2019; WHO GHO (2023)
IHR SPAR C05 - Surveillance | 4 | WHO e-SPAR 2023 round
IHR SPAR C04 - Laboratory capacity | 4 | WHO e-SPAR 2023 round
WHO-notified outbreak events, 5-year | 3 | WHO DON archive 2021-2026
Fragile States Index | 87.8 | Fund for Peace FSI (2023)
Sewer-connected population (%) | 15 | WHO/UNICEF JMP + UN-Habitat (2024)
Established polio ES sites | 12 | GPEI (2025)
National NGS capacity (0-3) | 3 | Africa CDC Pathogen Genomics Initiative (2024)
National lab-network tier (0-3) | 3 | e-SPAR C04 (2023) + Africa CDC mapping

## S1e Ranked output
S1e ¦ Twenty highest-ranked pathogens, Kenya Pilot (Pathway A)
Taken from Table 9 of the manuscript. 'Do now' requires composite ≥ 65 and feasibility ≥ 70.
Pathogen / AMR marker | Composite (0-100) | Tier | Feasibility | Quadrant
blaTEM/SHV broad-spectrum BL | 75.3 | T1 Always-on | 91 | Do now
ESBL genes (blaCTX-M) | 74.5 | T1 Always-on | 91 | Do now
Adenovirus (resp + enteric) | 73.6 | T1 Always-on | 91 | Do now
Poliovirus (WPV1, cVDPV2) | 73.2 | T1 Always-on | 91 | Do now
Carbapenemase: blaOXA-48 | 72.5 | T1 Always-on | 79 | Do now
Carbapenemase: blaNDM | 71.8 | T1 Always-on | 79 | Do now
Methicillin resistance: mecA (MRSA) | 71.2 | T1 Always-on | 91 | Do now
Mycobacterium tuberculosis | 70.3 | T1 Always-on | 79 | Do now
SARS-CoV-2 | 69.9 | T2 Seasonal | 91 | Do now
Lassa virus | 69.5 | T2 Seasonal | 79 | Do now
Pathogenic E. coli (ETEC/EPEC/EHEC) | 69.3 | T2 Seasonal | 91 | Do now
Salmonella Typhi | 68.6 | T2 Seasonal | 91 | Do now
Shigella spp. | 68.6 | T2 Seasonal | 91 | Do now
Carbapenemase: blaKPC | 68.4 | T2 Seasonal | 79 | Do now
Colistin resistance: mcr-1 | 68.4 | T2 Seasonal | 79 | Do now
Leptospira spp. | 68.1 | T2 Seasonal | 79 | Do now
Ebola virus (Zaire/Sudan) | 67.9 | T2 Seasonal | 79 | Do now
Norovirus GI/GII | 67.9 | T2 Seasonal | 91 | Do now
Influenza A H5N1 (avian) | 67.4 | T2 Seasonal | 79 | Do now
Enteroviruses (non-polio) | 67.1 | T2 Seasonal | 91 | Do now

## S1f Scoring template
S1f ¦ Candidate scoring template (1-5 per criterion)
Score each candidate 1-5 against the seven weighted criteria in S1a, applying the endemicity multipliers in S1b through the thresholds in S1c. Composite and feasibility are computed by the calculator, not by hand. Named pathogens that already appear in Table 9 carry their published values.
Candidate pathogen | C1 Disease burden | C2 Epidemic potential | C3 WES suitability | C4 Shedding dynamics | C5 Analytical feasibility | C6 Operational feasibility | C7 Information gain | Weighted composite (0-100) | Feasibility (0-100) | Quadrant | Tier
blaTEM/SHV broad-spectrum BL | [7 empty] | 75.3 | 91 | Do now | T1 Always-on
ESBL genes (blaCTX-M) | [7 empty] | 74.5 | 91 | Do now | T1 Always-on
Adenovirus (resp + enteric) | [7 empty] | 73.6 | 91 | Do now | T1 Always-on
Poliovirus (WPV1, cVDPV2) | [7 empty] | 73.2 | 91 | Do now | T1 Always-on
Carbapenemase: blaOXA-48 | [7 empty] | 72.5 | 79 | Do now | T1 Always-on
Carbapenemase: blaNDM | [7 empty] | 71.8 | 79 | Do now | T1 Always-on
Methicillin resistance: mecA (MRSA) | [7 empty] | 71.2 | 91 | Do now | T1 Always-on
Mycobacterium tuberculosis | [7 empty] | 70.3 | 79 | Do now | T1 Always-on
SARS-CoV-2 | [7 empty] | 69.9 | 91 | Do now | T2 Seasonal
Lassa virus | [7 empty] | 69.5 | 79 | Do now | T2 Seasonal
Pathogenic E. coli (ETEC/EPEC/EHEC) | [7 empty] | 69.3 | 91 | Do now | T2 Seasonal
Salmonella Typhi | [7 empty] | 68.6 | 91 | Do now | T2 Seasonal
Shigella spp. | [7 empty] | 68.6 | 91 | Do now | T2 Seasonal
Carbapenemase: blaKPC | [7 empty] | 68.4 | 79 | Do now | T2 Seasonal
Colistin resistance: mcr-1 | [7 empty] | 68.4 | 79 | Do now | T2 Seasonal
Leptospira spp. | [7 empty] | 68.1 | 79 | Do now | T2 Seasonal
Ebola virus (Zaire/Sudan) | [7 empty] | 67.9 | 79 | Do now | T2 Seasonal
Norovirus GI/GII | [7 empty] | 67.9 | 91 | Do now | T2 Seasonal
Influenza A H5N1 (avian) | [7 empty] | 67.4 | 79 | Do now | T2 Seasonal
Enteroviruses (non-polio) | [7 empty] | 67.1 | 91 | Do now | T2 Seasonal
Hepatitis A virus
Hepatitis E virus
Enterovirus (non-polio)
Cryptosporidium spp.
Giardia duodenalis
Schistosoma mansoni
Ebola virus (Zaire)
Mpox virus
Measles virus
Influenza B
Respiratory syncytial virus
Rotavirus
Norovirus GII
Nipah virus
Guinea worm (Dracunculus medinensis)

## S2 Gantt 2026-2029
S2 ¦ Activity-level Gantt chart, Q3 2026 to Q4 2029
Activity-level schedule derived from Fig. 17. Milestones for the annual panel review and re-scoring fall in 2027 Q3, 2028 Q3 and 2029 Q3.
Activity | 2026 Q1 | 2026 Q2 | 2026 Q3 | 2026 Q4 | 2027 Q1 | 2027 Q2 | 2027 Q3 | 2027 Q4 | 2028 Q1 | 2028 Q2 | 2028 Q3 | 2028 Q4 | 2029 Q1 | 2029 Q2 | 2029 Q3 | 2029 Q4 | Duration (quarters)
Protocol finalisation and approvals |  |  | ■ | ■ | ■ | [11 empty] | 3
Site assessment and validation |  |  |  | ■ | ■ | ■ | ■ | [9 empty] | 4
Procurement and laboratory set-up |  |  |  | ■ | ■ | ■ | [10 empty] | 3
Geo App development and Nairobi pilot |  |  |  |  | ■ | ■ | ■ | ■ | [8 empty] | 4
Laboratory method verification |  |  |  |  | ■ | ■ | ■ | [9 empty] | 3
Routine Tier 1 and Tier 2 surveillance | [6 empty] | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | 10
Genomic and AMR surveillance | [7 empty] | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | 9
Annual panel review and re-scoring | [6 empty] | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | ■ | 10
Analysis, reporting and dissemination | [9 empty] | ■ | ■ | ■ | ■ | ■ | ■ | ■ | 7
Sustainability transition | [14 empty] | ■ | ■ | 2

## S3 Primers probes
S3 ¦ TaqMan Array Card assay layout, primers and probes
Primer and probe sequences as listed in Table 4 of the manuscript. Confirm each sequence against its cited source before submission.
Pathogen | Target gene | Forward primer (5′→3′) | Reverse primer (5′→3′) | Probe (5′→3′) | Size (bp) | Reference | Fluorophore | Quencher
SARS-CoV-2 (N gene) | N gene | GACCCCAAAATCAGCGAAAT | TCTGGTTACTGCCAGTTGAATCTG | FAM-ACCCCGCATTACGTTTGGTGGACC-BHQ1 | 72 | CDC 2019-nCoV_N1 assay | FAM | BHQ1
SARS-CoV-2 (N2) | N gene (N2) | TTACAAACATTGGCCGCAAA | GCGCGACATTCCGAAGAA | FAM-ACAATTTGCCCCCAGCGCTTCAG-BHQ1 | 67 | CDC 2019-nCoV_N2 assay | FAM | BHQ1
Influenza A | M gene | GACCRATCCTGTCACCTCTGAC | AGGGCATTYTGGACAAAKCGTCTA | FAM-TGCAGTCCTCGCTCACTGGGCACG-BHQ1 | 100 | CDC Flu assay | FAM | BHQ1
Influenza B | M gene | TCCTCAACTCACTCTTCGAGCG | CGGTGCTCTTGACCAAATTGG | FAM-CCAATTCGAGCAGCTGAAACTGCGG-BHQ1 | 110 | CDC Flu assay | FAM | BHQ1
Measles virus | N gene | CACCATCCAAGATGTTCTTGCC | GATAGTTGGAGGCGGGAAGG | FAM-TCTCCGAGAAACTGGTCGATGTGCC-BHQ1 | 130 | Hummel et al., 2009 | FAM | BHQ1
Poliovirus (pan) | 5′UTR | CAAGCACTTCTGTTTCCCC | CAAGTAACACCCTGTTTCTCC | FAM-TTGTCACCATAAGCAGCCA-BHQ1 | 100 | WHO GPEI standard assay | FAM | BHQ1
Vibrio cholerae | ctxA | CTGAATACAGAGGCTTATAAAG | GCAATAGCCCCAGCGTTTA | FAM-CAGCTTCTCAGTCAGTTGTAGTG-BHQ1 | 148 | Bhatt et al., 2007 | FAM | BHQ1
Salmonella Typhi | staA | TCCCAAGCAACCAAGATAAG | AGTCTTCCGTAATCGTCTTCC | FAM-CAATGATTCGCTGGCAGTACAGC-BHQ1 | 120 | Buckle et al., 2012 | FAM | BHQ1
Shigella spp. | ipaH | GTTCCTTGACCGCCTTTCGGAT | GCCGGTAAAACCGTCTCCGT | FAM-CCCGGATGGTATGGGCGTTCCGG-BHQ1 | 147 | Garaicoa Pazmino et al., 2013 | FAM | BHQ1
M. tuberculosis (MTB) | IS6110 | GTCATGGCCGCGGCTTTCGT | CAAAGCACCGCTAAAGCTCCT | FAM-ATGACCTTCGCTCCACCAAGGT-BHQ1 | 75 | Piersimoni & Scarparo, 2003 | FAM | BHQ1
M. tuberculosis (RIF-R) | rpoB (RRDR) | TCGCGGCCGATCAAGGAGT | ACGTGCTCATCGACAGCGGA | FAM-TGCACGTCGACGACAACAGACATCG-BHQ1 | 90 | Ravligione et al., 2012 | FAM | BHQ1
NDM-1 (CRE) | blaNDM-1 | GGTTTGGCGATCTGGTTTTTC | CGGAATGGCTTCATCACCATC | FAM-AGTTTGCGTGCCTTGTGTCAT-BHQ1 | 88 | Poirel et al., 2011 | FAM | BHQ1
KPC (CRE) | blaKPC | TCGCTAAACTCGAACAGG | TTACTGCCCGTTGACGCCC | FAM-TGCTCACTGGCTGTGGTGCGGAG-BHQ1 | 120 | Bratu et al., 2005 | FAM | BHQ1
CTX-M (ESBL) | blaCTX-M | GGGTGACGAAACGACTCTTCC | CGCATTGACGTTACTCTACTCT | FAM-AACGTGGTGGCATCGGATTATTCG-BHQ1 | 540 | Pitout et al., 2004 | FAM | BHQ1
MS2 (internal control) | mat protein | ATAGGTGGGAGAGGAGTTT | AATCTCAATGAGCGAACCC | HEX-AGCGATCTTGTCCAGATCTCCATCGAC-BHQ1 | 99 | Haramoto et al., 2018 | HEX | BHQ1
Cycling parameters
Reverse transcription | 50 °C for 15 min
Enzyme activation | 95 °C for 2 min
Amplification | 45 cycles: 95 °C for 15 s, 60 °C for 1 min
Total instrument time | approximately 4 h on the QuantStudio 7 Flex
Positive call | Ct ≤ 40 in at least one replicate; Ct 38-40 re-tested and confirmed by dPCR
Total reaction volume | Confirm against the current TaqMan Array Card instruction for use

## S4 Site register
S4 ¦ Site-level metadata register for the activated network
TEMPLATE - populate from the NGSML site register. The manuscript states a 57-site network comprising 35 ILRI established sites, 17 GPEI accredited polio ES sites and 5 port-health facilities, with functional types A (n=42), B (n=6) and C (n=5); reconcile those counts before completing this sheet (author query AQ9).
Site ID | County | Site name | Functional type (A/B/C) | Infrastructure source | Catchment population | Mean daily flow (m3) | Latitude (WGS 84) | Longitude (WGS 84) | Sampling mode | Tier (1/2) | Mandatory criteria met (Y/N) | Conditional findings | Activation date
KE-NBO-01 | NBO
KE-NBO-02 | NBO
KE-NBO-03 | NBO
KE-NBO-04 | NBO
KE-NBO-05 | NBO
KE-NBO-06 | NBO
KE-NBO-07 | NBO
KE-NBO-08 | NBO
KE-NBO-09 | NBO
KE-NBO-10 | NBO
KE-NBO-11 | NBO
KE-NBO-12 | NBO
KE-MSA-01 | MSA
KE-MSA-02 | MSA
KE-MSA-03 | MSA
KE-MSA-04 | MSA
KE-MSA-05 | MSA
KE-MSA-06 | MSA
KE-MSA-07 | MSA
KE-MSA-08 | MSA
KE-MSA-09 | MSA
KE-MSA-10 | MSA
KE-MSA-11 | MSA
KE-MSA-12 | MSA
KE-KSM-01 | KSM
KE-KSM-02 | KSM
KE-KSM-03 | KSM
KE-KSM-04 | KSM
KE-KSM-05 | KSM
KE-KSM-06 | KSM
KE-KSM-07 | KSM
KE-KSM-08 | KSM
KE-KSM-09 | KSM
KE-KSM-10 | KSM
KE-KSM-11 | KSM
KE-KSM-12 | KSM
KE-GRS-01 | GRS
KE-GRS-02 | GRS
KE-GRS-03 | GRS
KE-GRS-04 | GRS
KE-GRS-05 | GRS
KE-GRS-06 | GRS
KE-GRS-07 | GRS
KE-GRS-08 | GRS
KE-GRS-09 | GRS
KE-GRS-10 | GRS
KE-GRS-11 | GRS
KE-GRS-12 | GRS
KE-ISL-01 | ISL
KE-ISL-02 | ISL
KE-ISL-03 | ISL
KE-ISL-04 | ISL
KE-ISL-05 | ISL
KE-ISL-06 | ISL
KE-ISL-07 | ISL
KE-ISL-08 | ISL
KE-ISL-09 | ISL
KE-ISL-10 | ISL
KE-ISL-11 | ISL
KE-ISL-12 | ISL

## S5 QC criteria
S5 ¦ Quality-control acceptance criteria per workflow stage
Taken from the quality-control framework (Fig. 19) and the manuscript text. Batch-level rule: every batch includes an extraction negative, a no-template control and an MS2 process control; two consecutive batch failures trigger a documented root-cause analysis.
Workflow stage | Control materials | Acceptance criterion | Action on failure
Sample receipt and storage | Transport-box temperature logger; recorded sample volume | Box at 4-10 °C on arrival; sufficient volume for the assay (≥ 10 mL of swab eluate) | Reject and re-sample, or record the temperature deviation and re-test
Viral concentration | MS2 process control spiked before concentration | MS2 recovery ≥ 1% of the spiked input; concentrated volume ≥ 0.5 mL | Re-concentrate the stored sample; if recovery stays low, optimise the elution step
Nucleic-acid extraction | Extraction negative, no-template control, external positive control | NTC and extraction negative undetected; positive control within ± 0.5 log₁₀ of expected; A260/280 ≥ 1.8 | Re-extract; investigate contamination; check the reagent lot
TaqMan Array Card screening | Extraction negative, no-template control, MS2 positive control | Positive at Ct ≤ 40 in at least one replicate; Ct 38-40 re-tested and confirmed by dPCR | Re-run the card; confirm borderline calls by dPCR before reporting
Digital PCR quantification | No-template control and positive control on every plate | Plate accepted at ≥ 8,000 valid partitions; positive at ≥ 3 positive partitions | Re-run the plate; a second failure triggers re-extraction
Metagenomic sequencing | Library negative control; mock community where available | ≥ 2 million quality-filtered reads per sample; ≥ 90% of reads pass the quality filter | Re-sequence the library; check loading concentration and flow-cell quality
Whole-genome sequencing | Negative library control; reference strain where available | Bacterial ≥ 30× mean coverage; viral ≥ 100× at consensus positions | Re-prepare and re-sequence; report with a coverage caveat
Bioinformatics and reporting | Internal positive reference dataset; version-pinned pipeline | Pipeline reproduces the reference output; 100% concordance between replicate analyses | Re-run at the pinned version; hold the report until resolved

## S6 Reagent lots
S6 ¦ Reagent lot-verification checklist
TEMPLATE - one row per lot received. Record the MS2 recovery and the positive-control Ct obtained with each new lot before it enters routine use.
Reagent / consumable | Supplier | Catalogue no. | Lot no. | Expiry | Date received | Storage condition verified | Performance in verification | Accepted (Y/N) | Verified by

## S7 SOP index
S7 ¦ Standard operating procedure index
SOP | Title | Covers
SOP-01 | Reagent preparation, receipt and lot verification | Reagent setup, carrier RNA and beta-mercaptoethanol handling, MS2 working stocks, lot verification
SOP-02 | Moore swab deployment and retrieval | Site access, swab deployment, 24 h in-situ exposure, aseptic retrieval, chain of custody
SOP-03 | Grab sample collection and composite sampling | Positioning, 1 L HDPE collection, pooling, field parameter recording
SOP-04 | Sample packaging, cold-chain transport and chain of custody | Triple packaging as UN3373 Category B, cold-chain dispatch, documentation
SOP-05 | Sample reception, accessioning, triage and storage | Receipt checks, accessioning, distribution to ILRI, NMRL and KEMRI DLSP, storage
SOP-06 | Viral concentration using Nanotrap Magnetic Virus Particles | Bead equilibration, MS2 spiking, capture, magnetic separation (15 mL and 1.5 mL)
SOP-07 | Nucleic-acid extraction | QIAamp Viral RNA Mini Kit (RNA) and Quick-DNA Fungal/Bacterial Miniprep Kit (DNA)
SOP-08 | TaqMan Array Card screening | Card loading, sealing, cycling, positive call rules and borderline handling
SOP-09 | Absolute quantification by QIAcuity digital PCR | Plate setup, partition validation, positive-partition call, re-run rules
SOP-10 | Nanopore rapid barcoding metagenomics | Library preparation, barcoding, MinION and GridION runs, run manifests
SOP-11 | Illumina DNA Prep whole-genome sequencing | Tagmentation, index PCR, bead cleanup, MiSeq and NextSeq runs
SOP-12 | Bioinformatics, data management and reporting | Basecalling, QC, host depletion, assembly, typing, AMR calling, REDCap deposition, reporting
SOP-13 | Pre-specified statistical analysis plan | Sample size and detection power, trend-state rules, AMR multiple testing, AI/ML validation