SUPPLEMENTARY MATERIAL: Low-Cost Gait Analysis Technologies for Clinical and Real-World Assessment: A Scoping Review of Validity, Reliability, and Clinical Utility

Table of Content

Supplementary Table S1. Characteristics of Included Human Studies and Population Classification

Supplementary Table S2. Technology Classification and Device Characteristics

Supplementary Table S3. Study-Level Validity Evidence

Supplementary Table S4. Study-Level Reliability, Measurement Error, and Responsiveness Evidence

Supplementary Table S5. Clinical Utility, Home-Use, Telehealth Readiness, and Affordability Evidence

Supplementary Table S6. Evidence Gaps Across Technologies and Implementation

Supplementary Table S7. Study-Level Classification of Gait Outcome Domains

Supplementary Table S8. Assessment Settings and Intended-Use Contexts

Supplementary Table S9. Study-Level Methodological Appraisal

Supplementary Figure S1. Evidence Map of Technology Categories Across Population Characteristics

Supplementary Figure S2. Evidence Map of Technology Categories Across Assessment Settings

Supplementary Figure S3. Evidence Map of Technology Categories by Intended-Use Context

Supplementary Figure S4. Evidence Map of Technology Categories by Country-Income Classification

Supplementary Figure S5. Evidence Gap Map Highlighting Research Priorities for Low-Cost Gait-Analysis Technologies

Appendix A. Complete Search Strategies for All Databases

Supplementary Figure S1. Population-by-technology evidence map

Supplementary Figure S2. Affordability-evidence distribution and cost-reporting completeness

Supplementary Figure S3. Detailed reliability-statistic map

Supplementary Figure S4. Statistical basis of validity evidence

Supplementary Figure S5. Comprehensive evidence-gap matrix

The descriptive thresholds are: adequate evidence: ≥10 studies; limited evidence: 1–9 studies; no evidence: 0 studies.

Appendix A. Complete Search Strategies for All Databases

A1. PubMed/MEDLINE

(("Gait"[Mesh] OR "Walking"[Mesh] OR gait[tiab] OR walking[tiab] OR locomot*[tiab])

AND

("Wearable Electronic Devices"[Mesh] OR "Accelerometry"[Mesh] OR "Sensors"[Mesh] OR "Smartphone"[Mesh] OR "Video Recording"[Mesh] OR "Mobile Applications"[Mesh]

OR wearable*[tiab] OR sensor*[tiab] OR inertial[tiab] OR "inertial measurement unit*"[tiab]

OR IMU[tiab] OR IMUs[tiab] OR acceleromet*[tiab] OR gyroscop*[tiab]

OR smartphone*[tiab] OR "mobile phone*"[tiab] OR "mobile application*"[tiab]

OR app[tiab] OR apps[tiab] OR video[tiab]

OR camera-based[tiab] OR video-based[tiab]

OR "motion analysis"[tiab] OR "motion capture"[tiab]

OR Kinect[tiab] OR "depth sensor*"[tiab] OR markerless[tiab])

AND

("Reproducibility of Results"[Mesh]

OR validity[tiab] OR valid*[tiab] OR reliab*[tiab]

OR reproducib*[tiab] OR repeatab*[tiab]

OR feasib*[tiab] OR usability[tiab]

OR "ease of use"[tiab] OR acceptab*[tiab]

OR interpretab*[tiab] OR "clinical utility"[tiab]

OR utility[tiab] OR accuracy[tiab]

OR agreement[tiab]

OR "Bland-Altman"[tiab]

OR ICC[tiab]

OR "intraclass correlation"[tiab]

OR sensitivity[tiab]

OR specificity[tiab])

AND

(low-cost[tiab]

OR "low cost"[tiab]

OR affordable[tiab]

OR inexpensive[tiab]

OR portable[tiab]

OR consumer-grade[tiab]

OR "resource-limited"[tiab]

OR "resource constrained"[tiab]

OR clinic-based[tiab]

OR "point of care"[tiab]

OR accessible[tiab]

OR cost[tiab]

OR costs[tiab]))

NOT (animals[mh] NOT humans[mh])

A2. Embase (Ovid/Elsevier)

(

'gait'/exp

OR 'walking'/exp

OR gait:ti,ab

OR walking:ti,ab

OR locomot*:ti,ab

)

AND

(

'wearable device'/exp

OR 'sensor'/exp

OR 'accelerometer'/exp

OR 'smartphone'/exp

OR 'mobile application'/exp

OR 'video recording'/exp

OR wearable*:ti,ab

OR sensor*:ti,ab

OR inertial:ti,ab

OR 'inertial measurement unit*':ti,ab

OR imu:ti,ab

OR imus:ti,ab

OR acceleromet*:ti,ab

OR gyroscop*:ti,ab

OR smartphone*:ti,ab

OR 'mobile phone*':ti,ab

OR 'mobile application*':ti,ab

OR app:ti,ab

OR apps:ti,ab

OR video:ti,ab

OR 'camera-based':ti,ab

OR 'video-based':ti,ab

OR 'motion analysis':ti,ab

OR 'motion capture':ti,ab

OR kinect:ti,ab

OR 'depth sensor*':ti,ab

OR markerless:ti,ab

)

AND

(

'validity'/exp

OR 'reliability'/exp

OR 'reproducibility'/exp

OR valid*:ti,ab

OR reliab*:ti,ab

OR reproducib*:ti,ab

OR repeatab*:ti,ab

OR feasib*:ti,ab

OR usability:ti,ab

OR 'ease of use':ti,ab

OR acceptab*:ti,ab

OR interpretab*:ti,ab

OR 'clinical utility':ti,ab

OR utility:ti,ab

OR accuracy:ti,ab

OR agreement:ti,ab

OR 'bland-altman':ti,ab

OR icc:ti,ab

OR 'intraclass correlation':ti,ab

OR sensitivity:ti,ab

OR specificity:ti,ab

)

AND

(

'low cost':ti,ab

OR low-cost:ti,ab

OR affordable:ti,ab

OR inexpensive:ti,ab

OR portable:ti,ab

OR 'consumer-grade':ti,ab

OR 'resource-limited':ti,ab

OR 'resource constrained':ti,ab

OR accessible:ti,ab

)

AND [humans]/lim

AND [english]/lim

A3. CINAHL (EBSCOhost)

(

(MH "Gait+")

OR (MH "Walking+")

OR TI(gait OR walking OR locomot*)

OR AB(gait OR walking OR locomot*)

)

AND

(

(MH "Wearable Sensors+")

OR (MH "Accelerometers+")

OR (MH "Smartphone+")

OR (MH "Mobile Applications+")

OR (MH "Video Recording+")

OR TI(wearable* OR sensor* OR inertial OR "inertial measurement unit*" OR IMU OR IMUs OR acceleromet* OR gyroscop* OR smartphone* OR "mobile phone*" OR "mobile application*" OR app OR apps OR video OR camera-based OR video-based OR "motion analysis" OR "motion capture" OR Kinect OR "depth sensor*" OR markerless)

OR AB(wearable* OR sensor* OR inertial OR "inertial measurement unit*" OR IMU OR IMUs OR acceleromet* OR gyroscop* OR smartphone* OR "mobile phone*" OR "mobile application*" OR app OR apps OR video OR camera-based OR video-based OR "motion analysis" OR "motion capture" OR Kinect OR "depth sensor*" OR markerless)

)

AND

(

(MH "Validity")

OR (MH "Reproducibility of Results")

OR TI(valid* OR reliab* OR reproducib* OR repeatab* OR feasib* OR usability OR "ease of use" OR acceptab* OR interpretab* OR "clinical utility" OR utility OR accuracy OR agreement OR "Bland-Altman" OR ICC OR "intraclass correlation" OR sensitivity OR specificity)

OR AB(valid* OR reliab* OR reproducib* OR repeatab* OR feasib* OR usability OR "ease of use" OR acceptab* OR interpretab* OR "clinical utility" OR utility OR accuracy OR agreement OR "Bland-Altman" OR ICC OR "intraclass correlation" OR sensitivity OR specificity)

)

AND

(

TI("low cost" OR low-cost OR affordable OR inexpensive OR portable OR consumer-grade OR "resource-limited" OR "resource constrained" OR accessible)

OR AB("low cost" OR low-cost OR affordable OR inexpensive OR portable OR consumer-grade OR "resource-limited" OR "resource constrained" OR accessible)

)

Limiters: English Language; Human

A4. Scopus

TITLE-ABS-KEY

(

(gait OR walking OR locomot*)

AND

(

wearable* OR sensor* OR inertial

OR "inertial measurement unit*"

OR imu OR imus

OR acceleromet*

OR gyroscop*

OR smartphone*

OR "mobile phone*"

OR "mobile application*"

OR app

OR apps

OR video

OR "video-based"

OR "camera-based"

OR "motion analysis"

OR "motion capture"

OR kinect

OR "depth sensor*"

OR markerless

)

AND

(

valid*

OR reliab*

OR reproducib*

OR repeatab*

OR feasib*

OR usability

OR "ease of use"

OR acceptab*

OR interpretab*

OR "clinical utility"

OR utility

OR accuracy

OR agreement

OR "bland-altman"

OR icc

OR "intraclass correlation"

OR sensitivity

OR specificity

)

AND

(

"low cost"

OR low-cost

OR affordable

OR inexpensive

OR portable

OR consumer-grade

OR "resource-limited"

OR "resource constrained"

OR accessible

)

)

AND NOT TITLE-ABS-KEY(animal AND NOT human)

AND (LIMIT-TO(LANGUAGE,"English"))

A5. Web of Science Core Collection

TS=

(

(gait OR walking OR locomot*)

AND

(

wearable*

OR sensor*

OR inertial

OR "inertial measurement unit*"

OR IMU

OR IMUs

OR acceleromet*

OR gyroscop*

OR smartphone*

OR "mobile phone*"

OR "mobile application*"

OR app

OR apps

OR video

OR "video-based"

OR "camera-based"

OR "motion analysis"

OR "motion capture"

OR Kinect

OR "depth sensor*"

OR markerless

)

AND

(

valid*

OR reliab*

OR reproducib*

OR repeatab*

OR feasib*

OR usability

OR "ease of use"

OR acceptab*

OR interpretab*

OR "clinical utility"

OR utility

OR accuracy

OR agreement

OR "Bland-Altman"

OR ICC

OR "intraclass correlation"

OR sensitivity

OR specificity

)

AND

(

"low cost"

OR low-cost

OR affordable

OR inexpensive

OR portable

OR consumer-grade

OR "resource-limited"

OR "resource constrained"

OR accessible

)

)

Refined by: Languages = English

A6. IEEE Xplore

(

("Document Title":gait

OR "Document Title":walking

OR Abstract:gait

OR Abstract:walking)

AND

(

Abstract:wearable

OR Abstract:sensor

OR Abstract:inertial

OR Abstract:"inertial measurement unit"

OR Abstract:IMU

OR Abstract:accelerometer

OR Abstract:gyroscope

OR Abstract:smartphone

OR Abstract:"mobile application"

OR Abstract:video

OR Abstract:"motion analysis"

OR Abstract:"motion capture"

OR Abstract:Kinect

OR Abstract:markerless

)

AND

(

Abstract:validity

OR Abstract:reliability

OR Abstract:feasibility

OR Abstract:usability

OR Abstract:"clinical utility"

OR Abstract:accuracy

OR Abstract:agreement

)

)