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[bookmark: __RefHeading___Toc6898_155992121_Copie_1]Table I: Different assessments among the 6 ICUs

	Unit #
	I
	II
	III
	IV
	V
	VI
	Total

	Number of patients which room was tested for viral presence 
	4
	4
	5
	3
	9
	3
	28

	Number of rooms tested for viral presence
	3
	3
	3
	3
	5
	2
	19

	Number of rooms which HVAC airflow was measured
	1
	0
	2
	3
	8
	7
	21

	Number of rooms assessed with CFD
	0
	0
	1
	0
	3
	1
	5






[bookmark: __RefHeading___Toc5063_3731504111]Table II: Classification of the units in 4 groups according to HVAC characteristics

	
Group
	Units
	Location of the return vent
	Measured vent airflow

	A
	III – IV - V
	Outside main room
	Lower than programmed

	B
	II
	Main room
	Not determined

	C
	VI
	Main room
	Close to programmed

	D
	I
	Outside main room
	Close to programmed
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