Table S1. Modified gradient protocol for the pigments analysis with 0.3 ml/min flow rate, and column temperature of 40 °C

| Time (mins) | H2O/FA (%) | MeOH/FA (%) | Curve |
| --- | --- | --- | --- |
| 0 | 30 | 70 | 1 |
| 1 | 30 | 70 | 6 |
| 3 | 0 | 100 | 6 |
| 25 | 0 | 100 | 6 |
| 25.2 | 30 | 70 | 6 |
| 32 | 30 | 70 | 6 |

Notes: FA – Formic Acid Sigma-Aldrich (St. Louis, MO, USA) at dilution of 0.01%

Table S2. Expanded parameters for LC-PDA-MS2 analysis

| Tune page parameters |  |
| --- | --- |
| Ion mode | + |
| Data format | Centroid |
| Scan mass range (m/z) | 50–1200 |
| Cone Voltage (V) | 35 |
| Capillary | 3.75 |
| Cone | 57 |
| Source Temperature (°C) | 110 |
| Desolvation Temperature (°C) | 220 |
| Cone Gas Flow (L/Hr) | 50 |
| Desolvation Gas Flow (L/Hr) | 500 |
| Function 1: low E (MS) |  |
| Collision Energy (V) | 20 |
| Function 2: high E (MS) |  |
| Collision Energy (V) | 20–40 (ramp) |
| Function 3: MS2 |  |
| Collision Energy (V) | 40 |
| Scan time (sec) | 1 |
| Interscan time (sec) | 0.1 |
| Function 4: Lock Mass |  |
| Lock Mass | 609.1870 |
| LC-PDA (UV-Vis) |  |
| Type | Diode Array |
| Wavelength range (nm) | 254–800 |

Table S3. Daughter ions used in the pigment analysis

m/z

481.1879

614.238

476.3654

444.3756

469.3083

221.1542

679.3999

685.4468

679.3999

549.3733

460.3705

628.2172

495.1671

549.1777

582.2117

119.0861

612.2223

626.2025

527.3161

635.3349

593.3243

575.3137

533.2553

593.2764

469.3107

461.2341

447.2185

630.2329

609.2713

549.2502

525.2662

565.2451