	Supplemental Table 1: S. aureus mean log10 CFU/cm2 reductions:

	Product Type
	WSB
	24 h DSB
	48 h DSB
	72 h DSB

	QA1
	1.7 ± 0.82
	1.44 ± 1.03
	1.52 ± 0.18
	1.6 ± 0.26

	QA2
	1.63 ± 0.51
	3.65 ± 0.63
	3.28 ± 0.78
	3.49 ± 0.34

	QA/Alcohol
	3.13 ± 1.12
	3.77 ± 1.38
	3.05 ± 0.24
	3.07 ± 0.67

	QA/Solvent
	2.50 ± 0.75
	3.85 ± 0.65
	3.82 ± 0.70
	3.09 ± 1.17

	HP1
	7.03*
	6.5*
	5.74*
	5.37 ± 0.84

	HP2
	7.09*
	6.42*
	6.01*
	5.73*

	Cl
	6.89*
	5.3*
	5.34 ± 0.07
	5.39*

	PA
	7.04 ± 0.29
	6.14*
	6.17*
	5.96


Supplemental Table 1. Mean log10 CFU/cm2 reductions of S. aureus biofilms by product type for different dehydration times. *Cells contain no calculable standard deviations as reports under the limit of detection. CFU/cm2 reported as 0.50 CFU/cm2 per EPA MLB SOP MB-20 to determine log10 reduction








	Supplemental Table 2: P. aeruginosa mean log10 CFU/cm2 reductions:

	Product Type
	WSB
	24h DSB
	48h DSB
	72h DSB

	QA1
	0.53 ± 0.08
	0.15 ± 0.5
	0.15 ± 0.19
	0.29 ± 0.38

	QA2
	0.68 ± 0.31
	0.91 ± 0.17
	2.17 ± 0.84
	1.91 ± 0.41

	QA/Alcohol
	2.76 ± 0.49
	3.41 ± 0.73
	3.18 ± 1.43
	0.05 ± 0.27

	QA/Solvent
	3.87 ± 0.75
	5.09 ± 0.64
	5.28 ± 0.68
	5.42 ± 1.15

	HP1
	7.6 ± 0.67
	7.65*
	6.26*
	6.29*

	HP2
	5.82 ± 0.53
	6.06 ± 0.94
	5.07 ± 1.07
	6.15*

	Cl
	8.34 ± 0.13
	7.78*
	7.62*
	7.51*

	PA
	5.23 ± 0.1.79
	7.46*
	6.99*
	5.49 ± 1.19


Supplemental Table 2. Mean log10 CFU/cm2 reductions of P. aeruginosa biofilms by product type for different dehydration times. *Cells contain no calculable standard deviations as reports under the limit of detection. CFU/cm2 reported as 0.50 CFU/cm2 per EPA MLB SOP MB-20 to determine log10 reduction



