Supplementary Table 1: UPLC-MS parameters for CBD, Δ9-THC, Δ8-THC and THC-COOH determination: Multiple Reaction Monitoring (MRM) mass spectra of target signals under positive mode electrospray ionization.

| Target Name | Target MRM | Internal Standard MRM | Retention Time (min) |
| --- | --- | --- | --- |
| CBD | m/z 315.2 → m/z 123.1 | m/z 318.2 → m/z 196.1 (d3-CBD) | 2.51 |
| Δ9-THC | m/z 315.2 → m/z 193.1 | m/z 318.2 → m/z 196.1 (d3-Δ9-THC) | 3.34 |
| Δ8-THC | m/z 315.2 → m/z 193.1 | m/z 318.2 → m/z 196.1 (d3-Δ8-THC) | 3.41 |
| THC-COOH | m/z 345.2 → m/z 299.2 | m/z 348.2 → m/z 302.2 (d3-THC-COOH) | 2.15 |