Supplementary methods

Method S1  GC/MS analysis, instrumental setting and the parameters

Method S2 LC/MS analysis, instrumental setting and the parameters

Method S3 Multivariate statistical analysis.

Method S4 Metabolic pathways analysis

Method S1  GC/MS analysis, instrumental setting and the parameters

The plasma samples were pretreated, extracted, and derivatised in a similar way to that reported previously[1]. Briefly, an aliquot of plasma (50 µL) was added to 200 µL methanol (containing internal standard [13C2]-myristic acid, 2.5µg, 12.5 µg/mL) for GC/MS analysis, and vigorously vortex-extracted for 5 min, and then placed in fridge at 4 ℃ for 1 hour. After centrifuging at 20000 g for 10 min in the SORVALL Biofuge Stratos centrifuge (Sollentum, Germany), a 200-μL aliquot of the supernatant were transferred into a GC vial and evaporated to dryness in a SpeedVac concentrator (Thermo Fisher Scientific, SavantTM SC250EXP, Holbrook, USA).

For GC/MS analysis, the dried plasma samples were then methoxymated, where 30 μL of 1% methoxyamine pyridine solution were added to the residue and incubated for 16 h at room temperature. Then, the analytes were trimethylsilylated using 30 μL of MSTFA containing 1% v/v trimethylchlorosilane (TMCS) as a catalyst. After trimethylsilylation for 1 h, 30 μL of n-heptane containing methyl myristate (30 μg/mL) were added into each GC vial as external standard to monitor the stability of GC/S instruments. The final mixture (90 μL in total) was vortexed for 1 min and was then ready for GC/MS analysis.

The derivatized samples were analyzed using gas chromatography coupled to a mass spectrometer (Shimadzu GCMS-QP2010 Ultra, Kyoto, Japan) equipped with an automatic sampler (Shimadzu AOC-20i, Kyoto, Japan). An 0.5-μL sample aliquot was injected into liner connected with the Rtx-5MS capillary column (0.25 mm × 30 m × 0.25 μm, Restek, PA, USA) in split mode(split ratio 8:1). The injector temperature was set at 250 °C. The septum purge was turned on with a flow rate of 6.0 mL/min. Helium was used as the carrier gas at a flow rate of 1.5 mL/min. The column temperature was initially maintained at 80 °C for 5 min, then raised to 300 °C at a rate of 20 °C/min, and held for 5 min. The mass spectrometer ion source temperature was 220 °C, and ionization was achieved with a 70 eV electron beam. Mass spectra were detected at -1570 v, obtained from m/z 50 to 700 in a full scan mode, with each run of 19 min and a solvent cutting acquisition at 4.5 min. The quality control (QC) samples were prepared for the pool of plasma, with the same preparation procedure as mentioned above. To minimize systematic variations, all samples were analysed at random order, with QC samples inserted.

Method S2 LC/MS analysis, instrumental setting and the parameters

The plasma samples were pretreated and extracted in the same way as in GC/MS analysis with a few modifications, which used the other internal standard of 5-13C-glutamine dissolved in methanol at 15µg/mL. After vortexing and centrifugation, the final supernatant was transferred into a LC vial.

After evaporation, the residue was re-dissolved with 100 μL distilled water and centrifuged at 18,000 g for 5 min. Finally, 80 μL supernatant was transferred to an LC vial, and 10 μL was injected for UPLC-QTOF/MS analysis. Similarly, the QC samples were inserted and analyzed to check the stability of the system.

The HPLC-QTOF/MS analysis was carried out as previously reported[2]. The chromatographic separation of the analyses was achieved with an Amide XBridge HPLC column (3.5 µm; 4.6 mm × 100 mm; Waters, USA). The column temperature was set to 40°C. The HPLC system consisted with of a LC-30A binary pump, a SIL-30AC auto-sampler and a CTO-30AC column oven (Shimadzu, Japan) was coupled with a hybrid quadrupole time-of-flight tandem mass spectrometer (AB SCIEX TripleTOF® 5600, Foster City, CA). The mobile phase was composed of 5 mM ammonium acetate in ultra-pure water (pH=9.0±0.1 with ammonia) plus 5% acetonitrile (solvent A) and acetonitrile (solvent B). The mobile phase was delivered at 0.4 mL/min using a solvent gradient as follows: 0-3 min, 85% B; 3-6 min, 85-30% B; 6-15 min, 30-2% B; 15-18 min, 2% B; 18-19 min, 2-85% B; and 19-26 min, 85% B. A Turbo V electrospray ionization (ESI) was used in MS detection with negative ion modes. In the ESI source, parameters were set as following: Gas1 pressure at 50 psi, Gas2 at 30 psi and Curtain Gas at 30 psi; Ion spray voltage was set at -4500 V; Turbo spray temperature at 500°C. Metabolic features were scanned in time of flight mass spectrometry over m/z 50–1000, and the product ion were scanned over m/z 50–900, with declustering potential at -100 V, and a collision energy at -35 V. The detected ions were all calibrated with the accurate masses of the reference standards containing Amino-dPEG®₄-acid(MW265.30, CAS: 663921-15-1), Amino-dPEG®6-acid(MW353.41, CAS: 905954-28-1) , Amino-dPEG®8-acid(MW441.51, CAS: 756526-04-2) , Amino-dPEG®12-acid(MW617.72, CAS: 756526-07-4) and sulfnpyrazone  (MW404.48, CAS: 57-96-5) , every eight samples.

Method S3 Multivariate statistical analysis.

The data matrix was constructed and evaluated using SIMCA P software (version, 14.1, Umetrics, Umeå, Sweden), as reported previously[3]. Missing data were excluded as defect values. For PCA and PLS-DA, all the data were mean-centered and UV scaled, while for OPLS-DA, the Pareoto scale was applied. For cross validation, the data were randomly divided into seven groups, with the data from six groups being used as the basic data for calculating the model and the data from the remaining group being used to check the prediction capacity to determine the number of principal components, where the number of principal components was determined once the Q2Y value decreased. Permutation tests were performed with 100 iterations to validate each model. Based on the data matrix, a PCA model is firstly conducted to provide an overview of the data set and to find the outlier(s). If serious outlier(s) was found, the sample(s) will be excluded from further modeling. The results of the PCA or PLS-DA or OPLS (DA) were displayed as score plots that visualized the clustering of the samples and indicated the similarity between samples. Closer clustering of the samples indicated higher compositional similarity, whereas further apart clustering represented diverse metabolomic compositions. PLS-DA was used to calculate models differentiating groups or classes. For PLS-DA modeling, samples from the different groups were classified such that all samples were divided into different groups (e.g., MIs, non-MIs, controls, etc) as the qualitative ‘dummy’ variables, Y. OPLS-DA maximizes the difference of groups, facilitates the output of S-plot and the identification of potential markers. The goodness of fit for the models was evaluated using three quantitative parameters: R2X was the explained variation in X, R2Y was the explained variation in Y and Q2Y was the predicted variation in Y. The range of these parameters was between 0 and 1, and the closer they were to 1, the better their ability to predict or explain. For permutation test, the higher level of R2Y and Q2Y, and lower value of the intercept of R2 (lower than 0.2) and Q2 (lower than 0.0) suggested good model and prediction ability.

Method S4 Metabolic pathways analysis

Discriminatory compounds between two groups were extracted from loading plots constructed following the PLS-DA analysis. Compounds were chosen based on the statistical analysis and their contributions to the variation in the models. Metabolic pathway enrichment and topology analyses were performed using Metaboanalyst 3(https://www.metaboanalyst.ca/). The KEGG ID of discriminatory compounds were uploaded and embedded in human pathway library for pathway analysis and hypergeometric tests, with the pathway analysis algorithms of Fisher's Exact Test, a pathway topology algorithms of Relative-betweeness Centrality, and KEGG pathway library version of Homo sapiens. A result report was then presented graphically as well as in a detailed table. Potential biomarkers were identified based on the identified metabolic pathways in databases such as KEGG (http://www.genome.jp/kegg/), HMDB (http://www.hmdb.ca/) and LipidMaps (http://www.lipidmaps.org/).

References

[1] J. A, J. Trygg, J. Gullberg, A.I. Johansson, P. Jonsson, H. Antti, S.L. Marklund, T. Moritz, Extraction and GC/MS analysis of the human blood plasma metabolome, Anal Chem, 2005, 77: 8086-8094.
[2] Y. Zhang, W. Lu, Z. Wang, R. Zhang, Y. Xie, S. Guo, L. Jiao, Y. Hong, Z. Di, G. Wang, J. Aa, Reduced Neuronal cAMP in the Nucleus Accumbens Damages Blood-Brain Barrier Integrity and Promotes Stress Vulnerability, Biological psychiatry, 2020, 87: 526-537

[3] J. Trygg, E. Holmes, T. Lundstedt. Chemometrics in metabonomics, Journal of Proteome Research, 2007, 6: 469–479.