Table 2:  Maximum number of annual TPRS operations of a surgeon assuming a mean duration of 1, 2,  3 or 4 h, respectively, in a  mean distance of 0.25, 0.5, 0.75 or 1 m to the patient before reaching the dose limits of the different German radiation protection categories

| Maximum annual dose | 1 mSv |  |  |  |
| --- | --- | --- | --- | --- |
| Distance / m | 0.25 | 0.5 | 0.75 | 1 |
| Duration / h |  |  |  |  |
| 1 | 481 | 1,925 | 4,332 | 7,702 |
| 2 | 241 | 963 | 2,166 | 3,851 |
| 3 | 160 | 642 | 1,444 | 2,567 |
| 4 | 120 | 481 | 1,083 | 1,925 |
| Maximum annual dose | 6 mSv |  |  |  |
| Distance / m | 0.25 | 0.5 | 0.75 | 1 |
| Duration / h |  |  |  |  |
| 1 | 2,888 | 11,553 | 25,993 | 46,211 |
| 2 | 1,444 | 5,776 | 12,997 | 23,105 |
| 3 | 963 | 3,851 | 8,664 | 15,404 |
| 4 | 722 | 2,888 | 6,498 | 11,553 |
| Maximum annual dose | 20 mSv |  |  |  |
| distance / m | 0.25 | 0.5 | 0.75 | 1 |
| Duration / h |  |  |  |  |
| 1 | 9,627 | 38,509 | 86,645 | 154,035 |
| 2 | 4,814 | 19,254 | 43,322 | 77,018 |
| 3 | 3,209 | 12,836 | 28,882 | 51,345 |
| 4 | 2,407 | 9,627 | 21,661 | 38,509 |