Additional file 2

Yellow fever virus PCR molecular detection

1. The freshly collected material was kept in a sterile plastic bottle at -70º C and stored in liquid nitrogen. 
2. Tissue samples were macerated and acid extraction was performed with TRIzol® reagent (Life Technologies, Carlsbad, CA, USA). 
3. Molecular detection of yellow fever virus was performed using AgPath-ID One-Step RT-PCR Reagents (Ambion, Austin, TX, USA) with specific primers/probes. 
4. [bookmark: _GoBack]The qRT-PCR reactions consisted of a reverse transcription step at 45°C for 10 min for enzymatic activation, at 95°C for ten minutes, and 40 cycles at 95°C for 15 seconds and 60°C for 45 seconds for hybridization. and extension using ABI7500 Equipment (Thermo Fisher Scientific, Waltham, MA, USA).

