## Supplementary Information

Development and validation of an eco-friendly and high-throughput HPLC method to quantify pyrethroid and pyriproxyfen in long-lasting insecticide-treated nets

Kyle J. Walker1*, Christopher T. Williams1*, Folasade O. Oladepo1, John Lucas2, David Malone3, Mark J.I.  Paine1, and Hanafy M. Ismail1§

1Vector Biology Department, Liverpool School of Tropical Medicine, Pembroke Pl, Liverpool L3 5QA, U.K.

2John Richard Lucas, Technical Consultant, Cowleigh Park Farm, Cowleigh Road, Malvern

WR13 5HJ, U.K.

3Innovative Vector Control Consortium, Liverpool School of Tropical Medicine, Pembroke Place, Liverpool L3 5QA, U.K.

# *Shared first authorship

§Contact: Hanafy.ismail@lstmed.ac.uk

Figure S1. HPLC chromatograms for insecticides extracted from Olyset® Duo and analytical standards insecticide. From top to bottom: blank sample solution, permethrin analytical standard, pyriproxyfen analytical standard, internal standard ‘dicyclohexyl phthalate (DCP)’, and sample solution following extraction of Olyset® Duo. The calculated percentage retention time (%RT= RT sample/RT std x 100) found 100.11 (pyriproxyfen), 100.1 (DCP), 100.23 (trans-permethrin), 100.22 (cis-permethrin). Peaks purity in sample solution was 997 for pyriproxyfen, 1000 for trans-permethrin and 1000 for cis-permethrin.

Figure S2. HPLC chromatograms for insecticides extracted from Royal Guard® Net and analytical standards insecticide. From top to bottom: blank sample solution, alpha-cypermethrin analytical standard, pyriproxyfen analytical standard, internal standard ‘dicyclohexyl phthalate (DCP)’, sample solution following extraction of Royal Guard® LLIN. The calculated percentage retention time (%RT= RT sample/RT std x 100) found 99.82% (Pyriproxyfen), 99.77% (DCP), and 100.07% (alpha-cypermethrin). Peaks purity in sample solution was 997 for pyriproxyfen and 1000 for alpha-cypermethrin.

Figure S3. HPLC chromatograms for permethrin heat stability test.  (A) heated vs unheated 0.2 mg/mL permethrin standards. (B) heated vs unheated 0.4 mg/mL permethrin standards.

Figure S4. HPLC chromatograms for alpha-cypermethrin heat stability test.  (A) heated vs unheated 0.2 mg/mL alpha-cypermethrin standards. (B) heated vs unheated 0.4 mg/mL alpha-cypermethrin standards.

Figure S5. HPLC chromatograms for pyriproxyfen heat stability test.  (A) heated vs unheated 0.2 mg/mL pyriproxyfen standards. (B) heated vs unheated 0.4 mg/mL pyriproxyfen standards.

Table S1. Analysis of permethrin content in unused Olyset® nets

| Sample name | n | [Permethrin] g/kg | SD | %RSD |
| --- | --- | --- | --- | --- |
| Olyset 1 | 3 | 19.4 | 1.0 | 5.2 |
| Olyset 2 | 3 | 19.4 | 0.2 | 1.2 |
| Olyset 3 | 3 | 18.3 | 0.3 | 1.8 |
| Olyset 4 | 3 | 18.5 | 0.1 | 0.5 |
| Olyset 5 | 3 | 18.6 | 0.8 | 4.2 |
| Olyset 6 | 3 | 18.3 | 0.1 | 0.7 |
| Olyset 7 | 3 | 19.5 | 1.8 | 9.1 |
| Olyset 8 | 3 | 18.1 | 0.1 | 0.5 |
| Olyset 9 | 3 | 18.6 | 0.2 | 1.0 |
| Olyset 10 | 3 | 18.7 | 0.1 | 0.4 |
| Olyset 11 | 3 | 18.7 | 0.3 | 1.5 |
| Olyset 12 | 3 | 18.4 | 0.2 | 1.3 |
| Olyset 13 | 3 | 18.2 | 0.0 | 0.2 |
| Olyset 14 | 3 | 18.1 | 0.1 | 0.7 |
| Olyset 15 | 3 | 18.1 | 0.1 | 0.7 |
| Olyset 16 | 3 | 18.2 | 0.1 | 0.7 |
| Olyset 17 | 3 | 18.6 | 0.1 | 0.7 |
| Olyset 18 | 3 | 18.3 | 0.3 | 1.5 |
| Olyset 19 | 3 | 18.6 | 0.3 | 1.5 |
| Olyset 20 | 3 | 18.6 | 0.2 | 1.2 |
| Olyset 21 | 3 | 21.1 | 0.4 | 1.7 |
| Olyset 22 | 3 | 20.5 | 0.2 | 1.0 |
| Olyset 23 | 3 | 20.2 | 0.2 | 1.1 |
| Olyset 24 | 3 | 19.9 | 0.1 | 0.6 |

n; number of replicates, S.D.; standard deviation (n=3), %RSD: relative standard deviation (S.D./Mean*100)

Table S2. Analysis of permethrin and pyriproxyfen content in unused Olyset® Duo LLIN

| Sample name | n | Pyriproxyfen g/kg ± SD | %RSD | Permethrin g/kg ± SD | %RSD |
| --- | --- | --- | --- | --- | --- |
| Olyset Duo 1 | 3 | 11 ± 0.3 | 2.4 | 19 ± 0.4 | 2.267 |
| Olyset Duo 2 | 3 | 9.4 ± 0.2 | 2.4 | 16.5 ± 0.4 | 2.164 |
| Olyset Duo 3 | 3 | 9.6 ± 0.1 | 0.7 | 16.8 ± 0.1 | 0.676 |
| Olyset Duo 4 | 3 | 10.6 ± 0 | 0.1 | 18.3 ± 0.0 | 0.234 |
| Olyset Duo 5 | 3 | 10.4 ± 0 | 0.2 | 18 ± 0.0 | 0.083 |
| Olyset Duo 6 | 3 | 10.9 ± 0.4 | 3.3 | 18.9 ± 0.6 | 3.300 |
| Olyset Duo 7 | 3 | 11 ± 0.3 | 2.3 | 19 ± 0.4 | 2.066 |
| Olyset Duo 8 | 3 | 10.8 ± 0.2 | 2.2 | 18.8 ± 0.4 | 1.967 |
| Olyset Duo 9 | 3 | 9.8 ± 0.4 | 4.3 | 18.3 ± 0.8 | 4.353 |
| Olyset Duo 10 | 3 | 10.2 ± 0.2 | 1.6 | 18.8 ± 0.3 | 1.567 |
| Olyset Duo 11 | 3 | 10.2 ± 0.2 | 2.0 | 18.9 ± 0.4 | 2.032 |
| Olyset Duo 12 | 3 | 10 ± 0.1 | 0.5 | 18.5 ± 0.1 | 0.561 |
| Olyset Duo 13 | 3 | 9.7 ± 0.1 | 1.3 | 18.2 ± 0.3 | 1.395 |
| Olyset Duo 14 | 3 | 9.4 ± 0.6 | 6.1 | 17.6 ± 0.9 | 5.328 |
| Olyset Duo 15 | 3 | 9.9 ± 0.2 | 1.6 | 18.5 ± 0.3 | 1.660 |
| Olyset Duo 16 | 3 | 10 ± 0.0 | 0.5 | 18.6 ± 0.0 | 0.216 |
| Olyset Duo 17 | 3 | 10.7 ± 0.2 | 1.5 | 20.6 ± 0.3 | 1.256 |
| Olyset Duo 18 | 3 | 10.4 ± 0.1 | 0.8 | 19.9 ± 0.2 | 0.785 |
| Olyset Duo 19 | 3 | 10.8 ± 0.1 | 1.2 | 20.5 ± 0.3 | 1.289 |
| Olyset Duo 20 | 3 | 10.6 ± 0 | 0.5 | 20.3 ± 0.1 | 0.358 |
| Olyset Duo 21 | 3 | 11.1 ± 0.2 | 1.5 | 21.2 ± 0.3 | 1.337 |
| Olyset Duo 22 | 3 | 11 ± 0.1 | 0.5 | 20.9 ± 0.1 | 0.405 |
| Olyset Duo 23 | 3 | 10.4 ± 0.3 | 2.7 | 20.1 ± 0.4 | 2.074 |
| Olyset Duo 24 | 3 | 11.1 ± 0.2 | 1.4 | 21.1 ± 0.3 | 1.231 |

n; the number of replicates, S.D.; standard deviation (n=3), %RSD: relative standard deviation (STDEV/Mean*100)

Figure S6. Total insecticide content in Royal Guard® net subjected to five cycles of extraction.

A                                                                                    B

Figure S7. Quality control assessment of single Royal Guard® LLIN determined by the optimized method. (A) The average quantity (x̄) of pyriproxyfen and alpha-cypermethrin ± standard deviation (S.D.) recovered from the Royal Guard® net was analyzed ten times by the optimized method. (B) Levy-Jenning's charts for the one net were analyzed ten times by the optimized method.  Pyriproxyfen (top chart) and alpha-cypermethrin (bottom chart) scored an average (x̄) of 5.75±0.16 and 5.43 ± 0.34 g/Kg, respectively. Reference concentrations for both active ingredients declared by the manufacture are denoted as red dotted lines on the charts.