Supplemental Appendix

Differential diagnosis of common etiologies of left ventricular hypertrophy using a hybrid CNN-LSTM model

Hwang I-C, Choi D, et al. Deep learning for LVH differential diagnosis

- Detailed Methods			Page 2

- Supplementary Figure		Page 4

- Supplementary Tables		Page 5

- References				Page 9

I. Detailed Methods

Echocardiography

Echocardiography equipment used were GE Vivid E9 (transducer M5Sc), GE Vivid E95 (transducer M5Sc), Philips Epic7 (transducer S5-1 and X5-1), Philips Epic7D (transducer S5-1 and X5-1), and Philips Epic CVX (transducer S5-1 and X5-1) systems.

Development of the CNN-LSTM network

The first step of the deep learning model development for the differential diagnosis of left ventricular hypertrophy (LVH) was the development of a convolutional neural network (CNN)-long short-term memory (LSTM) network, which comprised three components; 12 identical CNNs, a bi-directional convolutional LSTM (bi-directional ConvLSTM) layer, and a multi-label classification block.(1,2) For the 12 identical CNNs, the same CNN was applied to each of the 12 images extracted as a result of image processing. The CNN comprised 5 convolutional blocks, and each convolutional block comprised 2 convolutional layers and 2×2 max pooling. The convolutional layer was composed of a 3×3 convolutional operation, Rectified Linear Unit (ReLU), and batch normalization, in this order. As the 5 convolutional blocks were passed, the number of feature maps increased sequentially to 64, 96, 128, 192, and 256. Subsequently, a bi-directional ConvLSTM layer reflecting the temporal and spatial connectivity between images was applied. Finally, a multi-label classification block consisting of global average pooling, a fully connected layer, and a sigmoid activation function was applied to predict hypertensive heart disease (HHD), hypertrophic cardiomyopathy (HCM), and light-chain cardiac amyloidosis (ALCA) independently. This step was applied to each of the 5 standard views. Thus, five independent CNN-LSTM networks were trained.

Aggregate neural network

The second step of the deep learning model development for the differential diagnosis of LVH was a neural network which aggregated the results obtained in the first step. The outputs obtained from the global average pooling of the multi-label classification block in each of 5 independent CNN-LSTM networks were concatenated to compose the input. Thus, the input size was 256×5=1,280 features. The neural network comprised two fully connected layers and a sigmoid activation function for the individual classification of 3 etiologies of LVH (HHD, HCM, and ALCA). The number of features in the fully connected layer was 1,280 in both layers, and the 3 diseases were independently predicted as the final output.

Binary cross entropy was used as an objective function to train the first and second steps, and the He-initialization was used to initialize the weights.(3) The same binary cross entropy was applied to predict HHD, HCM, and ALCA, and the 3 binary cross entropy were simultaneously minimized using the RMSprop optimizer.(4) For both steps, the learning rate was set to 5×10-5, and decayed every 400 steps at a rate of 0.94. In step 1, the batch size was 2 and the total number of epochs was 50. In step 2, the batch size and number of epochs were 20 and 10, respectively.

Class activation mapping

The region to which the deep learning algorithm reacted sensitively in images was detected using class activation mapping.(5) Class activation mapping was calculated for each LVH etiology (HHD, HCM, and ALCA) by multiplying the layer that passed the first component in step 1 by the weight of the fully connected layer in the multi-label classification block. The regions that reacted sensitively on each view were investigated by class activation mapping in 5 standard views.

II. Supplementary Figure

Supplementary Figure S1. ROC curve analysis of the deep learning algorithm for the 5 standard echocardiographic views

The diagnostic accuracy of the deep learning algorithm, as independently developed from 5 standard echocardiographic views, was calculated using the AUC for the validation (A), and test sets (B).

Abbreviations: AUC, area under the ROC curve; ALCA, light-chain cardiac amyloidosis; CI, confidence interval; HCM, hypertrophic cardiomyopathy; HHD, hypertensive heart disease; LVH, left ventricular hypertrophy; ROC, receiver operating characteristics curve.

III. Supplementary Tables

Supplementary Table S1. Comparison of the diagnostic accuracy between the CNN-LSTM model and the CNN without LSTM network

| Validation set | AUC for HHD |  |  | AUC for HCM |  |  |  | AUC for ALCA |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | CNN without LSTM | CNN-LSTM |  | CNN without LSTM |  | CNN-LSTM |  | CNN without LSTM | CNN-LSTM |
| PLAX | 0.950 | 0.954 |  | 0.956 |  | 0.974 |  | 0.957 | 0.976 |
| PSAX | 0.853 | 0.894 |  | 0.931 |  | 0.970 |  | 0.879 | 0.871 |
| A4C | 0.880 | 0.931 |  | 0.948 |  | 0.954 |  | 0.899 | 0.953 |
| A2C | 0.831 | 0.905 |  | 0.894 |  | 0.925 |  | 0.829 | 0.916 |
| A3C | 0.878 | 0.908 |  | 0.942 |  | 0.983 |  | 0.928 | 0.924 |
| Test set | AUC for HHD |  |  |  | AUC for HCM |  |  | AUC for ALCA |  |
|  | CNN without LSTM | CNN-LSTM |  | CNN without LSTM |  | CNN-LSTM |  | CNN without LSTM | CNN-LSTM |
| PLAX | 0.931 | 0.949 |  | 0.945 |  | 0.968 |  | 0.960 | 0.951 |
| PSAX | 0.861 | 0.892 |  | 0.934 |  | 0.959 |  | 0.854 | 0.929 |
| A4C | 0.880 | 0.908 |  | 0.942 |  | 0.973 |  | 0.961 | 0.989 |
| A2C | 0.787 | 0.917 |  | 0.906 |  | 0.974 |  | 0.889 | 0.978 |
| A3C | 0.859 | 0.907 |  | 0.921 |  | 0.937 |  | 0.959 | 0.986 |

The diagnostic performance of the CNN-LSTM algorithm was compared with that of the CNN algorithm without LSTM network.

Abbreviations: A2C, apical 2-chamber view; A3C, apical 3-chamber view; A4C, apical 4-chamber view; ALCA, light-chain cardiac amyloidosis; CNN-LSTM, convolutional neural network-long short-term memory; HCM, hypertrophic cardiomyopathy; HHD, hypertensive heart disease; LVH, left ventricular hypertrophy; PLAX, parasternal long-axis view; PSAX, parasternal short-axis view.

Supplementary Table S2. Diagnostic accuracy of the CNN-LSTM model for LVH etiology

| Echocardiographic view | HHD |  |  |  | HCM |  |  |  | ALCA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PLAX | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 83.3% | 15/18 | 58.6% - 96.4% |  | 93.8% | 30/32 | 79.2% - 99.2% |  | 85.7% | 12/14 | 57.2% - 98.2% |
| Specificity | 88.3% | 121/137 | 81.7% - 93.2% |  | 85.4% | 105/123 | 77.9% - 91.1% |  | 87.9% | 124/141 | 81.4% - 92.8% |
| PPV | 48.4% | 15/31 | 30.2% - 66.9% |  | 62.5% | 30/48 | 47.4% - 76.0% |  | 41.4% | 12/29 | 23.5% - 61.1% |
| NPV | 97.6% | 121/124 | 93.1% - 99.5% |  | 98.1% | 105/107 | 93.4% - 99.8% |  | 98.4% | 124/126 | 94.4% - 99.8% |
| PSAX | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 77.8% | 14/18 | 52.4% - 93.6% |  | 93.8% | 30/32 | 79.2% - 99.2% |  | 64.3% | 9/14 | 35.1% - 87.2% |
| Specificity | 82.5% | 113/137 | 75.1% - 88.4% |  | 86.2% | 106/123 | 78.8% - 91.7% |  | 90.8% | 128/141 | 84.7% - 95.0% |
| PPV | 36.8% | 14/38 | 21.8% - 54.0% |  | 63.8% | 30/47 | 48.5% - 77.3% |  | 40.9% | 9/22 | 20.7% - 63.6% |
| NPV | 96.6% | 113/117 | 91.5% - 99.1% |  | 98.1% | 106/108 | 93.5% - 99.8% |  | 96.2% | 128/133 | 91.4% - 98.8% |
| A4C | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 77.8% | 14/18 | 52.4% - 93.6% |  | 96.9% | 31/32 | 83.8% - 99.9% |  | 100.0% | 14/14 | 76.8% - 100.0% |
| Specificity | 89.8% | 123/137 | 83.4% - 94.3% |  | 77.2% | 95/123 | 68.8% - 84.3% |  | 87.9% | 124/141 | 81.4% - 92.8% |
| PPV | 50.0% | 14/28 | 30.6% - 69.4% |  | 52.5% | 31/59 | 39.1% - 65.7% |  | 45.2% | 14/31 | 27.3% - 64.0% |
| NPV | 96.9% | 123/127 | 92.1% - 99.1% |  | 99.0% | 95/96 | 94.3% - 100.0% |  | 100.0% | 124/124 | 97.1% - 100.0% |
| A2C | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 77.8% | 14/18 | 52.4% - 93.6% |  | 96.9% | 31/32 | 83.8% - 99.9% |  | 100.0% | 14/14 | 76.8% - 100.0% |
| Specificity | 86.1% | 118/137 | 79.2% - 91.4% |  | 87.8% | 108/123 | 80.7% - 93.0% |  | 73.8% | 104/141 | 65.7% - 80.8% |
| PPV | 42.4% | 14/33 | 25.5% - 60.8% |  | 67.4% | 31/46 | 52.0% - 80.5% |  | 27.5% | 14/51 | 15.9% - 41.7% |
| NPV | 96.7% | 118/122 | 91.8% - 99.1% |  | 99.1% | 108/109 | 95.0% - 100.0% |  | 100.0% | 104/104 | 96.5% - 100.0% |
| A3C | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 66.7% | 12/18 | 41.0% - 86.7% |  | 90.6% | 29/32 | 75.0% - 98.0% |  | 85.7% | 12/14 | 57.2% - 98.2% |
| Specificity | 89.1% | 122/137 | 82.6% - 93.7% |  | 77.2% | 95/123 | 68.8% - 84.3% |  | 95.7% | 135/141 | 91.0% - 98.4% |
| PPV | 44.4% | 12/27 | 25.5% - 64.7% |  | 50.9% | 29/57 | 37.3% - 64.4% |  | 66.7% | 12/18 | 41.0% - 86.7% |
| NPV | 95.3% | 122/128 | 90.1% - 98.3% |  | 96.9% | 95/98 | 91.3% - 99.4% |  | 98.5% | 135/137 | 94.8% - 99.8% |

The diagnostic accuracy for the differential diagnosis of LVH (HHD, HCM, and ALCA) was assessed using the sensitivity, specificity, positive predictive value (PPV), and negative predictive value (NPV), for each standard echocardiographic view.

Abbreviations: A2C, apical 2-chamber view; A3C, apical 3-chamber view; A4C, apical 4-chamber view; ALCA, light-chain cardiac amyloidosis; HCM, hypertrophic cardiomyopathy; HHD, hypertensive heart disease; PLAX, parasternal long-axis view; PSAX, parasternal short-axis view.

Supplementary Table S3. Diagnostic performance of the aggregate network for LVH etiology

|  | HHD |  |  |  | HCM |  |  |  | ALCA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Value | Count | 95% CI |  | Value | Count | 95% CI |  | Value | Count | 95% CI |
| Sensitivity | 72.2% | 13/18 | 46.5% - 90.3% |  | 90.6% | 29/32 | 75.0% - 98.0% |  | 92.9% | 13/14 | 66.1% - 99.8% |
| Specificity | 94.2% | 129/137 | 88.8% - 97.4% |  | 93.5% | 115/123 | 87.6% - 97.2% |  | 95.7% | 135/141 | 91.0% - 98.4% |
| PPV | 61.9% | 13/21 | 38.4% - 81.9% |  | 78.4% | 29/37 | 61.8% - 90.2% |  | 68.4% | 13/19 | 43.4% - 87.4% |
| NPV | 96.3% | 129/134 | 91.5% - 98.8% |  | 97.5% | 115/118 | 92.7% - 99.5% |  | 99.3% | 135/136 | 96.0% - 100.0% |

The diagnostic performance of the aggregate network of the CNN-LSTM algorithm was assessed using the sensitivity, specificity, positive predictive value (PPV), and negative predictive value (NPV), for each etiology of LVH.

Abbreviations: A2C, apical 2-chamber view; A3C, apical 3-chamber view; A4C, apical 4-chamber view; ALCA, light-chain cardiac amyloidosis; CNN-LSTM, convolutional neural network-long short-term memory; HCM, hypertrophic cardiomyopathy; HHD, hypertensive heart disease; LVH, left ventricular hypertrophy; PLAX, parasternal long-axis view; PSAX, parasternal short-axis view.

References

1.	Krizhevsky A, Sutskever I, Hinton GEJAinips. Imagenet classification with deep convolutional neural networks. 2012;25:1097-1105.

2.	Xingjian S, Chen Z, Wang H, Yeung D-Y, Wong W-K, Woo W-c. Convolutional LSTM network: A machine learning approach for precipitation nowcasting. Advances in neural information processing systems, 2015:802-810.

3.	He K, Zhang X, Ren S, Sun J. Delving deep into rectifiers: Surpassing human-level performance on imagenet classification. Proceedings of the IEEE international conference on computer vision, 2015:1026-1034.

4.	Hinton G, Srivastava N, Swersky KJCo. Neural networks for machine learning lecture 6a overview of mini-batch gradient descent. 2012;14:2.

5.	Zhou B, Khosla A, Lapedriza A, Oliva A, Torralba A. Learning deep features for discriminative localization. Proceedings of the IEEE conference on computer vision and pattern recognition, 2016:2921-2929.