Supplementary information

Quantitative global proteomic comparison of protein levels

Cell and tissue preparation.

Cells were lysed in 8M urea, 50 mM Tris-HCl pH 8.5 (25 μL). All samples were sonicated briefly by probe sonicator, and centrifuged at 12000 rpm for 15 min to remove debris.  Protein concentrations were determined using a Bradford protein assay (BioRad) and colorimeter—EPOCH|2 (BioTek Instruments, Inc., Winooski, VT 05404-0998, U.S.A.) employing vendor provided protocols. Protein samples in equal amounts were reduced with 5 mM tris(2-carboxyethyl)phosphine hydrochloride (TCEP) and alkylated with 10 mM chloroacetaminde (CAM).  Samples were diluted with 100 mM Tris-HCl to a final urea concentration of 2M and digested overnight with Trypsin/Lys-C Mix Mass Spectrometry (1:100 protease:substrate ratio, Promega Corporation, Madison, WI 53711-5399, U.S.A.).1

Peptide purification and labeling

Peptides were desalted on 50 mg Sep-Pak® Vac employing a vacuum manifold (Waters Corporation Milford, MA). After elution from the column in 70% ACN, 0.1% FA, peptides were dried by speed vacuum and resuspended in 24 µL of 50mM triethylammonium bicarbonate (TEAB). Peptide concentration was measured using Pierce Quantitative Colorimetric Peptide Assay Kit (Thermo Scientific) to ensure that an equal amount of each was labeled.

Samples were then Tandem Mass Tag (TMT) labeled with 0.2 mg of reagent for two hours at room temperature (11-plex kit, manufactures instructions TMT10plex™ Isobaric Label Reagent Set, Supplemental Table 1). Labelling reactions were quenched with hydroxylamine at room temperature 15 minutes. Each set of labelled peptides were then mixed and dried by speed vacuum.

High pH basic fractionation

Each peptide mixture was resuspended in 0.1% TFA (trifluoroacetic acid) and fractionated into 8 fractions on PierceTM High pH reversed-phase peptide fractionation spin columns using vendor methodology (Cat 84868). Each fraction was dried by speed vacuum and resuspended in 0.1% formic acid (FA).

Nano-LC-MS/MS Analysis

Nano-LC-MS/MS analyses were performed on an EASY-nLC HPLC system (Thermo Scientific) coupled to an Orbitrap Fusion Lumos mass spectrometer (Thermo Fisher Scientific). One third of each fraction was loaded onto a reversed phase PepMapTM RSLC C18 column (2 μm, 100 Å, 75 μm x 25 cm) with Easy-Spray tip at 450 nL/min. Peptides were eluted from 8-20% B over 165 minutes, 30-50% B over 3 mins, 50% B for 12 minutes (Mobile phases A: 0.1% FA, water; B: 0.1% FA, 80% Acetonitrile).  Mass spectrometer settings include capillary temperature of 275 oC and ion spray voltage was kept at 2.6 kV. The mass spectrometer method was operated in positive ion with a 4 sec cycle time data-dependent acquisition method with advanced peak determination and Easy-IC (internal calibrant). Precursor scans (m/z 375-1500) were done with an Orbitrap resolution of 120000, RF lens% 30, maximum inject time 50 ms, 75% normalized AGC target, including charges of 2 to 7 for fragmentation with an intensity threshold of 5e3, and 60 s dynamic exclusion.  CID MS2 scans were performed in the ion trap at turbo speed with a 0.7 m/z isolation window, 35% normalized CID collision energy, and an isolation window of 400-1200 m/z.  5 ions were then selected for synchronous-precursor-selection (SPS)-MS3 fragmentation with a 2 m/z window, 65% normalized HCD, Orbitrap resolution of 50000, 200% normalized AGC target and auto mode maximum IT. The data were recorded using Thermo Scientific Xcalibur software (Copyright 2017 Thermo Fisher Scientific Inc.).

Proteomic Data Analysis

Resulting RAW files were analyzed in Proteome Discover 2.2 (ThermoScientific) with a human uniprot FASTA database (downloaded 02/15/2017) including common contaminants. SEQUEST HT searches were conducted with a maximum number of 2 missed cleavages; precursor mass tolerance of 10 ppm; and a fragment mass tolerance of 0.8 Da. Static modifications used for the search were, 1) carbamidomethylation on cysteine (C) residues; 2) TMT 6plex label on lysine (K) residues and the N-termini of peptides. Dynamic modifications used for the search were oxidation of methionines and acetylation of N-termini. Percolator False Discovery Rate was set to a strict setting of 0.01 and a relaxed setting of 0.05. Values from both unique and razor peptides were used for quantification. In the consensus workflow, peptides were normalized in by total peptide amount and scaled on control channel 126 which was a mix of proteins from untreated cells. Resulting grouped abundance values for each sample type, abundance ratio values; and respective p-values (ANOVA) from Proteome Discover were exported to Microsoft Excel. The mass spectrometry proteomics data have been deposited to the ProteomeXchange Consortium via the PRIDE 2 partner repository with the dataset identifier PXD020515 and 10.6019/PXD020515. The TMT labels fort he samples are provided in Supplemental Table 1.

Interstitial tumor-microenvironment-on-chip (iT-MOC) Assay

Cell growth was determined by quantifying the fluorescent cell area. Fluorescence of transfected Panc10.05 (TdTomato) and CAF19 (GFP) was measured with an inverted microscope (Olympus IX71, Japan) with TRITC and FITC filter on days 0, 2, 5, 8, and 9. Cell growth was analyzed by normalizing the corresponding fluorescent pixel counting by that of day 0.

Cell survival was determined by evaluating cell viability at the end of the incubations. Cell survival was defined as the cell growth at day 9 of drug treatment groups normalized by the cell growth of the control groups (absence of drug) as following:

References

1	Levasseur, E. M. et al. Hypusine biosynthesis in beta cells links polyamine metabolism to facultative cellular proliferation to maintain glucose homeostasis. Sci Signal 12, doi:10.1126/scisignal.aax0715 (2019).

2	Wang, X. et al. APE1/Ref-1 regulates 5-FU resistance in colon cancer cells through its redox and endonuclease activity. Int J Clin Exp Med 12, 3870-3878 (2019).