Supplementary Fig. 1

Test of linearity in MFIA when titrating Salmonella serogroup B positive serum samples. Four serogroup B positive sera (A-D) with high calculated S/P% values were serially diluted in negative serum. The serum dilutions as well as the negative serum were analysed on two separate days. Figure A-D show mean median fluorescent intensities (MFI) ± STD for serogroup B responses, as well as a linear trend line and R2 for the linearity. The higher the MFI, the more specific antibodies are present in the sample. % serum sample represents the percentage of positive sample in negative serum.