Supplementary Fig. 1 
Test of linearity in MFIA when titrating Salmonella serogroup B positive serum samples. Four serogroup B positive sera (A-D) with high calculated S/P% values were serially diluted in negative serum. The serum dilutions as well as the negative serum were analysed on two separate days. Figure A-D show mean median fluorescent intensities (MFI) ± STD for serogroup B responses, as well as a linear trend line and R2 for the linearity. The higher the MFI, the more specific antibodies are present in the sample. % serum sample represents the percentage of positive sample in negative serum.
[bookmark: _GoBack][image: ]
1

image1.png
20000
15000
£ 10000

5000

20000
15000

£ 10000
5000

Serum sample A

R?=0,9474

25 50 75

9% serum sample

Serum sample C

9

0,9636

5 so 75
% serum sample

100

100

20000
15000

£ 10000
5000

20000
15000
£ 10000
5000

Serum sample B
R*=0,942

s 50 75 1w
% serum sample

Serum sample D
R?=0,9388

3 o 75 100
9 serum sample




