Supplementary Information File of

How Can Environmental Impacts of Water Demand Management Policies on a Wastewater System be Assessed?

Haniye Safarpour1, Massoud Tabesh*2, Seyyed Ahmadreza Shahangian3

1 M.Sc. School of Civil Engineering, College of Engineering, University of Tehran, Tehran, Iran. E-mail address: h.safarpour@ut.ac.ir

2* Professor, School of Civil Engineering, College of Engineering, University of Tehran, Tehran, Iran (Corresponding Author), E-mail address: mtabesh@ut.ac.ir

3 Ph.D. Candidate, School of Civil Engineering, College of Engineering, University of Tehran, Tehran, Iran. E-mail address: a.shahangian@ut.ac.ir

Equations:

Estimation of H2S emissions from WWCN (tee et al., 2011):

|  | (1) |
| --- | --- |

Slim: limit concentration of sulfide (mg/l), BOD: biochemical oxygen demand concentration (mg/l), T: wastewater’s temperature (0C), S: slope of the pipe (m/m), U: velocity (m/s), and P/b: ratio of wetted perimeter of the pipe wall (P) (m) to the surface width of the stream (b) (m).

Estimation of CH4 emissions from WWCN (Chaosakul et al., 2014):

|  | (2) |
| --- | --- |

CCH4: the concentration of CH4 emission (mg/l), A/V: the surface area to volume ratio of sewer (m-1), HRT: hydraulic retention time (hr), and T: wastewater’s temperature (0C).

Estimation CH4 and CO2 Emissions from Wastewater treatment unit (EPA, 2010):

|  | (3) |
| --- | --- |
|  | (4) |

CO2: CO2 emission rate (Mg CO2/hr), CH4: CH4 emission rate (Mg CH4/hr), Qww: Wastewater influent flow rate (m3/hr), OD: Oxygen demand of influent wastewater to the biological treatment unit determined as either BOD5 or COD (mg/L = gr/m3), EffOD: Oxygen demand removal efficiency of the biological treatment unit, CFCO2: Conversion factor for maximum CO2 generation per unit of oxygen demand = 44/32 = 1.375 gr CO2/ g oxygen demand, CFCH4: Conversion factor for maximum CH4 generation per unit of oxygen demand = 16/32 = 0.5 gr CH4/ g oxygen demand, MCFWW: methane correction factor for wastewater treatment unit, BGCH4: Fraction of carbon as CH4 in generated biogas (default is 0.65), and  λ: Biomass yield.

Estimation CH4 and CO2 Emissions from sludge treatment unit (EPA, 2010):

|  | (5) |
| --- | --- |
|  | (6) |

MCFs: methane correction factor for sludge digester, indicating the fraction of the influent oxygen demand that is converted anaerobically in the digester (MCFs is zero in the aerobic sludge digestion), and other parameters are defined as previous.

Type of wastewater treatment used in this work:

The case study’s Wastewater Treatment Plant (WWTP) is 5.6 Km far from Baharestan city in the north-east of it. This WWTP’s size is 28.3 ha and designed for the end year of 2036. The used treatment method is modified Ludzack-Ettinger (MLE) and contains screw pumps, mechanical screening, grit chamber, primary sedimentation tanks, anoxic tanks, aeration tanks, secondary sedimentation tanks, drum filters, UV lamps, excess sludge thickener, aerobic digesters, and dewatering as process units. The qualitative parameters such as BOD, COD, and TSS of the influent wastewater are average 342.5, 715, 268 mg per liter in 2016 in the case study, respectively.

Inventory of Life Cycle Assessment

Table 1 - Replacing cast iron manhole covers (for one replacement)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Cast iron | Cast iron {GLO}¦ market for ¦ APOS, S | Kg | 142.5 |
| Construction of a cover | Metal working, average for metal product manufacturing {RoW}¦ processing ¦ APOS, S | Kg | 142.5 |
| Installation of a cover* | Machine operation, diesel, >= 74.57 kW, steady-state {GLO}¦ market for ¦ APOS, S | hr | 0.5 |
| Transportation of new cover to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 5.6 |
| Transportation of the brokent cover to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4.7 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Installation of covers by use of the truck crane with power of 99.2 KW |  |  |  |

Table 2 - Replacing reinforced concrete manhole covers (for one replacement)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Concrete | Concrete block {GLO}¦ market for ¦ APOS, S | m3 | 0.02 |
| Reinforcing steel | Reinforcing steel {GLO}¦ market for ¦ APOS, S | Kg | 47 |
| Reinforcement* | Machine operation, diesel, >= 18.64 kW and < 74.57 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 10 |
| Installation of a cover** | Machine operation, diesel, >= 74.57 kW, steady-state {GLO}¦ market for ¦ APOS, S | hr | 0.5 |
| Tansportation of new cover to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4.06 |
| Transportation of the brokent cover to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 3.42 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Welding mechine with the power of 50 KW |  |  |  |
| **Installation of covers by use of the truck crane with power of 99.2 KW |  |  |  |

Table 3 - Blockages of branches' pipeline siphons (for one blockage)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Unclogging a blockage* | Machine operation, diesel, < 18.64 kW, steady-state {GLO}¦ market for ¦ APOS, S | hr | 1 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Unclogging the siphon by use of the machine with power of 1125 W |  |  |  |

Table 4- Blockages of main sewer pipes (for one blockage)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Water* | Water, well, IR | l | 1800 |
| Unclogging a pipe** | Machine operation, diesel, >= 74.57, underground mining {GLO}¦ market for ¦ APOS, S | hr | 1 |
| Transportation of deposits to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 3.32 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Water needed for Water jet machine (30 lit/min) |  |  |  |
| **Unclogging the pipes by the use of Truckjet with the power of 198 KW |  |  |  |

Table 5- Blockages of manholes (for one blockage)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Unclogging a Manhole* | Machine operation, diesel, >= 74.57 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 40 |
| Transportation of deposits to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 6.64 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Unclogging the manhole by use of Jantex machine with the power of 99.18 KW |  |  |  |

Table 6- Construction of 1 kg of wearing course asphalt (Hajibabei et al., 2018)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Limestone | Limestone, crushed, for mill {RoW}¦ market for limestone, crushed, for mill ¦ APOS, S | Kg | 0.0386 |
| Sand | Sand {GLO}¦ market for ¦ APOS, S | Kg | 0.4032 |
| Gravel | Gravel, crushed {RoW}¦ market for gravel, crushed ¦ APOS, S | Kg | 0.4378 |
|  | Gravel, round {RoW}¦ market for gravel, round ¦ APOS, S | Kg | 0.023 |
| bitumen | Bitumen adhesive compound, hot {GLO}¦ market for ¦ APOS, S | Kg | 0.0589 |
| Energy | Electricity, medium voltage {IR}¦ market for ¦ APOS, S | KWh | 0.0086 |
|  | Heat, district or industrial, natural gas {GLO}¦ market group for ¦ APOS, S | MJ | 0.1752 |
|  | Heat, central or small-scale, other than natural gas {GLO}¦ market group for ¦ APOS, S | MJ | 0.1752 |
|  | Diesel, burned in building machine {GLO}¦ market for ¦ APOS, S | MJ | 0.0111 |
| Construction | Concrete mixing factory {GLO}¦ market for ¦ APOS, S | p | 2.51E-10 |
| Water | Tap water {RoW}¦ market for ¦ APOS, S | Kg | 0.0085 |
| Oil | Lubricating oil {RoW}¦ market for lubricating oil ¦ APOS, S | Kg | 0.00000301 |

Table 7- Construction of 1 kg of base course asphalt (Hajibabei et al., 2018)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Limestone | Limestone, crushed, for mill {RoW}¦ market for limestone, crushed, for mill ¦ APOS, S | Kg | 0.055 |
| Sand | Sand {GLO}¦ market for ¦ APOS, S | Kg | 0.2 |
| Gravel | Gravel, crushed {RoW}¦ market for gravel, crushed ¦ APOS, S | Kg | 0.35 |
|  | Gravel, round {RoW}¦ market for gravel, round ¦ APOS, S | Kg | 0.35 |
| Bitumen | Bitumen adhesive compound, hot {GLO}¦ market for ¦ APOS, S | Kg | 0.045 |
| Energy | Electricity, medium voltage {IR}¦ market for ¦ APOS, S | KWh | 0.0086 |
|  | Heat, district or industrial, natural gas {GLO}¦ market group for ¦ APOS, S | MJ | 0.1752 |
|  | Heat, central or small-scale, other than natural gas {GLO}¦ market group for ¦ APOS, S | MJ | 0.1752 |
|  | Diesel, burned in building machine {GLO}¦ market for ¦ APOS, S | MJ | 0.0111 |
| Construction | Concrete mixing factory {GLO}¦ market for ¦ APOS, S | p | 2.51E-10 |
| Water | Tap water {RoW}¦ market for ¦ APOS, S | Kg | 0.0085 |
| Oil | Lubricating oil {RoW}¦ market for lubricating oil ¦ APOS, S | Kg | 0.00000301 |

Table 8- Reconstruction of asphalt (for area of 1.5*1.5)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Wearing course asphalt (Table 6) | wearing course asphalt | Kg | 148.5 |
| Base course asphalt (Table 7) | base course asphalt | Kg | 346.5 |
| Cutting the old asphalt layers* | Machine operation, diesel, < 18.64 kW, generators {GLO}¦ market for ¦ APOS, S | min | 30 |
| Excavation | Excavation, hydraulic digger {GLO}¦ market for ¦ APOS, S | m3 | 0.225 |
| Spraying bitumen ** | Machine operation, diesel, < 18.64 kW, generators {GLO}¦ market for ¦ APOS, S | min | 20 |
| Rolling asphalt layer*** | Machine operation, diesel, >= 18.64 kW and < 74.57 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 30 |
| Compacting**** | Machine operation, diesel, < 18.64 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 20 |
| Transportation of asphalt to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 29 |
| Transportation of deposits to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 16.5 |
| Transportation of workers | Transport, freight, light commercial vehicle {GLO}¦ market group for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *Cutter of asphalt with the power of 22 HP |  |  |  |
| **Potable bitumen spray with the power of 7 HP |  |  |  |
| ***Finisher with the power of 55.4 KW |  |  |  |
| ****Small vibrating rollers with the power of 7.3 KW |  |  |  |

Table 9- Break in main sewer pipes (for one break) *

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Reconstruction of asphalt (Table 8) | reconstruction of asphalt | p | 1 |
| Excavation | Excavation, hydraulic digger {GLO}¦ market for ¦ APOS, S | m3 | 3.57 |
| transportation of equipments for patching the pipe to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4 |
| Welding the pipes paches** | Machine operation, diesel, < 18.64 kW, generators {GLO}¦ market for ¦ APOS, S | min | 20 |
| Gravel | Gravel, crushed {RoW}¦ market for gravel, crushed ¦ APOS, S | Kg | 382.5 |
| Sand | Sand {GLO}¦ market for ¦ APOS, S | Kg | 1695.1 |
| Excavation | Excavation, hydraulic digger {GLO}¦ market for ¦ APOS, S | m3 | 4.89 |
| Compacting*** | Machine operation, diesel, < 18.64 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 20 |
| Transportation of Materials to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 222.3 |
| Transportation of deposits to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 43.78 |
| Transportation of workers | Transport, freight, light commercial vehicle {RoW}¦ market for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *The considering trench is for the pipe with 200mm diameter |  |  |  |
| **Welding machine with the power of 750W |  |  |  |
| ***Small vibrating rollers with the power of 7.3 KW |  |  |  |

Table 10- Break in sewer branches pipes (for one break) *

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Reconstruction of asphalt (Table 8) | reconstruction of asphalt | p | 1 |
| Excavation | Excavation, hydraulic digger {GLO}¦ market for ¦ APOS, S | m3 | 3.42 |
| Transportation of equipments for patching the pipe to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4 |
| Welding the pipes paches** | Machine operation, diesel, < 18.64 kW, generators {GLO}¦ market for ¦ APOS, S | min | 20 |
| Gravel | Gravel, crushed {RoW}¦ market for gravel, crushed ¦ APOS, S | Kg | 382.5 |
| Sand | Sand {GLO}¦ market for ¦ APOS, S | Kg | 1463.2 |
| Excavation | Excavation, hydraulic digger {GLO}¦ market for ¦ APOS, S | m3 | 4.59 |
| Compacting*** | Machine operation, diesel, < 18.64 kW, steady-state {GLO}¦ market for ¦ APOS, S | min | 20 |
| Transportation of Materials to the site | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 197.5 |
| Transportation of deposits to the landfill | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 38.8 |
| Transportation of workers | Transport, freight, light commercial vehicle {RoW}¦ market for transport, freight, light commercial vehicle ¦ APOS, S | t.Km | 2 |
| *The considering trench is for the pipe with 125mm diameter |  |  |  |
| **Welding machine with the power of 750W |  |  |  |
| ***Small vibrating rollers with the power of 7.3 KW |  |  |  |

Table 11- Air emissions from WWCN (per 1 m3 of wastewater)

| Scenario | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Methane, biogenic | g | 1.57 |
|  | Hydrogen sulfide | g | 1.63 |
| 1 | Methane, biogenic | g | 1.58 |
|  | Hydrogen sulfide | g | 1.69 |
| 2 | Methane, biogenic | g | 1.58 |
|  | Hydrogen sulfide | g | 1.73 |
| 3 | Methane, biogenic | g | 1.58 |
|  | Hydrogen sulfide | g | 1.68 |
| 4 | Methane, biogenic | g | 1.59 |
|  | Hydrogen sulfide | g | 1.75 |

Table 12- Air emissions from WWTP (per 1 m3 of wastewater)

| Scenario | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Methane, biogenic | g | 14.1 |
|  | Carbon dioxide, biogenic | g | 321.8 |
|  | Dinitrogen monoxide | g | 0.053 |
| 1 | Methane, biogenic | g | 17.2 |
|  | Carbon dioxide, biogenic | g | 394.6 |
|  | Dinitrogen monoxide | g | 0.065 |
| 2 | Methane, biogenic | g | 18.1 |
|  | Carbon dioxide, biogenic | g | 413.5 |
|  | Dinitrogen monoxide | g | 0.069 |
| 3 | Methane, biogenic | g | 16.4 |
|  | Carbon dioxide, biogenic | g | 376 |
|  | Dinitrogen monoxide | g | 0.062 |
| 4 | Methane, biogenic | g | 30.9 |
|  | Carbon dioxide, biogenic | g | 706.9 |
|  | Dinitrogen monoxide | g | 0.11 |
| *Carbon dioxide in this table is the sum of emissions from wastewater and sludge treatment unit |  |  |  |

Table 13- Energy consumption in WWTP (per 1 m3 of wastewater flow)

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Energy | Electricity, medium voltage {IR}¦ market for ¦ APOS, S | KWh | 0.179614 |

Table 14- Chemical consumption in WWTP (per 1 m3 of wastewater flow)

| Scenario | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Aluminium sulfate, powder {RER}¦ market for aluminium sulfate, powder ¦ APOS, S | Kg | 0.00131306 |
| 1 | Aluminium sulfate, powder {RER}¦ market for aluminium sulfate, powder ¦ APOS, S | Kg | 0.00161072 |
| 2 | Aluminium sulfate, powder {RER}¦ market for aluminium sulfate, powder ¦ APOS, S | Kg | 0.00168745 |
| 3 | Aluminium sulfate, powder {RER}¦ market for aluminium sulfate, powder ¦ APOS, S | Kg | 0.00153454 |
| 4 | Aluminium sulfate, powder {RER}¦ market for aluminium sulfate, powder ¦ APOS, S | Kg | 0.0028846 |

Table 15- Transportations of WWTP

| Input (process/ materials) | Ecoinvent Process/ Materials | Unit | Amount |
| --- | --- | --- | --- |
| Transportation of chemical per 1 m3 of wastewater flow in scenario 0 | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 3.43E-05 |
| Transportation of chemical per 1 m3 of wastewater flow in scenario 1 | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4.2E-05 |
| Transportation of chemical per 1 m3 of wastewater flow in scenario 2 | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4.4E-05 |
| Transportation of chemical per 1 m3 of wastewater flow in scenario 3 | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 4.01E-05 |
| Transportation of chemical per 1 m3 of wastewater flow in scenario 4 | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 7.53E-05 |
| Transportation of sludge to depot site (for 1 time) | Transport, freight, lorry >32 metric ton, euro4 {RoW}¦ market for transport, freight, lorry >32 metric ton, EURO4 ¦ APOS, S | t.Km | 160 |
| Transportation of deposits to the landfill (for 1 time) | Transport, freight, lorry 3.5-7.5 metric ton, euro4 {RoW}¦ market for transport, freight, lorry 3.5-7.5 metric ton, EURO4 ¦ APOS, S | t.Km | 9.96 |
| Transportation of treated wastewater to artificial lake (for 1 time) | Transport, tractor and trailer, agricultural {GLO}¦ market for ¦ APOS, S | t.Km | 146.4 |

Table 16- Scenario 0

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |
| Blockages of branches' pipe siphon (Table 3) | p | 13414 |
| Blockages of main sewer pipes (Table 4) | p | 1812 |
| Blockages of manholes (Table 5) | p | 760 |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |
| Air emissions from WWCN (Table 11) | m3 | 134478672.4 |
| Air emissions from WWTP (Table 12) | m3 | 134478672.4 |
| Energy consumption in WWTP (Table 13) | m3 | 134478672.4 |
| Chemical consumption in WWTP (Table 14) | m3 | 134478672.4 |
| Transportation of chemicals (Table 15) | m3 | 134478672.4 |
| Transportation of sludge (Table 15) | p | 345 |
| Transportation of WWTP's deposits (Table 15) | p | 6935 |
| Transportation of treated wastewater (Table 15) | p | 10497 |

Table 17- Scenario 1

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |
| Blockages of branches' pipe siphon (Table 3) | p | 15289 |
| Blockages of main sewer pipes (Table 4) | p | 2339 |
| Blockages of manholes (Table 5) | p | 760 |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |
| Air emissions from WWCN (Table 11) | m3 | 109206156.7 |
| Air emissions from WWTP (Table 12) | m3 | 109206156.7 |
| Energy consumption in WWTP (Table 13) | m3 | 109206156.7 |
| Chemical consumption in WWTP (Table 14) | m3 | 109206156.7 |
| Transportation of chemicals (Table 15) | m3 | 109206156.7 |
| Transportation of sludge (Table 15) | p | 280 |
| Transportation of WWTP's deposits (Table 15) | p | 6935 |
| Transportation of treated wastewater (Table 15) | p | 8524 |

Table 18- Scenario 2

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |
| Blockages of branches' pipe siphon (Table 3) | p | 16467 |
| Blockages of main sewer pipes (Table 4) | p | 2520 |
| Blockages of manholes (Table 5) | p | 760 |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |
| Air emissions from WWCN (Table 11) | m3 | 103977494.4 |
| Air emissions from WWTP (Table 12) | m3 | 103977494.4 |
| Energy consumption in WWTP (Table 13) | m3 | 103977494.4 |
| Chemical consumption in WWTP (Table 14) | m3 | 103977494.4 |
| Transportation of chemicals (Table 15) | m3 | 103977494.4 |
| Transportation of sludge (Table 15) | p | 267 |
| Transportation of WWTP's deposits (Table 15) | p | 6935 |
| Transportation of treated wastewater (Table 15) | p | 8116 |

Table 19- Scenario 3

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |
| Blockages of branches' pipe siphon (Table 3) | p | 14524 |
| Blockages of main sewer pipes (Table 4) | p | 2222 |
| Blockages of manholes (Table 5) | p | 760 |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |
| Air emissions from WWCN (Table 11) | m3 | 114632997.4 |
| Air emissions from WWTP (Table 12) | m3 | 114632997.4 |
| Energy consumption in WWTP (Table 13) | m3 | 114632997.4 |
| Chemical consumption in WWTP (Table 14) | m3 | 114632997.4 |
| Transportation of chemicals (Table 15) | m3 | 114632997.4 |
| Transportation of sludge (Table 15) | p | 294 |
| Transportation of WWTP's deposits (Table 15) | p | 6935 |
| Transportation of treated wastewater (Table 15) | p | 8948 |

Table 20- Scenario 4

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |
| Blockages of branches' pipe siphon (Table 3) | p | 27460 |
| Blockages of main sewer pipes (Table 4) | p | 4202 |
| Blockages of manholes (Table 5) | p | 760 |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |
| Air emissions from WWCN (Table 11) | m3 | 62281489.48 |
| Air emissions from WWTP (Table 12) | m3 | 62281489.48 |
| Energy consumption in WWTP (Table 13) | m3 | 62281489.48 |
| Chemical consumption in WWTP (Table 14) | m3 | 62281489.48 |
| Transportation of chemicals (Table 15) | m3 | 62281489.48 |
| Transportation of sludge (Table 15) | p | 160 |
| Transportation of WWTP's deposits (Table 15) | p | 6935 |
| Transportation of treated wastewater (Table 15) | p | 4861 |

Table 21- Blockages phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Blockages of branches' pipes siphon (Table 3) | p | 13414 |
|  | Blockages of main sewer pipes (Table 4) | p | 1812 |
|  | Blockages of manholes (Table 5) | p | 760 |
| 1 | Blockages of branches' pipes siphon (Table 3) | p | 15289 |
|  | Blockages of main sewer pipes (Table 4) | p | 2339 |
|  | Blockages of manholes (Table 5) | p | 760 |
| 2 | Blockages of branches' pipes siphon (Table 3) | p | 16467 |
|  | Blockages of main sewer pipes (Table 4) | p | 2520 |
|  | Blockages of manholes (Table 5) | p | 760 |
| 3 | Blockages of branches' pipes siphon (Table 3) | p | 14524 |
|  | Blockages of main sewer pipes (Table 4) | p | 2222 |
|  | Blockages of manholes (Table 5) | p | 760 |
| 4 | Blockages of branches' pipes siphon (Table 3) | p | 27460 |
|  | Blockages of main sewer pipes (Table 4) | p | 4202 |
|  | Blockages of manholes (Table 5) | p | 760 |

Table 22- Replacing manhole covers phase

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Replacing cast iron manhole cover (Table 1) | p | 1387 |
| Replacing reinforced concrete manhole cover (Table 2) | p | 418 |

Table 23- Asphalt and break in pipes phase

| Input (process/ materials) | Unit | Amount |
| --- | --- | --- |
| Reconstruction of asphalt (Table 8) | p | 247 |
| Break in main sewer pipes (Table 9) | p | 76 |
| Break in sewer branches pipes (Table 10) | p | 190 |

Table 24- Air emissions from WWCN phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Air emissions from WWCN (Table 11) | m3 | 134478672.4 |
| 1 | Air emissions from WWCN (Table 11) | m3 | 109206156.7 |
| 2 | Air emissions from WWCN (Table 11) | m3 | 103977494.4 |
| 3 | Air emissions from WWCN (Table 11) | m3 | 114632997.4 |
| 4 | Air emissions from WWCN (Table 11) | m3 | 62281489.48 |

Table 25- Energy consumption phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Energy consumption in WWTP (Table 13) | m3 | 134478672.4 |
| 1 | Energy consumption in WWTP (Table 13) | m3 | 109206156.7 |
| 2 | Energy consumption in WWTP (Table 13) | m3 | 103977494.4 |
| 3 | Energy consumption in WWTP (Table 13) | m3 | 114632997.4 |
| 4 | Energy consumption in WWTP (Table 13) | m3 | 62281489.48 |

Table 26- Chemical consumption phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Chemical consumption in WWTP (Table 14) | m3 | 134478672.4 |
| 1 | Chemical consumption in WWTP (Table 14) | m3 | 109206156.7 |
| 2 | Chemical consumption in WWTP (Table 14) | m3 | 103977494.4 |
| 3 | Chemical consumption in WWTP (Table 14) | m3 | 114632997.4 |
| 4 | Chemical consumption in WWTP (Table 14) | m3 | 62281489.48 |

Table 27- Transportation phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Transportation of chemicals (Table 15) | m3 | 134478672.4 |
|  | Transportation of sludge (Table 15) | p | 345 |
|  | Transportation of WWTP's deposits (Table 15) | p | 6935 |
|  | Transportation of treated wastewater (Table 15) | p | 10497 |
| 1 | Transportation of chemicals (Table 15) | m3 | 109206156.7 |
|  | Transportation of sludge (Table 15) | p | 280 |
|  | Transportation of WWTP's deposits (Table 15) | p | 6935 |
|  | Transportation of treated wastewater (Table 15) | p | 8524 |
| 2 | Transportation of chemicals (Table 15) | m3 | 103977494.4 |
|  | Transportation of sludge (Table 15) | p | 267 |
|  | Transportation of WWTP's deposits (Table 15) | p | 6935 |
|  | Transportation of treated wastewater (Table 15) | p | 8116 |
| 3 | Transportation of chemicals (Table 15) | m3 | 114632997.4 |
|  | Transportation of sludge (Table 15) | p | 294 |
|  | Transportation of WWTP's deposits (Table 15) | p | 6935 |
|  | Transportation of treated wastewater (Table 15) | p | 8948 |
| 4 | Transportation of chemicals (Table 15) | m3 | 62281489.48 |
|  | Transportation of sludge (Table 15) | p | 160 |
|  | Transportation of WWTP's deposits (Table 15) | p | 6935 |
|  | Transportation of treated wastewater (Table 15) | p | 4861 |

Table 28- Air emissions from WWTP phase

| Scenario | Input (process/ materials) | Unit | Amount |
| --- | --- | --- | --- |
| 0 | Air emissions from WWTP (Table 12) | m3 | 134478672.4 |
| 1 | Air emissions from WWTP (Table 12) | m3 | 109206156.7 |
| 2 | Air emissions from WWTP (Table 12) | m3 | 103977494.4 |
| 3 | Air emissions from WWTP (Table 12) | m3 | 114632997.4 |
| 4 | Air emissions from WWTP (Table 12) | m3 | 62281489.48 |

Fig. 1- The used trench

Fig. 2- midpoint impacts of WWCN's phases in scenario 0

Fig. 3- midpoint impacts of WWCN's phases in scenario 1

Fig. 4- midpoint impacts of WWCN's phases in scenario 2

Fig. 5- midpoint impacts of WWCN's phases in scenario 3

Fig. 6- midpoint impacts of WWCN's phases in scenario 4

Fig. 7- midpoint impacts of WWTP's phases in scenario 0

Fig. 8- midpoint impacts of WWTP's phases in scenario 1

Fig. 9- midpoint impacts of WWTP's phases in scenario 2

Fig. 10- midpoint impacts of WWTP's phases in scenario 3

Fig. 11- midpoint impacts of WWTP's phases in scenario 4

Fig. 12- Baharestan city, Isfahan province, Iran as a Case study

Table 29- midpoint impacts of WWCN's phases in scenario 0

| Impact category | Asphalt and pipe break | Blockages | Gas emissions | Manhole covers replacement |
| --- | --- | --- | --- | --- |
| Fine particulate matter formation | 124.3811711 | 351.4129464 | 0 | 2385.005417 |
| Ozone formation, Human health | 353.0000908 | 1401.677546 | 0 | 2723.219673 |
| Ionizing radiation | 2232.759386 | 4660.860996 | 0 | 52515.47806 |
| Stratospheric ozone depletion | 0.045168164 | 0.136070519 | 0 | 0.400908047 |
| Human carcinogenic toxicity | 2637.585112 | 6876.180772 | 0 | 494473.4699 |
| Human non-carcinogenic toxicity | 60352.4505 | 136433.8147 | 0 | 4067200.511 |
| Global warming | 85265.47966 | 236920.3625 | 7192188.357 | 1040508.648 |
| Water consumption | 1134.386271 | 3838.11686 | 0 | 6320.52101 |
| Ozone formation, Terrestrial ecosystems | 363.0310524 | 1432.645751 | 0 | 2810.510712 |
| Terrestrial acidification | 304.3322973 | 802.6796524 | 0 | 4745.550232 |
| Freshwater eutrophication | 11.89340059 | 20.67534208 | 0 | 807.2100083 |
| Marine eutrophication | 0.863390199 | 1.477729932 | 0 | 67.37222392 |
| Terrestrial ecotoxicity | 505710.3606 | 519655.7919 | 0 | 15165092.16 |
| Freshwater ecotoxicity | 1703.255798 | 3901.770241 | 0 | 130657.6569 |
| Marine ecotoxicity | 2634.94469 | 5738.40345 | 0 | 186615.9605 |
| Land use | 2227.932276 | 2235.24857 | 0 | 20510.01633 |
| Mineral resource scarcity | 216.8492161 | 485.4482296 | 0 | 23429.41664 |
| Fossil resource scarcity | 40263.9641 | 78293.50291 | 0 | 242251.6514 |

Table 30- midpoint impacts of WWCN's phases in scenario 1

| Impact category | Asphalt and pipe break | Blockages | Gas emissions | Manhole covers replacement |
| --- | --- | --- | --- | --- |
| Fine particulate matter formation | 124.3811711 | 409.383198 | 0 | 2385.005417 |
| Ozone formation, Human health | 353.0000908 | 1634.751188 | 0 | 2723.219673 |
| Ionizing radiation | 2232.759386 | 5399.44034 | 0 | 52515.47806 |
| Stratospheric ozone depletion | 0.045168164 | 0.158092402 | 0 | 0.400908047 |
| Human carcinogenic toxicity | 2637.585112 | 8004.180927 | 0 | 494473.4699 |
| Human non-carcinogenic toxicity | 60352.4505 | 157478.5283 | 0 | 4067200.511 |
| Global warming | 85265.47966 | 275248.1445 | 5862841.729 | 1040508.648 |
| Water consumption | 1134.386271 | 4878.874587 | 0 | 6320.52101 |
| Ozone formation, Terrestrial ecosystems | 363.0310524 | 1671.200181 | 0 | 2810.510712 |
| Terrestrial acidification | 304.3322973 | 934.0277554 | 0 | 4745.550232 |
| Freshwater eutrophication | 11.89340059 | 23.90632663 | 0 | 807.2100083 |
| Marine eutrophication | 0.863390199 | 1.709371622 | 0 | 67.37222392 |
| Terrestrial ecotoxicity | 505710.3606 | 600564.6325 | 0 | 15165092.16 |
| Freshwater ecotoxicity | 1703.255798 | 4499.775641 | 0 | 130657.6569 |
| Marine ecotoxicity | 2634.94469 | 6619.191647 | 0 | 186615.9605 |
| Land use | 2227.932276 | 2578.978986 | 0 | 20510.01633 |
| Mineral resource scarcity | 216.8492161 | 562.6358257 | 0 | 23429.41664 |
| Fossil resource scarcity | 40263.9641 | 90961.26932 | 0 | 242251.6514 |

Table 31- midpoint impacts of WWCN's phases in scenario 2

| Impact category | Asphalt and pipe break | Blockages | Gas emissions | Manhole covers replacement |
| --- | --- | --- | --- | --- |
| Fine particulate matter formation | 124.3811711 | 436.4876262 | 0 | 2385.005417 |
| Ozone formation, Human health | 353.0000908 | 1741.398423 | 0 | 2723.219673 |
| Ionizing radiation | 2232.759386 | 5759.799701 | 0 | 52515.47806 |
| Stratospheric ozone depletion | 0.045168164 | 0.168235948 | 0 | 0.400908047 |
| Human carcinogenic toxicity | 2637.585112 | 8539.690125 | 0 | 494473.4699 |
| Human non-carcinogenic toxicity | 60352.4505 | 168653.9647 | 0 | 4067200.511 |
| Global warming | 85265.47966 | 292867.1825 | 5589206.234 | 1040508.648 |
| Water consumption | 1134.386271 | 5248.484159 | 0 | 6320.52101 |
| Ozone formation, Terrestrial ecosystems | 363.0310524 | 1780.337407 | 0 | 2810.510712 |
| Terrestrial acidification | 304.3322973 | 994.91154 | 0 | 4745.550232 |
| Freshwater eutrophication | 11.89340059 | 25.54142801 | 0 | 807.2100083 |
| Marine eutrophication | 0.863390199 | 1.825547726 | 0 | 67.37222392 |
| Terrestrial ecotoxicity | 505710.3606 | 641150.4638 | 0 | 15165092.16 |
| Freshwater ecotoxicity | 1703.255798 | 4818.296092 | 0 | 130657.6569 |
| Marine ecotoxicity | 2634.94469 | 7086.208332 | 0 | 186615.9605 |
| Land use | 2227.932276 | 2758.365644 | 0 | 20510.01633 |
| Mineral resource scarcity | 216.8492161 | 599.8379338 | 0 | 23429.41664 |
| Fossil resource scarcity | 40263.9641 | 96787.1 | 0 | 242251.6514 |

Table 32- midpoint impacts of WWCN's phases in scenario 3

| Impact category | Asphalt and pipe break | Blockages | Gas emissions | Manhole covers replacement |
| --- | --- | --- | --- | --- |
| Fine particulate matter formation | 124.3811711 | 391.8150949 | 0 | 2385.005417 |
| Ozone formation, Human health | 353.0000908 | 1565.63764 | 0 | 2723.219673 |
| Ionizing radiation | 2232.759386 | 5165.795535 | 0 | 52515.47806 |
| Stratospheric ozone depletion | 0.045168164 | 0.151518468 | 0 | 0.400908047 |
| Human carcinogenic toxicity | 2637.585112 | 7657.044015 | 0 | 494473.4699 |
| Human non-carcinogenic toxicity | 60352.4505 | 150228.5306 | 0 | 4067200.511 |
| Global warming | 85265.47966 | 263829.5895 | 6150289.577 | 1040508.648 |
| Water consumption | 1134.386271 | 4639.87532 | 0 | 6320.52101 |
| Ozone formation, Terrestrial ecosystems | 363.0310524 | 1600.473065 | 0 | 2810.510712 |
| Terrestrial acidification | 304.3322973 | 894.5676728 | 0 | 4745.550232 |
| Freshwater eutrophication | 11.89340059 | 22.84590922 | 0 | 807.2100083 |
| Marine eutrophication | 0.863390199 | 1.634032284 | 0 | 67.37222392 |
| Terrestrial ecotoxicity | 505710.3606 | 574244.9899 | 0 | 15165092.16 |
| Freshwater ecotoxicity | 1703.255798 | 4293.133292 | 0 | 130657.6569 |
| Marine ecotoxicity | 2634.94469 | 6316.220394 | 0 | 186615.9605 |
| Land use | 2227.932276 | 2462.616409 | 0 | 20510.01633 |
| Mineral resource scarcity | 216.8492161 | 538.5173719 | 0 | 23429.41664 |
| Fossil resource scarcity | 40263.9641 | 87185.64951 | 0 | 242251.6514 |

Table 33- midpoint impacts of WWCN's phases in scenario 4

| Impact category | Asphalt and pipe break | Blockages | Gas emissions | Manhole covers replacement |
| --- | --- | --- | --- | --- |
| Fine particulate matter formation | 124.3811711 | 688.9846631 | 0 | 2385.005417 |
| Ozone formation, Human health | 353.0000908 | 2734.745809 | 0 | 2723.219673 |
| Ionizing radiation | 2232.759386 | 9117.755929 | 0 | 52515.47806 |
| Stratospheric ozone depletion | 0.045168164 | 0.262720605 | 0 | 0.400908047 |
| Human carcinogenic toxicity | 2637.585112 | 13528.85286 | 0 | 494473.4699 |
| Human non-carcinogenic toxicity | 60352.4505 | 272845.7425 | 0 | 4067200.511 |
| Global warming | 85265.47966 | 456981.9628 | 3371172.463 | 1040508.648 |
| Water consumption | 1134.386271 | 8684.247149 | 0 | 6320.52101 |
| Ozone formation, Terrestrial ecosystems | 363.0310524 | 2796.876229 | 0 | 2810.510712 |
| Terrestrial acidification | 304.3322973 | 1562.053803 | 0 | 4745.550232 |
| Freshwater eutrophication | 11.89340059 | 40.78144463 | 0 | 807.2100083 |
| Marine eutrophication | 0.863390199 | 2.908309456 | 0 | 67.37222392 |
| Terrestrial ecotoxicity | 505710.3606 | 1019410.999 | 0 | 15165092.16 |
| Freshwater ecotoxicity | 1703.255798 | 7788.006565 | 0 | 130657.6569 |
| Marine ecotoxicity | 2634.94469 | 11440.29831 | 0 | 186615.9605 |
| Land use | 2227.932276 | 4430.663099 | 0 | 20510.01633 |
| Mineral resource scarcity | 216.8492161 | 946.4725291 | 0 | 23429.41664 |
| Fossil resource scarcity | 40263.9641 | 151052.7078 | 0 | 242251.6514 |

Table 34- midpoint impacts of WWTP's phases in scenario 0

| Impact category | Chemical consumption | Air emissions | Energy consumption | Transportation |
| --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 0.06282489 | 78.40106601 | 9.534884328 | 0.272912762 |
| Ionizing radiation | 9280.239772 | 0 | 398422.2967 | 21864.16949 |
| Ozone formation, Human health | 515.4102162 | 0 | 33216.02279 | 3743.905017 |
| Fine particulate matter formation | 491.3573438 | 0 | 19856.7897 | 1441.260091 |
| Human carcinogenic toxicity | 56443.37255 | 0 | 101885.8315 | 40314.47196 |
| Human non-carcinogenic toxicity | 288515.5764 | 0 | 2013377.113 | 1653756.267 |
| Global warming | 152891.7 | 66593031.7 | 18425967.59 | 618458.5645 |
| Water consumption | 2570.004132 | 0 | 34776.63772 | 2956.995224 |
| Ozone formation, Terrestrial ecosystems | 521.48136 | 0 | 33950.6578 | 3823.990743 |
| Terrestrial acidification | 1174.491746 | 0 | 57755.21943 | 2725.841479 |
| Freshwater eutrophication | 98.46433074 | 0 | 589.8846511 | 159.9528225 |
| Marine eutrophication | 4.877084569 | 0 | 59.09001477 | 12.19174005 |
| Terrestrial ecotoxicity | 876329.3469 | 0 | 29856029.69 | 2099107.369 |
| Freshwater ecotoxicity | 11402.60355 | 0 | 135590.2536 | 14693.53406 |
| Marine ecotoxicity | 16365.19897 | 0 | 195972.2226 | 21250.72131 |
| Land use | 3647.690241 | 0 | 25978.77359 | 44796.08811 |
| Mineral resource scarcity | 4248.122997 | 0 | 7118.699732 | 5410.510346 |
| Fossil resource scarcity | 45941.80755 | 0 | 6405101.833 | 172220.6834 |

Table 35- midpoint impacts of WWTP's phases in scenario 1

| Impact category | Chemical consumption | Air emissions | Energy consumption | Transportation |
| --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 0.06282489 | 78.08240204 | 7.742997856 | 0.22453217 |
| Ionizing radiation | 9280.239772 | 0 | 323546.9758 | 17894.24035 |
| Ozone formation, Human health | 515.4102162 | 0 | 26973.75074 | 3068.093779 |
| Fine particulate matter formation | 491.3573438 | 0 | 16125.11225 | 1178.812336 |
| Human carcinogenic toxicity | 56443.37255 | 0 | 82738.47357 | 32955.85536 |
| Human non-carcinogenic toxicity | 288515.5764 | 0 | 1635004.068 | 1348766.713 |
| Global warming | 152891.7 | 65979083.69 | 14963183.88 | 509336.7987 |
| Water consumption | 2570.004132 | 0 | 28241.08002 | 2422.130036 |
| Ozone formation, Terrestrial ecosystems | 521.48136 | 0 | 27570.32613 | 3133.672488 |
| Terrestrial acidification | 1174.491746 | 0 | 46901.30733 | 2234.033773 |
| Freshwater eutrophication | 98.46433074 | 0 | 479.0278971 | 130.6535483 |
| Marine eutrophication | 4.877084569 | 0 | 47.98525519 | 9.958583261 |
| Terrestrial ecotoxicity | 876329.3469 | 0 | 24245199.62 | 1764838.809 |
| Freshwater ecotoxicity | 11402.60355 | 0 | 110108.8389 | 12089.7156 |
| Marine ecotoxicity | 16365.19897 | 0 | 159143.252 | 17505.8896 |
| Land use | 3647.690241 | 0 | 21096.59449 | 36575.96872 |
| Mineral resource scarcity | 4248.122997 | 0 | 5780.885732 | 4413.559072 |
| Fossil resource scarcity | 45941.80755 | 0 | 5201393.96 | 142242.0374 |

Table 36- midpoint impacts of WWTP's phases in scenario 2

| Impact category | Chemical consumption | Air emissions | Energy consumption | Transportation |
| --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 0.06282489 | 78.91891825 | 7.372272228 | 0.214530345 |
| Ionizing radiation | 9280.239772 | 0 | 308055.9272 | 17073.41751 |
| Ozone formation, Human health | 515.4102162 | 0 | 25682.27929 | 2928.370533 |
| Fine particulate matter formation | 491.3573438 | 0 | 15353.06085 | 1124.549061 |
| Human carcinogenic toxicity | 56443.37255 | 0 | 78777.05279 | 31434.26986 |
| Human non-carcinogenic toxicity | 288515.5764 | 0 | 1556721.997 | 1285700.64 |
| Global warming | 152891.7 | 66125735.29 | 14246764.24 | 486777.7066 |
| Water consumption | 2570.004132 | 0 | 26888.93033 | 2311.544552 |
| Ozone formation, Terrestrial ecosystems | 521.48136 | 0 | 26250.29136 | 2990.950029 |
| Terrestrial acidification | 1174.491746 | 0 | 44655.72792 | 2132.351178 |
| Freshwater eutrophication | 98.46433074 | 0 | 456.0926049 | 124.5951939 |
| Marine eutrophication | 4.877084569 | 0 | 45.68777763 | 9.496824179 |
| Terrestrial ecotoxicity | 876329.3469 | 0 | 23084367.99 | 1695829.844 |
| Freshwater ecotoxicity | 11402.60355 | 0 | 104836.9573 | 11551.34364 |
| Marine ecotoxicity | 16365.19897 | 0 | 151523.6604 | 16731.64754 |
| Land use | 3647.690241 | 0 | 20086.51437 | 34876.59261 |
| Mineral resource scarcity | 4248.122997 | 0 | 5504.103724 | 4207.407754 |
| Fossil resource scarcity | 45941.80755 | 0 | 4952357.337 | 136045.0177 |

Table 37- midpoint impacts of WWTP's phases in scenario 3

| Impact category | Chemical consumption | Air emissions | Energy consumption | Transportation |
| --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 0.06282489 | 78.17970423 | 8.127774842 | 0.234929419 |
| Ionizing radiation | 9280.239772 | 0 | 339625.1709 | 18747.39164 |
| Ozone formation, Human health | 515.4102162 | 0 | 28314.17195 | 3213.328451 |
| Fine particulate matter formation | 491.3573438 | 0 | 16926.42619 | 1235.213284 |
| Human carcinogenic toxicity | 56443.37255 | 0 | 86850.04135 | 34537.23878 |
| Human non-carcinogenic toxicity | 288515.5764 | 0 | 1716253.211 | 1414309.552 |
| Global warming | 152891.7 | 66037318.61 | 15706757.49 | 532787.6456 |
| Water consumption | 2570.004132 | 0 | 29644.47931 | 2537.074619 |
| Ozone formation, Terrestrial ecosystems | 521.48136 | 0 | 28940.39329 | 3282.024786 |
| Terrestrial acidification | 1174.491746 | 0 | 49231.9994 | 2339.725179 |
| Freshwater eutrophication | 98.46433074 | 0 | 502.8324898 | 136.9500313 |
| Marine eutrophication | 4.877084569 | 0 | 50.36981247 | 10.43849403 |
| Terrestrial ecotoxicity | 876329.3469 | 0 | 25450029.46 | 1836681.68 |
| Freshwater ecotoxicity | 11402.60355 | 0 | 115580.5371 | 12649.28459 |
| Marine ecotoxicity | 16365.19897 | 0 | 167051.6439 | 18310.66948 |
| Land use | 3647.690241 | 0 | 22144.95899 | 38342.5158 |
| Mineral resource scarcity | 4248.122997 | 0 | 6068.158418 | 4627.805763 |
| Fossil resource scarcity | 45941.80755 | 0 | 5459869.648 | 148684.6475 |

Table 38- midpoint impacts of WWTP's phases in scenario 4

| Impact category | Chemical usage | Gas emissions | Energy | Transportation |
| --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 0.06282489 | 78.10098781 | 4.415918059 | 0.134714939 |
| Ionizing radiation | 9280.239772 | 0 | 184522.4498 | 10524.00686 |
| Ozone formation, Human health | 515.4102162 | 0 | 15383.43097 | 1813.451549 |
| Fine particulate matter formation | 491.3573438 | 0 | 9196.331408 | 691.5747861 |
| Human carcinogenic toxicity | 56443.37255 | 0 | 47186.67451 | 19294.29239 |
| Human non-carcinogenic toxicity | 288515.5764 | 0 | 932461.0605 | 782539.1647 |
| Global warming | 152891.7 | 67548759.61 | 8533670.699 | 306755.0873 |
| Water consumption | 2570.004132 | 0 | 16106.20299 | 1429.149757 |
| Ozone formation, Terrestrial ecosystems | 521.48136 | 0 | 15723.66457 | 1852.098157 |
| Terrestrial acidification | 1174.491746 | 0 | 26748.33881 | 1320.990853 |
| Freshwater eutrophication | 98.46433074 | 0 | 273.1949538 | 76.25833682 |
| Marine eutrophication | 4.877084569 | 0 | 27.36652636 | 5.81264573 |
| Terrestrial ecotoxicity | 876329.3469 | 0 | 13827307.83 | 1144424.271 |
| Freshwater ecotoxicity | 11402.60355 | 0 | 62796.29923 | 7255.677697 |
| Marine ecotoxicity | 16365.19897 | 0 | 90761.17205 | 10553.61373 |
| Land use | 3647.690241 | 0 | 12031.62319 | 21315.52433 |
| Mineral resource scarcity | 4248.122997 | 0 | 3296.903625 | 2562.670836 |
| Fossil resource scarcity | 45941.80755 | 0 | 2966413.003 | 86588.32476 |

Table 39- Endpoint impacts of WWCN and WWTP in every scenario

| scenarios |  | Human health | Ecosystem | Resources |
| --- | --- | --- | --- | --- |
| Scenario 0 | WWCN | 0.209011972 | 0.015086884 | 0.000853778 |
|  | WWTP | 1.602574807 | 0.145401705 | 0.01828398 |
| Scenario 1 | WWCN | 0.189569389 | 0.01311487 | 0.000893082 |
|  | WWTP | 1.490277561 | 0.136795032 | 0.014872299 |
| Scenario 2 | WWCN | 0.185924964 | 0.012735107 | 0.000911101 |
|  | WWTP | 1.471336501 | 0.135442323 | 0.014166467 |
| Scenario 3 | WWCN | 0.193654578 | 0.013533155 | 0.000881404 |
|  | WWTP | 1.513240841 | 0.138528147 | 0.015604913 |
| Scenario 4 | WWCN | 0.157156363 | 0.009714891 | 0.001078945 |
|  | WWTP | 1.324186011 | 0.125051359 | 0.008537697 |

Table 40- Endpoint impacts of Scenarios

| Impact category | Scenario 0 | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 |
| --- | --- | --- | --- | --- | --- |
| Human health | 1.81158678 | 1.67984695 | 1.657261465 | 1.706895418 | 1.481342 |
| Ecosystem | 0.160488589 | 0.149909902 | 0.14817743 | 0.152061302 | 0.134766 |
| Resources | 0.019137758 | 0.015765381 | 0.015077569 | 0.016486316 | 0.009617 |
| Total | 1.991213127 | 1.845522233 | 1.820516464 | 1.875443037 | 1.625725 |

Table 41- midpoint impacts of Scenarios

| Impact category | Scenario 0 | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 |
| --- | --- | --- | --- | --- | --- |
| Stratospheric ozone depletion | 88.85383472 | 86.71692557 | 87.18285787 | 87.20282806 | 83.42324 |
| Ionizing radiation | 488975.8044 | 410869.1337 | 394917.6217 | 427566.8353 | 268192.7 |
| Ozone formation, Human health | 41953.23533 | 35268.22569 | 33943.67823 | 36684.76802 | 23523.26 |
| Fine particulate matter formation | 24650.20667 | 20714.05171 | 19914.84146 | 21554.1985 | 13577.63 |
| Human carcinogenic toxicity | 702630.9118 | 677252.9374 | 672305.4404 | 682598.7517 | 633564.2 |
| Human non-carcinogenic toxicity | 8219635.732 | 7557317.848 | 7427145.14 | 7696859.831 | 6403915 |
| Global warming | 94345232.4 | 88868360.08 | 88020016.49 | 89969648.73 | 81496006 |
| Water consumption | 51596.66121 | 45566.99605 | 44473.87046 | 46846.34066 | 36244.51 |
| Ozone formation, Terrestrial ecosystems | 42902.31742 | 36070.22193 | 34716.60192 | 37517.91426 | 24067.66 |
| Terrestrial acidification | 67508.11484 | 56293.74313 | 54007.36491 | 58690.66653 | 35855.76 |
| Freshwater eutrophication | 1688.080555 | 1551.155512 | 1523.796966 | 1580.19617 | 1307.802 |
| Marine eutrophication | 145.8721834 | 132.7659088 | 130.1228482 | 135.5550375 | 109.2002 |
| Terrestrial ecotoxicity | 49021924.72 | 43157734.93 | 41968480.16 | 44408087.99 | 32538275 |
| Freshwater ecotoxicity | 297949.0742 | 270461.8465 | 264970.1133 | 276286.4713 | 221603.5 |
| Marine ecotoxicity | 428577.4516 | 388884.4374 | 380957.6204 | 397294.6379 | 318371.2 |
| Land use | 99395.74912 | 86637.18105 | 84107.11146 | 89335.73005 | 64163.45 |
| Mineral resource scarcity | 40909.04717 | 38651.46949 | 38205.73827 | 39128.87041 | 34700.44 |
| Fossil resource scarcity | 6984073.442 | 5763054.69 | 5513646.878 | 6024197.368 | 3532511 |