Supplementary Information

Fig. (1)

Annual energy yield over the system lifetime

Table (1)

The inverters specification

| Name | TRINERGY PLUS 25KW |
| --- | --- |
| Manufacturer | AEC |
| Max Power | 25 |
| Min Power | 0 |
| Max Voltage | 1,000 |
| Min Voltage | 280 |
| Max MPPT Voltage | 800 |
| Min MPPT Voltage | 480 |
| At Voltage (640, 25 kW) | Efficiency 98% |

10 AWG Copper

10 AWG Copper

String count: 4

Module count: 64

Disconnect

TRINERGY PLUS 25KW

LR4-72HPH-460M

10 AWG Copper

10 AWG Copper

String count: 5

Module count: 65

Disconnect

TRINERGY PLUS 25KW

Typical of 4 Inverters

LR4-72HPH-460M

10 AWG Copper

10 AWG Copper

Meter

Grid

String count: 5

Module count: 65

20A

AC Disconnect

Service Panel

20A

Disconnect

TRINERGY PLUS 25KW

Typical of 9 Inverters

20A

LR4-72HPH-460M

20A

20A

10 AWG Copper

20A

20A

20A

String count: 2

Module count: 34

10 AWG Copper

20A

21-circuit Interconnect

LR4-72HPH-460M

10 AWG Copper

TRINERGY PLUS 25KW

Typical of 5 Inverters

Disconnect

String count: 2

Module count: 32

LR4-72HPH-460M

10 AWG Copper

10 AWG Copper

String count: 4

Module count: 60

Disconnect

TRINERGY PLUS 25KW

Typical of 2 Inverters

15

2

1

15

2

1

16

2

1

16

2

1

17

2

1

17

2

1

13

2

1

13

2

1

13

2

1

13

2

1

16

2

1

16

2

1

LR4-72HPH-460M

Fig. (2)

Single line diagram of the PV model