# Supporting Information

# Optimization and Assessment of an Electrochemical Advanced Oxidation System for Synthetic Stormwater Treatment

Nathan Bettman1, Raquibul Alam1, Laura Patterson-Fortin2, Mohsen Asadi1, and Kerry McPhedran1,3,*

1Department of Civil, Geological & Environmental Engineering, University of Saskatchewan, Saskatoon, SK, Canada

2BioLargo Water Inc., Agrifood Discovery Place, Edmonton, AB, Canada

3Global Institute for Water Security, University of Saskatchewan, Saskatoon, SK, Canada

*Corresponding Author: Kerry McPhedran, RM 1A13, Engineering Building, University of Saskatchewan, 57 Campus Dr. Saskatoon, SK S7N 5A9, Phone: +1 (306) 966-7871, email: Kerry.mcphedran@usask.ca

Pages: 14

Figures: 1

Tables: 15

Figure S1: K edge X-ray spectroscopy performed at the HXMA beamline at the Canadian Light Source for iodide species created in the AOS using 1,000 ppm KI solution (anodic chamber). Stock 1,000 ppm iodate (IO3-) and periodate (IO4-) solution curves are also shown while the reactor voltage was turned off. Results currently in preparation for publication as part of a parallel research study.

## S.1 Calibration curves

Table S1: Buffers used for pH adjustment of iodide and chloride samples.

| pH | Chemical 1 | Amount (mL) | Concentration (M) | Chemical 2 | Amount (mL) | Concentration (M) |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | KCl | 5 | 0.20 | HCl | 4.14 | 0.2 |
| 4 | C8H5KO4 | 100 | 0.10 | NaOH | 2.6 | 0.1 |
| 6 | Na2HPO4 · 7H2O | 250 | 0.0137 | NaH2PO4 | 250 | 0.0863 |
| 9.7 | NaHCO3 | 50 | 0.14 | Na2CO3 | 50 | 0.063 |

### S.1.1 Iodide

For IO4 at pH 6:

Absorbance = 0.0539 [IO4] mg/L + 0.0349

For IO3 and IO4 at pH 2:

If absorbance > 0.9

Absorbance = 0.185 [IO4] mg/L + 0.132 [IO3] mg/L + 0.314

If absorbance < 0.9

Absorbance = 0.278 [IO4] mg/L + 0.201 [IO3] mg/L + 0.0322

Table S2: Absorbances for calibration curves for iodate and periodate at pH 2.

| IO3- (mg/L) | IO4 - (mg/L) | Absorbance |
| --- | --- | --- |
| 0.88 | 2.68 | 0.894 |
| 2.65 | 0.89 | 0.756 |
| 0.88 | 1.34 | 0.532 |
| 1.33 | 0.89 | 0.488 |
| 0.88 | 0.89 | 0.342 |
| 1.33 | 1.34 | 0.605 |
| 0.44 | 0.45 | 0.18 |
| 0.22 | 0.22 | 0.083 |
| 0.09 | 0.09 | 0.022 |
| 1.33 | 2.678 | 0.963 |
| 2.65 | 1.339 | 0.918 |
| 1.33 | 5.355 | 1.612 |
| 5.3 | 1.339 | 1.383 |
| 2.21 | 2.231 | 0.909 |
| 2.65 | 2.678 | 1.135 |
| 3.54 | 3.57 | 1.337 |
| 4.42 | 4.463 | 1.759 |
| 6.63 | 6.694 | 2.372 |

Table S3: Absorbances for calibration curves for iodate and periodate at pH 6.

| IO3- (mg/L) | IO4 - (mg/L) | Absorbance |
| --- | --- | --- |
| 0 | 0 | 0 |
| 0.88 | 0.89 | 0.061 |
| 1.33 | 1.34 | 0.093 |
| 2.21 | 2.23 | 0.144 |
| 2.65 | 2.68 | 0.167 |
| 3.54 | 3.57 | 0.239 |
| 4.42 | 4.46 | 0.284 |
| 6.63 | 6.69 | 0.384 |
| 8.84 | 8.93 | 0.549 |
| 22.1 | 22.3 | 1.26 |
| 44.2 | 44.6 | 2.468 |
| 0.88 | 2.68 | 0.142 |
| 0.88 | 4.46 | 0.26 |
| 0.88 | 6.69 | 0.426 |
| 0.88 | 8.93 | 0.55 |
| 0.88 | 22.3 | 1.316 |
| 0.88 | 44.6 | 2.398 |

### S.1.2 Chloride

For ClO at pH 9.8 and 291nm:

Absorbance = 0.029 [ClO] mg/L + 0.0698

For ClO and ClO2 at pH 4 and 381 nm:

When [ClO]> 6 mg/L

Absorbance = 0.0119 [ClO] mg/L + 0.0596 [ClO2] mg/L – 0.0304

When [ClO] < 6 mg/L

Absorbance = 0.0596 [ClO2] mg/L + 0.038

For ClO and ClO2 and ClO3 at pH 4 and 300 nm:

When [ClO] and [ClO2] > 10 mg/L

Absorbance = 0.0182 [ClO] mg/L + 0.0137 [ClO2] mg/L – 0.0193[ClO3] + 0.3885

When [ClO] < 10 mg/L and [ClO2] > 10 mg/L

Absorbance = 0.0137 [ClO2] mg/L – 0.0193[ClO3] – 0.2548

When [ClO] and [ClO2] < 10 mg/L

Absorbance = 0.0825 [ClO2] mg/L – 0.0193[ClO3] – 0.1077

Table S4: Absorbances for the calibration curve for chlorate species at pH 9.8 and 291nm.

| ClO-(mg/L) | Absorbance |
| --- | --- |
| 34.555 | 1.064 |
| 17.2775 | 0.584 |
| 8.63875 | 0.324 |
| 4.319375 | 0.193 |
| 3.4555 | 0.174 |
| 1.72775 | 0.113 |
| 0.6911 | 0.085 |

Table S5: Absorbances for calibration curves for chlorate species at pH 4 and 381nm.

| ClO-(mg/L) | Absorbance | ClO2-(mg/L) | Absorbance |
| --- | --- | --- | --- |
| 34.555 | 0.34 | 37.3 | 2.201 |
| 17.2775 | 0.143 | 18.65 | 1.218 |
| 8.63875 | 0.032 | 9.325 | 0.73 |
| 6.911 | 0.012 | 4.6625 | 0.295 |
| 4.319375 | 0 | 3.73 | 0.254 |
|  |  | 1.865 | 0.096 |
|  |  | 0.746 | 0.02 |

Table S6: Absorbances for the calibration curves for chlorate species at pH 4 and 300nm.

| ClO-(mg/L) | Absorbance | ClO2-(mg/L) | Absorbance | ClO3-(mg/l) | ClO2-+ ClO3-Absorbance | Absorbance from ClO3- |
| --- | --- | --- | --- | --- | --- | --- |
| 34.555 | 0.411 | 37.3 | 1.142 | 21.22065 | 0.69 | -0.452 |
| 27.644 | 0.351 | 18.65 | 0.943 | 10.61033 | 0.606 | -0.337 |
| 20.733 | 0.225 | 9.325 | 0.743 | 5.305163 | 0.568 | -0.175 |
| 17.2775 | 0.122 | 4.6625 | 0.342 | 2.652581 | 0.338 | - |
| 13.822 | 0.044 | 3.73 | 0.25 | 2.122065 | 0.157 | -0.093 |
| 10.3665 | 0 | 1.865 | 0.1 | 1.061033 | 0.026 | -0.074 |
|  |  | 0.746 | 0.054 | 0.424413 | 0.026 | - |

### S.2 Raw data

#### S.2.1 Iodide data

Table S7: Absorbances and corresponding concentrations of IO3- and IO4- for the 10ppm KI treatment at various voltages.

| Sample port | Absorbance pH 6 | Absorbance pH 2 | IO4-(mg/L) | IO3-(mg/L) |
| --- | --- | --- | --- | --- |
| 6V |  |  |  |  |
| A1 | 0 | 0 | 0 | 1.60 |
| A2 | 0 | 0.034 | 0 | 3.29 |
| A3 | 0 | 0.053 | 0 | 4.24 |
| A4 | 0 | 0.083 | 0 | 5.73 |
| A5 | 0 | 0.063 | 0 | 4.73 |
| C1 | 0 | 0 | 0 | 1.60 |
| C2 | 0 | 0.07 | 0 | 5.08 |
| Outlet | 0 | 0.109 | 0 | 7.02 |
| 12V |  |  |  |  |
| A1 | 0 | 0 | 0 | 1.60 |
| A2 | 0 | 0.036 | 0 | 3.39 |
| A3 | 0 | 0.154 | 0 | 9.26 |
| A4 | 0 | 0.137 | 0 | 8.41 |
| A5 | 0 | 0.138 | 0 | 8.46 |
| C1 | 0 | 0.007 | 0 | 1.95 |
| C2 | 0 | 0.152 | 0 | 9.16 |
| Outlet | 0 | 0.173 | 0 | 10.20 |
| 24V |  |  |  |  |
| A1 | 0.041 | 0.076 | 1.13 | 3.82 |
| A2 | 0.037 | 0.068 | 0.39 | 4.45 |
| A3 | 0.104 | 0.724 | 12.81 | 19.92 |
| A4 | 0.039 | 0.122 | 0.76 | 6.62 |
| A5 | 0.038 | 0.213 | 0.57 | 11.40 |
| C1 | 0.039 | 0.186 | 0.76 | 9.80 |
| C2 | 0.039 | 0.221 | 0.76 | 11.54 |
| Outlet | 0.036 | 0.247 | 0.20 | 13.61 |

Table S8: Absorbances and corresponding concentrations of IO3- and IO4- for the 25ppm KI treatment at various voltages.

| Sample port | Absorbance pH 6 | Absorbance pH 2 | IO4-(mg/L) | IO3-(mg/L) |
| --- | --- | --- | --- | --- |
| 6V |  |  |  |  |
| A1 | 0.041 | 0 | 1.13 | 0.04 |
| A2 | 0.046 | 0.027 | 2.06 | 0.10 |
| A3 | 0.04 | 0.079 | 0.94 | 4.23 |
| A4 | 0.036 | 0.094 | 0.20 | 6.00 |
| A5 | 0.036 | 0.093 | 0.20 | 5.95 |
| C1 | 0.037 | 0 | 0.39 | 1.07 |
| C2 | 0.037 | 0.068 | 0.39 | 4.45 |
| Outlet | 0.036 | 0.29 | 0.20 | 15.74 |
| 12V |  |  |  |  |
| A1 | 0.04 | 0.064 | 0.94 | 3.48 |
| A2 | 0.042 | 0.133 | 1.31 | 6.40 |
| A3 | 0.04 | 0.53 | 0.94 | 26.66 |
| A4 | 0.04 | 0.325 | 0.94 | 16.46 |
| A5 | 0.043 | 0.408 | 1.50 | 19.82 |
| C1 | 0.04 | 0.209 | 0.94 | 10.69 |
| C2 | 0.04 | 0.285 | 0.94 | 14.47 |
| Outlet | 0.042 | 0.582 | 1.31 | 28.73 |
| 24V |  |  |  |  |
| A1 | 0 | 0.092 | 0.00 | 6.18 |
| A2 | 0 | 0.013 | 0.00 | 2.25 |
| A3 | 0.123 | 0.866 | 16.33 | 22.12 |
| A4 | 0 | 0.112 | 0.00 | 7.17 |
| A5 | 0 | 0.237 | 0.00 | 13.39 |
| C1 | 0 | 0.31 | 0.00 | 17.02 |
| C2 | 0 | 0.215 | 0.00 | 12.29 |
| Outlet | 0 | 0.248 | 0.00 | 13.93 |

Table S9: Absorbances and corresponding concentrations of IO3- and IO4- for the 50ppm KI treatment at various voltages.

| Sample port | Absorbance pH 6 | Absorbance pH 2 | IO4-(mg/L) | IO3-(mg/L) |
| --- | --- | --- | --- | --- |
| 6V |  |  |  |  |
| A1 | 0.036 | 0 | 0.20 | 4.16 |
| A2 | 0.008 | 0.027 | 0.00 | 7.67 |
| A3 | 0.048 | 0.079 | 2.43 | 10.68 |
| A4 | 0.016 | 0.094 | 0.00 | 7.77 |
| A5 | 0.055 | 0.093 | 3.72 | 11.97 |
| C1 | 0.026 | 0 | 0.00 | 2.05 |
| C2 | 0.036 | 0.068 | 0.20 | 12.21 |
| Outlet | 0.03 | 0.29 | 0.00 | 14.08 |
| 12V |  |  |  |  |
| A1 | 0.11 | 0.202 | 13.92 | 0.00 |
| A2 | 0.001 | 0.242 | 0.00 | 13.64 |
| A3 | 0.053 | 0.707 | 3.35 | 32.13 |
| A4 | 0 | 0.271 | 0.00 | 15.08 |
| A5 | 0.062 | 0.706 | 5.02 | 29.78 |
| C1 | 0 | 0.113 | 0.00 | 7.22 |
| C2 | 0.027 | 0.713 | 0.00 | 37.06 |
| Outlet | 0.024 | 0.892 | 0.00 | 45.96 |
| 24V |  |  |  |  |
| A1 | 0.023 | 0.804 | 0.00 | 41.59 |
| A2 | 0 | 0.331 | 0.00 | 18.06 |
| A3 | 0.053 | 1.208 | 3.35 | 63.27 |
| A4 | 0 | 0.703 | 0.00 | 36.56 |
| A5 | 0 | 0.936 | 0.00 | 47.31 |
| C1 | 0 | 0.261 | 0.00 | 14.58 |
| C2 | 0 | 0.959 | 0.00 | 49.06 |
| Outlet | 0 | 0.904 | 0.00 | 44.88 |

Table S10: Absorbances and corresponding concentrations of IO3- and IO4- for the 50ppm KI using tap water treatment at various voltages.

| Sample port | Absorbance pH 6 | Absorbance pH 2 | IO4-(mg/L) | IO3-(mg/L) |
| --- | --- | --- | --- | --- |
| 6V |  |  |  |  |
| A1 | 0.017 | 0.231 | 0.00 | 13.09 |
| A2 | 0 | 0.134 | 0.00 | 8.26 |
| A3 | 0.047 | 0.843 | 2.24 | 40.43 |
| A4 | 0 | 0.428 | 0.00 | 22.89 |
| A5 | 0.007 | 0.54 | 0.00 | 28.46 |
| C1 | 0 | 0.239 | 0.00 | 13.49 |
| C2 | 0 | 0.646 | 0.00 | 33.73 |
| Outlet | 0.018 | 0.662 | 0.00 | 34.52 |
| 12V |  |  |  |  |
| A1 | 0.014 | 0.359 | 0.00 | 19.45 |
| A2 | 0 | 0.12 | 0.00 | 7.57 |
| A3 | 0.238 | 2.422 | 37.65 | 107.35 |
| A4 | 0 | 1.363 | 0.00 | 79.77 |
| A5 | 0.111 | 1.538 | 14.11 | 73.24 |
| C1 | 0 | 0.341 | 0.00 | 18.56 |
| C2 | 0 | 0.883 | 0.00 | 45.52 |
| Outlet | 0.042 | 1.526 | 1.31 | 90.32 |
| 24V |  |  |  |  |
| A1 | 0 | 0.559 | 0.00 | 29.40 |
| A2 | 0 | 0.413 | 0.00 | 22.14 |
| A3 | 0.172 | 1.561 | 25.41 | 59.09 |
| A4 | 0 | 0.284 | 0.00 | 15.72 |
| A5 | 0 | 0.99 | 0.00 | 51.41 |
| C1 | 0 | 0.526 | 0.00 | 27.76 |
| C2 | 0 | 0.834 | 0.00 | 43.08 |
| Outlet | 0 | 1.419 | 0.00 | 84.03 |

#### S.2.2 Chloride data

| Sample port | Absorbance pH 9.7 | Absorbance pH 4 381nm | Absorbance pH 4 300nm | ClO-(mg/L) | ClO2-(mg/L) | ClO3-(mg/L) |
| --- | --- | --- | --- | --- | --- | --- |
| 6V |  |  |  |  |  |  |
| A1 | 0.069 | 0.048 | 0.034 | 0.00 | 1.68 | 0 |
| A3 | 0.068 | 0.073 | 0.086 | 0.00 | 2.94 | 0 |
| A4 | 0.062 | 0.103 | 0.136 | 0.00 | 5.45 | 0 |
| A5 | 0.061 | 0.106 | 0.155 | 0.00 | 5.70 | 0 |
| C1 | 0.062 | 0.085 | 0 | 0.00 | 3.94 | 0 |
| C2 | 0.062 | 0.147 | 0 | 0.00 | 9.14 | 0 |
| Out | 0.064 | 0.148 | 0.024 | 0.00 | 9.23 | 7.40 |
| 12V |  |  |  |  |  |  |
| A1 | 0.063 | 0.018 | 0.043 | 0.00 | 0.00 | 0 |
| A3 | 0.068 | 0.039 | 0.076 | 0.00 | 0.05 | 0 |
| A4 | 0.064 | 0.039 | 0.042 | 0.00 | 0.05 | 0 |
| A5 | 0.061 | 0.019 | 0.021 | 0.00 | 0.00 | 0 |
| C1 | 0.058 | 0.021 | 0.029 | 0.00 | 0.00 | 0 |
| C2 | 0.062 | 0.049 | 0.064 | 0.00 | 0.37 | 0 |
| Out | 0.058 | 0.046 | 0.142 | 0.00 | 0.40 | 0 |
| 24V |  |  |  |  |  |  |
| A1 | 0.004 | 0.014 | 0.019 | 0.00 | 0.00 | 0 |
| A3 | 0 | 0.059 | 0.06 | 0.00 | 0.70 | 0 |
| A4 | 0 | 0.027 | 0.055 | 0.00 | 0.00 | 0 |
| A5 | 0 | 0.039 | 0.115 | 0.00 | 0.03 | 0 |
| C1 | 0 | 0.027 | 0.067 | 0.00 | 0.00 | 0 |
| C2 | 0 | 0.023 | 0.049 | 0.00 | 0.00 | 0 |
| Out | 0 | 0.039 | 0.057 | 0.00 | 0.03 | 0 |

Table S11: Absorbances and corresponding concentrations of chloride oxidative species for the 10ppm NaCl treatment.

Table S12: Absorbances and corresponding concentrations of chloride oxidative species for the 25ppm NaCl treatment.

| Sample port | Absorbance pH 9.7 | Absorbance pH 4 381nm | Absorbance pH 4 300nm | ClO-(mg/L) | ClO2-(mg/L) | ClO3-(mg/L) |
| --- | --- | --- | --- | --- | --- | --- |
| 6V |  |  |  |  |  |  |
| A1 | 0 | 0.225 | 0.163 | 0.00 | 6.28 | 0 |
| A3 | 0 | 0.261 | 0.136 | 0.00 | 11.22 | 14.03 |
| A4 | 0 | 0.201 | 0.31 | 0.00 | 8.20 | 0 |
| A5 | 0 | 0.138 | 0.251 | 0.00 | 8.39 | 0 |
| C1 | 0 | 0.144 | 0.201 | 0.00 | 5.34 | 0 |
| C2 | 0 | 0.162 | 0.248 | 0.00 | 10.40 | 0 |
| Out | 0 | 0.205 | 0.261 | 0.00 | 5.60 | 0 |
| 12V |  |  |  |  |  |  |
| A1 | 0 | 0.125 | 0.164 | 0.00 | 4.38 | 0 |
| A3 | 0 | 0.13 | 0.168 | 0.00 | 7.72 | 0 |
| A4 | 0 | 0.253 | 0.375 | 0.00 | 7.21 | 0 |
| A5 | 0 | 0.148 | 0.266 | 0.00 | 3.69 | 0 |
| C1 | 0 | 0.154 | 0.231 | 0.00 | 3.89 | 0 |
| C2 | 0 | 0.175 | 0.274 | 0.00 | 4.60 | 0 |
| Out | 0 | 0.165 | 0.256 | 0.00 | 4.26 | 0 |
| 24V |  |  |  |  |  |  |
| A1 | 0 | 0.095 | 0.11 | 0.00 | 1.91 | 0 |
| A3 | 0 | 0.193 | 0.213 | 0.00 | 5.20 | 0 |
| A4 | 0 | 0.09 | 0.178 | 0.00 | 1.74 | 0 |
| A5 | 0 | 0.094 | 0.236 | 0.00 | 1.88 | 0 |
| C1 | 0 | 0.082 | 0.096 | 0.00 | 1.48 | 0 |
| C2 | 0 | 0.091 | 0.143 | 0.00 | 1.78 | 0 |
| Out | 0 | 0.093 | 0 | 0.00 | 1.85 | 0 |

Table S13: Absorbances and corresponding concentrations of chloride oxidative species for the 50ppm NaCl treatment.

| Sample port | Absorbance pH 9.7 | Absorbance pH 4 381nm | Absorbance pH 4 300nm | ClO-(mg/L) | ClO2-(mg/L) | ClO3-(mg/L) |
| --- | --- | --- | --- | --- | --- | --- |
| 6V |  |  |  |  |  |  |
| A1 | 0.051 | 0.012 | 0.00 | 0.00 | 0.00 | 0.00 |
| A2 | 0.05 | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| A3 | 0.054 | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| A4 | 0.054 | 0.035 | 0.16 | 0.00 | 0.00 | 0.00 |
| A5 | 0.053 | 0.041 | 0.00 | 0.00 | 0.15 | 0.00 |
| C1 | 0.05 | 0.006 | 0.00 | 0.00 | 0.00 | 0.00 |
| C2 | 0.046 | 0.02 | 0.10 | 0.00 | 0.00 | 0.00 |
| Out | 0.048 | 0.062 | 0.04 | 0.00 | 0.81 | 0.00 |
| 12V |  |  |  |  |  |  |
| A1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A3 | 0.00 | 0.02 | 0.00 | 0.00 | 0.00 | 0.00 |
| A4 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A5 | 0.00 | 0.00 | 0.01 | 0.00 | 0.00 | 0.00 |
| C1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C2 | 0.00 | 0.01 | 0.07 | 0.00 | 0.00 | 0.00 |
| Out | 0.00 | 0.01 | 0.00 | 0.00 | 0.00 | 0.00 |
| 24V |  |  |  |  |  |  |
| A1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A3 | 0.00 | 0.08 | 0.04 | 0.00 | 1.41 | 0.00 |
| A4 | 0.00 | 0.01 | 0.02 | 0.00 | 0.00 | 0.00 |
| A5 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Out | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |

Table S14: Absorbances and corresponding concentrations of chloride oxidative species for the tap water treatment.

| Sample port | Absorbance pH 9.7 | Absorbance pH 4 381nm | Absorbance pH 4 300nm | ClO-(mg/L) | ClO2-(mg/L) | ClO3- (mg/L) |
| --- | --- | --- | --- | --- | --- | --- |
| 6V |  |  |  |  |  |  |
| A1 | 0 | 0.004 | 0.00 | 0.00 | 0.00 | 0.00 |
| A2 | 0 | 0 | 0.00 | 0.00 | 0.00 | 0.00 |
| A3 | 0 | 0.022 | 0.00 | 0.00 | 0.00 | 0.00 |
| A4 | 0 | 0.036 | 0.06 | 0.00 | 0.00 | 0.00 |
| A5 | 0 | 0.038 | 0.00 | 0.00 | 0.00 | 0.00 |
| C1 | 0 | 0.247 | 0.24 | 0.00 | 7.01 | 0.00 |
| C2 | 0 | 0.036 | 0.05 | 0.00 | 0.00 | 0.00 |
| Out | 0 | 0.112 | 0.17 | 0.00 | 2.48 | 0.00 |
| 12V |  |  |  |  |  |  |
| A1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A3 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A4 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| A5 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C1 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| C2 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Out | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 24V |  |  |  |  |  |  |
| A1 | 0.00 | 0.08 | 0.13 | 0.00 | 1.51 | 0.00 |
| A2 | 0.00 | 0.07 | 0.07 | 0.00 | 1.71 | 0.00 |
| A3 | 0.00 | 0.11 | 0.14 | 0.00 | 2.38 | 0.00 |
| A4 | 0.00 | 0.08 | 0.11 | 0.00 | 1.31 | 0.00 |
| A5 | 0.00 | 0.09 | 0.00 | 0.00 | 1.78 | 0.00 |
| C1 | 0.00 | 0.09 | 0.00 | 0.00 | 1.58 | 0.00 |
| C2 | 0.00 | 0.08 | 0.07 | 0.00 | 1.38 | 0.00 |
| Out | 0.00 | 0.10 | 0.00 | 0.00 | 2.05 | 0.00 |

Table S15: Stormwater quality data from selected outfalls in the City of Saskatoon from Summer 2018 and 2019. Note DW = dry weather and WW = wet weather; nd = no data

| Outfall | Sample type |  | Date | TOC (mg/L) | COD (mg/L) |  |  | E. coli (MPN/100mL) |  |  | TSS (mg/L) |  |  | EC (µS/cm) |  |  | TDS (mg/L) |  |  | pH |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Avenue BS | DW | 14 Jun 2018 |  | 81 |  | 46 |  |  | 30 |  |  | 4 |  |  | 1,684 |  |  | 842 |  |  | 8.09 |  |
|  | WW | 3 Jul 2018 |  | 93 |  | 48 |  |  | 2,000 |  |  | 6 |  |  | 1,420 |  |  | 702 |  |  | 8.02 |  |
|  | WW | 10 Jul 2018 |  | 90 |  | 344 |  |  | 4,000 |  |  | 330 |  |  | 331 |  |  | 159 |  |  | 8.05 |  |
|  | WW | 13 Aug 2018 |  | 84 |  | 51 |  |  | <1 |  |  | <1 |  |  | 1,429 |  |  | 708 |  |  | 7.94 |  |
|  | WW | 26 Aug 2018 |  | 93 |  | 171 |  |  | 2,500 |  |  | 14 |  |  | 1,015 |  |  | 500 |  |  | 7.45 |  |
| Weir/33rd | DW | 14 Jun 2018 |  | 87 |  | 78 |  |  | 1,725 |  |  | 8 |  |  | 2,080 |  |  | 1,047 |  |  | 8.14 |  |
|  | WW | 3 Jul 2018 |  | 120 |  | 68 |  |  | 420 |  |  | 18 |  |  | 1,768 |  |  | 881 |  |  | 8.17 |  |
|  | WW | 10 Jul 2018 |  | 72 |  | 347 |  |  | 4,000 |  |  | 625 |  |  | 677 |  |  | 329 |  |  | 7.82 |  |
|  | WW | 13 Aug 2018 |  | 101 |  | 123 |  |  | <1 |  |  | <1 |  |  | 1,880 |  |  | 942 |  |  | 8.11 |  |
|  | WW | 26 Aug 2018 |  | 95 |  | 177 |  |  | 575 |  |  | 23 |  |  | 1,164 |  |  | 574 |  |  | 7.89 |  |
| 17th St W | WW | 12 Jun 2019 |  | 55 |  | 334 |  |  | <1 |  |  | 202 |  |  | 694 |  |  | 337 |  |  | 7.02 |  |
|  | WW | 20 Jun2019 |  | 13 |  | 591 |  |  | 850 |  |  | 1,045 |  |  | 620 |  |  | 301 |  |  | 9.14 |  |
|  | WW | 25 Jul 2019 |  | 20 |  | 124 |  |  | <1 |  |  | 55 |  |  | nd |  |  | nd |  |  | nd |  |
|  | WW | 22 Aug 2019 |  | 378 |  | 2,711 |  |  | <1 |  |  | 594 |  |  | nd |  |  | nd |  |  | nd |  |
| GHB | WW | 12 Jun 2019 |  | 17 |  | 118 |  |  | <1 |  |  | 14 |  |  | 1,914 |  |  | 974 |  |  | 8.11 |  |
|  | WW | 20 Jun2019 |  | 14 |  | 88 |  |  | 250 |  |  | 84 |  |  | 1,156 |  |  | 570 |  |  | 8.13 |  |
|  | WW | 25 Jul 2019 |  | 11 |  | 63 |  |  | 245 |  |  | 8 |  |  | nd |  |  | nd |  |  | nd |  |
|  | WW | 22 Aug 2019 |  | 16 |  | 388 |  |  | 270 |  |  | 97 |  |  | nd |  |  | nd |  |  | nd |  |