Aerosol box decreases aerosol exposure only in depressurized rooms on intubation and extubation

Wataru Sakai, Gen Hasegawa, Tomohiro Chaki, Shunsuke Tachibana, Michiaki Yamakage

Supplemental Table E1. Particle counts of aerosol exposure of the physician, medical staff, and environment during intubation

| Physician’s Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehmann estimator | 95% confidence interval | p value |
| 0.3 μm |  |  |  | < 0.001 |
| PN | 10946 [3294 - 21921] |  |  |  |
| PB | 17403 [15170 - 19963] |  |  |  |
| DN | 4280 [248 - 9986] |  |  |  |
| DB | 1253 [-926 - 1865] |  |  |  |
| PN vs PB |  | -6710 | -27724 - 8532 | 0.577 |
| PN vs DN |  | 5307 | -7238 - 23230 | 0.345 |
| PN vs DB |  | 9693 | 1288 - 23663 | 0.012 |
| PB vs DN |  | 13298 | 3976 - 32513 | 0.025 |
| PB vs DB |  | 16150 | 7998 - 32946 | 0.012 |
| DN vs DB |  | 2885 | -1674 - 11155 | 0.500 |
| 0.5 μm |  |  |  | 0.006 |
| PN | 600 [289 - 652] |  |  |  |
| PB | 284 [153 - 347] |  |  |  |
| DN | 198 [109 - 369] |  |  |  |
| DB | -21 [-42 - 28] |  |  |  |
| PN vs PB |  | 316 | -174 - 1249 | 0.220 |
| PN vs DN |  | 365 | -175 - 1242 | 0.131 |
| PN vs DB |  | 589 | 109 - 1427 | 0.017 |
| PB vs DN |  | 40 | -508 - 455 | 1.000 |
| PB vs DB |  | 246 | -275 - 436 | 0.220 |
| DN vs DB |  | 206 | -155 - 485 | 0.344 |
| 1.0 μm |  |  |  | 0.013 |
| PN | 578 [141 - 1246] |  |  |  |
| PB | 710 [419 - 942] |  |  |  |
| DN | 164 [75 - 842] |  |  |  |
| DB | 17 [-13 - 72] |  |  |  |
| PN vs PB |  | -91 | -855 - 1145 | 1.000 |
| PN vs DN |  | 284 | -836 - 1501 | 1.000 |
| PN vs DB |  | 561 | -38 - 1662 | 0.072 |
| PB vs DN |  | 267 | -741 - 921 | 0.736 |
| PB vs DB |  | 682 | 57 - 1005 | 0.017 |
| DN vs DB |  | 173 | -112 - 1182 | 0.221 |
| 2.5 μm |  |  |  | < 0.001 |
| PN | 6656 [1483 - 11624] |  |  |  |
| PB | 9682 [8046 - 12034] |  |  |  |
| DN | 1796 [65 - 5886] |  |  |  |
| DB | 342 [-294 - 550] |  |  |  |
| PN vs PB |  | -2218 | -13077 - 9587 | 0.808 |
| PN vs DN |  | 4728 | -4811 - 16282 | 0.345 |
| PN vs DB |  | 6453 | 581 - 17684 | 0.012 |
| PB vs DN |  | 7886 | -668 - 17805 | 0.072 |
| PB vs DB |  | 9340 | 987 - 19207 | 0.012 |
| DN vs DB |  | 1599 | -554 - 8332 | 0.172 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 998 [266 - 1110] |  |  |  |
| PB | 750 [252 - 2303] |  |  |  |
| DN | 11 [-9 - 198] |  |  |  |
| DB | 44 [36 - 131] |  |  |  |
| PN vs PB |  | -4096 | -19101- 13067 | 0.8695 |
| PN vs DN |  | 2953 | -11915 - 23031 | 0.658 |
| PN vs DB |  | 7818 | 897 - 22116 | 0.012 |
| PB vs DN |  | 7883 | -3615 - 20765 | 0.131 |
| PB vs DB |  | 11510 | 6035 - 22116 | 0.012 |
| DN vs DB |  | 2761 | -861 - 14930 | 0.870 |
| 10 μm |  |  |  | 0.003 |
| PN | 6766 [1663 - 13945] |  |  |  |
| PB | 8596 [7707 - 10106] |  |  |  |
| DN | 3024 [51 - 10020] |  |  |  |
| DB | 470 [-121 - 539] |  |  |  |
| PN vs PB |  | -2610 | -12537 - 18604 | 0.957 |
| PN vs DN |  | 3147 | -8962 - 24945 | 0.736 |
| PN vs DB |  | 6296 | 748 - 26696 | 0.012 |
| PB vs DN |  | 5396 | -4897 - 144753 | 0.418 |
| PB vs DB |  | 8362 | 4766 - 16504 | 0.012 |
| DN vs DB |  | 2554 | -632 - 12929 | 0.279 |

| Medical Staff’s Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehmann estimator | 95% confidence interval | p value |
| 0.3 μm |  |  |  | < 0.001 |
| PN | 11949 [8850 - 14569] |  |  |  |
| PB | 18806 [16148 - 32994] |  |  |  |
| DN | 2007 [-114 - 2519] |  |  |  |
| DB | 161 [-195 - 377] |  |  |  |
| PN vs PB |  | -8518 | -31907 - 5633 | > 0.999 |
| PN vs DN |  | 9942 | 598 - 19816 | 0.017 |
| PN vs DB |  | 11788 | 2517 - 21185 | 0.012 |
| PB vs DN |  | 17568 | 2491 - 43511 | 0.017 |
| PB vs DB |  | 18645 | 4415 - 44890 | 0.012 |
| DN vs DB |  | 1746 | -1020 - 5956 | 0.345 |
| 0.5 μm |  |  |  | 0.003 |
| PN | 587 [265 - 2415] |  |  |  |
| PB | 476 [237 - 1124] |  |  |  |
| DN | 55 [-11 - 1413] |  |  |  |
| DB | -13 [-69 - 97] |  |  |  |
| PN vs PB |  | 111 | -1053 - 2801 | 0.957 |
| PN vs DN |  | 496 | -1207 - 3054 | 0.279 |
| PN vs DB |  | 554 | 163 - 3074 | 0.012 |
| PB vs DN |  | 248 | -1359 - 1503 | 0.496 |
| PB vs DB |  | 489 | 135 - 1523 | 0.012 |
| DN vs DB |  | 60 | -113 - 1632 | 0.658 |
| 1.0 μm |  |  |  | 0.001 |
| PN | 686 [458 - 3270] |  |  |  |
| PB | 1091 [571 - 1944] |  |  |  |
| DN | 107 [91 - 2106] |  |  |  |
| DB | 22 [-33 - 48] |  |  |  |
| PN vs PB |  | -113 | -1807 - 3173 | 0.994 |
| PN vs DN |  | 384 | -4828 - 3825 | 0.418 |
| PN vs DB |  | 664 | 357 - 3942 | 0.012 |
| PB vs DN |  | 624 | -4053 - 2184 | 0.496 |
| PB vs DB |  | 1069 | 135 - 2301 | 0.012 |
| DN vs DB |  | 124 | -3 - 4822 | 0.163 |
| 2.5 μm |  |  |  | < 0.001 |
| PN | 6656 [1483 -17633] |  |  |  |
| PB | 10956 [8297 - 19156] |  |  |  |
| DN | 703 [489 - 9585] |  |  |  |
| DB | 1 [-7 - 239] |  |  |  |
| PN vs PB |  | -3416 | -18081 - 10752 | 0.658 |
| PN vs DN |  | 5705 | -7627 - 18434 | 0.279 |
| PN vs DB |  | 6655 | 948 - 19090 | 0.012 |
| PB vs DN |  | 9193 | -2708 - 2150 | 0.098 |
| PB vs DB |  | 10829 | 1354 - 22506 | 0.012 |
| DN vs DB |  | 689 | 135 - 11046 | 0.017 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 11677 [6140 - 36555] |  |  |  |
| PB | 18199 [13405 - 33539] |  |  |  |
| DN | 2092 [1668 - 16096] |  |  |  |
| DB | 56 [-139 - 687] |  |  |  |
| PN vs PB |  | -5250 | -31656 - 27655 | 0.870 |
| PN vs DN |  | 8403 | -14727 - 39113 | 0.496 |
| PN vs DB |  | 11621 | 1754 - 41086 | 0.012 |
| PB vs DN |  | 15259 | -10919 - 37689 | 0.098 |
| PB vs DB |  | 18143 | 2490 - 24350 | 0.012 |
| DN vs DB |  | 2036 | 938 - 24350 | 0.012 |
| 10 μm |  |  |  | < 0.001 |
| PN | 9631 [5945 - 49348] |  |  |  |
| PB | 15688 [9429 - 34795] |  |  |  |
| DN | 3857 [1879 - 26341] |  |  |  |
| DB | 23 [-64 - 542] |  |  |  |
| PN vs PB |  | -3495 | -30049 - 45589 | 0.999 |
| PN vs DN |  | 5680 | -23850 - 52979 | 0.418 |
| PN vs DB |  | 9608 | 2354 - 55010 | 0.012 |
| PB vs DN |  | 9902 | -20355 - 33573 | 0.279 |
| PB vs DB |  | 15665 | 2255 - 55010 | 0.012 |
| DN vs DB |  | 3409 | 1128 - 29776 | 0.012 |

| Environmental Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehmann estimator | 95% confidence interval | p value |
| PN |  |  |  | 0.302 |
| PB | 10946 [3294 - 21921] |  |  |  |
| DN | 17403 [15170 - 19963] |  |  |  |
| DB | 4280 [248 - 9986] |  |  |  |
| PN vs PB | 1253 [-926 - 1865] |  |  |  |
| PN vs DN |  |  |  | 0.367 |
| PN vs DB | -18 [-21 - -15] |  |  |  |
| PB vs DN | 23 [-56 - 81] |  |  |  |
| PB vs DB | 44 [-34 - 51] |  |  |  |
| DN vs DB | -37 [-56 -3] |  |  |  |
| 0.5 μm |  |  |  | 0.008 |
| PN | 28 [4 - 58] |  |  |  |
| PB | 84 [-23 - 91] |  |  |  |
| DN | 6 [4 - 20] |  |  |  |
| DB | -22 [-23 - -12] |  |  |  |
| PN vs PB |  | -33 | -158 - 110 | 0.919 |
| PN vs DN |  | 17 | -16 - 120 | 0.491 |
| PN vs DB |  | 50 | 16 - 188 | 0.011 |
| PB vs DN |  | 64 | -70 - 173 | 0.576 |
| PB vs DB |  | 100 | -39 - 238 | 0.341 |
| DN vs DB |  | 29 | 4 - 169 | 0.014 |
| 1.0 μm |  |  |  | < 0.001 |
| PN | 578 [26 - 784] |  |  |  |
| PB | 862 [142 - 1003] |  |  |  |
| DN | -13 [-53 - 61] |  |  |  |
| DB | -115 [-168 - -16] |  |  |  |
| PN vs PB |  | -219 | -1631 - 843 | 0.919 |
| PN vs DN |  | 529 | -38 - 1060 | 0.052 |
| PN vs DB |  | 649 | 39 - 1206 | 0.025 |
| PB vs DN |  | 875 | -51 - 2047 | 0.098 |
| PB vs DB |  | 933 | 12 - 2193 | 0.025 |
| DN vs DB |  | 102 | -104 - 306 | 0.221 |
| 2.5 μm |  |  |  | 0.002 |
| PN | 767 [33 - 1401] |  |  |  |
| PB | 1410 [616 - 1615] |  |  |  |
| DN | -24 [-135 - 125] |  |  |  |
| DB | -87 [-275 - 9] |  |  |  |
| PN vs PB |  | -396 | -2225 - 1159 | 0.870 |
| PN vs DN |  | 791 | -119 - 1778 | 0.098 |
| PN vs DB |  | 876 | 3 - 1860 | 0.037 |
| PB vs DN |  | 1364 | -99 - 2741 | 0.072 |
| PB vs DB |  | 1474 | 11 - 2823 | 0.025 |
| DN vs DB |  | 89 | -195 - 450 | 0.658 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 668 [39 - 1225] |  |  |  |
| PB | 1065 [419 - 1405] |  |  |  |
| DN | -16 [-48 - 42] |  |  |  |
| DB | -31 [-161 -15] |  |  |  |
| PN vs PB |  | -183 | -1404 - 1292 | 0.981 |
| PN vs DN |  | 684 | -7 - 1852 | 0.052 |
| PN vs DB |  | 699 | 20 - 1984 | 0.025 |
| PB vs DN |  | 1081 | 10 - 1781 | 0.025 |
| PB vs DB |  | 1096 | 24 - 1823 | 0.025 |
| DN vs DB |  | 33 | -106 - 327 | 0.773 |
| 10 μm |  |  |  | < 0.001 |
| PN | 668 [39 - 1225] |  |  |  |
| PB | 1065 [419 - 1405] |  |  |  |
| DN | -16 [-48 - 42] |  |  |  |
| DB | -31 [-161 -15] |  |  |  |
| PN vs PB |  | -183 | -1404 - 1292 | 0.981 |
| PN vs DN |  | 684 | -7 - 1852 | 0.052 |
| PN vs DB |  | 699 | 20 - 1984 | 0.025 |
| PB vs DN |  | 1081 | 10 - 1781 | 0.025 |
| PB vs DB |  | 1096 | 24 - 1823 | 0.025 |

PN-in a pressurized room without an aerosol box, PB-in a pressurized room with an aerosol box, DN-in a depressurized room without an aerosol box, DB-in a depressurized room with an aerosol box

Supplemental Table E2. Particle counts of aerosol exposure of the physician, medical staff, and environment during extubation

| Physician’s Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehmann estimator | 95% confidence interval | p value |
| 0.3 μm |  |  |  | < 0.001 |
| PN | 11237 [2431 - 17094] |  |  |  |
| PB | 9332 [8478 - 29812] |  |  |  |
| DN | 978 [312 - 3988] |  |  |  |
| DB | -87 [-351 -427] |  |  |  |
| PN vs PB |  | -5041 | -28822 - 12805 | 0.957 |
| PN vs DN |  | 9629 | -1954 - 21497 | 0.098 |
| PN vs DB |  | 11324 | 936 - 22092 | 0.012 |
| PB vs DN |  | 8354 | 2262 - 31054 | 0.017 |
| PB vs DB |  | 9442 | 4235 - 31649 | 0.012 |
| DN vs DB |  | 1088 | -231 - 4706 | 0.072 |
| 0.5 μm |  |  |  | < 0.001 |
| PN | 199 [60 - 1368] |  |  |  |
| PB | 90 [31 - 239] |  |  |  |
| DN | 26 [-17 - 68] |  |  |  |
| DB | -27 [-52 - 17] |  |  |  |
| PN vs PB |  | 123 | -304 - 2753 | 0.697 |
| PN vs DN |  | 178 | -37 - 2807 | 0.098 |
| PN vs DB |  | 226 | 39 - 2872 | 0.012 |
| PB vs DN |  | 69 | -59 - 415 | 0.279 |
| PB vs DB |  | 119 | 10 - 480 | 0.025 |
| DN vs DB |  | 51 | -38 - 171 | 0.145 |
| 1.0 μm |  |  |  | < 0.001 |
| PN | 437 [100 - 2095] |  |  |  |
| PB | 312 [224 - 617] |  |  |  |
| DN | 24 [11 - 228] |  |  |  |
| DB | -8 [-11 - 24] |  |  |  |
| PN vs PB |  | 125 | -812 - 2887 | 0.981 |
| PN vs DN |  | 413 | -139 - 3160 | 0.131 |
| PN vs DB |  | 445 | 14 - 3192 | 0.017 |
| PB vs DN |  | 273 | -15 - 967 | 0.052 |
| PB vs DB |  | 305 | 75 - 999 | 0.012 |
| DN vs DB |  | 33 | -21 - 249 | 0.248 |
| 2.5 μm |  |  |  | 0.002 |
| PN | 5677 [896 - 10564] |  |  |  |
| PB | 4183 [1494 - 9927] |  |  |  |
| DN | 403 [127 - 2026] |  |  |  |
| DB | 22 [-41 - 85] |  |  |  |
| PN vs PB |  | 637 | -11268 - 13985 | 0.994 |
| PN vs DN |  | 5274 | -1208 - 16109 | 0.221 |
| PN vs DB |  | 5655 | 282 - 16468 | 0.012 |
| PB vs DN |  | 2545 | -989 - 12461 | 0.221 |
| PB vs DB |  | 4161 | -348 - 12820 | 0.131 |
| DN vs DB |  | 409 | 26 - 2103 | 0.025 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 9264 [1284 - 17738] |  |  |  |
| PB | 5813 [5273 - 18526] |  |  |  |
| DN | 641 [228 - 3014] |  |  |  |
| DB | 42 [-30 - 179] |  |  |  |
| PN vs PB |  | -1533 | -20700 - 25989 | 0.994 |
| PN vs DN |  | 7994 | -2574 - 31277 | 0.221 |
| PN vs DB |  | 9222 | 391 - 31767 | 0.017 |
| PB vs DN |  | 5288 | 316 - 22616 | 0.017 |
| PB vs DB |  | 5836 | 2725 - 23106 | 0.012 |
| DN vs DB |  | 599 | -39 - 4980 | 0.052 |
| 10 μm |  |  |  | < 0.001 |
| PN | 7917 [960 - 18438] |  |  |  |
| PB | 5662 [3983 - 14835] |  |  |  |
| DN | 455 [159 - 2442] |  |  |  |
| DB | 54 [-14 - 233] |  |  |  |
| PN vs PB |  | -263 | -17283 - 38204 | 1.000 |
| PN vs DN |  | 7462 | -3603 - 41819 | 0.279 |
| PN vs DB |  | 7863 | 290 - 42179 | 0.012 |
| PB vs DN |  | 4230 | -1592 - 18887 | 0.052 |
| PB vs DB |  | 5608 | 2193 - 19247 | 0.012 |
| DN vs DB |  | 420 | -133 - 5567 | 0.072 |

| Medical Staff’s Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehmann estimator | 95% confidence interval | p value |
| 0.3 μm |  |  |  | < 0.001 |
| PN | 15122 [5434 - 16699] |  |  |  |
| PB | 17787 [11256 - 26569] |  |  |  |
| DN | 1424 [857 - 2398] |  |  |  |
| DB | 1019 [268 - 2269] |  |  |  |
| PN vs PB |  | -4699 | -23472 - 14974 | 0.870 |
| PN vs DN |  | 13088 | -1214 - 27303 | 0.131 |
| PN vs DB |  | 13217 | -959 - 27335 | 0.072 |
| PB vs DN |  | 16363 | 1496 - 27875 | 0.012 |
| PB vs DB |  | 16768 | 1751 - 27907 | 0.012 |
| DN vs DB |  | 405 | -1651 - 2657 | 0.919 |
| 0.5 μm |  |  |  | 0.010 |
| PN | 664 [182 - 1328] |  |  |  |
| PB | 367 [192 - 690] |  |  |  |
| DN | 225 [144 - 471] |  |  |  |
| DB | 27 [13 - 54] |  |  |  |
| PN vs PB |  | 241 | -698 - 3642 | 0.870 |
| PN vs DN |  | 414 | -517 - 3743 | 0.737 |
| PN vs DB |  | 637 | -92 - 3912 | 0.131 |
| PB vs DN |  | 142 | -496 - 630 | 0.870 |
| PB vs DB |  | 340 | 79 - 720 | 0.012 |
| DN vs DB |  | 198 | -24 - 766 | 0.072 |
| 1.0 μm |  |  |  | 0.002 |
| PN | 953 [202 - 1802] |  |  |  |
| PB | 1091 [425 - 1420] |  |  |  |
| DN | 352 [191 - 540] |  |  |  |
| DB | 10 [7 - 77] |  |  |  |
| PN vs PB |  | 23 | -1392 - 9055 | 1.000 |
| PN vs DN |  | 677 | -512 - 9214 | 0.577 |
| PN vs DB |  | 943 | 5 - 962 | 0.025 |
| PB vs DN |  | 551 | -512 - 9214 | 0.345 |
| PB vs DB |  | 1081 | 223 - 1770 | 0.012 |
| DN vs DB |  | 342 | 5 - 962 | 0.025 |
| 2.5 μm |  |  |  | < 0.001 |
| PN | 8335 [1669 - 15182] |  |  |  |
| PB | 11111 [4434 - 13723] |  |  |  |
| DN | 2450 [1007 - 2804] |  |  |  |
| DB | 191 [143 - 929] |  |  |  |
| PN vs PB |  | -2401 | -14261 - 25567 | 0.994 |
| PN vs DN |  | 6311 | -2212 - 30671 | 0.279 |
| PN vs DB |  | 8144 | 143 - 32103 | 0.025 |
| PB vs DN |  | 8529 | 1266 - 19973 | 0.025 |
| PB vs DB |  | 10582 | 3428 - 21405 | 0.012 |
| DN vs DB |  | 1653 | 127 - 2791 | 0.037 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 14660 [3516 - 32353] |  |  |  |
| PB | 17592 [9640 - 22384] |  |  |  |
| DN | 4358 [2315 - 6319] |  |  |  |
| DB | 265 [212 - 1465] |  |  |  |
| PN vs PB |  | -2932 | -23161 - 40840 | 0.994 |
| PN vs DN |  | 10357 | -5537 - 48696 | 0.344 |
| PN vs DB |  | 14395 | 216 - 52736 | 0.025 |
| PB vs DN |  | 11548 | 3438 - 21981 | 0.037 |
| PB vs DB |  | 17327 | 7175 - 36790 | 0.012 |
| DN vs DB |  | 4095 | 709 - 6306 | 0.037 |
| 10 μm |  |  |  | < 0.001 |
| PN | 15453 [3701 - 37045] |  |  |  |
| PB | 16655 [9952 - 19229] |  |  |  |
| DN | 5972 [3238 - 9031] |  |  |  |
| DB | 222 [149 - 843] |  |  |  |
| PN vs PB |  | 494 | -18584 - 64912 | 1.000 |
| PN vs DN |  | 9836 | -8386 - 71087 | 0.496 |
| PN vs DB |  | 15231 | 258 - 75035 | 0.012 |
| PB vs DN |  | 8852 | -6238 - 28692 | 0.072 |
| PB vs DB |  | 16433 | 7123 - 32640 | 0.012 |
| DN vs DB |  | 5750 | 1950 - 9034 | 0.037 |

| Environmental Aerosol Exposure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Measured value | Hodges-Lehman estimator | 95% confidence interval | p value |
| 0.3 μm |  |  |  | 0.231 |
| PN | 1595 [-51 - 1717] |  |  |  |
| PB | 566 [333 - 3855] |  |  |  |
| DN | 198 [-119 - 786] |  |  |  |
| DB | 201 [125 - 480] |  |  |  |
| 0.5 μm |  |  |  | 0.748 |
| PN | 17 [-7 - 46] |  |  |  |
| PB | 16 [-6 - 29] |  |  |  |
| DN | 14 [-8 - 29] |  |  |  |
| DB | 13 [1 - 36] |  |  |  |
| 1.0 μm |  |  |  | 0.002 |
| PN | 67 [11 - 94] |  |  |  |
| PB | 81 [47 - 143] |  |  |  |
| DN | -4 [-20 - 17] |  |  |  |
| DB | 8 [4 - 35] |  |  |  |
| PN vs PB |  | -14 | -139 - 180 | 0.998 |
| PN vs DN |  | 71 | -7 - 240 | 0.072 |
| PN vs DB |  | 54 | -28 - 224 | 0.195 |
| PB vs DN |  | 73 | 16 - 172 | 0.012 |
| PB vs DB |  | 57 | 8 - 154 | 0.025 |
| DN vs DB |  | -17 | -59 - 16 | 0.658 |
| 2.5 μm |  |  |  | 0.001 |
| PN | 676 [125 - 792] |  |  |  |
| PB | 618 [297 - 1312] |  |  |  |
| DN | 66 [-4 - 130] |  |  |  |
| DB | 17 [-4 - 137] |  |  |  |
| PN vs PB |  | -5 | -1816 - 1684 | 0.999 |
| PN vs DN |  | 608 | -6 - 2001 | 0.052 |
| PN vs DB |  | 601 | -13 - 1998 | 0.052 |
| PB vs DN |  | 552 | 61 - 2127 | 0.026 |
| PB vs DB |  | 500 | 94 - 2124 | 0.026 |
| DN vs DB |  | 10 | -365 - 185 | 1.000 |
| 5.0 μm |  |  |  | < 0.001 |
| PN | 998 [266 - 1110] |  |  |  |
| PB | 750 [252 - 2303] |  |  |  |
| DN | 11 [-9 - 198] |  |  |  |
| DB | 44 [36 - 131] |  |  |  |
| PN vs PB |  | 20 | -2983 - 2186 | 0.999 |
| PN vs DN |  | 870 | -61 - 2519 | 0.052 |
| PN vs DB |  | 867 | 17 - 2482 | 0.026 |
| PB vs DN |  | 751 | 5 - 3423 | 0.026 |
| PB vs DB |  | 692 | 83 - 3386 | 0.017 |
| DN vs DB |  | -33 | -582 - 291 | 0.981 |
| 10 μm |  |  |  | < 0.001 |
| PN | 726 [256 - 921] |  |  |  |
| PB | 549 [231 - 2068] |  |  |  |
| DN | 57 [-14 - 167] |  |  |  |
| DB | 62 [2 - 206] |  |  |  |
| PN vs PB |  | -68 | -2108 - 1416 | 0.999 |
| PN vs DN |  | 651 | 45- 1770 | 0.037 |
| PN vs DB |  | 558 | 29 - 1834 | 0.026 |
| PB vs DN |  | 563 | 27 - 2590 | 0.026 |
| PB vs DB |  | 487 | 16 - 2567 | 0.026 |
| DN vs DB |  | -16 | -447 - 216 | > 0.999 |

PN-in a pressurized room without an aerosol box, PB-in a pressurized room with an aerosol box, DN-in a depressurized room without an aerosol box, DB-in a depressurized room with an aerosol box

Supplemental Table E3. Summary of visual assessments of aerosol dispersal during intubation, extubation, and removal of an aerosol box in a depressurized room or a pressurized room. The degree of aerosol exposure was classified in five degrees: could not be seen, mild, moderate, severe, and very severe.

|  | Depressurized Room |  | Pressurized Room |  |
| --- | --- | --- | --- | --- |
|  | During Intubation | During Extubation | During Intubation | During Extubation |
| Physician | mild | mild | mild | Could not be seen |
| Medical Staff | mild | mild | very severe | very severe |
| Environment | mild | mild | severe | very severe |
| During Removal of an Aerosol Box |  |  |  |  |
|  | Depressurized Room |  | Pressurized Room |  |
|  | After Intubation | After Extubation | After Intubation | After Extubation |
| Physician | mild | mild | moderate | mild |
| Medical Staff | moderate | mild | severe | severe |
| Environment | mild | mild | severe | severe |

Supplemental Video 1. Method for massaging the mannequin’s lungs and simulating aerosol spread during intubation without paralysis and extubation with an aerosol box in depressurized and pressurized rooms