Supplementary Material

Supplementary Table 1. Effects of socket wear time on the outcome metrics during the three-hour testing. Bold text indicates statistical significance.

|  | Outcome Metric | Slope | R2 | t-value | p-value |
| --- | --- | --- | --- | --- | --- |
| LEFT ARM |  |  |  |  |  |
| BBT | Number of Blocks | 4.80 x 10-3 | 0.154 | 0.954 | 0.038 |
|  | Number of Transient Bouts | 2.26 x 10-2 | 0.108 | 0.778 | 0.472 |
|  | Percent of Frames Classified as Point | 2.00 x 10-4 | 0.001 | 0.177 | 0.868 |
| tBBT | Completion Time (seconds) | -1.37 x 10-2 | 0.139 | -0.897 | 0.411 |
|  | Number of Transient Bouts | -2.86 x 10-2 | 0.332 | -1.576 | 0.176 |
|  | Percent of Frames Classified as Point | 6.07 x 10-4 | 0.076 | -0.641 | 0.550 |
| Rainbow | Completion Time (seconds) | -6.96 x 10-2 | 0.610 | -2.797 | 0.381 |
|  | Number of Transient Bouts | 3.45 x 10-2 | 0.657 | 3.095 | 0.027 |
|  | Percent of Frames Classified as Point | 4.82 x 10-3 | 0.169 | 1.008 | 0.360 |
| RIGHT ARM |  |  |  |  |  |
| BBT | Number of Blocks | 1.070 x 10-2 | 0.052 | 0.523 | 0.632 |
|  | Number of Transient Bouts | 3.810 x 10-2 | 0.129 | 0.861 | 0.429 |
|  | Percent of Frames Classified as Point | 5.360 x 10-4 | 0.375 | 1.732 | 0.144 |
| tBBT | Completion Time (seconds) | -2.950 x 10-2 | 0.753 | -3.902 | 0.011 |
|  | Number of Transient Bouts | 4.880 x 10-2 | 0.557 | 2.509 | 0.054 |
|  | Percent of Frames Classified as Point | 7.140 x 10-4 | 0.375 | 1.732 | 0.144 |
| Rainbow | Completion Time (seconds) | -2.120 x 10-2 | 0.559 | -2.519 | 0.053 |
|  | Number of Transient Bouts | 1.310 x 10-2 | 0.140 | 0.902 | 0.408 |
|  | Percent of Frames Classified as Point | 3.330 x 10-4 | 0.037 | 0.438 | 0.680 |

Supplementary Figure 1. Locations of the seven positions used during static training. Dimensions were measured from the center of each 10 x 10 cm square. The rows were located at the participant's head height, sternum height, and anterior superior iliac spine (ASIS) height. The columns were separated by a distance equivalent to the participant's shoulder width (30.5 cm).

Supplementary Figure 2. Dimensions for the Rainbow Test were measured from the center of each 7.62 x 7.62 cm square. The collection box was placed at the height of the participant's anterior superior iliac spine.

Supplementary Figure 3. Total latency from volitional muscle activation to TASKA prosthesis activation was approximated using two accelerometers. One accelerometer was placed on an able-bodied individual’s index finger and the other was placed on TASKA hand’s index finger in similar orientations. A classifier was trained on index finger flexion and the time difference between movement onsets was obtained from the z-axis acceleration based on visual inspection. A sample latency point extracted from the data is shown in plot.