Supplementary material

# Veterinary antimicrobials in cattle feedlot environs and irrigation conveyances in a high- intensity agroecosystem in southern Alberta

# Srinivas Sura 1* • Francis. J. Larney 2 • Jollin Charest 3 • Tim A. McAllister 2 • John V. Headley 4 • Allan J. Cessna 5

# 1 Agriculture and Agri-Food Canada, Morden Research and Development Centre, 101 Route 100, Morden, MB R6M 1Y5, Canada

# 2 Agriculture and Agri-Food Canada, Lethbridge Research and Development Centre, 5403 1st Avenue S., Lethbridge, AB T1J 4B1, Canada

# 3 Natural Resource Management Branch, Alberta Agriculture and Forestry, 5401 1st Avenue S., Lethbridge, AB T1J 4V6, Canada

# 4 Environment and Climate Change Canada, National Hydrology Research Centre, 11 Innovation Blvd., Saskatoon, SK S7N 3H5, Canada

# 5 Agriculture and Agri-Food Canada, Saskatoon Research and Development Centre, 107 Science Place, Saskatoon, SK S7N 0X2, Canada

### S1. Solid-phase extraction (SPE)

S2. Liquid chromatography-tandem mass spectrometry (LC-MS-MS) analysis

### Table S1. Liquid chromatography mobile phase gradient elution timetable.

Table S2. Precursor ion-product ion (multiple reaction monitoring-MRM transitions), mass spectrometer acquisition parameters, limit of detection (LOD), and limit of quantification (LOQ) for lincomycin, tetracycline, iso-chlortetracycline, sulfamethazine, 13C6-sulfamethazine (internal standard), erythromycin, tylosin, and monensin. Class of each veterinary antimicrobial is included in parenthesis.

Table S3: Detection frequencies (>LOQ) of seven antimicrobials in water samples from feedlot sampling sites, 2014 to 2016.

Table S4. Precipitation amounts associated with irrigation conveyance sampling, 2013–15.

### S1. Solid-phase extraction (SPE)

Water samples (500 mL) were transferred to graduated cylinders and mixed thoroughly with 25 mL of 0.2 M citric acid (pH 4.7) buffer (2013 samples), or McIlvaine-EDTA (50 mL L-1 sample) buffer (2014–15, 16 samples). McIlvaine-EDTA buffer (pH 4.0) was prepared by dissolving anhydrous dibasic sodium phosphate (28.4 g) in distilled water (1 L) to create a phosphate solution. Citric acid monohydrate (21 g) was dissolved in distilled water (separate 1 L) to which phosphate solution (625 mL) was added and mixed thoroughly. Disodium EDTA (ethylene-diamine-tetra-acetic acid) dehydrate (60.5 g) was then added to the resulting 1.625 L solution.

Solid-phase extraction of the buffered samples was carried out using conditions modified from Cessna et al. (2011) and Jacobsen et al. (2004). For 2013 samples, SPE was conducted using an Oasis weak cation exchange (WCX) cartridge (60-m particle size, 225 mg sorbent, Waters, Milford, MA) stacked on top of an Oasis hydrophilic-liphophilic balance (HLB) cartridge (60-m particle size, 225 mg sorbent, Waters, Milford, MA). For 2014–15, 16 samples, Strata strong anion exchange (SAX) cartridge (55-m particle size, 500 mg sorbent, Phenomenex, Torrance, CA) was used instead of WCX. The SAX cartridge was stacked on top of an Oasis hydrophilic-lipophilic balance (HLB) cartridge. Both cartridges were pre-conditioned in tandem with methanol (10 mL) followed by de-ionized water (10 mL). Buffered water samples were then passed through the cartridges under vacuum at a rate of 100 mL h-1, followed by de-ionized water (10 mL) to remove salts. Cartridges were air-dried for 30 s under vacuum and maintained at −10 °C until elution.

The cartridges were separated and eluted within 24 h. The WCX/SAX cartridge was eluted with methanol (5 mL) followed by methanol containing 2% formic acid (5 mL) whereas the HLB cartridge was eluted only with methanol (10 mL). Eluents from the WCX or SAX and HLB cartridges were collected separately into 15 mL centrifuge tubes and concentrated to ~500 L under a steady stream of N2 gas (water bath at 40 °C). The extract residues were combined, taken to 1 mL with de-ionized water, vortexed, and transferred into a 2-mL LC vial through a 0.45-µm nylon membrane syringe filter (Chromatographic Specialties Inc., Brockville, Ontario, Canada) equipped with a 3-mL disposable syringe (BD Diagnostics, Mississauga, Ontario, Canada). The combined extract residues were fortified with 10 µL of 10 mg L-1 13C6-sulfamethazine (internal standard; Cambridge Isotope Laboratories, Andover, MA) prior to analysis to normalize for variation in ionization within the ion source of the mass spectrometer.

### S2. Liquid chromatography-tandem mass spectrometry (LC-MS-MS) analysis

All concentrated extracts were analyzed using a high-pressure liquid chromatograph (Waters 2965 Alliance Separation Module, Waters Canada, Mississauga, ON) interfaced with a tandem mass spectrometer (Micromass Quattro Ultima, Waters Canada, Mississauga, ON). The conditions for LC-MS-MS analysis were adapted from Cessna et al. (2011). Liquid chromatographic separation of analytes was achieved using a 50-mm × 2.1-mm i.d. stainless steel column (Kinetex biphenyl, 2.6-µm diameter particle packing, Phenomenex, Torrance, CA), a mobile phase flow rate of 0.2 mL min-1, and an injection volume of 20 µL. Two mobile phases were used: mobile phase A was 100% de-ionized water containing 0.1% formic acid (v/v), and mobile phase B was 90% acetonitrile [10 % de-ionized water containing 0.1 % formic acid (v/v)]. Gradient elution (Table S1) was used to achieve separation of analytes prior to detection by tandem mass spectrometry. Retention times of all analytes are listed in Table S2.

Mass spectrometer parameters were optimized by infusion of individual standard analyte solutions. Individual stock solutions of analytical standards were prepared in acetonitrile (100 mg L-1). A working solution mixture of all analytes was made from the stock solutions in de-ionised water (1 mg L-1) and calibration standards were prepared. A six-point calibration curve (2.5, 5, 10, 25, 50, and 100 ng mL-1) was established for each analyte.

Water samples were analyzed in sets of 8 along with fortified and control samples. Control water samples (from Swift Current Creek, Swift Current, SK, Canada) were fortified with 10 µL or 50 µL of an aqueous solution of a mixture of iso-chlortetracycline, sulfamethazine, tylosin, monensin, lincomycin, erythromycin, or tetracycline, each at 1 mg L-1 (equivalent to 10 ng L-1 or 100 ng L-1). The fortified water was thoroughly mixed and subjected to SPE under the same conditions as described earlier.

Precursor and product ion transitions used for confirmation and quantification are listed in Table S2. The sum of two product ion transitions for each analyte was used for quantification and data analysis was carried out using MassLynx software (v 4.1, Waters, Milford, MA).

Detection frequencies (>LOQ) of seven antimicrobials in water samples from feedlot sampling sites, 2014 to 2016, are listed in Table S3.

Table S1: Liquid chromatography mobile phase gradient elution timetable.

| Time | Mobile Phase A, % | Mobile Phase B, %) | Flow rate (mL min-1) | Curve |
| --- | --- | --- | --- | --- |
| 0:00 | 85.0 | 15.0 | 0.2 | 1 |
| 2:00 | 85.0 | 15.0 | 0.2 | 11 |
| 20:00 | 0.0 | 100.0 | 0.2 | 6 |
| 20:10 | 85.0 | 15.0 | 0.2 | 1 |
| 25:00 | 85.0 | 15.0 | 0.2 | 1 |

Table S2: Precursor ion-product ion (multiple reaction monitoring-MRM transitions), mass spectrometer acquisition parameters, limit of detection (LOD), and limit of quantification (LOQ) for lincomycin, tetracycline, iso-chlortetracycline, sulfamethazine, 13C6-sulfamethazine (internal standard), erythromycin, tylosin, and monensin. Class of each veterinary antimicrobial is included in parenthesis.

| Veterinary Antimicrobial (Class of compound) | Parent ion to product ion transitions (m/z) | Cone voltage (v) | Collision energy (ev) | Retention time (min) | Method detection limit, MDL (ng L-1) | Limit of quantification, LOQ (ng L-1) |
| --- | --- | --- | --- | --- | --- | --- |
| Lincomycin (Lincosaminide) | 407.2 > 126.0 407.2 > 359.3 | 40.00 40.00 | 28.00 18.00 | 1.74 | 2.5 | 5.0 |
| Tetracycline (Tetracycline) | 445.0 > 410.0 445.0 > 427.0 | 20.00 20.00 | 20.00 10.00 | 2.10 | 2.5 | 5.0 |
| Iso-Chlortetracyclinez (Tetracycline) | 478.9 > 443.9 478.9 > 461.9 | 16.00 16.00 | 22.00 22.00 | 2.43 | 2.5 | 5.0 |
| Sulfamethazine (Sulfonamide) | 279.2 > 155.7 279.2 > 185.7 | 35.00 30.00 | 18.00 16.00 | 3.32 | 2.5 | 5.0 |
| 13C6-Sulfamethazine (Sulfonamide) | 285.0 > 186.0 285.0 > 162.0 | 35.00 35.00 | 16.00 18.00 | 3.32 | - | - |
| Erythromycin (Macrolide) | 734.5 > 157.9 734.5 > 576.2 | 30.00 30.00 | 30.00 30.00 | 11.41 | 2.5 |  |
| Tylosin (Macrolide) | 916.6 > 174.0 916.6 > 772.4 | 70.00 70.00 | 38.00 32.00 | 11.96 | 2.5 | 5.0 |
| Monensin (Ionophore) | 693.5 > 461.2 693.5 > 675.4 | 85.00 85.00 | 40.00 40.00 | 18.95 | 2.5 | 5.0 |
| zChlortetracycline irreversibly isomerizes to iso-chlortetracycline in water (Cessna et al. 2011) thus iso-chlortetracycline was monitored instead of chlortetracycline. |  |  |  |  |  |  |

Table S3: Detection frequencies (>LOQ) of seven antimicrobials in water samples from feedlot sampling sites, 2014 to 2016.

| Group | Samples, n | CTC | SMZ | TYL | MON | LIN | ERY | TC | Overall meana |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ————————————— Detection frequency (>5 ng L-1), % ————————————————— |  |  |  |  |  |  |  |
| Sampling site |  |  |  |  |  |  |  |  |  |
| Feedlot A, Catch basin 1 | 15 | 100 | 40 | 93 | 100 | 100 | 80 | 100 | 88 |
| Feedlot A, Catch basin 2 | 15 | 100 | 33 | 100 | 100 | 93 | 73 | 100 | 86 |
| Feedlot A, Primary retention pond | 16 | 100 | 38 | 94 | 100 | 88 | 81 | 100 | 86 |
| Feedlot A, Constructed wetland | 18 | 100 | 22 | 89 | 100 | 89 | 61 | 100 | 80 |
| Feedlot A, Secondary retention pond | 7 | 100 | 43 | 100 | 100 | 71 | 71 | 100 | 84 |
| Feedlot A, Creek-downstream | 9 | 100 | 0 | 56 | 89 | 44 | 67 | 100 | 65 |
| Feedlot B, Catch basin | 12 | 100 | 17 | 100 | 100 | 25 | 92 | 100 | 76 |
| Feedlot B, Creek-downstream | 11 | 100 | 0 | 73 | 82 | 45 | 27 | 100 | 61 |
| Feedlot B, Creek-upstream | 11 | 100 | 0 | 36 | 64 | 55 | 27 | 100 | 55 |

aBased on 7 analyses (CTC, SMZ, TYL, MON, LIN, ERY, TC) of 114 samples (n = 7 × 114 = 798).

Table S4. Precipitation amounts associated with irrigation conveyance sampling, 2013–15.

| Year | Sampling dates | Precipitation period | Precipitation, mm |
| --- | --- | --- | --- |
| 2013 | 11–13 June | 24 May–13 Junea | 79 |
|  | 27–29 August | 9–29 August | 3 |
| 2014 | 10–12 June | 23 May–12 June | 28 |
|  | 7–10 July | 20 June–10 July | 27 |
|  | 5–7 August | 18 July–7 August | 22 |
|  | 2–4 September | 15 August–4 September | 78 |
| 2015 | 8–11 June | 22 May–11 June | 19 |
|  | 6–9 July | 19 June–9 July | 24 |
|  | 27–30 July | 10–30 July | 34 |
|  | 31 August–3 September | 14 August–3 September | 29 |
| 2013 | All | 1 May–31 July | 199 |
| 2014 | All | 1 May–31 July | 196 |
| 2015 | All | 1 May–31 July | 109 |

a21-d period ending on last date of sampling.

References

Cessna, A.J., F.J. Larney, S.L. Kuchta, X. Hao, T. Entz, E. Topp, and T.A. McAllister. 2011. Veterinary antimicrobials in feedlot manure: Dissipation during composting and effects on composting processes. J. Environ. Qual. 40:188-198

Jacobsen, A.M., B. Halling-Sørensen, F. Ingerslev, and S. H. Hansen. 2004. Simultaneous extraction of tetracycline, macrolide and sulfonamide antibiotics from agricultural soils using pressurised liquid extraction, followed by solid-phase extraction and liquid chromatography-tandem mass spectrometry. J. Chromatogr. A 1038: 157-170.