# TABLE NO- 2: PERMISSIBLE STRESS ON CONCRETE

(M-150 means maximum stress of 150 kg/cm2 or 15 N/mm2)

| Grade of Concrete | Comp. Stress | Shear stress | Bending stress |
| --- | --- | --- | --- |
| M-100 | 30 | 3 | 7 |
| M-150 | 50 | 5 | 10 |
| M-250 | 70 | 7 | 13 |