Supplementary Information

Deficiency and absence of endogenous isoprene in adults, disqualified its putative origin

Pritam Sukul1*, Anna Richter2, Jochen K Schubert1, Wolfram Miekisch1

1Rostock Medical Breath Research Analytics and Technologies (ROMBAT), Dept. of Anaesthesiology and Intensive Care, University Medicine Rostock, Schillingallee 35, 18057 Rostock, Germany

2Department of Medicine, Clinic III – Hematology, Oncology, Palliative Medicine, Rostock University Medical Center, Ernst-Heydemann-Strasse 6, 18057 Rostock, Germany

*Correspondence: pritam.sukul@uni-rostock.de

Transparent Methods:

Operational conditions of PTR-ToF-MS: The primary ion (H3O+) is generated in the ion source via cathod discharge on pure water vapour. Non-dissociative proton transfer reaction [VOC + H3O+ → (VOC)H+ + H2O], which ionizes VOCs with relatively higher proton affinity than water in the drift tube. Protonated VOCs are then detected via a high-resolution time-of-flight mass-spectrometer (Tofwerk AG, Thun, Switzerland) according to their mass to charge ratio. Preconcentration is not required as ambient room air is used as buffer gas. Continuous side-stream sampling (sampling flow at 20 ml/min) was performed via a 1·5m long heated (at 75°C) silco-steel transfer-line that was connected to the sterile mouthpiece. By applying a high time-resolution (200 ms) we obtained each data-point/200 ms and on every data points hundreds of VOCs were measured up to trace abundances (in both expiratory and inspiratory air). Ion-source current = 4 mA, H2O flow = 6 ml/min, drift-temperature = 75°C, voltage = 610 V, pressure = 2·3 mbar, E/N ratio = 139 Td were applied. Each minute a new data file is automatically recorded and the mass scale is recalibrated/min upon following masses: 21·0226 (H3O+-isotope), 29·9980 (NO+) and 59·049 (C3H6O). VOCs are measured in counts per seconds (cps) and their intensities are normalized onto primary ion (H3O+) counts. As PTR-ToF-MS seamlessly record both expiratory and inspiratory (i.e. room air) phases, we applied our customized ‘breath tracker’ algorithm (Matlab version 7·12·0·635, R2011a) to determine exhaled alveolar and inspiratory phases(Sukul et al., 2014) by using endogenous acetone as tracker mass. VOCs are quantified by calibrations with pure reference substances under adapted sample humidity (as breath) via the liquid calibration unit (LCU, Ionicon Analytik GmbH, Innsbruck, Austria)(Trefz et al., 2018).

Gene expression analysis: Peripheral blood was collected from the index family (Index, her mother and sibling sister are female donors and her father and husband are male donors) sister and four unrelated healthy volunteers (Control 1 and 3 are male donors, Control 2 and 4 are female donors). For peripheral blood mononuclear cells (PBMC) isolation, the blood was mixed with cold PBS (Cat. No: L1825, Biochrom, Berlin, Germany) and phases were separated by density grade centrifugation (15 min, 1·200 x g, 4°C, break 0) using Biocoll solution (Cat. No: L6715, Biochrom, Berlin, Germany). RNA isolation was performed using the miRNeasy mini kit (Cat. No: 217004, Qiagen, Hilden, Germany) as suggested by the manufacturer’s guidelines. cDNA synthesis was carried out with the PrimeScript™ RT reagent kit (Cat. No: RR037A, TaKaRa Bio, Saint-Germain-en-Laye, France) as stated in the user manual. Gene expression analysis was carried out in technical triplicates using TB Green™ Premix Ex Taq™ II mastermix (Cat. No: RR820B, TaKaRa Bio) with 0·3 µM primers (eurofins, Ebersberg, Germany) and 20 ng cDNA in a ViiA7 Real Time PCR system (Applied Biosystems, Foster City, CA, USA) using the following protocol: 30 sec initial denaturation at 95°C followed by 45 cycles of 5 sec denaturation at 95°C, 30 sec annealing at 54°C and 30 sec elongation at 72°C. Relative gene expression was normalized to GAPDH (i.e. housekeeping gene) and calculated using the 2-ΔΔCt formula.

Non-invasive monitoring of Hemodynamics: Continuous non-invasive measurements of cardiac output, stroke volume, pulse rate, and mean arterial pressure were performed in real-time by using a ClearSight System EV1000 (Edwards Lifesciences,California, USA). Data were recorded within intervals of 20 s using ccNexfin technology (volume clamp method)(Lal et al., 1995; Wesseling et al., 1995). The measurement errors for absolute values are less than 20% for healthy volunteers and range from 23–39% in critically ill patients(Broch et al., 2012). In the volume clamp method, equal pressure is applied dynamically on the arterial wall by clamping the artery to a constant volume. The photoplethysmograph at the finger-cuff measures the volume. A constant arterial volume is maintained by applying counter pressure (optimized at 1000 times s−1) within the inflatable bladder of the finger cuff. ‘Physiocal,’ a method for initial and frequent calibration, determines the actual arterial ‘unloaded’ volume (volume at zero pressure gradient across the arterial wall) in real-time. The curvature and sharpness of the plethysmogram is analyzed during short episodes of consistent pressure levels. Physiological changes such as vasomotor tone is tracked by an automatic and periodic recalibration.

References

Broch, O., Renner, J., Gruenewald, M., Meybohm, P., Schöttler, J., Caliebe, A., Steinfath, M., Malbrain, M., Bein, B., 2012. A comparison of the Nexfin® and transcardiopulmonary thermodilution to estimate cardiac output during coronary artery surgery. Anaesthesia 67, 377–383. https://doi.org/10.1111/j.1365-2044.2011.07018.x

Lal, S.K.L., Henderson, R.J., Cejnar, M., Hart, M.G., Hunyor, S.N., 1995. Physiological Influences on Continuous Finger and Simultaneous Intra-arterial Blood Pressure. Hypertension 26, 307–314. https://doi.org/10.1161/01.HYP.26.2.307

Sukul, P., Trefz, P., Schubert, J.K., Miekisch, W., 2014. Immediate effects of breath holding maneuvers onto composition of exhaled breath. J. Breath Res. 8, 037102. https://doi.org/10.1088/1752-7155/8/3/037102

Trefz, P., Schubert, J.K., Miekisch, W., 2018. Effects of humidity, CO2 and O2 on real-time quantitation of breath biomarkers by means of PTR-ToF-MS. J. Breath Res. 12, 026016. https://doi.org/10.1088/1752-7163/aa9eea

Wesseling, K., Dewit, B., Vanderhoeven, G., Vangoudoever, J., Settels, J., 1995. Physiocal, Calibrating Finger Vascular Physiology for Finapres. Homeost. Health Dis. 36, 67–82.

Figure 1: Breath-resolved VOC time profiles and corresponding mass-spectrum of protonated-isoprene (C5H8)H+. Breath-profiles of the entire family of the index subject (indicated as ‘She’) are presented. Inspiratory and expiratory signal intensities of acetone, isoprene and PTR-primary ion (H3O+) are indicated via pink-, blue- and brown coloured curves, respectively. The vertical blue-coloured bar in each breath-plot represents the alveolar or inspiratory data point that corresponds to the subsequent mass-spectra at the right-hand side. Mass-spectrum of protonated-isoprene represents absolute abundances (in cps). For obvious reasons, we were able to obtain only two near-/partial expiratory phases from her daughter (<6 months old). She and her daughter did not exhale any treatable isoprene.

Table 1: Results from the statistical comparison of differences between exhaled and inhaled isoprene concentrations. Mean of exhaled alveolar isoprene concentrations (obtained via repeated measurements) from different age groups (pre-school children, pre-adolescents, teenagers, adults and seniors) are compared via one-way repeated measurements ANOVA on ranks (p-value ≤ 0·005). The adults are divided into three distinct cohorts depending on the normal levels (Adults_nor.Iso), absence (Adult_abs.Iso) and deficiency (Adults_def.Iso) of exhaled isoprene. All pairwise multiple comparisons with corresponding significance are presented.

One Way Repeated Measures Analysis of Variance:

Normality Test (Shapiro-Wilk): 	Failed	(P < 0.005)

Equal Variance Test (Brown-Forsythe):	Failed	(P < 0.005)

Treatment Name 	N 	Missing	Mean	Std Dev	SEM

Pre-school	7	0	7.287	2.849	1.077

Pre-adolescents	74	0	87.392	60.253	7.004

Teenagers	102	10	112.089	69.105	7.205

Adults_nor.Iso	387	0	137.496	49.686	2.526

Adult_abs.Iso	1	0	-11.000	0.000	0.000

Adults_def.Iso	5	0	21.730	13.330	5.961

Seniors	156	0	117.082	42.781	3.425

Source of Variation	 DF 	 SS 	 MS 	  F 	  P

Between Subjects	386	964852.747	2499.619

Between Treatments	6	463469.228	77244.871	26.143	<0.001

Residual	329	972091.423	2954.685

Total	721	2291246.806	3177.874

The differences in the mean values among the treatment groups are greater than would be expected by chance; there is a statistically significant difference (P = <0.001). To isolate the group or groups that differ from the others use a multiple comparison procedure.

Power of performed test with alpha = 0.005: 1.000

Expected Mean Squares:

Approximate DF Residual = 329.000

Expected MS(Subj) = var(res) + 1.852 var(Subj)

Expected MS(Treatment) = var(res) + var(Treatment)

Expected MS(Residual) = var(res)

All Pairwise Multiple Comparison Procedures (Student-Newman-Keuls Method):

Comparisons for factor:

Comparison	Diff of Means	p	q	P	P<0.050

Adults_nor.Iso vs. Adult_abs.Iso	270.952	7	6.366	<0.001	Yes

Adults_nor.Iso vs. Pre-school	206.499	6	12.359	<0.001	Yes

Adults_nor.Iso vs. Adults_def.Iso	197.466	5	10.055	<0.001	Yes

Adults_nor.Iso vs. Pre-adolescents	65.863	4	11.315	<0.001	Yes

Adults_nor.Iso vs. Seniors	34.339	3	7.890	<0.001	Yes

Adults_nor.Iso vs. Teenagers	33.006	2	6.169	<0.001	Yes

Teenagers vs. Adult_abs.Iso	237.946	6	5.558	0.001	Yes

Teenagers vs. Pre-school	173.492	5	10.014	<0.001	Yes

Teenagers vs. Adults_def.Iso	164.459	4	8.156	<0.001	Yes

Teenagers vs. Pre-adolescents	32.857	3	4.436	0.005	Yes

Teenagers vs. Seniors	1.332	2	0.211	0.881	No

Seniors vs. Adult_abs.Iso	236.613	5	5.542	<0.001	Yes

Seniors vs. Pre-school	172.160	4	10.101	<0.001	Yes

Seniors vs. Adults_def.Iso	163.127	3	8.188	<0.001	Yes

Seniors vs. Pre-adolescents	31.524	2	4.690	<0.001	Yes

Pre-adolescents vs. Adult_abs.Iso	205.089	4	4.784	0.004	Yes

Pre-adolescents vs. Pre-school	140.635	3	8.047	<0.001	Yes

Pre-adolescents vs. Adults_def.Iso	131.602	2	6.484	<0.001	Yes

Adults_def.Iso vs. Adult_abs.Iso	73.487	3	1.570	0.508	No

Adults_def.Iso vs. Pre-school	9.033	2	0.352	0.803	Do Not Test

Pre-school vs. Adult_abs.Iso	64.454	2	1.412	0.318	Do Not Test

A result of "Do Not Test" occurs for a comparison when no significant difference is found between two means that enclose that comparison.  For example, if you had four means sorted in order, and found no difference between means 4 vs. 2, then you would not test 4 vs. 3 and 3 vs. 2, but still test 4 vs. 1 and 3 vs. 1 (4 vs. 3 and 3 vs. 2 are enclosed by 4 vs. 2: 4 3 2 1).  Note that not testing the enclosed means is a procedural rule, and a result of Do Not Test should be treated as if there is no significant difference between the means, even though one may appear to exist.

Table 2: Results from the statistical comparison of differences between exhaled and inhaled isoprene concentrations. Mean (from repeated measurements) of exhaled alveolar and inhaled (i.e. inspiratory room-air) isoprene concentrations (obtained via repeated measurements) from index (i.e. She), index family and controls are compared via one-way repeated measurements ANOVA on ranks (p-value ≤ 0.005). All pairwise multiple comparisons with corresponding significance are presented.

One Way Repeated Measures Analysis of Variance:

Normality Test (Shapiro-Wilk): 	Passed	(P = 0.602)

Equal Variance Test (Brown-Forsythe):	Passed	(P = 0.198)

Treatment Name 	N 	Missing	Mean	Std Dev	SEM

Room-air	3	0	1.940	0.837	0.483

Con 1	3	0	114.527	6.287	3.630

Con 2	3	0	144.513	12.888	7.441

Con 3	3	0	176.703	11.263	6.503

Con 4	3	0	227.961	10.401	6.005

She	3	0	-12.000	4.583	2.646

Her Sister	3	0	22.127	2.461	1.421

Her Mother	3	0	25.673	2.587	1.494

Her Father	3	0	40.113	3.091	1.784

Her Husband	3	0	109.727	11.746	6.782

Her Daughter	3	0	2.433	1.069	0.617

Source of Variation	 DF 	 SS 	 MS 	  F 	  P

Between Subjects	2	127.452	63.726

Between Treatments	10	197653.526	19765.353	352.922	<0.001

Residual	20	1120.097	56.005

Total	32	198901.076	6215.659

The differences in the mean values among the treatment groups are greater than would be expected by chance; there is a statistically significant difference (P = <0.001). To isolate the group or groups that differ from the others use a multiple comparison procedure.

Power of performed test with alpha = 0.005: 1.000

All Pairwise Multiple Comparison Procedures (Student-Newman-Keuls Method):

Comparisons for factor:

Comparison	Diff of Means	p	q	P	P<0.050

Con 4 vs. She	239.961	11	55.538	<0.001	Yes

Con 4 vs. Room-air	226.021	10	52.311	<0.001	Yes

Con 4 vs. Her Daughter	225.528	9	52.197	<0.001	Yes

Con 4 vs. Her Sister	205.834	8	47.639	<0.001	Yes

Con 4 vs. Her Mother	202.288	7	46.819	<0.001	Yes

Con 4 vs. Her Father	187.848	6	43.476	<0.001	Yes

Con 4 vs. Her Husband	118.235	5	27.365	<0.001	Yes

Con 4 vs. Con 1	113.435	4	26.254	<0.001	Yes

Con 4 vs. Con 2	83.448	3	19.314	<0.001	Yes

Con 4 vs. Con 3	51.258	2	11.863	<0.001	Yes

Con 3 vs. She	188.703	10	43.674	<0.001	Yes

Con 3 vs. Room-air	174.763	9	40.448	<0.001	Yes

Con 3 vs. Her Daughter	174.270	8	40.334	<0.001	Yes

Con 3 vs. Her Sister	154.576	7	35.776	<0.001	Yes

Con 3 vs. Her Mother	151.030	6	34.955	<0.001	Yes

Con 3 vs. Her Father	136.590	5	31.613	<0.001	Yes

Con 3 vs. Her Husband	66.977	4	15.501	<0.001	Yes

Con 3 vs. Con 1	62.177	3	14.390	<0.001	Yes

Con 3 vs. Con 2	32.190	2	7.450	<0.001	Yes

Con 2 vs. She	156.513	9	36.224	<0.001	Yes

Con 2 vs. Room-air	142.573	8	32.998	<0.001	Yes

Con 2 vs. Her Daughter	142.080	7	32.884	<0.001	Yes

Con 2 vs. Her Sister	122.386	6	28.326	<0.001	Yes

Con 2 vs. Her Mother	118.840	5	27.505	<0.001	Yes

Con 2 vs. Her Father	104.400	4	24.163	<0.001	Yes

Con 2 vs. Her Husband	34.787	3	8.051	<0.001	Yes

Con 2 vs. Con 1	29.987	2	6.940	<0.001	Yes

Con 1 vs. She	126.527	8	29.284	<0.001	Yes

Con 1 vs. Room-air	112.586	7	26.058	<0.001	Yes

Con 1 vs. Her Daughter	112.093	6	25.943	<0.001	Yes

Con 1 vs. Her Sister	92.399	5	21.385	<0.001	Yes

Con 1 vs. Her Mother	88.853	4	20.565	<0.001	Yes

Con 1 vs. Her Father	74.413	3	17.223	<0.001	Yes

Con 1 vs. Her Husband	4.800	2	1.111	0.442	No

Her Husband vs. She	121.727	7	28.173	<0.001	Yes

Her Husband vs. Room-air	107.786	6	24.947	<0.001	Yes

Her Husband vs. Her Daughter	107.293	5	24.833	<0.001	Yes

Her Husband vs. Her Sister	87.599	4	20.274	<0.001	Yes

Her Husband vs. Her Mother	84.053	3	19.454	<0.001	Yes

Her Husband vs. Her Father	69.613	2	16.112	<0.001	Yes

Her Father vs. She	52.113	6	12.061	<0.001	Yes

Her Father vs. Room-air	38.173	5	8.835	<0.001	Yes

Her Father vs. Her Daughter	37.680	4	8.721	<0.001	Yes

Her Father vs. Her Sister	17.986	3	4.163	0.021	Yes

Her Father vs. Her Mother	14.440	2	3.342	0.028	Yes

Her Mother vs. She	37.673	5	8.719	<0.001	Yes

Her Mother vs. Room-air	23.733	4	5.493	0.005	Yes

Her Mother vs. Her Daughter	23.240	3	5.379	0.003	Yes

Her Mother vs. Her Sister	3.546	2	0.821	0.568	No

Her Sister vs. She	34.127	4	7.899	<0.001	Yes

Her Sister vs. Room-air	20.187	3	4.672	0.010	Yes

Her Sister vs. Her Daughter	19.694	2	4.558	0.004	Yes

Her Daughter vs. She	14.433	3	3.341	0.070	No

Her Daughter vs. Room-air	0.493	2	0.114	0.937	Do Not Test

Room-air vs. She	13.940	2	3.226	0.034	Do Not Test

A result of "Do Not Test" occurs for a comparison when no significant difference is found between two means that enclose that comparison.  For example, if you had four means sorted in order, and found no difference between means 4 vs. 2, then you would not test 4 vs. 3 and 3 vs. 2, but still test 4 vs. 1 and 3 vs. 1 (4 vs. 3 and 3 vs. 2 are enclosed by 4 vs. 2: 4 3 2 1).  Note that not testing the enclosed means is a procedural rule, and a result of Do Not Test should be treated as if there is no significant difference between the means, even though one may appear to exist.

Table 3: Results of gene expression analysis. dCT vs GDPA in controls and index family members are analyzed. ddCT and fold change of expression in index family vs control are assessed.

|  | dCT vs GAPDH |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Gene | Con #1 | Con #2 | Con #3 | Con #4 | Mean | SD |
| ACAT2 | 6.10 | 5.81 | 5.81 | 6.85 | 6.15 | 0.43 |
| HMGCS1 | 7.43 | 6.82 | 7.02 | 7.50 | 7.19 | 0.28 |
| HMGCR | 6.24 | 5.32 | 6.16 | 5.88 | 5.90 | 0.36 |
| MVK | 9.34 | 8.80 | 9.44 | 9.89 | 9.37 | 0.39 |
| PMVK | 9.96 | 8.50 | 8.88 | 8.13 | 8.87 | 0.68 |
| MVD | 8.85 | 7.75 | 8.11 | 9.22 | 8.48 | 0.58 |
| IDI1 | 8.63 | 7.20 | 7.46 | 8.12 | 7.86 | 0.56 |
| FDPS1 | 4.25 | 4.31 | 4.57 | 4.85 | 4.49 | 0.24 |
| GGPS1 | 5.15 | 4.87 | 5.05 | 5.30 | 5.09 | 0.16 |
| FDFT1 | 4.69 | 4.20 | 4.45 | 4.63 | 4.49 | 0.19 |
| LSS | 6.60 | 6.27 | 6.26 | 6.79 | 6.48 | 0.22 |
| DHCR7 | 9.34 | 9.01 | 8.97 | 9.46 | 9.19 | 0.21 |

dCT values of control samples for cholesterol synthesis pathway genes. The dCT value was calculated by subtracting the CT value of GAPDH from the specific gene CT value. Mean and standard deviation were subsequently calculated.

|  | dCT vs GAPDH |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Gene | Subject | Sister | Mother | Father | Husband |
| ACAT2 | 6.08 | 6.21 | 6.00 | 6.34 | 5.45 |
| HMGCS1 | 7.03 | 7.14 | 7.35 | 7.65 | 7.07 |
| HMGCR | 5.82 | 5.06 | 5.80 | 5.91 | 5.62 |
| MVK | 9.13 | 8.85 | 9.21 | 9.05 | 9.14 |
| PMVK | 8.04 | 7.24 | 9.54 | 9.23 | 7.37 |
| MVD | 7.79 | 8.13 | 9.28 | 8.42 | 8.15 |
| IDI1 | 7.60 | 7.91 | 9.53 | 8.47 | 7.14 |
| FDPS1 | 4.06 | 4.54 | 4.80 | 4.63 | 4.27 |
| GGPS1 | 4.72 | 4.87 | 4.57 | 4.88 | 5.10 |
| FDFT1 | 4.89 | 4.52 | 4.39 | 4.87 | 4.59 |
| LSS | 6.95 | 6.42 | 6.33 | 6.58 | 6.34 |
| DHCR7 | 9.38 | 8.59 | 9.15 | 8.98 | 8.98 |

dCT values of family members for cholesterol synthesis pathway genes. The dCT value was calculated by subtracting the CT value of GAPDH from the specific gene CT value.

|  | ddCT vs All Controls |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gene | Con #1 | Con #2 | Con #3 | Con #4 | Subject | Sister | Mother | Father | Husband |
| ACAT2 | 0.04 | 0.33 | 0.33 | -0.71 | 0.06 | -0.06 | 0.14 | -0.20 | 5.67 |
| HMGCS1 | -0.24 | 0.37 | 0.17 | -0.31 | 0.17 | 0.05 | -0.16 | -0.45 | 7.18 |
| HMGCR | -0.34 | 0.58 | -0.26 | 0.02 | 0.09 | 0.84 | 0.10 | -0.01 | 6.06 |
| MVK | 0.03 | 0.56 | -0.08 | -0.52 | 0.24 | 0.52 | 0.16 | 0.32 | 9.28 |
| PMVK | -1.09 | 0.37 | -0.01 | 0.74 | 0.82 | 1.63 | -0.67 | -0.36 | 9.56 |
| MVD | -0.37 | 0.73 | 0.37 | -0.74 | 0.69 | 0.35 | -0.79 | 0.06 | 8.90 |
| IDI1 | -0.78 | 0.65 | 0.39 | -0.27 | 0.25 | -0.05 | -1.67 | -0.61 | 9.13 |
| FDPS1 | 0.24 | 0.19 | -0.08 | -0.35 | 0.43 | -0.05 | -0.31 | -0.14 | 4.88 |
| GGPS1 | -0.06 | 0.22 | 0.04 | -0.21 | 0.37 | 0.23 | 0.52 | 0.21 | 4.54 |
| FDFT1 | -0.19 | 0.29 | 0.04 | -0.13 | -0.40 | -0.03 | 0.11 | -0.37 | 4.35 |
| LSS | -0.12 | 0.21 | 0.22 | -0.31 | -0.47 | 0.06 | 0.16 | -0.10 | 6.11 |
| DHCR7 | -0.15 | 0.19 | 0.22 | -0.26 | -0.19 | 0.61 | 0.05 | 0.22 | 8.92 |

ddCT values of all control samples and family members for cholesterol synthesis pathway genes compared to the mean of all control samples. The ddCT value was calculated by subtracting the individual CT value from the mean CT value of all controls for all genes.

|  | Fold change vs All controls |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gene | Con #1 | Con #2 | Con #3 | Con #4 | Subject | Sister | Mother | Father | Husband |
| ACAT2 | 1.03 | 1.26 | 1.26 | 0.61 | 1.04 | 0.96 | 1.10 | 0.87 | 1.62 |
| HMGCS1 | 0.85 | 1.29 | 1.13 | 0.81 | 1.12 | 1.04 | 0.90 | 0.73 | 1.09 |
| HMGCR | 0.79 | 1.50 | 0.83 | 1.02 | 1.06 | 1.80 | 1.07 | 0.99 | 1.22 |
| MVK | 1.02 | 1.48 | 0.95 | 0.70 | 1.18 | 1.43 | 1.12 | 1.25 | 1.17 |
| PMVK | 0.47 | 1.29 | 0.99 | 1.67 | 1.77 | 3.10 | 0.63 | 0.78 | 2.84 |
| MVD | 0.78 | 1.66 | 1.30 | 0.60 | 1.62 | 1.27 | 0.58 | 1.04 | 1.25 |
| IDI1 | 0.58 | 1.57 | 1.31 | 0.83 | 1.19 | 0.96 | 0.31 | 0.65 | 1.65 |
| FDPS1 | 1.18 | 1.14 | 0.95 | 0.78 | 1.35 | 0.97 | 0.81 | 0.91 | 1.17 |
| GGPS1 | 0.96 | 1.17 | 1.03 | 0.87 | 1.29 | 1.17 | 1.43 | 1.16 | 1.00 |
| FDFT1 | 0.87 | 1.22 | 1.03 | 0.91 | 0.76 | 0.98 | 1.08 | 0.77 | 0.93 |
| LSS | 0.92 | 1.16 | 1.16 | 0.81 | 0.72 | 1.05 | 1.11 | 0.94 | 1.10 |
| DHCR7 | 0.90 | 1.14 | 1.17 | 0.83 | 0.88 | 1.52 | 1.03 | 1.16 | 1.16 |

Fold change values of all control samples and family members for cholesterol synthesis pathway genes compared to the mean of all control samples. The fold change value was calculated via the 2-ΔΔCt formula with values greater than 1 indicating increased gene expression and values below 1 reduced gene expression.

Table 4: Demographic data. Gender, age range, body mass index (BMI) range of the measured study population (1026 human) via non-targeted breath screening and the same for the index subject, her family members and unrelated controls (included in genetic analysis) are presented.

| Entire study population for non-targeted breath screening |  |  |  |  | Cohort for genetic analysis |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Participant groups | Gender | Number | Age range (years) | BMI range (Kg/m2) | Subjects | Gender | Age (years) | BMI (Kg/m2) |
| Pre-school children | M | 3 | 0 - 5 | (07 - 11) | Index | F | 29 | 22 |
|  | F | 4 |  |  | Sister | F | 27 | 27 |
| Pre-adolescents | M | 35 | 6 - 12 | (09 - 18) | Father | M | 57 | 23 |
|  | F | 40 |  |  | Mother | F | 57 | 24 |
| Teenagers | M | 110 | 13 - 19 | (15 - 28) | Husband | M | 40 | 21 |
|  | F | 83 |  |  |  |  |  |  |
| Adults | M | 281 | 20 - 59 | (17 - 30) | Control 1 | M | 35 | 22 |
|  | F | 257 |  |  | Control 2 | F | 49 | 21 |
| Seniors | M | 46 | 60 - 90 | (21 - 34) | Control 3 | M | 32 | 23 |
|  | F | 167 |  |  | Control 4 | F | 24 | 20 |

Table 5: Primers used for mevalonate pathway gene expression analysis

| Gene | forward | reverse |
| --- | --- | --- |
| GAPDH | CTGCACCACCAACTGCTTAG | GTCTTCTGGGTGGCAGTGAT |
| ACAT2 | TGGTGCCTTAGCTGCTGTTC | GGCTTGTCTAACAGGATTCTGCC |
| HMGCS1 | AAGTCACACAAGATGCTACACCG | TCAGCGAAGACATCTGGTGC |
| HMGCR | GACGTGAACCTATGCTGGTCAG | GGTATCTGTTTCAGCCACTAAGG |
| MVK | CTTACCCAACATTGGTATCAAGCG | GCTTCTCCACTTGCTCTGAGGT |
| PMVK | CCTTTCGGAAGGACATGATCC | ACTCTCCGTGTGTCACTCACCA |
| MVD | AGCGCGATGAAGAGCTGGT | TCCTCGGTGAAGTCCTTGCT |
| IDI1 | CCGCAGACTGTGCTCAAAGC | CTGTTGCTTGTCGAGGTGGTT |
| FDPS1 | CTGGTGGTTCAGTGTCTGCAAC | CAGATCCAGCTCCTCATATAGCG |
| GGPS1 | AGAACCAAACTTTCACAGGCAT | GATGAGTAAACTGGCATTATGCA |
| FDFT1 | CACCACATCCCAGATGTCAT | TAACAGGCAGCCAAAGTGG |
| LSS | GACGACCGATTCACCAAGAG | GAGACATGCTCCTGGAAGGC |
| DHCR7 | TCCACAGCCATGTGACCAAT | GAAGTGGTCATGGCAGATGTC |