Supplementary information for parallel generation and coding of a terahertz pulse train

Joel Edouard Nkeck1, Louis-Philip Béliveau1, Xavier Ropagnol1,2, Dominic Deslandes1, Denis Morris3, and François Blanchard1,*

1Département de Génie Électrique, École de technologie supérieure (ÉTS), Montréal, Québec, Canada

2INRS – EMT Institut national de recherche scientifique, Varennes, Québec, Canada

3Département de Physique, Université de Sherbrooke, Sherbrooke, Québec, Canada

*E-mail: francois.blanchard@etsmtl.ca

Fig. S1: (a) Image of the pump beam after the step and DMD. A vertical pattern of lines and spaces is applied to the DMD. (b) Intensity profiles extracted from 4 echelons (green dotted box in (a)) and from the vertical mask applied on the DMD (red dotted box in (a)).

Section S1. Imaging alignment

Fig. S1(a) shows the echelon image as well as the mask formation on the DMD. In this image, it is clear that the plane of the echelon image corresponds to the position of the DMD image. Using the beam expander (see material and methods), we set the diameter of the optical beam of the laser to 3.17 mm at FWHM. The display is presented in logarithmic scale to better observe the complete intensity distribution. The sharpness of the extracted profiles of the echelon (green) and the lines and spaces (red) of the DMD in Fig. S1(b) confirms the high quality of the imaging. In this figure, 11 pixels on the camera correspond to 7 micro-mirrors on the DMD and a real space of 75 mm on the step mirror, i.e., equivalent to 1 step.

Section S2. Supplementary movie

The video depicts a 2D simulation, using Lumerical FDTD software, of a 100-fs duration optical pulse sent through the system, consisting of a step metal mirror and a biconvex transmissive lens (n=1.5). These simulations show the creation of discrete optical packets separated in time by the step mirror (as explained in the main text), and passing through the same focal point at distinct times, resulting in the generation of multiple THz pulses if a THz transmitter is placed at the focus.

Section S3. Matching imaging configuration with the generated THz pulse train

Fig. S3(a) The lower part shows the intensity profile extracted from the step image at the DMD position (at the position of the white dashed line in Fig. S1(a)). The upper parts are the zoomed-in views of the red-shaded areas 1, 2, and 3 of the bottom part of the figure. A periodic pattern is superimposed on the step intensity profile to highlight the variation in the period of the echelons.

In the bottom part of Fig. S3(a), the extracted profile (from the white dotted line in Fig. S1(a)) of the echelon image is shown for approximatively 100 echelons. In this figure, the tilted plane of the echelon mirror must be projected onto another tilted plane, the DMD surface. This complicated imaging condition creates two problems: first the echelon image has a magnification factor that varies along the plane of the DMD, which in turn produces a blurred image at the edge compared to the central part. Second, this magnification variation produces a nonperiodic oscillation. As can be seen in Fig. S3(b), the echelon image exhibits a change in frequency compared to a periodic reference in red. For the 3 zoomed-in areas in the upper part of the figure (1- Left, 2- Center, and 3- Right), the step image is larger on the left side of the DMD compared to the right side. In our modulation demonstration, a periodic mask structure was used, i.e., the 1 and 0 pass or block areas are the same width throughout the DMD (like the red signal shown in the top figure). This aberration in image magnification based on a periodic mask will in turn produce spurious THz signals for the pulses encoded on the edges of the DMD. For example, some of the light from the neighboring step will produce a small THz signal where no signal should be present. Fortunately, a mask adapted to the magnification variation could mitigate this problem.

Fig. S3(b) The lower part shows the amplitude of the THz pulse train generated from the pump beam intensity shown in Fig. S3(a). The upper parts are the zoomed-in views of the red-shaded areas 1, 2, 3, 4, 5, and 6 of the bottom part of the figure. A periodic pattern is superimposed on the measured electric field amplitude.

Figure S3(b) shows the generated THz pulse train compared to the image shown in Fig. S3(a). First, this result highlights that each generated THz pulse corresponds to one step of the echelon mirror, which is also in agreement with the simulations done in Fig. 2 of the main text and video S2. For a better understanding, the intensity coming from a single step is highlighted by a green circle in Figure S3(a)), which also corresponds to a single THz pulse represented by the green circle in Figure S3(b). Interestingly, the periodicity of the THz pulse train is not affected by the non-uniform magnification factor projected onto the DMD. Basically, each pulse is fed back, one after the other, past the focusing lens into the STE to discretely produce a single THz pulse at each ps.