Supplementary Materials (Online Only)

# Introduction

This document presents supporting detail on the scanning of the long core pushed into the bed of the main NEOM brine pool (S1), its geochronology and associated uncertainties (S2), X-ray flouresence scanning (S3) and X-ray diffraction (S4), geochemical analyses of the core sediments and overlying bine, plus associated uncertainties and measurement precision (S5), and genomics (S6). This document is accompanied by a supplemental Excel sheet containing all the raw data presented in the manuscript.

## S1. Computed Tomography (CT) Scanning of Cores

Computed tomography (CT) scans of our cores were conducted using a Siemens SOMATOM Volume Zoom Scanner equipped with an X-ray source voltage of 120 kV and a current of 350 mA. Image reconstruction was performed according to the U90u ultra-sharp bone protocol with a 0.1 mm slice increment. The obtained CT scan resolution was 0.5 mm in the xy- and z-directions. The CT data were processed with the ZIB edition of the Amira software [v. 2021.031]. Within Amira, core liners, including about 2 mm of the core rims, were deleted from the dataset until all marginal artefacts from the coring process were removed. Subsequently, all clasts >~1 mm, voids, and the matrix sediment were segmented with the marker-based Watershed Tool of the Segmentation Editor. Markers were set by thresholding. Voids were differentiated into sheet-like and bubble-like voids by calculating the FeretShape3D with the Label Analysis module and using a threshold of 1.5 in the Analysis Filter module. Holes within segmented clasts were added to the clasts with the selection fill tool. The quantification of the determined materials was performed with the Material Statistics module. Individual clasts were separated by running a Contour Tree Segmentation module (threshold: 0; persistence value: 0.05; persistence mode: adaptive) on a distance map (calculated with the Random Walk Distance Transform module) of the previously segmented clasts and subsequently parameterized with the Shape Analysis module. The determined clast length was further used for a clast size analysis. Therefore, every clast within an interval of 33 CT-slices (corresponds to a ~0.3 cm core interval) was considered and the obtained results were written to the central slice position (unit: volume-% of all segmented clasts). The analyzing interval was moved slice by slice. In the same manner, the vertical and horizontal clast orientation (of the longest axes) was determined.

## S2. Geochronology

Six samples were collected along the 83-cm long sediment core (CHR0017-5) and submitted to Beta Analytic Inc., Miami, for 14C dating. The 14C ages and their associated uncertainties were calibrated against the current marine calibration curve (Marine20)2 using the Calib8.2 online platform3. To achieve this calibration, local values for ΔR, the regional marine radiocarbon reservoir age corrections, are required. To calculate the local ΔR, U-Th chronology was conducted on a deep mesophotic coral sample (TNT0061-1C) collected from the Tiran Straits in the southern Gulf of Aqaba4. The surface of this sample was cleaned by means of abrasion and three subsamples were drilled from the most pristine area of the original sample using a rotary tool. Around 15 mg of homogenized sample was dissolved in 0.25 M HNO3 to minimize leaching of uranium and thorium from detrital materials. Isolation of uranium and thorium from each sample was achieved by extraction chromatography using Eichrom UTEVA resin following the methods of Pourmand et al.5. High precision uranium and thorium isotope measurement was performed on a Thermo Fisher Neptune PlusTM MC-ICP-MS with an Apex-Q desolvation nebulizer at the University of Miami Neptune Lab, Rosenstiel School of Marine and Atmospheric Science (UM-RSMAS). Age calculation and propagation of the uncertainties were performed by using Monte Carlo simulation5. The average initial 230Th/232Th activity ratio of 0.6±0.2 is used to correct for contribution of the detrital fraction to 230Th. Obtained U-Th dates are reported as years before present (BP) and the uncertainties on the U-Th ages are reported at the 95% confidence interval (CI), Table S1. The average U-Th age for the sample TNT0061-1C is 448±13 BP (n=3).

The local ΔR was calculated using the average U-Th age for TNT0061-1C sample (448±13 BP) following the method by Reimer and Reimer6. At the 95% confidence range, the local ΔR of -44±74 (Fig. S1) was used to account for the marine radiocarbon reservoir age corrections. The calibrated 14C ages are reported as calibrated year before present (cal. yr BP), Table S2.

Table S1. U-Th age results for coral sample TNT0061-1 collected in the Tiran Straits4 which was used to calculate the local ΔR required to calibrate the 14C ages in the core.

| Sample ID | Uncorrected Age (BP) | 95% CI | Corrected Age (BP) | 95% CI | U ng/g | 95% CI | Th ng/g | 95% CI | 234U/238U Activity Ratio* | 95% CI | 230Th/238U Activity Ratio* | 95% CI | 230Th/232Th Activity Ratio* | 95% CI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NTN0061-1-UT-1 | 529 | 19 | 470 | 27 | 5741.65 | 5.76 | 18.13 | 0.23 | 1.15 | 0.0031 | 0.0056 | 0.00021 | 5.36 | 0.21 |
| NTN0061-1-UT-2 | 681 | 10 | 611 | 25 | 5820.56 | 7.80 | 21.57 | 0.12 | 1.16 | 0.0034 | 0.0071 | 0.00011 | 5.89 | 0.09 |
| NTN0061-1-UT-3 | 420 | 10 | 383 | 16 | 5942.64 | 7.85 | 11.91 | 0.18 | 1.15 | 0.0032 | 0.0044 | 0.00011 | 6.68 | 0.19 |
| *Measured ratios corrected for acid blank, abundance sensitivity, hydride, and spike contribution. The activity ratios are from Monte Carlo Simulation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Table S2. Radiocarbon dates and calibrated ages for the long core.

| Sample ID | Lab ID | Material | Depth mipoint (mm) | Sample Thinckness (mm) | Corrected Depth midpoint (mm)* | 14C Age | error | δ13C (‰) | 14C Age Corrected for Reservoir Effect** | error | Age Range (2σ) cal. y BP | Median Age cal. y BP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHR0017-5-C-1 | Beta - 596734 | Bulk Sediment | 79 | 8 | 128 | 780 | 30 | -19.5 | 824 | 39 | 67-477 | 285 |
| CHR0017-5-C-2 | Beta - 596735 | Bulk Sediment | 193 | 10 | 312 | 820 | 30 | -19.4 | 866 | 39 | 111-505 | 326 |
| CHR0017-5-C-3 | Beta - 596736 | Bulk Sediment | 289 | 8 | 468 | 1030 | 30 | -19.1 | 1074 | 39 | 316-663 | 508 |
| CHR0017-5-C-4 | Beta - 596737 | Bulk Sediment | 496.5 | 9 | 807 | 1230 | 30 | -19.2 | 1274 | 39 | 507-871 | 672 |
| CHR0017-5-C-5 | Beta - 596738 | Bulk Sediment | 720 | 8 | 1170 | 1550 | 30 | -20.1 | 1594 | 39 | 768-1200 | 986 |
| CHR0017-5-C-6 | Beta - 595099 | Bulk Sediment | 820 | 10 | 1333 | 1760 | 30 | -19.1 | 1804 | 39 | 979-1383 | 1197 |
| * The original length of core was 135 cm, which was compressed down to 85 cm due to sampling. Corrected depth midpoint is referred to the original length of the core. |  |  |  |  |  |  |  |  |  |  |  |  |
| ** Local ΔR of -44±74 was used to account for the marine radiocarbon reservoir age corrections. |  |  |  |  |  |  |  |  |  |  |  |  |

Figure S1. The R distribution for sample TNT0061-1C based on Marine 14C and U-Th ages.

## S3. X-Ray Fluorescence Scanning of Cores

Our Avaatech XRF core scanner uses an X-ray tube with a Rhodium-anode to generate the incident X-rays that irradiate the sample. The machine can measure elements ranging from Al to U in the periodic table, though in practice for marine sediments, a more limited suite of elements proves useful for characterizing the lithogenic and biogenic components. Prior to scanning, each core section was scraped with a glass slide to clean the exposed sediment surface and covered with a 4-μm thick Ultralene plastic film to prevent sediment contamination of the measuring prism. Sections were warmed up prior to covering with the film to prevent condensation build-up beneath the film, which can affect X-ray attenuation for the lightest elements7. Two scans were completed for each core at voltages of 10 kV and 30 kV. The longest core (150 cm, Core #5) was additionally scanned at 50 kV (Table S3 – see supplemental Excel sheet). The 10 kV scan used a tube current of 800 μA, no filter and a detection time of 15 secs. live time. For the 30 kV scan, the tube current and detection time were the same, but a Pd-thick filter was used. The 50 kV scan used a tube current of 1000 μA, 15 sec. detection time and a Cu filter. For all measurements, the sample irradiation area was 2 mm in the downcore direction and 12 mm in the cross-core direction.

## S4. X-Ray Diffraction

Using a Panalytical X-Pert Pro with copper radiation, X-ray diffraction (XRD) analyses were conducted on powdered samples extracted at 25 mm intervals down the cores. Scans were conducted between 23° and 32° 2θ using a step interval of 0.01° and a count time of 1 sec. per step. The percentage of aragonite, low- and high-magnesium calcite, and dolomite in the carbonate fraction were quantified using the peak areas and calibrated using a set of six standards employing the method described by Swart et al.8. To calculate the percentage of feldspar and quartz (Table S4 – see supplemental Excel sheet), the ratio of the area of the quartz peak was computed relative to the sum of the areas of the quartz and feldspar peaks and the percentage calculated assuming the amount of insoluble was solely composed of quartz, feldspar, and organic material. Elements' intensity are in count per second (cps).

## S5. Geochemistry

Stable isotopes analyses of carbon and oxygen were also conducted at 25 mm intervals by reaction with phosphoric acid using a common acid bath at 90oC interfaced to a Finnigan-MAT 251 mass spectrometer. The data were corrected using internal standards (two at the start and two at the end), corrected for the usual isobaric interferences, and calibrated relative to NBS-19 (National Bureau of Standards) and reported relative to Vienna Pee Dee Belemnite (V-PDB) using the conventional notation.

The percentages of organic carbon and nitrogen and their δ13Corg values were measured after decalcification with dilute (5%) HCl (Table S5 – see supplemental Excel sheet). The washed and dried residual materials were processed using a Costech Carbon-Nitrogen analyser interfaced to a Thermo Advantage V mass spectrometer. The amount of organic carbon and nitrogen was calculated by comparing the integrated area of the major beams (mass 28 for N and mass 44 for C) to standards with known amounts of carbon and nitrogen, as detailed in previous publications9. These concentrations are then divided by the original weight of the sample dissolved in acid to compute the percent of organic carbon (and nitrogen) in the original sample (Table S5 – see supplemental Excel sheet). The C/N ratios are reported as molar ratios.  The procedure was standardize using laboratory materials calibrated relative to standards supplied by the International Atomic Energy Authority (IAEA) and reported relative to V-PDB using the conventional notation.

Elemental analysis of brine samples was conducted on an Agilent 8900 triple quadrupole ICP-MS in MS/MS mode using He, H2, or O2 in mass shift mode. Intensity was converted to concentration using primary standards to prepare solutions with a range of concentrations to span the expected range of sample compositions. Indium (In) and Tb were used as on-line internal standards. NIST traceable (SPEX CertiPrep) multi-element solution standards, IAPSO, and CASS-6 from the National Research Council of Canada were used as independent certified reference materials in this analysis.  Sample dilution and reagent preparation was conducted inside a class-100 trace metal workstation. Acid dilutions were prepared using MillQ water (Millipore, resistivity > 18 Mcm-1) and sample dilution was conducted as a function of salinity, using 1% HNO3, prepared from concentrated nitric acid distilled using sub-boiling stills (Savillex DST-1000 stills). Total sulfur concentrations were assumed to be present as sulphate in this analysis.

Following the protocols of Blättler et al.10, salinity and the isotopic ratios of oxygen and hydrogen were measured for the seawater samples collected by CTD 500 m above the seawater-brine interface and 2 m beneath it (Table S6 – see supplemental Excel sheet). Three replicate samples were collected at each elevation. Oxygen and hydrogen isotope ratios of water (δ18O and δ2H values) were measured using a Picarro L2140-i Cavity Ring-Down Spectrometer (CRDS). Four standard waters, calibrated to the SMOW–GISP–SLAP scale (Standard Mean Ocean Water, Greenland Ice Sheet Precipitation, and Standard Light Antarctic Precipitation), were analyzed at the beginning and end of a block of samples. Each sample or standard was injected six times into the Picarro A0211 vaporizer unit, held at 110°C for the duration of the sample run, using N2 as the carrier gas, and 1.8 lL per injection. The first two injections from each sample are routinely discarded to eliminate any memory between samples. Samples processed between the initial and final standards are corrected for any drift in the instrument. The data are reported relative to Vienna Standard Mean Ocean Water (VSMOW) using the conventional notation and have an average standard deviation of <0.04‰ for δ18O and <0.1‰ for δ2H, where the error represents the mean standard deviation of all injections used to calculate the mean values of standards and samples.

## S6. 16S rRNA Sequencing

To extract genomic DNA, filters were extracted by bead beating using a Qiagen FastPrep 120 instrument for 60 secs. at a speed setting of 6.0, centrifuged at 14,000×g for 5 mins., and the supernatant transferred to a fresh 2 mL microfuge tube. Per manufacturer’s instructions, total genomic DNA was extracted from filter samples using the FastDNA spin soil kit (MPBio® FastDNA Soil Kit). Following the DNA extraction, a Qubit fluorometer was used to determine the DNA concentration of each sample. The supernatant was then further purified, and the resultant total microbial community DNA was eluted from spin columns in 100 µL volume and stored at -80°C. The extracted DNA was then further concentrated down to 20 µL using an ultrafilter (Microcon DNA Fast Flow PCR Grade with Ultracel membrane, dual cycle EtO treated) and refrozen until all samples were processed for sequencing analysis. The nucleic acid concentration of each sample was then quantified using the Qubit™ 3.0 fluorometer (dsDNA HS assay kit; ThermoFisher, Invitrogen™ Qubit™ 3 Fluorometer). The concentrated DNA extracts were shipped (on dry ice) to the Roy J. Carver Biotechnology Center at the University of Illinois for high-throughput sequencing of the 16S rRNA gene.

Prior to amplification, all DNA samples were measured on a Qubit (Life Technologies) using the High Sensitivity DNA Kit. Samples were diluted to 2 ng/µl concentrations. A mastermix for amplification was prepared using the Roche High Fidelity Fast Start Kit and 20× Access Array loading reagent according to Fluidigm protocols. Mastermix was aliquoted to 48 wells of a PCR plate. To each well, 1 µl DNA sample and 1 µl Fluidigm Illumina linkers with unique barcode were added. In a separate plate, primer pairs were prepared and aliquoted. 20× primer solutions were prepared by adding 2 µl of each forward and reverse primer (50 µM), 5 µl of 20× Access Array Loading Reagent and water to a final volume of 100 µl. Final primer concentration in the reactions were 50 nM each. Primers 515F-806R were used to target the V4 region of the 16S SSU rRNA. All primers were synthesized by IDT Corp. (Coralville, IA).

4 µl of sample was loaded in the sample inlets and 4 µl of primer loaded in primer inlets of a previously primed Fluidigm 48.48 Access Array IFC. The IFC was placed in The Juno microfluidic machine (Fluidigm Corp.) for loading of all primer/sample combinations, amplification, and harvest. Harvested product was then transferred to a new 96 well plate, quantified on a Qubit fluorimeter and stored at -20 °C. All samples were run on a Fragment Analyzer (Advanced Analytics, Ames, IA) and amplicon regions and expected sizes confirmed. Samples were then pooled in equal amounts according to product concentration. The pooled products were then size selected on a 2% agarose E-gel (Life Technologies) and extracted from the isolated gel slice with Qiagen gel extraction kit (Qiagen) using a Qiacube robot. Cleaned size selected products were run on an Agilent Bioanalyzer to confirm appropriate profile and determination of average size.

The final Fluidigm pool was submitted to the DNA Services laboratory of the Roy J. Carver Biotechnology Center at the University of Illinois at Urbana-Champaign. The final pool was quantitated using Qubit (Life Technologies, Grand Island, NY) and then further quantitated by qPCR on a Bio-Rad CFX Connect Real-Time System (Bio-Rad Laboratories, Inc. CA).

The pool was denatured and spiked with 20% non-indexed PhiX V3 control library provided by Illumina and loaded onto the MiSeq V2 flowcell at a concentration of 7 pM for cluster formation and sequencing. The PhiX control library provides a balanced genome for calculation of matrix, phasing, and prephasing, which are essential for accurate basecalling. The libraries were sequenced from both ends of the molecules to a total read length of 250nt from each end. The run generated .bcl files were converted into demultiplexed compressed fastq files using bcl2fastq 2.20 (Illumina, CA).

Bioinformatic analysis was facilitated by the Qiime2 framework. Samples were demultiplexed and primers were trimmed prior to amplicon sequence variant (ASV) table generation using DADA2. A phylogenetic tree was consequently derived from the ASV table using a sampling depth of 300 to retain around 2% of the table’s features and 75% of samples. Subsequent taxonomic analysis was performed using a Naïve Bayes classifier trained on 99% OTUs from the 515F/806R sequence regions. Data was further filtered for known contaminants based on those identified by Salter et al.11.

# References – Supplementary Materials

1	Stalling, D., Westerhoff, M. & Hege, H. C. Amira: A highly interactive system for visual data analysis. The visualization handbook 38, 749-767 (2005).

2	Heaton, T. J. et al. Marine20—the marine radiocarbon age calibration curve (0–55,000 cal BP). Radiocarbon 62, 779-820 (2020).

3	Stuiver, M., Reimer, P. & Reimer, R. CALIB 8.2. http://calib.org.  (2021).

4	Purkis, S. J. et al. Tsunamigenic Potential of an Incipient Submarine Landslide in the Tiran Straits. Geophysical Research Letters, e2021GL097493 (2022).

5	Pourmand, A., Tissot, F. L., Arienzo, M. & Sharifi, A. Introducing a comprehensive data reduction and uncertainty propagation algorithm for U‐Th geochronometry with extraction chromatography and isotope dilution MC‐ICP‐MS. Geostandards and Geoanalytical Research 38, 129-148 (2014).

6	Reimer, R. W. & Reimer, P. J. An online application for ΔR calculation. Radiocarbon 59, 1623-1627 (2017).

7	Tjallingii, R., Röhl, U., Kölling, M. & Bickert, T. Influence of the water content on X‐ray fluorescence core‐scanning measurements in soft marine sediments. Geochemistry, Geophysics, Geosystems 8 (2007).

8	Swart, P. K. et al. 10. Data Report: Carbonate Mineralogy of Sites Drilled during Leg 182. Hine, A.C., Feary, D.A., and Malone, M.J. (Eds.) Proceedings of the Ocean Drilling Program, Scientific Results 182 (2002).

9	Oehlert, A. M. et al. The stable carbon isotopic composition of organic material in platform derived sediments: implications for reconstructing the global carbon cycle. Sedimentology 59, 319-335 (2012).

10	Blättler, C. L., Higgins, J. A. & Swart, P. K. Advected glacial seawater preserved in the subsurface of the Maldives carbonate edifice. Geochimica et Cosmochimica Acta 257, 80-95 (2019).

11	Salter, S. J. et al. Reagent and laboratory contamination can critically impact sequence-based microbiome analyses. BMC biology 12, 1-12 (2014).