Table S1. The Nails Distance of Two Groups

| Nail Distance | UJ group Mean ± SD | AO group Mean ± SD | p value |
| --- | --- | --- | --- |
| A | 7.5 ± 0.30 mm | 7.5 ± 0.16 mm | 0.344 |
| B | 7.0 ± 0.02 mm | 7.0 ± 0.02 mm | 0.782 |
| C | 7.9 ± 0.02 mm | 7.9 ± 0.03 mm | 0.112 |
| D | 6.3 ± 0.02 mm | 6.3 ± 0.02 mm | 0.924 |
| E | 6.7 ± 0.01 mm | 6.7 ± 0.01 mm | 0.962 |

UJ, Universal joint fracture external fixation device; AO, Arbeitsgemeinschaftfür Osteosynthesefragen fracture external fixation device.

Table S2. The Sagittal Nails Insertion Angle of Two Groups

| Nail Insertion Angle | UJ group Mean ± SD | AO group Mean ± SD | p value |
| --- | --- | --- | --- |
| A | 15.1 ± 0.16° | 15.1 ± 0.11° | 0.632 |
| B | 15.5 ± 0.10° | 15.9 ± 0.12° | 0.877 |
| C | 18.9 ± 0.12° | 19.2 ± 0.09° | 0.783 |
| D | 20.7 ± 0.14° | 20.5 ± 0.39° | 0.762 |
| E | 19.3 ± 0.11° | 19.2 ± 0.10° | 0.814 |

UJ, Universal joint fracture external fixation device; AO, Arbeitsgemeinschaftfür Osteosynthesefragen fracture external fixation device.

Table S3. The Coronal Nails Insertion Angle of Two Groups

| Nail Insertion Angle | UJ group Mean ± SD | AO group Mean ± SD | p value |
| --- | --- | --- | --- |
| A | 30.8 ± 0.34° | 30.9 ± 0.27° | 0.863 |
| B | 33.8 ± 0.29° | 33.8 ± 0.30° | 0.735 |
| C | 70.6 ± 0.35° | 70.6 ± 0.29° | 0.983 |
| D | 50.3 ± 0.43° | 50.4 ± 0.39° | 0.699 |
| E | 41.8 ± 0.20° | 41.7 ± 0.23° | 0.831 |

UJ, Universal joint fracture external fixation device; AO, Arbeitsgemeinschaftfür Osteosynthesefragen fracture external fixation device.

Table S4. The Horizontal Nails Insertion Angle of Two Groups

| Nail Insertion Angle | UJ group Mean ± SD | AO group Mean ± SD | p value |
| --- | --- | --- | --- |
| A | 30.8 ± 0.34° | 30.9 ± 0.27° | 0.863 |
| B | 33.8 ± 0.29° | 33.8 ± 0.30° | 0.735 |
| C | 70.6 ± 0.35° | 70.6 ± 0.29° | 0.983 |
| D | 50.3 ± 0.43° | 50.4 ± 0.39° | 0.699 |
| E | 41.8 ± 0.20° | 41.7 ± 0.23° | 0.831 |

UJ, Universal joint fracture external fixation device; AO, Arbeitsgemeinschaftfür Osteosynthesefragen fracture external fixation device.

Fig.S1 Demonstration of adult adaver femur fracture models. (A and B) Adult adaver femur specimens and radiography. (C) Adult adaver femur fracture models.